## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: WAPCOS Limited
Work Name : Strengthening of Labour Room as per LaQshya Standards at THQH Thiruvalla
Contract No: WAP/INFRA/KERALA/23/TVLA/464-3
Bidder Name :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55
1 | Civil works | BI01010001010000000000000515BI0100001113 | [6 empty] | 1 | [45 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.01 | 15.23.1 : Dismantling tile work in floors and roofs laid in cement mortar including stacking material within 50 metres lead.For thickness of tiles 10 mm to 25 mm |  | 42.912 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.02 | 15.7.4 : Demolishing brick work manually / by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-Charge.In cement mortar |  | 1.844 | cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
1.03 | 21.1.1.2 : Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS : 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminnium snap beading for glazing /paneling, C.P. brass/ stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge.(Glazing, paneling and dash fasteners to be paid for separately):For fixed portionPowder coated aluminium (minimum thickness of powder coating 50 micron) |  | 468.708 | kg |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.04 | 21.1.2.2 : For shutters of doors, windows & ventilators including providing and fixing hinges / pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber/ neoprene gasket required (Fittings shall be paid for separately)Powder coated aluminium (minimum thickness of powder coating 50 micron) |  | 175.775 | kg |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.05 | 21.2.2 : Providing and fixing 12 mm thick prelaminated particle board flat pressed three layer or graded wood particle board conforming to IS : 12823 Grade I Type II, in panelling fixed in aluminum doors, windows shutters and partition frames with C.P. brass / stainless steel screws etc. complete as per architectural drawings and directions of Engineer - in- Charge.Pre- laminated particle board with decorative lamination on both sides |  | 88.273 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.06 | 21.3.3 : Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of Engineer - in -Charge. ( Cost of aluminium snap beading shall be paid in basic item):With float glass panes of 8 mm thickness |  | 65.673 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.07 | 21.3.1 : Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of Engineer - in -Charge. ( Cost of aluminium snap beading shall be paid in basic item):With float glass panes of 4.0 mm thickness |  | 16.502 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.08 | 21.19.1 : Filling the gap in between aluminium/ stone/ wood frame and adjacent RCC/ Brick/ Stone/ wood/ Ceramic/ Gypsum work by providing weather/structural non sag elastomeric PU sealant over backer rod of approved quality as per architectural drawings and direction of Engineer-in-charge complete, complying to ASTM C920, DIN 18540-F & ISO 11600Upto 5 mm depth and 5 mm width |  | 42.5 | metre |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.09 | 12.52.4 : Providing and fixing tiled false ceiling of approved materials of size 595 x 595 mm in true horizontal level, suspended on inter locking metal grid of hot dipped galvanized steel sections (galvanized @ 120 grams per sqm, both side inclusive) consisting of main "T" runner with suitably spaced joints to get required length and of size 24x38 mm made from 0.30 mm thick (minimum) sheet, spaced at 1200mm center to center and cross "T" of size 24x25 mm made of 0.30 mm thick (minimum) sheet, 1200 mm long spaced between main "T" at 600 mm center to center to form a grid of 1200x600 mm and secondary cross "T" of length 600 mm and size 24x25 mm made of 0.30 mm thick (minimum) sheet to be interlocked at middle of the 1200x600 mm panel to form grids of 600x600 mm and wall angle of size 24x24x0.3 mm and laying false ceiling tiles of approved texture in the grid including, required cutting/making, opening for services like diffusers, grills, light fittings, fixtures, smoke detectors etc. Main "T" runners to be suspended from ceiling using GI slotted cleats of size 27 x 37 x 25 x 1.6 mm fixed to ceiling with 12.5mm dia and 50 mm long dash fasteners, 4 mm GI adjustable rods with galvanised butterfly level clips of size 85x 30x 0.8 mm spaced at 1200 mm center to center along main T, bottom exposed width of 24 mm of all T-sections shall be pre-painted with polyester paint, all complete for all heights as per specifications, drawings and as directed by Engineer -in-charge.12.5 mm thick fully Perforated Gypsum Board tile made from plaster board having glass fibre conforming to IS: 2095 Part I, of size 595x595 mm, having perforation of 9.7x9.7 mm at 19.4 mm c/c with centre borders of 48 mm and the side borders of 30 mm, backed with non woven tissue on the back side , having as NRC ( Noise Reduction Co efficient) of 0.79, with 50 mm resin bonded glass wool backing. |  | 355.988 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2 | Plumbing works | [7 empty] | 1
2.01 | 17.3.1 : Providing and fixing white vitreous china pedestal type water closet (European type) with seat and lid, 10 litre low level white vitreous china flushing cistern & C.P. flush bend with fittings & C.I. brackets, 40 mm flush bend, overflow arrangement with specials of standard make and mosquito proof coupling of approved municipal design complete, including painting of fittings and brackets, cutting and making good the walls and floors wherever required :W.C. pan with ISI marked white solid plastic seat and lid |  | 15 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.02 | 50.17.1.5 : Supplying and fixing CP Health Faucet superior quality ( Jagur or equvalent make ) including cost of materials and labour charges etc complete as per the direction of site Engineer-in-charge. |  | 15 | no |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.03 | 17.7.2 : Providing and fixing wash basin with C.I. brackets, 15 mm C.P. brass pillar taps, 32 mm C.P. brass waste of standard pattern, including painting of fittings and brackets, cutting and making good the walls wherever require:White Vitreous China Wash basin size 630 x 450 mm with a single 15 mm C.P. brass pillar tap |  | 9 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.04 | 18.21.1.1 : Providing and fixing uplasticised PVC connection pipe with brass unions:30 cm length15 mm nominal bore |  | 24 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.05 | 17.73.2 : Providing and fixing PTMT towel rail complete with brackets fixed to wooden cleats with CP brass screws with concealed fitting arrangement of approved quality and colour600 mm long towel rail with total length of 645 mm, width 78 mm and effective height of 88 mm, weighting not less than 190 gms |  | 15 | no |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.06 | 18.52.1 : Providing and fixing C.P brass stop cock ( concealed) of standard design and of approved make conforming to IS: 893115 mm nominal bore |  | 15 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.07 | 18.53.1 : Providing and fixing C.P. brass angle valve for basin mixer and geyser points of approved quality conforming to IS: 893115 mm nominal bore |  | 15 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.08 | 17.7.4 : Providing and fixing wash basin with C.I. brackets, 15 mm C.P. brass pillar taps, 32 mm C.P. brass waste of standard pattern, including painting of fittings and brackets, cutting and making good the walls wherever require:White Vitreous China Flat back wash basin size 550x400mm with single 15 mm C.P.brass pillar taps |  | 15 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.09 | 17.27.2 : Providing and fixing white vitreous china laboratory sink including making all connections excluding cost of fittings:Size 600x450x200 mm |  | 8 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.1 | 18.51.1 : Providing and fixing C.P. brass long body bib cock of approved quality conforming to IS standards and weighing not less than 690 gms.15 mm nominal bore |  | 17 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.11 | 17.28.2.1 : Flexible pipe32 mm dia |  | 10 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.12 | 50.17.1.1 : Supplying and fixing Stainless steel soap dish including cost of materials and labour charges etc complete as per the direction of site Engineer-in-charge. |  | 15 | no |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.13 | 18.8.2 : Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes& fittings, with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer-in-Charge. Concealed work, including cutting chases and making good the wall etc.20 mm nominal outer dia pipes |  | 15 | metre |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.14 | 18.8.3 : Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes& fittings, with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer-in-Charge. Concealed work, including cutting chases and making good the wall etc.25 mm nominal outer dia pipes |  | 30 | metre |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.15 | 18.8.4 : Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes& fittings, with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer-in-Charge. Concealed work, including cutting chases and making good the wall etc.32 mm nominal outer dia pipes |  | 30 | metre |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.16 | 18.58.1.1 : Providing and fixing PTMT grating of approved quality and colour.Circular type100 mm nominal dia |  | 15 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3 | Modular OT | [7 empty] | 1
3.01 | od360808/2022_2023 : Supply , installation ,testing &amp; commissioning of Pre Fabricated Modular Operation Theatre with 0.8mm 304 grade stainless steel panel sandwich has been injected under high pressure with a minimum density of 40kg/m3&amp;amp. Antifungal paint, wall glaze or equivalent to a minimum dry filim thickness of 300 microns having overlap floor covering, ceiling system and door frames by 25mm to provide a continous sealed surface - back side 0.5mm PPGI sheet |  | 135 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3.02 | od361684/2022_2023 : Providing, fixing, supply and installation of dirty hatch box made out of SS 304 for dispoasl of dirty linen /waste.Each Hatch will be equipped with two doors and the door will be operated electronically .The Hatch will be designed in such a way that only one door will be opened at one time.The UV light wiil be so installed that it is kept on while both the doors are closed ,this UV light has to be automatically turned off in case of opening of either of the doors. There shall be indicators on both sides of the OT so that door open/close status can be monitored from both ends. |  | 1 | no |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3.03 | od361685/2022_2023 : Providing and Insatalling of Distribution Board with MCB and ELCB for electrical wiring inside Operation Theatre incuding wiring, sockets and switches etc. |  | 1 | each set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3.04 | od361686/2022_2023 : Supply, installation , testing and commissioning&lt;br&gt;2 bay Surgical Scrub Sink made out of 304 Stainless Steel &amp; seamless welded construction polished to a satin finish having front acess panel with Elbow Operating |  | 1 | no |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3.05 | od361687/2022_2023 : Supply, installation , testing and commissioning of Single Arm moveable pendant with 1000mm long arm with Horizontal movements having weight carrying capacity of the arm will not be less than 100 Kgs, one monitor shelf and provision for six electrical sockets 5/15 Amp and gas outlets. |  | 1 | no |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3.06 | od361688/2022_2023 : Supply, installation, testing and commissioning Recess mounted IP54 protocol, non-hygroscopic peripheral lights for clean room application each set having (2x36 W ) compact flurecent lamps and digital ballast with dimmer control (Suitable for Clean room Class 100 application) |  | 8 | no |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3.07 | od361689/2022_2023 : Providing, Fixing, Supply and Installation and Commissioning of proper Pressure Relief Dampers having multi 304 graded stainless steel blades for maintaining the positive pressure inside the operation theatre |  | 1 | no |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3.08 | od361691/2022_2023 : Providing, Fixing, Supply, Installation, testing and Commissioning of Fully Touch Surgeon Control Panel( 6 services ) ,mounted flush in the theatre wall alongwith Distribution Board comprising of the following : &lt;br&gt;-1 No Day time Clock (Digital) &lt;br&gt;-1 No Lapse Time Clock (Digital) &lt;br&gt;- Hands free telephone &lt;br&gt;-1 No Medical Gas Alarm &lt;br&gt;-1 Set indicator for temperature &amp; humidity display &lt;br&gt;- Peripheral Lighting On/Off with dimming Control |  | 1 | no |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3.09 | od361692/2022_2023 : Supply and installation testing and commissioning of Automatic Hermetically sealing Sliding, , having heigh pressure laminate on both sides that could withstand heigh abrasion vision panel(300X300mm) for smooth sliding. The door move with,&amp;it;gt size is(1800X2100) |  | 1 | no |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3.1 | od361693/2022_2023 : Supply,installation,testing and commissioning of laminar station and SS plenum as follow: Laminar flow diffuser essentially should consists in: A plenum, constituting the pressurization chamber, entirely constructed of 1mm-thick 304 stainless steel sheet, with smooth finish to prevent dust collection. Four square flanges are mounted to connect the plenum to air distribution ducts. External stiffening ribs and anticondensation insulation. Supply air filter housing, 304 stainless steel frame with stainless steel fasteners. Filtering unit consisting of absolute filters with efficiency &gt; 99,995%. Classification: CEN EN 1822 - H14. Sealed, stainless steel central component for connection of the surgical lamp. Lower component should consists of 1mm-thick 304 stainless steel panels with conveniently sized slots to assure the requested flow. The special system allows the perforated panels to be locked in and fully opened for easy and safe servicing and replacing of filters. Stainless steel mounting frame, constructed so as to assure sealed connection to the suspended ceiling, and perfect separation from the controlled work area by means of synthetic rubber seals. Diffuser Size: 2400x1800MM |  | 1 | no |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3.11 | od361694/2022_2023 : Supply , installation, testing and commissioning of Imported Vinyl Floor: Seamless antistatic conductive ESD vinyl flooring system, 2mm thick, with perfectly curved flush covings and copper strips for earthing, all joints welded properly including wall scatting. Base pcc/ vdf will be in scope of client. 3mm self levelling in scope of OT vendor. |  | 54 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3.12 | od366084/2022_2023 : Supply, installation, testing and commissioning of double dome OT light with 1,40,000 LUX for one dome and 1,60,000 LUX for the other dome |  | 1 | no |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4 | HVAC Works | [7 empty] | 1
4.01 | od365045/2022_2023 : Supply, Installation,Testing &amp; commissioning of Floor Mounted AHU mounted horizontal ,double skin with thermal break profile low noise type Air Handling Units , (complete with DX type cooling coil) made of 40mm thick panels consisting of pre plasticized GI casing of thickness 0.8mm outside layer and inner layer shall be of 0.8mm plain AL sheet with polyurethane form(PUF) insulation factory injected between them by injection moulding machine with thermal break profile complete with fan section with backward curved plug fans suitable for static pressure as required with VFD drives , coil section with aluminium finned copper tubes (min. 10 fins per inch, tube thickness not less than 0.5mm),Cooling coil of 8 rows deep, filter section with 50mm thick metal viscous/washable synthetic type air prefilters (10 micron) &amp; 5 micron fine filters, mixing box with fresh air &amp; return air intakes with dampers,drain connections, SS drain pan(18G) with PUF insulation, TEFC sq.cage induction motor of efficiency class IE3 suitable for 415+10% volts, 50 Hz, 3 phase AC supply including mounting and fixing arrangements, anti vibration springs/ isolator bearings , strip heaters (3x1.5KW), germicidal UV-C lamps etc complete as per specification and of following capacities.The cost shall be inclusive of VFD starter panel in a separate enclosure with necessary rating incomer isolator / MCCB /contactor with all accessories including necessary connections, inter connections, Power and control wiring with pressure sensors (minimum 2 Nos.), flexible connections, control panels for complete installation. Only HVAC application VFDs shall be used. DX Floor mounted AHU : 8.5 TR, 3400 CFM , ESP 900 Pa |  | 1 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4.02 | od365046/2022_2023 : Supply, Installation, Testing &amp; Commissioning of 8.5 TR air cooled Outdoor units having all hermetically sealed inverter type Scroll Compressor , microprocessor based Controller, with R 410 A Refrigerant, with suitable supports, vibration isolators etc. complete as required. The unit shall deliver the rated capacity at AHRI Conditions and work even at 50&deg;C ambient temperature without tripping. The unit shall be suitable to work on 400V +/- 10%, 3 Phase,&lt;br&gt;50Hz AC power supply. The unit shall be filled with first charge of the refrigerant and ready for use as required. The COP at AHRI conditions shall not be less than 3.1 and IEER not less than 6.5. |  | 1 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4.03 | od365047/2022_2023 : Supply, Installation, testing and commissioning including vaccumiazation and Nitrogen testing of 28.6 mm dia (OD) nominal sizes of soft drawn copper refrigerant piping with tube thickness 1.2 mm for DX-AHU, complete with fittings, with suitable adjustable ring type hanger supports, jointing/brazing including accessories, insulated with XPLE Class-O tubular insulation/with Class-O closed cell elastometric nitrile rubber tubular sleeves sections of 19 mm thickness for Suction lines, all accessories as per specifications etc. as required. |  | 8 | metre |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4.04 | od365048/2022_2023 : Supply, Installation, testing and commissioning including vaccumiazation and Nitrogen testing of 12.7 mm dia (OD) nominal sizes of soft drawn copper refrigerant piping with tube thickness&lt;br&gt;1.2 mm for DX-AHU, complete with fittings, with suitable adjustable ring type hanger supports, jointing/brazing including accessories, insulated with XPLE Class-O tubular insulation/with Class-O closed cell elastometric nitrile rubber tubular sleeves sections of 19 mm thickness for Liquid lines, all accessories as per specifications etc. as required . |  | 8 | metre |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4.05 | od365049/2022_2023 : Supply, installation, balancing and commissioning of fabricated at site Al sheet metal rectangular/round ducting complete with neoprene rubber gaskets, elbows, splitter dampers, vanes, hangers, supports etc. as per approved drawings and specifications of following sheet thickness complete as required. Aluminium ducting 20G |  | 30 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4.06 | od365050/2022_2023 : Supply, installation, balancing and commissioning of fabricated at site Al sheet metal rectangular/round ducting complete with neoprene rubber gaskets, elbows, splitter dampers, vanes, hangers, supports etc. as per approved drawings and specifications of following sheet thickness complete as required. Aluminium ducting 22G |  | 80 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4.07 | 16.12.1.1 : Supply, installation, balancing and commissioning of factory fabricated GSS sheet metal rectangular/round ducting complete with neoprene rubber gaskets, elbows, splitter dampers, vanes, hangers, supports etc. as per approved drawings and specifications of following sheet thickness complete as required.Factory fabricated GSS sheet metal rectangular ducting as per IS 655-2006 |  | 3 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4.08 | 16.12.1.2 : Supply, installation, balancing and commissioning of factory fabricated GSS sheet metal rectangular/round ducting complete with neoprene rubber gaskets, elbows, splitter dampers, vanes, hangers, supports etc. as per approved drawings and specifications of following sheet thickness complete as required.Factory fabricated GSS sheet metal rectangular ducting as per IS 655-2006 |  | 1 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4.09 | od365051/2022_2023 : Supplying and fixing of following thickness duly laminated aluminium foil of mat finish closed cell Nitrile rubber(Class &quot;O&quot;) insulation on existing duct after applying suitable adhesive for Nitrile rubber. Density of insulation material shall be between 40 to 55 Kg/m3.The joints shall be sealed with 50mm wide and 3mm thick self adhesive nitrile rubber tape insulation complete as per specifications and as required. 13 mm thick Anti Microbial Closed cell Nitrile Rubber insulation (Duct run in A/c area) |  | 80 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4.1 | od365052/2022_2023 : Supplying and fixing of following thickness duly laminated aluminium foil of mat finish closed cell Nitrile rubber(Class &quot;O&quot;) insulation on existing duct after applying suitable adhesive for Nitrile rubber. Density of insulation material shall be between 40 to 55 Kg/m3.The joints shall be sealed with 50mm wide and 3mm thick self adhesive nitrile rubber tape insulation complete as per specifications and as required. 19 mm thick Anti Microbial Closed cell Nitrile Rubber insulation (Duct run in non A/c area) |  | 30 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4.11 | od365053/2022_2023 : Supply &amp; fixing of 10 mm thick opencell nitrile rubber form with density 140-180kg/m3 along with antimicrobial product protection as acoustic insulation for ducts using suitable adhesive as per the recommendation of the insulation manufacturer. 10 mm thick Anti Microbial open cell Nitrile Rubber insulation |  | 25 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4.12 | 16.13 : Supply, Insulation, testing and commissioning of GI volume control duct damper complete with neoprene rubber gaskets, nuts, bolts, screws linkages, flanges etc, as per specifications. GI volume control duct damper |  | 0.1 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4.13 | od365076/2022_2023 : Supplying and Fixing of powder coated extruded aluminium Return Air Grills with louvers but without volume control dampers complete as required.&lt;br&gt; |  | 1 | metre |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4.14 | od365054/2022_2023 : Supply, installation, testing and commissioning of Aluminium volume control duct damper complete with neoprene rubber gaskets, nuts, bolts, screws linkages, flanges etc, as per specifications. |  | 0.5 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4.15 | od365055/2022_2023 : Supply, Installation, testing, commissioning and balancing of GSS powder coated fresh air/exhaust air louver with 4 side flanges, Bird net screen, damper arrangement and all necessary support and accessories |  | 0.4 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4.16 | od365056/2022_2023 : Unidirectional Laminar flow plenum for the OT&apos;s with HEPA filters(0.3 micron filter &amp; 99.97% efficiency) with plenum construction with 1 mm thick aluminium sheet, perforated diffuser:1 mm thick stainless stel(ss 304),19mm thick class&quot;O&quot; nitrile insulation with aluminium foil lamination on exterior side, 4 nos of duct connecting colar based on user requirement (maximum height 150mm/225mm),provision of upstream ports for testing and measurement, provision for OT light, SS &apos;L&apos; angle brackets for ceiling suspension of the plenum. All in line with the OT standards. Plenum Size: 2350 (L) x 1740 (W) x 455 (H) mm, Perforated Diffuser size: 2440 (L) x 1830 (W) mm |  | 1 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4.17 | od365057/2022_2023 : Supply, Installation Testing and Commissioning of Duct Inline Exhaust Fans 500cfm, 100 Pa Static. |  | 1 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4.18 | od365058/2022_2023 : Supply, installation, testing and commissioning of 2 TR capacity 4-way flow Cassette Type Indoor ceiling mounted unit equipped with synthetic washable media pre-filter, fan section with low noise fan/dynamically balanced blower, multispeed motor, coil section with DX Copper coil, electronic expansion valve, outer cabinet, drain pump, grill, necessary supports, vibration isolation, cord less remote control etc., suitable for operation on single phase 230 V &plusmn; 10%, 50Hz AC supply, complete, as required. The unit shall have automatic force shut down provision in case of fire on receiving signal from BMS System. The cooling capacity of indoor unit will be at air inlet conditions of 27 Degree C DB and 19 Degree C WB temperature. |  | 2 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4.19 | od365059/2022_2023 : Supply, Installation, Testing &amp; Commissioning of 2 TR air cooled Outdoor units having all hermetically sealed inverter type Scroll Compressor, microprocessor based Controller, with R 410 A Refrigerant, with suitable supports, vibration isolators etc. complete as required. The unit shall deliver the rated capacity at AHRI Conditions and work even at 50&deg;C ambient temperature without tripping. The unit shall be suitable to work on 230V +/- 10%, Single Phase, 50Hz AC power supply. The unit shall be filled with first charge of the refrigerant and ready for use as required. The COP at AHRI conditions shall not be less than 3.1 and IEER not less than 6.5. |  | 2 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4.2 | od365060/2022_2023 : Supply, Installation, testing and commissioning including vaccumiazation and Nitrogen testing of 15.88 mm dia (OD) nominal sizes of soft drawn copper refrigerant piping with tube thickness 1.2 mm for Cassette unit, complete with fittings, with suitable adjustable ring type hanger supports, jointing/brazing including accessories, insulated with XPLE Class-O tubular insulation/with Class-O closed cell elastometric nitrile rubber tubular sleeves sections of 19 mm thickness for Suction lines, all accessories as per specifications etc. as required. |  | 15 | metre |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4.21 | od365061/2022_2023 : Supply, Installation, testing and commissioning including vaccumiazation and Nitrogen testing of 9.52 mm dia (OD) nominal sizes of soft drawn copper refrigerant piping with tube thickness&lt;br&gt;1.2 mm for Cassette unit, complete with fittings, with suitable adjustable ring type hanger supports, jointing/brazing including accessories, insulated with XPLE Class-O tubular insulation/with Class-O closed cell elastometric nitrile rubber tubular sleeves sections of 19 mm thickness for Liquid lines, all accessories as per specifications etc. as required . |  | 15 | metre |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4.22 | od365062/2022_2023 : Supply, installation, testing and commissioning of 1.5 TR High wall type Indoor unit equipped with washable synthetic media pre-filter, fan section with low noise Fan / dynamically balanced blower, multispeed motor, coil section with DX copper coil, electronic expansion valve, outer cabinet, cord less remote control, drain pan, necessary accessories etc., suitable for operation on 230 V &plusmn; 10%, 50 Hz, single phase AC supply, complete as required. The unit shall have automatic force shut down provision in case of fire on receiving signal from BMS System. The cooling capacity of indoor unit will be at air inlet conditions of 27 Degree C DB and 19 Degree C WB temperature. The Outdoor units having all hermetically sealed inverter type Scroll Compressor , microprocessor based Controller, with R410 A Refrigerant, with suitable supports, vibration isolators etc. complete as required. The unit shall deliver the rated capacity at AHRI Conditions and work even at 50&deg;C ambient temperature without tripping. The unit shall be suitable to work on 230V +/- 10%, Single Phase,&lt;br&gt;50Hz AC power supply. The unit shall be filled with first charge of the refrigerant and ready for use as required. The COP at AHRI conditions shall not be less than 3.1 and IEER not less than 6.5. |  | 6 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4.23 | od365063/2022_2023 : Supply, installation, testing and commissioning of 2 TR High wall type Indoor unit equipped with washable synthetic media pre-filter, fan section with low noise Fan / dynamically balanced blower, multispeed motor, coil section with DX copper coil, electronic expansion valve, outer cabinet, cord less remote control, drain pan, necessary accessories etc., suitable for operation on 230 V &plusmn; 10%, 50 Hz, single phase AC supply, complete as required. The unit shall have automatic force shut down provision in case of fire on receiving signal from BMS System. The cooling capacity of indoor unit will be at air inlet conditions of 27 Degree C DB and 19 Degree C WB temperature. The Outdoor units having all hermetically sealed inverter type Scroll Compressor , microprocessor based Controller, with R410 A Refrigerant, with suitable supports, vibration isolators etc. complete as required. The unit shall deliver the rated capacity at AHRI Conditions and work even at 50&deg;C ambient temperature without tripping. The unit shall be suitable to work on 230V +/- 10%, Single Phase, 50Hz AC power supply. The unit shall be filled with first charge of the refrigerant and ready for use as required. The COP at AHRI conditions shall not be less than 3.1 and IEER not less than 6.5. |  | 4 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4.24 | od365064/2022_2023 : Supply, Installation, testing and commissioning including vaccumiazation and Nitrogen testing of 12.7 mm dia (OD) nominal sizes of soft drawn copper refrigerant piping with tube thickness&lt;br&gt;1.2 mm for High wall unit, complete with fittings, with suitable adjustable ring type hanger supports, jointing/brazing including accessories, insulated with XPLE Class-O tubular insulation/with Class-O closed cell elastometric nitrile rubber tubular sleeves sections of 19 mm thickness for Suction lines, all accessories as per specifications etc. as required. |  | 50 | metre |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4.25 | od365065/2022_2023 : Supply, Installation, testing and commissioning including vaccumiazation and Nitrogen testing of 6.4 mm dia (OD) nominal sizes of soft drawn copper refrigerant piping with tube thickness&lt;br&gt;1.2 mm for High wall unit, complete with fittings, with suitable adjustable ring type hanger supports, jointing/brazing including accessories, insulated with XPLE Class-O tubular insulation/with Class-O closed cell elastometric nitrile rubber tubular sleeves sections of 19 mm thickness for Liquid lines, all accessories as per specifications etc. as required . |  | 50 | metre |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4.26 | od365066/2022_2023 : Supply, installation, testing &amp; commissioning of 20 mm sizes insulated uPVC Sch 40 drain pipe from terminal units (AHUs, split units etc.) drain pans to nearest floor drain complete with interconnection, flanges, elbows, tees, nuts, U-trap etc. insulated with Class-O closed cell elastometric nitrile rubber tubular sleeves sections of 9 mm thickness |  | 90 | metre |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4.27 | od365067/2022_2023 : Supply, installation, testing &amp; commissioning of 25 mm sizes insulated uPVC Sch 40 drain pipe from terminal units (AHUs, split units etc.) drain pans to nearest floor drain complete with interconnection, flanges, elbows, tees, nuts, U-trap etc. insulated with Class-O closed cell elastometric nitrile rubber tubular sleeves sections of 9 mm thickness |  | 20 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5 | Electrical | [7 empty] | 1
5.01 | 2.10.1 : Supplying and fixing 5 amps to 32 amps rating, 240/415 volts, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required.Single pole |  | 9 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5.02 | 2.10.4 : Supplying and fixing 5 amps to 32 amps rating, 240/415 volts, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required.Triple pole |  | 1 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5.03 | 2.11 : Supplying and fixing single pole blanking plate in the existing MCB DB complete etc. as required. |  | 19 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5.04 | 2.13.2 : Supplying and fixing following rating, four pole, 415 volts, isolator in the existing MCB DB complete with connections, testing and commissioning etc. as required.63 amps |  | 1 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5.05 | 2.13.3 : Supplying and fixing following rating, four pole, 415 volts, isolator in the existing MCB DB complete with connections, testing and commissioning etc. as required.100 amps |  | 1 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5.06 | 1.10.3 : Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed medium class PVC conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm. FRLS PVC insulated copper conductor single core cable etc as required.Group C |  | 35 | point |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5.07 | 1.14.1 : Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface / recessed medium class PVC conduit as required2x1.5 sq.mm + 1x1.5 sq.mm earth wire |  | 50 | metre |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5.08 | 1.14.2 : Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface / recessed medium class PVC conduit as required2X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire |  | 200 | metre |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5.09 | 1.14.3 : Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface / recessed medium class PVC conduit as required2 X 4 sq. mm + 1 X 4 sq. mm earth wire |  | 200 | metre |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5.1 | 1.21.1 : Supplying and fixing of following sizes of medium class PVC conduit along with accessories in surface/ recess including cutting the wall and making good the same in case of recessed conduit as required.20 mm |  | 7.5 | metre |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5.11 | 1.21.2 : Supplying and fixing of following sizes of medium class PVC conduit along with accessories in surface/ recess including cutting the wall and making good the same in case of recessed conduit as required.25 mm |  | 7.5 | metre |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5.12 | 1.21.3 : Supplying and fixing of following sizes of medium class PVC conduit along with accessories in surface/ recess including cutting the wall and making good the same in case of recessed conduit as required.32 mm |  | 75 | metre |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5.13 | 1.24.3 : Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required.15/16 amp switch |  | 25 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5.14 | 1.24.5 : Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required.6 pin 15/16 amp socket outlet |  | 25 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5.15 | 1.26 : Supplying and fixing modular blanking plate on the existing modular plate & switch box excluding modular plate as required. |  | 25 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5.16 | 1.27.1 : Supplying and fixing following size/ modules, GI box alongwith modular base & cover plate for modular switches in recess etc as required.1 or 2 Module (75mmX75mm) |  | 10 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5.17 | 1.27.2 : Supplying and fixing following size/ modules, GI box alongwith modular base & cover plate for modular switches in recess etc as required.3 Module (100mmX75mm) |  | 12 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5.18 | 1.27.4 : Supplying and fixing following size/ modules, GI box alongwith modular base & cover plate for modular switches in recess etc as required.6 Module (200mmX75mm) |  | 12 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5.19 | 1.31 : Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 3 pin 5/6 amps modular socket outlet and 5/6 amps modular switch, connection etc. as required. (For light plugs to be used in non residential buildings). |  | 12 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5.2 | 1.41 : Installation, testing and commissioning of pre - wired, fluorescent fitting/ compact fluorescent fitting of all types, complete with all accessories and tube etc. directly on ceiling/ wall, including connection with 1.5 sq.mm FRLS PVC insulated, copper conductor, single core cable and earthing etc. as required. |  | 12 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5.21 | 1.44 : Installation, testing and commissioning of ceiling fan, including wiring the down rods of standard length (upto 30 cm) with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable etc. as required. |  | 6 | no |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5.22 | 1.50.1 : Installation of exhaust fan in the existing opening, including making good the damage connection testing, commissioning etc. as required.Upto 450 mm sweep |  | 2 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5.23 | 1.54.3 : Wiring for group controlled (looped) light point/fan point/exhaust fan point/ call bell point (without independent switch etc.) with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable in surface/ recessed steel conduit, and earthing the point with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable etc. as required.Group C |  | 25 | per litre |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5.24 | 1.56 : Supplying and fixing suitable size Gl box with modular plate and cover in front on surface or in recess, including providng and fixing 2 Nos. 3 pin 5/6 A modular socket outlets and 2 Nos. 5/6 A modular switches, connection etc. as required. (For light plugs to be used in non residential buildings). |  | 12 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5.25 | 5.2 : Earthing with G.I. earth pipe 4.5 metre long, 40 mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. with charcoal/ coke and salt as required |  | 1 | set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5.26 | 5.9 : Supplying and laying 25 mm X 5 mm G.I strip at 0.50 metre below ground as strip earth electrode, including connection/ terminating with G.I. nut, bolt, spring, washer etc. as required.(Jointing shall be done by overlapping and with 2 sets of G.I. nut bolt & spring washer spaced at 50mm) |  | 15 | metre |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5.27 | 5.15 : Providing and fixing 25 mm X 5 mm G.I. strip on surface or in recess for connections etc. as required. |  | 50 | metre |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5.28 | 90.16.1.3 : Supply and drawing bare earthing conductors of the following sizes along with wiring/ cables and giving connection as required |  | 125 | metre |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5.29 | od365906/2022_2023 : Supply, laying of Network cable suitable for , UTP RJ45, CAT 6 modular type socket through pvc conduit etc as required complete. &lt;br&gt; |  | 300 | metre |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5.3 | od365907/2022_2023 : Supply, fixing of Network point, UTP RJ45, CAT 6 modular type socket with modular plate &amp; cover on surface or in recess, including proving and fixing suitable size GI box, inter connection etc as required complete. &lt;br&gt; |  | 5 | no |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5.31 | od365908/2022_2023 : Supply of 250 mm sweep,900 rpm light duty exhaust fan in plastic body with self opening louvers working on 230 V AC supply complete with all accessories as required.&lt;br&gt; |  | 5 | no |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5.32 | od365909/2022_2023 : Supply of following sizes of 1200 mm sweep. 5 star rated ceiling fan, with double ball bearing, Aluminium pressure die cast body with Aluminium blades, canopies, hanging shackle, 30 cm down rod and without speed regulator suitable for 240V 50 HZ, AC supply confirms to IS 374/1979 as required complete.&lt;br&gt; |  | 12 | no |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5.33 | od365910/2022_2023 : Supply of B-22 led 9W LED bulb with angle holder having wattage of 9+/-2 Watts,lumen output of lamp greater than 800, power factor &gt; 0.9,rated life of L70 @ 50,000 hours, system efficacy greater than 70lumen/watt and including all the necessary accessories as required complete&lt;br&gt; |  | 5 | no |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5.34 | od365911/2022_2023 : Supply of Integral, SMD LED, IP40, 20W, Suspended Mounted with 19 mm conduit, LED Batten with System efficacy of more than 110 lm/W. LED luminaire shall have sleek design with Extruded Aluminum Section. The luminaire shall have High Optically Efficient Polycarbonate Diffuser for Uniform illumination and wider light distribution. Screwless Design ensures ease of maintenance. . LEDs used in the product shall comply with EN 62471 for Photo-biological safety and certificate for the same from manufacturer shall be provided. Luminaire manufacturer shall produce certificate of association with LED manufacturer for minimum five years. The LED shall be compliant with LM80-08 standard with Useful L70 life of 75000 Hrs tested at maximum current (Complete LM 80 test report for LED should be submitted for 10000 hrs of testing). The LEDs used should be with CCT of 5700 K and CRI of Minimum 80. LED Driver shall be Isolated type, Constant Current topology driver with proper heat sink for heat dissipation suitable to operate in input voltage range of 150V to 270V (nominal rated voltage &ndash; 240V) with 4 KV internal surge protection, Power factor greater than 0.95 and total harmonic distortion (THD) of less than 10% should be integral to the luminaire. Conduit supply in contractor Scope&lt;br&gt; |  | 10 | no |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5.35 | od365912/2022_2023 : Supply of Integral, SMD LED, IP40, 40W, Suspended Mounted with 19 mm conduit, LED Batten with System efficacy of more than 110 lm/W. LED luminaire shall have sleek design with Extruded Aluminum Section. The luminaire shall have High Optically Efficient Polycarbonate Diffuser for Uniform illumination and wider light distribution. Screwless Design ensures ease of maintenance. . LEDs used in the product shall comply with EN 62471 for Photo-biological safety and certificate for the same from manufacturer shall be provided. Luminaire manufacturer shall produce certificate of association with LED manufacturer for minimum five years. The LED shall be compliant with LM80-08 standard with Useful L70 life of 75000 Hrs tested at maximum current (Complete LM 80 test report for LED should be submitted for 10000 hrs of testing). The LEDs used should be with CCT of 5700 K and CRI of Minimum 80. LED Driver shall be Isolated type, Constant Current topology driver with proper heat sink for heat dissipation suitable to operate in input voltage range of 150V to 270V (nominal rated voltage &ndash; 240V) with 4 KV internal surge protection, Power factor greater than 0.95 and total harmonic distortion (THD) of less than 10% should be integral to the luminaire. Conduit supply in contractor Scope&lt;br&gt; |  | 5 | no |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5.36 | od365913/2022_2023 : Suppply of Integral, SMD 595x595 mm , IP 65, 42W LED Recess mounted Bottom Opening Clean Room fixture with System efficacy of more than 100 lm/W. Luminaire shall be made up of CRCA Housing with CRCA Frame.&nbsp;Luminaire shall have satin finished translucence (HET) diffuser for Uniform illumination and wider light distribution.Satin finish high efficiency translucence (HET) diffuser is sealed with bottom frame and non-hygroscopic VHB gasket to ensure dust proofing. The product should be suitable for Class 10,000 &amp; 100,000 cleanroom applications. LEDs used in the product shall comply with EN 62471 for Photo-biological safety and certificate for the same from manufacturer shall be provided. Luminaire shall use SMD type LED. The LED shall be compliant with LM80-08 standard with Useful L70 life of 50000 Hrs tested at maximum current (Complete LM 80 test report for LED should be submitted for 10000 hrs of testing). The LEDs used should be with CCT of 5700 K and CRI of Minimum 80. LED Driver shall be CRCA constructed, Isolated type, Constant Current topology driver with proper heat sink for heat dissipation suitable to operate in input voltage range of 150V to 270V (nominal rated voltage &ndash; 240V) with 2 KV internal surge protection, Power factor greater than 0.9 and total harmonic distortion (THD) of less than 10% should be integral to the luminaire. Compliance to Indian Standards of IS10322 Part 5 / Sect 1:1967; 16105 : 2012; IS 16106 : 2012; IS 15885 (Part2/Sec13) : 2012; IS 16108 : 2012 &lt;br&gt; |  | 5 | no |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5.37 | od365914/2022_2023 : Supply of Integral, SMD 2x2 LED, IP 20, 36 LED Recess mounted fixture with System efficacy of more than 120lm/W and system lumen output 4320 lm. Luminaire shall have satin finished translucence (HET) diffuser for Uniform illumination and wider light distribution. LM 80-08 compliant LEDs should be provided. LEDs used in the product shall comply with EN 62471 for Photo-biological safety and certificate for the same from manufacturer shall be provided. Luminaire shall use SMD type LED. The LED shall be compliant with LM80-08 standard with L70 life of 50000 Hrs tested at maximum current (Complete LM 80 test report for LED should be submitted for 10000 hrs of testing). The LEDs used should be with CCT of 5700 K and CRI of Minimum 80. LED Driver shall be Constant Current topology driver with proper heat sink for heat dissipation suitable to operate in input voltage range of 140V to 300V (nominal rated voltage &ndash; 240V) with 4 KV internal surge protection, Power factor greater than 0.95 and total harmonic distortion (THD) of less than 10% should be integral to the luminaire. Complying to SELV &lt; 60V DC standards. Compliance to Indian Standards of IS10322 Part 5 / Sect 1:1967; 16105 : 2012; IS 16106 : 2012; IS 15885 (Part2/Sec13) : 2012; IS 16108 : 2012 .Additional Frame shall be used iin case of POP/gypsum ceiling&lt;br&gt; |  | 10 | no |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
6 | MGPS Works | [7 empty] | 1
6.01 | od365945/2022_2023 : Supply, installation, testing and commissioning of copper pipe 12 mm X 0.9 mm thick |  | 165 | metre |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
6.02 | od365946/2022_2023 : Supply, installation, testing and commissioning of copper pipe 15 mmX 0.9 mm thick |  | 350 | metre |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
6.03 | od365948/2022_2023 : Supply, installation, testing and commissioning of copper pipe 28 mm X 0.9 mm thick |  | 50 | metre |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
6.04 | od365967/2022_2023 : Supply, installation, testing and commissioning of copper pipe 22 mm X 0.9 mm thick&lt;br&gt; |  | 225 | metre |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
6.05 | od365949/2022_2023 : Supply, installation, testing and commissioning of isolation valve 15mm |  | 2 | no |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
6.06 | od365950/2022_2023 : Supply, installation, testing and commissioning of isolation valve 22mm |  | 2 | no |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
6.07 | od365951/2022_2023 : Supply, installation, testing and commissioning of isolation valve 28mm |  | 2 | no |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
6.08 | od365952/2022_2023 : Supply, installation, testing and commissioning of theater vacuum |  | 1 | no |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
6.09 | od365953/2022_2023 : Supply, installation, testing and commissioning of ward vacuum units |  | 26 | no |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
6.1 | od365954/2022_2023 : Supply, installation, testing and commissioning of oxygen flow metres |  | 26 | no |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
6.11 | od365955/2022_2023 : Providing and fixing bed head panels for 5 gas outlet and provision for electrical sockets |  | 13 | no |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
6.12 | od365956/2022_2023 : Supply, installation, testing and commissioning of air 7 outlets |  | 1 | no |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
6.13 | od365957/2022_2023 : Supply, installation, testing and commissioning of nitrous outlets |  | 1 | no |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
6.14 | od365958/2022_2023 : Supply, installation, testing and commissioning of air 4 outlets&lt;br&gt; |  | 25 | no |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
6.15 | od365959/2022_2023 : Supply, installation, testing and commissioning of vacuum outlets |  | 41 | no |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
6.16 | od365960/2022_2023 : Supply, installation, testing and commissioning of oxygen outlets |  | 41 | no |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
6.17 | od365961/2022_2023 : Supply, installation, testing and commissioning of alarm box 3 gas |  | 3 | no |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
6.18 | od365962/2022_2023 : Supply, installation, testing and commissioning of alarm box 2 gas |  | 2 | no |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
6.19 | od365963/2022_2023 : Supply, installation, testing and commissioning of alarm box 5 gas |  | 5 | no |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
6.2 | od365964/2022_2023 : Supply, installation, testing and commission of area valve box 3 gas |  | 3 | no |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
6.21 | od365965/2022_2023 : Supply, installation, testing and commissioning of area valve box 2 gas |  | 2 | no |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
6.22 | od365966/2022_2023 : Supply, installation, testing and commissioning of area valve box 5 gas&lt;br&gt;&lt;br&gt; |  | 1 | no |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
Total in Figures | [51 empty] | #VALUE! | #VALUE! | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information