## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: WAPCOS LIMITED
Name of Work: Completion of Community Hall at lhardo
Tender No: WAP/INFS-IV/LADAKH/RDD/2023-24/21-2nd Call
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder (Excluding Taxes) Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55
2 | Earth work in excavation by mechanical means (hydraulic excavator) in trenches for foundations, drains, pipes, cables etc. (not exceeding 1.5 m in width) and for shafts, wells, cesspits and the like not exceeding 10 sqm on plan, including dressing of sides and ramming of bottoms lift upto 1.5 m, including getting out excavated earth and disposal of surplus excavated earth as directed, within a lead of 50 metres in all kinds of soil | 1 | 85.31 | Cum | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
3 | Earth work in excavation by mechanical means (hydraulic excavator) in trenches for foundations, drains, pipes, cables etc. (not exceeding 1.5 m in width) and for shafts, wells, cesspits and the like not exceeding 10 sqm on plan, including dressing of sides and ramming of bottoms lift upto 1.5 m, including getting out excavated earth and disposal of surplus excavated earth as directed, within a lead of 50 metres in ordinary rock | 2 | 32.81 | Cum | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4 | Earth work in excavation by mechanical means (hydraulic excavator) in trenches for foundations, drains, pipes, cables etc. (not exceeding 1.5 m in width) and for shafts, wells, cesspits and the like not exceeding 10 sqm on plan, including dressing of sides and ramming of bottoms lift upto 1.5 m, including getting out excavated earth and disposal of surplus excavated earth as directed, within a lead of 50 metres in hard rock | 113 | 13.13 | Cum | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5 | Filling available excavated Earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20 cm in depth,consolidating each deposited layer by ramming and watering, lead upto 50 m and lift upto 1.5 m.(2.11 JKSR 2020) | 3 | 115.5 | Cum | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
6 | Clearing jungle including uprooting of rank vegetation, grass, brush wood, trees and saplings of girth up to 30 cm measured at a height of 1 m above ground level and removal of rubbish up to a distance of 50 m outside the periphery of the area cleared. | 4 | 200 | Sqm | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
7 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. In mud mortar | 5 | 125 | Cum | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
8 | Random Rubble masonry with hard stone in foundation and plinth including leveling up with cement concrete 1:6:12 (1 Cement : 6 coarse sand : 12 graded stone aggregate 20mm nominal size) upto plinth level and curing complete with:Cement mortar 1:6 (1 Cement : 6 coarse sand) | 6 | 80.49 | Cum | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
9 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:4:8 (1 Cement : 4 coarse sand (zone-III) derived from natural sources : 8 graded stone aggregate 40 mm nominal size derived from natural sources)(DSR 2021 pg no.107 item no. 4.1.8) | 7 | 4.05 | Cum | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
10 | Providing and laying in position machine batched and machine mixed design mix M-25 grade cement concrete for reinforced cement concrete work, using cement content as per approved design mix, including pumping of concrete to site of laying but excluding the cost of centering, shuttering, finishing and reinforcement, including admixtures in recommended proportions as per IS: 9103 to accelerate, retard setting of concrete, improve workability without impairing strength and durability as per direction of Engineer-incharge. Note: - Cement in this item is @ 330 kg/ cum. Excess or less cement used as per design mix is content considered payable or recoverable separately. All works upto plinth level | 8 | 16.49 | Cum | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
11 | Providing and laying in position machine batched and machine mixed design mix M-25 grade cement concrete for reinforced cement concrete work, using cement content as per approved design mix, including pumping of concrete to site of laying but excluding the cost of centering, shuttering, finishing and reinforcement, including admixtures in recommended proportions as per IS: 9103 to accelerate, retard setting of concrete, improve workability without impairing strength and durability as per direction of Engineer-incharge. Note: - Cement in this item is @ 330 kg/ cum. Excess or less cement used as per design mix is content considered payable or recoverable separately.All works above Plinth level upto floor V Level | 9 | 29.31 | Cum | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
12 | Centering and shuttering including strutting, propping etc. and removal of form for: (DSR Pg No 123)Foundations, footings, bases of columns etc. for mass concrete. | 11 | 25.2 | Sqm | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
13 | Centering and shuttering including strutting, propping etc. and removal of form for: (DSR Pg No 123)Columns, pillars, piers, abutments, posts and struts. | 12 | 89.86 | Sqm | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
14 | Centering and shuttering including strutting, propping etc. and removal of form for: (DSR Pg No 123)Lintel, beams, plinth beam, girders, bressumes and cantilever. | 13 | 112.74 | Sqm | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
15 | Centering and shuttering including strutting, propping etc. and removal of form for: (DSR Pg No 123)Suspended floors, roofs, landings, balconies and access platforms. | 14 | 114.95 | Sqm | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
16 | Providing and fixing up to floor five level precast cement concrete solid block, including hoisting and setting in position with cement mortar 1:3 (1 cement : 3 coarse sand), cost of required centering, shuttering complete : 1:1½:3 (1 Cement: 1½ coarse sand(zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources).(DSR Pg No 110) | 16 | 53.99 | Cum | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
17 | Wood work in frames of Door / window, clerestory windows and other frames second class kail wood.(J&K SoR 2022 Pg No 125) | 17 | 1.89 | Cum | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
18 | Providing and fixing ISI marked flush door shutters 35mm thick conforming to IS: 2202 (Part I) decorative type, core of block board construction with frame of 1st class hard wood and well matched teak 3 ply veneering with vertical grains or crossbands and face veneers on both faces of shutters. 9.21.1 With ISI marked | 18 | 8.38 | Sqm | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
19 | Providing and fixing panelling or panelling and glazing in panelled or panelled and glazed shutters for doors, windows and clerestory windows (Area of opening for panel inserts excluding portion inside grooves or rebates to be measured). Panelling for panelled or panelled and glazed shutters 25 mm to 40 mm thick. 4 mm thick glass pane (weighing not less than 10 kg/sqm | 19 | 12.68 | Sqm | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
20 | Providing and fixing 150 mm bright finished floor brass door stopper with rubber cushion, necessary brass screws etc. to suit shutter thickness complete | 20 | 3 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
21 | 15 mm thick cement plaster (1:4) mix outer/ inner. (DSR 2021 Vol II Pg No.258) | 21 | 245.35 | Sqm | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
22 | Providing and fixing ladakhi type ornaments shingtsak and kaju over doors, and lintels. | 22 | 130 | Rft | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
23 | 6 mm cement plaster to ceiling of mix 1 : 3 (1 cement : 3 fine sand) sqm | 23 | 93.9 | Sqm | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
24 | White washing with lime to give an even shade on New Work (three or more coats) | 24 | 331.65 | Sqm | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
25 | Finishing walls with water proofing cement paint of required shade on New work (two or more coats applied @ 3.84 kg/10sqm) | 25 | 331.65 | Sqm | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
26 | Distempering with oil bound washable distemper of approved brand and manufacture to give an even shade 13.41.1 New work (two or more coats) over and including waterthinnable priming coat with cement primer(DSR Vol II Pg nO 261) | 26 | 331.65 | Sqm | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
27 | Ready mixed pink or grey primer on wood work (hard and soft wood) having VOC content less than 50 grams/ litre(DSR Voll II Pg No 255) | 27 | 135.04 | Sqm | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
28 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade :13.62.1 Two or more coats on new work over an under coat of suitable shade with ordinary paint of approved brand and manufacture(DSR Vol II Pg No 264) | 28 | 5.23 | Sqm | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
29 | Providing and fixing of PPR conforming to IS- 15450 UV stabilized with carbon black having thermal stability for hot and cold water supply , capable to withstand temperature upto 80 degree C including all specials fittings of composed material e.g Elbows / tees , reducers , couplers and connectors etc , this includes the cost of cutting chases and including testing of joints complete as per the direction of Engineer in charge ( concealed work including cutting chases and making good the wall etc) including all required accessories complete job. 32 mm Dia OD | 29 | 30 | mtr | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
30 | Providing and fixing of PPR conforming to IS- 15450 UV stabilized with carbon black having thermal stability for hot and cold water supply , capable to withstand temperature upto 80 degree C including all specials fittings of composed material e.g Elbows / tees , reducers , couplers and connectors etc , this includes the cost of cutting chases and including testing of joints complete as per the direction of Engineer in charge ( concealed work including cutting chases and making good the wall etc) including all required accessories complete job. 20 mm OD dia | 30 | 80 | mtr | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
31 | Providing and installation of PUF( Insulated tanks ) water tank of capacity 1000 litres of approved brand ( SYNTEX/ STAR) or any other approved brand as per direction of Engineer in charge. | 31 | 1 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
32 | Supply and installation of heigh quality and self regulating Heat Tracer for specialized heating solutions for winterisation of water pipe line including all accessories complete , including supply and insulation of circuit control panel with RCBO MCB THERMOSTAT (0-120) DEG C,power connector two way 6-sq mm w.p.splice connector w.p.tee connector and seal mounting kit w.pjb.j.i pipe strap 4” all adhesive tap roll 50 mm x 20 ml f.g adhesive tap roll (DANFOSS make or CHROMALOX any other approved brand as per direction of engineer in charge. | 32 | 50 | mtr | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
33 | Supply and fixing of heigh quality 32mm thick Nitrile insulation tube for water pipe line of a[approved brand 2” size rock wool of apparent density 128 kg/ m3 on outer side of Nitrile tube of 50 mm thickness including aluminium duct cladding aluminium sheet gauge thickness 0.46 mm to 0.71 mm of approved quality and finished as per direction of engineer in charge (Nitrile Tube 32 mm > rock wool 50 mm > aluminium duct cladding 0.46 mm -0.71 mm. | 33 | 80 | mtr | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
34 | Providing and fixing 1st quality ceramic glazed floor tiles conforming to IS : 15622 (thickness to be specified by the manufacturer ) of approved make in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge in skirting, risers of steps anddados over 12 mm thick bed of cement Mortar 1:3 (1 cement: 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm including pointing in white cement mixed with pigment of matching shadecomplete.(DSR Vol 1 Pg No 241) | 34 | 100.56 | Sqm | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
35 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. | 35 | 50 | mtr | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
36 | Providing and fixing water closet squatting pan (Indian type W.C.pan ) with 100 mm sand cast Iron P or S trap, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever) conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required:17.1.1 White Vitreous china Orissa pattern W.C. pan of size 580x440 mm with integral type foot rests(DSR 2021 Vol II Pg 329) | 37 | 1 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
37 | Providing and fixing wash basin with C.I. brackets, 15 mm C.P. brass pillar taps, 32 mm C.P. brass waste of standard pattern, including painting of fittings and brackets, cutting and making good the walls wherever require: 17.7.1 White Vitreous China Wash basin size 630x450 mm with a pair of 15 mm C.P. brass pillar taps(DSR 2021 Vol II Pg 330) | 38 | 1 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
38 | Cement concrete flooring 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate) finished with a floating coat of neat cement, includingcement slurry, but excluding the cost of nosing of steps etc. complete.11.3.1 40 mm thick with 20 mm nominal size stone aggregate(DSR 2021 Pg No 235) | 39 | 93.9 | Sqm | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
39 | Providing and fixing soil, waste and vent pipes :100 mm dia PVC | 41 | 20 | mtr | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
40 | Providing and fixing soil, waste and vent pipes :75 mm dia PVC | 42 | 20 | mtr | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
41 | Providing and fixing plain bend of required degree. 17.39.1 100 mm dia 17.39.1.1 Sand cast iron S&S as per IS - 1729 75 mm dia17.39.2.1 Sand cast iron S&S as per IS -1729(DSR Vol II Page No 335 & 336):100 mm dia PVC | 44 | 10 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
42 | Providing and fixing plain bend of required degree. 17.39.1 100 mm dia 17.39.1.1 Sand cast iron S&S as per IS - 1729 75 mm dia17.39.2.1 Sand cast iron S&S as per IS -1729(DSR Vol II Page No 335 & 336)75 mm dia PVC | 45 | 10 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
43 | Providing and fixing of fixtures ( CP fittings )Ball Valve (PVC) :- 10 No OR1924 H.P. or L.P. ball valve with polythene floats: 25 mm dia | 46 | 10 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
44 | C.P. Brass angle valve 15 mm(DSR Vol II Pg No 356) | 47 | 15 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
45 | Providing and fixing of fixtures ( CP fittings )Bib Cock :- 20 No | 48 | 20 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
46 | Providing and fixing of fixtures ( CP fittings ) PVC Connector :- 10 No | 49 | 10 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
47 | Providing and fixing 85x42mm chromium plated brass pull bolt lock with necessary C.P. brass screws, nuts, bolts and washers etc. complete | 50 | 3 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
48 | Providing and fixing aluminum tubular handle bar 32mm outer dia, 3.0mm thick & 2100mm long with SS screw etc. complete as per direction of Engineer-in-charge. Anodized (AC 15)aluminum tubular handle bar | 51 | 10 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
49 | Providing and fixing 15 mm nominal bore C.P. brass bib cock of approved quality conforming to IS : 8931 | 52 | 2 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
50 | Granite of colour black, cherry/ruby red 18 mm thick (slab area above 0.50 sqm) Kitchen Slab | 53 | 2 | Sqm | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
51 | Poly propylene- Random - Co - Polymer (PPR) pipes PN-16 (SDR 7.4) 16mm | 54 | 5 | Rmt | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
52 | Poly propylene- Random - Co - Polymer (PPR) pipes PN-16 16 mm Elbow | 55 | 3 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
53 | 16 mm tee | 56 | 3 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
54 | Stainless steel kitchen sink - with drain board 510 x 1040 mm bowl depth 250 mm | 57 | 1 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
55 | uPVC pipes (working pressure 4 kg / cm2 ) Single socketed pipe metre.75mm | 58 | 5 | Rmt | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
56 | uPVC single equal Tee (without door) 75x75x75 mm | 59 | 2 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
57 | Supply, Installation, Testing and Commissioning of 1200 mm sweep, BEE 5 star rated, ceiling fan with Brush Less Direct Current (BLDC) Motor, class of insulation: B, 3 nos. blades, 30 cm long down rod, 2 nos. canopies, shackle kit, safety rope, copper winding, Power Factor not less than 0.9, Service Value (CM/M/W) minimum 6.00, Air delivery minimum 210 Cum/Min , 350 RPM (tolerance as per IS : 374-2019), THD less than 10%, remote or electronic regulator unit for speed control and all remaining accessories including safety pin, nut bolts, washers, temperature rise=75 degree C (max.), insulation resistance more than 2 mega ohm, suitable for 230 V, 50 Hz, single phase AC Supply, earthing etc. complete as required. | 61 | 5 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
58 | Supply, installations, testing and commissioning of 300mm sweep heavy duty exhaust fan, 1400 RPM including all accessories suitable for single phase 240 volts 50 HZ AC supply complete as required. | 63 | 1 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
59 | Providing and fixing M.S. fan clamp type I or II of 16 mm dia M.S. barbent to shape with hooked ends in R.C.C. slabs or beams during laying, including painting the exposed portion of loop, all as per standard design complete. | 64 | 5 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
60 | Supply, installation, testing and commissioning of the following light fixtures including all accessories like electronic ballasts, bulbs, lamp etc complete as required:1x18 watt surface mounted mirror LED fixture as per Ankur Cat no XWL 010/0013 including 18 watt lamp as required. | 65 | 15 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
61 | Supply, installation, testing and commissioning of the following light fixtures including all accessories like electronic ballasts, bulbs, lamp etc complete as required: 1x13 watt surface mounted LED fixtures as per Decon Cat no: 03TY including as required. | 66 | 4 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
62 | Wiring for telephone outlets with 2 pair of 0.5 sq mm PVC insulated copper conductor unarmoured telephone cable in the existing surface/casing and required. | 67 | 1 | Pts | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
63 | wiring of sub main wiring with following size of PVC insulated copper conductor single core cable in existing surface/recessed PVC conduct/ casting as required 10 sq.mm. | 68 | 30 | Mtr | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
64 | Supply and fixing of PVC conduit along accessories in surface walls and making good the same in case of recessed conduit as required. 25 mm dia 2 mm thick | 69 | 50 | Mtr | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
65 | Supply and fixing of a combied 5 pin 240 volt 16 amp 240 volt single pole grid plate mounted switch with moulded cover plate in recessed cover plate in recessed zinc chromate passivated MS box complete as required. | 70 | 4 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
66 | Supply and fixing of a combined 5 pin 240 volt 6 amp socket outlet with safety shutters and 6 amp 240 volt single pole mounted switch with moulded switch with moulded cover plate in recessed zinc chromate passivated MS box complete as required. | 71 | 10 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
67 | Wiring for 16 map socket otlet with 4 sq mm FR PVC insulated stranded copper conductor cable in surface/recessed steel conduit including wooden box, sheet and 1.5 sq mm FR PVC insulated copper conductor wire as earth wire. | 72 | 15 | Pts | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
68 | Wiring for light point/fan/call bell point/6 amp socket with 1.5 sq mm. For PVC insulated strand copper cable in existing surface /recessed PVC conduict including 6ap 240 volt single pole switch with moulded cover plate in zinc chromate passivated MS box, and including cost of loop earthing wit 1.5sq mm FR PVC insulatd stranded copper conductor cable, complete as required. | 73 | 18 | Pts | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
69 | Carriage of Materials By Mechanical Transport including loading,unloading and stacking upto 5 km(earth) | 74 | 30 | cum | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
70 | Carriage of Materials By Mechanical Transport including loading,unloading and stacking upto 5 km(excavated rock) | 75 | 45.94 | cum | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
71 | Carriage of Materials By Mechanical Transport including loading,unloading and stacking upto 5 km(bricks) | 76 | 125 | cum | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
72 | Supplying and filling in plinth with sand under floors, including watering, ramming, consolidating and dressing complete. | 77 | 23.47 | cum | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
73 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level (5.22.6 Thermo-Mechanically Treated bars of grade Fe-500D or more) @ 140Kg/cum | 78 | 6411.86 | Kg | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
74 | Providing and fixing hand rail of approved size by welding etc. to steel ladder railing, balcony railing, staircase railing and similar works,including applying priming coat of approved steel primer.MS tube | 79 | 7.8 | Kg | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
75 | bend UPVC plain shoe 75mm | 80 | 2 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
Total in Figures | [51 empty] | #VALUE! | #VALUE! | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information