## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver4.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: WAPCOS LIMITED
Name of Work: REPAIR AND RENOVATION OF MAIN WORKSHOP AT MTPF AMBERNATH, MAHARASHTRA
Contract No: WAP/ROPEWAYS/2024-25/09
Name of the Bidder/ Bidding Firm / Company : | [50 empty] | 1
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only) Note:- 1. The Performa for filling the item rate (Excluding GST) is given in Microsoft excel sheet. The bidder shall fill the quoted amount only up to two decimal place in soft format. The bidder will upload same filled quote in soft Microsoft Excel copy during uploading of financial bid. 2. The bidder shall quote Amount up to two decimal only in bill of quantity of tender. 3. Prices quoted by the bidder shall include all Materials, Tools & Plant, labour, supervision, profit; other levies together with all general risks, liabilities and obligations set out or implied in the contract, applicable Labour Cess, cost of insurance to this contract, all applicable tax liabilities like Income Tax & Surcharges, etc. Any other taxes /cess as per Government directives shall be deducted from each bill paid to the Contractor, from time to time. GST shall be payable extra as per prevailing rates. It is mandatory to bidders to deposit GST within time limit framed by Govt. of India, if applicable. The Goods and Services Tax (GST), shall be reimbursed to the Agency only after uploading of bills by Contractor on GST Portal “ to avail Input benefit of GST 4. It is mandatory to bidders to deposit The Contractor shall issue Tax Invoices to the Employer showing (i) Basic amount (ii) GST amount separately in each bill. It is mandatory to bidders to deposit GST within time limit framed by Govt. of India, if applicable. The Goods and Services Tax (GST), shall be reimbursed to the Agency only after uploading of bills by Contractor on GST Portal “to avail Input benefit of GST”. 5. The company shall be performing all its duties of deduction TDS and other deduction on payment made to the contractor as per applicable legislation in force on the date of submission of bid or to be newly /amended introduced during the execution of the Contract. 6. The payment shall be made as per the quantity of work executed after due verification of work by WAPCOS.
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  | DSR/NDSR Item No. | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT (excluding of GST) | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 6 | 9 | 10 | 11 | 6 | 7 | 14 | 15 | 16 | 17 | 18 | 8 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 9 | 10 | 10
1 | ANALYSIS AND RESDESIGN OF EXISTING STEEL STRUCTURE
1.01 | Analysis and Resdesign of Existing steel Structure as per relevant IS codes with development and Submission of detailed shop/Fabrication drawings and Approval of the same from the Principle Consultant. | item1 | 1 | Job |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | MR | [33 empty] | 0 | 0 | #VALUE!
2 | DISMANTLING OF EXISTING SHED & STRUCTURE | [6 empty] | Excess(+) | 1 | Full Conversion
2.01 | Dismantling roofing including ridges, hips, valleys and gutters etc., and stacking the material within 50 metres lead of GS sheet | item2 | 1461.08 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | 15.28.1 | [33 empty] | 0 | 0 | #VALUE!
2.02 | Dismantling roofing including ridges, hips, valleys and gutters etc., and stacking the material within 50 metres lead of Asbestos Cement sheet | item3 | 17623 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | 15.28 | [33 empty] | 0 | 0 | #VALUE!
2.03 | Disposal of moorum/building rubbish/ malba/ similar unserviceable, dismantled or waste material by mechanical transport including loading, transporting, unloading to approved municipal dumping ground for lead upto 10 km for all lifts, complete as per directions of Engineer-in-charge. Note - item to be applicable in urban areas having directions for restricted hours for movement/ plying of load carrying motor vehicle of 3.5 cum or more. | item4 | 462.8 | Cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | 1.1.18 | [33 empty] | 0 | 0 | #VALUE!
2.04 | Dismantling steel work in built up sections in angles, tees, flats and channels including all gusset plates, bolts, nuts, cutting rivets, welding etc. including dismembering and stacking within 50 metres lead. | item5 | 78931.69 | kg |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | 15.18 | [33 empty] | 0 | 0 | #VALUE!
2.05 | Extra for dismantling trusses, rafters, purlins etc. of steel work for every additional span of one metre or part thereof beyond 10 metres | item6 | 3485.32 | per m Span |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | 15.2 | [33 empty] | 0 | 0 | #VALUE!
2.06 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | item7 | 19920.85 | kg |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | 10.2 | [33 empty] | 0 | 0 | #VALUE!
2.07 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved. | item8 | 462.8 | Cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | 15.6 | [33 empty] | 0 | 0 | #VALUE!
3 | STRENGTHENING OF STRUCTURE | [6 empty] | Excess(+) | 1 | Full Conversion | [44 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
3.01 | Strengthening of Existing Structure by Providing/supplying, fabricating, transporting structural steel members, hoisting using crane, lifting, erecting and placement in its final position of grade E 250 Mpa and required size comprising of built up sections, readily available sections, welded frame works, etc with necessary castellations, bolting provisions, slots, nitches, bearing plates, connection plates, extension plates, splices, etc for proper execution of works. Cost to include straightening, cutting, welding, bending to shape and size, provisions for bolting, primer application, and approved factory finish including stamping, packing, transportation and storage after necessary submission and approval of designs, development drawings, GA drawings, shop drawings, fabrication drawings from the principle consultant. Fabricated structural steel members shall be provided with 2 coat of rusticide till final erection is carried out, at site. The rate to include the cost of all materials, labour, tools, tackles, cranes, devices and plants, wastage etc., as per specification and drawings complete The structural steel work shall include welded / bolted and built up sections, trusses, purlins, frame work welded and/or bolted, girders, gusset plates, base plates, cleats, installing inserts, bearing plates etc., as per drawings. Cost to include fabricating necessary Gusset Plates, welding Stiffener plates, Brackets, Bolts, Cleats, seating angles, bolts, washers, and grouting for bolts etc., to the required size, shape, alignment etc, as per the drawings. | item9 | 89.86 | Tonnes |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | MR | [33 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
4 | REPAINTING OF EXISTING & NEW STEEL STRUCTURE | [6 empty] | Excess(+) | 1 | Full Conversion | [44 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
4.01 | Scrubbing, Cleaning and preparing the surface of all existing structural Member for application of Primer and Epoxy Paint, including Removal of Rust partical complete or as per Direction of EIC. | item10 | 19846.37 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | DSR-Analysis | [33 empty] | 0 | 0 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
4.02 | Finishing with Epoxy paint (two or more coats) at all locations prepared and applied as per manufacturer’s specifications including appropriate priming coat, preparation of surface, etc. complete.On steel work | item11 | 19846.37 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | 13.52.1 | [33 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
4.03 | Providing and fixing Scaffolding net of required width made of high density Polyethylene UV stabilized knitted on warp knitting machines having density 100grams/sqm and shading coefficient minimum 75% around the construction site/ for vertical extension as per requirement including fastening/tying with building/scaffolding pipes or with any other fixtures etc. complete as per direction of Engineer-in-Charge. (One time payment shall be made for providing Scaffolding net from start of work till completion of work including shifting if any. The Scaffolding net shall be the property of the contractor on completion of the work) | item12 | 5614.18 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | 26.81 | [33 empty] | 0 | 0 | #VALUE!
4.04 | Providing and fixing double scaffolding system (cup lock type) on the exterior side, up to seven story height made with 40 mm dia M.S. tube 1.5 m centre to centre, horizontal & vertical tubes joining with cup & lock system with M.S. tubes, M.S. tube challies, M.S. clamps and M.S. staircase system in the scaffolding for working platform etc. and maintaining it in a serviceable condition for the required duration as approved and removing it there after .The scaffolding system shall be stiffened with bracings, runners, connection with the building etc wherever required for inspection of work at required locations with essential safety features for the workmen etc. complete as per directions and approval of Engineer-in-charge .The elevational area of the scaffolding shall be measured for payment purpose .The payment will be made once irrespective of duration of scaffolding. Note: - This item to be used for maintenance work judicially, necessary deduction for scaffolding in the existing item to be done. | item13 | 5614.18 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | 14.72 | [33 empty] | 0 | 0 | #VALUE!
5 | REPAIR WORK OF CIVIL WORK | [6 empty] | Excess(+) | 1 | Full Conversion
5.01 | Demolishing R.C.C. work by mechanical means and stockpiling at designated locations and disposal of dismantled materials up to a lead of 1 kilometre, stacking serviceable and unserviceable material separately including cutting reinforcement bars. | item14 | 11.14 | Cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | 15.58 | [33 empty] | 0 | 0 | #VALUE!
5.02 | Providing and laying in position ready mixed or site batched design mix cement concrete for reinforced cement concrete work; using coarse aggregate and fine aggregate derived from natural sources, Portland Pozzolana / Ordinary Portland /Portland Slag cement, admixtures in recommended proportions as per IS: 9103 to accelerate / retard setting of concrete, to improve durability and workability without impairing strength; including pumping of concrete to site of laying, curing, carriage for all leads; but excluding the cost of centering, shuttering, finishing and reinforcement as per direction of the engineer-in-charge; for the following grades of concrete. Note: Extra cement up to 10% of the minimum specified cement content in design mix shall be payable separately. In case the cement content in design mix is more than 110% of the specified minimum cement content, the contractor shall have discretion to either re-design the mix or bear the cost of extra cement.
5.03 | All works above plinth level upto floor V level Concrete of M30 grade with minimum cement content of 350 kg /cum | item15 | 11.14 | Cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | 5.33.2.2 | [33 empty] | 0 | 0 | #VALUE!
5.04 | Centering and shuttering including strutting, propping etc. and removal of form for | [6 empty] | Excess(+) | 1 | Full Conversion
5.05 | Lintels, beams, plinth beams, girders, bressumers and cantilevers | item16 | 64.35 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | 5.9.5 | [33 empty] | 0 | 0 | #VALUE!
5.06 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level.
5.07 | Thermo-Mechanically Treated bars of grade Fe-500D or more | item17 | 1336.5 | Kg |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | 5.22.6 | [33 empty] | 0 | 0 | #VALUE!
5.08 | Repair to plaster of thickness 12mm to 20 mm in patches of area 2.5 sqm and under, including cutting the patch in proper shape, raking out joints and preparing plastering the wall surface with white cement based polymer modified self curing mortar, including disposal of rubbish, all complete as per the direction of Engineer-In-Charge. | item18 | 21605.39 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | 14.1.1 | [33 empty] | 0 | 0 | #VALUE!
5.09 | REPAIR OF DAMAGED RCC WORK (SLABS, BEAMS,CHAJJAH AND COLUMNS ETC) | [6 empty] | Excess(+) | 1 | Full Conversion
5.1 | Chipping of unsound/weak concrete material from slabs, beams, columns etc. with manual Chisel and/ or by standard power driven percussion type or of approved make including tapering of all edges, making square shoulders of cavities including cleaning the exposed concrete surface and reinforcement with wire brushes etc. and disposal of debris for all lead and lifts all complete as per direction of Engineer-In-Charge 50mm average thickness | item19 | 7856.5 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | 26.28.2 | [33 empty] | 0 | 0 | #VALUE!
5.11 | Cleaning of reinforcement from rust from the reinforcing bars to give it a total rust free steel surface by using alkaline chemical rust remover of approved make with paint brush and removing loose particles after 24 hours of its application with wire brush and thoroughly washing with water and allowing it to dry, all complete as per direction of Engineer-In-Charge Bars above 12 mm diameter | item20 | 104753.39 | Rmt |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | 26.29.2 | [33 empty] | 0 | 0 | #VALUE!
5.12 | Providing, mixing and applying bonding coat of approved adhesive on chipped portion of RCC as per specifications and direction of Engineer-In-charge complete in all respect. Epoxy bonding adhesive having coverage 2.20 sqm/kg of approved make | item21 | 7856.5 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | 26.31.2 | [33 empty] | 0 | 0 | #VALUE!
5.13 | Providing, mixing and applying SBR polymer (of approved make) modified Cement mortar in proportion of 1:4 (1 cement: 4 graded coarse sand with polymer minimum 2% by wt. of cement used) as per specifications and directions of Engineer-in-charge. 25 mm average thickness in 2 layers. | item22 | 7856.5 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | 26.32.2 | [33 empty] | 0 | 0 | #VALUE!
5.14 | 12 mm cement plaster 1:2 (1 cement : 2 stone dust). | item23 | 7856.5 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | 13.13 | [33 empty] | 0 | 0 | #VALUE!
6 | PAINT WORK ON WALLS | [6 empty] | Excess(+) | 1 | Full Conversion
6.01 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | item24 | 21605.39 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | 13.80 | [33 empty] | 0 | 0 | #VALUE!
6.02 | Applying priming coats with primer of approved brand and manufacture, having low VOC (Volatile Organic Compound ) content. With water thinnable cement primer on wall surface having VOC content less than 50 grams/litre | item25 | 12895.59 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | 13.85.3 | [33 empty] | 0 | 0 | #VALUE!
6.03 | Wall painting with acrylic emulsion paint, having VOC (Volatile Organic Compound) content less than 50 grams/ litre, of approved brand and manufacture, including applying additional coats wherever required, to achieve even shade and colour. Two coats | item26 | 12895.56 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | 13.82.2 | [33 empty] | 0 | 0 | #VALUE!
6.04 | Finishing walls with Premium Acrylic Smooth exterior paint with Silicone additives of required shade New work (Two or more coats applied @ 1.43 ltr/10 sqm over and including priming coat of exterior primer applied @ 0.90 litre/10 sqm) | item27 | 9014.79 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | 13.47.1 | [33 empty] | 0 | 0 | #VALUE!
7 | FIXING OF ROOF SHEET | [6 empty] | Excess(+) | 1 | Full Conversion
7.01 | DOUBLE SKIN ROOFING SYSTEM: | [6 empty] | Excess(+) | 1 | Full Conversion
7.02 | Top Sheet-Supply & Fixing of Prepainted Metal Roofing Sheet with profile sheet of 1072 mm Supply width and nominal 28.5 mm deep ribs with subtle square fluting in the five pans at nominal 203 mm centre-to-centre. The end rib shall be designed for anti-capillary action, to avoid any seepage of water through the lateral overlap. The feed material is manufactured out of nominal 0.55 mm Base Metal Thickness (BMT) /0.64 Total Painting thickness with +/- 0.04mm Thickness tolerance, Hi-Tensile steel with min. 550 MPa yield strength, metallic hot dip coated with Aluminum-Zinc alloy (55% Aluminum, 45% Zinc) Zincalume AZ200 (Min. 200 gms/sq.mt total on both sides) with Super durable Polyester quality paint coat. The paint will have a total coating thickness of nominal 35 μm, comprising of nominal 20 μm exterior coat on top surface and nominal 10 μm reverse coat on back surface over nominal 5 μm primer coat on both surfaces of approved colour shade by concern authority. The exposed paint system’s shall have higher SRI value (Thermatech technology) and use inorganic (lead free) pigment in paint system .The sheet shall have brand marking of the manufacturer giving product details on the back of the sheet at every regular interval for confirming genuinity of the material. The sheet shall be sandwiched with Glasswool insulation layer comprising of 50 mm thick and 24kg/m3 density Glass wool insulation with single side Aluminum Foil approved by engineer-in- charge shall be placed over the cleat, creating a bed for the external cladding / roofing placement. Spacer channel / subgirt 1.5 MM Thick GI , 120 GSM , 345 MPA shall per provided as per the design required and as recommended by the manufacturer The entire Double skin system is installed over the structure purlin. Bottom Sheet: Supply & Fixing of prepainted Roofing Sheet with profile sheet of 1072 mm Supply width and nominal 28.5 mm deep ribs with subtle square fluting in the five pans at nominal 203 mm centre-to-centre. The end rib shall be designed for anti-capillary action, to avoid any seepage of water through the lateral overlap. The feed material for top & Bottom sheet is manufactured out of Nominal 0.45 Base Metal Thickness (BMT) (Nominal 0.53 mm TPT) tolerance of +/- 0.04, Hi-Tensile steel with min. 550 MPa yield strength, metallic hot dip coated with Zinc/Aluminum alloy (55% Aluminum, 45% Zinc) Zincalume AZ 200 (min. 200 gms/sq.mt total on both sides) with ULTRA steel quality paint coat. The sheet shall have a total coating thickness of 35 microns, super durable polyester ULTRA quality paint system of 20 microns on exposed surface and 10 micron reverse polyester coat on back surface over 5 micron primer coat on both surfaces of approved colour shade for the top and bottom profiled sheet by the concerned authority. The paint system should have stable resin & inorganic pigments for paint durability and Lead free. The steel manufacturer's test certificate for the chemical and mechanical properties of steel shall be submitted for approval by the concerned authority prior to installation. The sheet shall have brand marking of the manufacturer giving product details on the back of the sheet at every 1meter c/c for confirming genuinity of the material. | item28 | 19524.07 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | MR | [33 empty] | 0 | 0 | #VALUE!
7.03 | Providing reinforced by organic fibres and/or inorganic synthetic fibres cement 6 mm thick corrugated sheets (as per IS: 14871) roofing up to any pitch and fixing with polymer coated J, or L hooks, bolts and nuts 8 mm dia. G.I. plain and bitumen washers or with self drilling fastener and EPDM washers etc. complete (excluding the cost of purlins, rafters and trusses), including cutting sheets to size and shape wherever required (FOR HEAT TREATMENT ROOM ) | item29 | 427.46 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | 12.8 | [33 empty] | 0 | 0 | #VALUE!
7.04 | Supply & Fixing of North Light Curve of Prepainted metal Sheet Confirming the feed material is manufactured out of nominal 0.55 mm Base Metal Thickness (BMT) /0.64 Total Painting thickness with +/- 0.04mm Thickness tolerance, Hi-Tensile steel with min. 550 MPa yield strength, metallic hot dip coated with Aluminum-Zinc alloy (55% Aluminum, 45% Zinc) as per AS 1397 - Zincalume AZ200 (Min. 200 gms/sq.mt total on both sides) with Super durable Polyester quality paint coat. The paint will have a total coating thickness of nominal 35 μm, comprising of nominal 20 μm exterior coat on top surface and nominal 10 μm reverse coat on back surface over nominal 5 μm primer coat on both surfaces of approved colour shade by concern authority. The exposed paint system’s shall have higher SRI value (Thermatech technology) and use inorganic (lead free) pigment in paint system. | item30 | 2072.15 | Mtr |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | MR | [33 empty] | 0 | 0 | #VALUE!
7.05 | Providing Ridges or Hips of width 60 cm overall width confirming of prepainted metal Sheet Confirming the feed material is manufactured out of nominal 0.55 mm Base Metal Thickness (BMT) /0.64 Total Painting thickness with +/- 0.04mm Thickness tolerance, Hi-Tensile steel with min. 550 MPa yield strength, metallic hot dip coated with Aluminum-Zinc alloy (55% Aluminum, 45% Zinc) as per AS 1397 - Zincalume AZ200 (Min. 200 gms/sq.mt total on both sides) with Super durable Polyester quality paint coat. The paint will have a total coating thickness of nominal 35 μm, comprising of nominal 20 μm exterior coat on top surface and nominal 10 μm reverse coat on back surface over nominal 5 μm primer coat on both surfaces of approved colour shade by concern authority. The exposed paint system’s shall have higher SRI value (Thermatech technology) and use inorganic (lead free) pigment in paint system . | item31 | 89.87 | Mtr |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | MR | [33 empty] | 0 | 0 | #VALUE!
7.06 | Providing and fixing 60 cm wide, 60 cm overall Depth of Gutter confirming the Prepainted Metal Sheet & the feed material is manufactured out of nominal 0.55 mm Base Metal Thickness (BMT) /0.64 Total Painting thickness with +/- 0.04mm Thickness tolerance, Hi-Tensile steel with min. 550 MPa yield strength, metallic hot dip coated with Aluminum-Zinc alloy (55% Aluminum, 45% Zinc) as per AS 1397 - Zincalume AZ200 (Min. 200 gms/sq.mt total on both sides) with Super durable Polyester quality paint coat. The paint will have a total coating thickness of nominal 35 μm, comprising of nominal 20 μm exterior coat on top surface and nominal 10 μm reverse coat on back surface over nominal 5 μm primer coat on both surfaces of approved colour shade by concern authority. The exposed paint system’s shall have higher SRI value (Thermatech technology) and use inorganic (lead free) pigment in paint system. Including Necessary arranging to support the Gutter with Iron Brackets, Nuts, Wasters etc, including making necessary connections with rain water pipes i.e. middle of Gutter or at the Edge of Gutter, complete as per the direction of EIC | item32 | 1693.34 | Mtr |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | MR | [33 empty] | 0 | 0 | #VALUE!
8 | TURBO VENT | [6 empty] | Excess(+) | 1 | Full Conversion
8.01 | Extra for circular cutting in Sandwich Panel of Prepainted SDP Metal (Top Sheet - 0.64 mm, Bottom Sheet- 0.53 mm TCT, With Glass wool 50 mm Thick Insulation Layer) roofing sheet for making opening of area exceeding 40 sq. decimeter | item33 | 711.75 | Mtr |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | DSR-Analysis | [33 empty] | 0 | 0 | #VALUE!
8.02 | Supply, fitting and fixing Industrial type automatic powerless (wind driven) roof top Air Ventilator of Size: 24 Inch made with stainless steel of 304 grade, mounted over FRP base plate. The rate is inclusive of SS air ventilator with necessary mounting arrangements, base plate, Screw etc matching with profile roof sheets all complete. The joints between the corrugated roofing sheet and the FRP base of Air ventilator must be watertight by providing suitable waterproofing materials etc complete in all respect. | item34 | 284.55 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | DSR-Analysis | [33 empty] | 0 | 0 | #VALUE!
9 | SKYLIGHTING & PROVISION OF NATURAL LIGHT | [6 empty] | Excess(+) | 1 | Full Conversion
9.01 | Extra for straight cutting in Sandwich Panel Prepainted SDP Metal (Top Sheet - 0.64 mm, Bottom Sheet- 0.53 mm TCT, With Glass wool 50 mm Thick Insulation Layer) roofing sheet for making opening of area exceeding 40 sq. decimeter for chimney stacks, sky light etc.: | item35 | 1880 | Mtr |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | DSR-Analysis | [33 empty] | 0 | 0 | #VALUE!
9.02 | Providing & fixing UV stabilised fiberglass reinforced plastic sheet roofing up to any pitch, including fixing with polymer coated ‘J’ or ‘L’ hooks, bolts & nuts 8mm dia. G.I plain/bitumen washers complete but excluding the cost of purlins, rafters, trusses etc. The sheets shall be manufactured out of 2400 TEX panel rovigs incorporating minimum 0.3% ultra-violet stabiliser in resin system under approximately 2400 psi and hot cured. They shall be of uniform pigmentation and thickness without air pockets and shall conform to IS 10192 and IS 12866.The sheets shall be opaque or translucent, clear or pigmented, textured or smooth as specified. 2 mm thick corrugated (2.5” or 4.2” or 6”) or step-down (2” or 3” or 6” ) as specified | item36 | 1762.5 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | 12.47.1 | [33 empty] | 0 | 0 | #VALUE!
9.03 | Providing and fixing Aluminium work for doors, windows & ventilators with extruded builtup standard tubular and other sections confirming to IS 733 and IS 1285, powder coated to required shade fixed with rawl plug and screws or with fixing clips or with expansion hold fasteners including necessary filling up the gaps at junctions at top, bottom, and sides with required silicon sealant. Aluminium sections shall be smooth staright metered and jointed mechanically wherever required with cleat angle including 4mm Thick heat reflective polycarbonate Sheet with EPDM rubber / neoprene gasket Rubber , Stainless steel screws all complete as per architectural drawings and the direction of Engineer in charge, . including all hardware & fittings or as specified For fixed portion Polyester powder coated aluminium (minimum thickness of polyester powder coating 50 micron) | item37 | 4895.65 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | DSR-Analysis | [33 empty] | 0 | 0 | #VALUE!
10 | MS STRUCTURE & POLYCARBONATE SHEET FOR CHAJJAH | [6 empty] | Excess(+) | 1 | Full Conversion
10.01 | Providing & fixing of Louver Shed of with removing existing frame, including Fixing of New MS Structure frame with approved 4mm thick Polycarbonate sheet with all accessories and fittings as per direction of EIC. | item38 | 309.2 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | MR | [33 empty] | 0 | 0 | #VALUE!
10.02 | Providing & fixing of Shutter overhead cantilever Shed of with Fixing of MS Structure frame with approved 4mm thick Polycarbonate sheet with all accessories and fittings as per direction of EIC. | item39 | 5 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | MR | [33 empty] | 0 | 0 | #VALUE!
11 | MS STRUCTURE & CLADDING WORK (LADDER, WALKWAY, SCAFFOLDING & SHAFT FRAME) | [6 empty] | Excess(+) | 1 | Full Conversion
11.01 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | [6 empty] | Excess(+) | 1 | Full Conversion
11.02 | Ladder & Walkway (140m) at Backside of MWS | item40 | 26821.03 | kg |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | i | [33 empty] | 0 | 0 | #VALUE!
11.03 | Shafts | item41 | 10691.23 | kg |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | ii | [33 empty] | 0 | 0 | #VALUE!
11.04 | Scaffolding | item42 | 7122 | kg |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | iii | [33 empty] | 0 | 0 | #VALUE!
11.05 | Supply and installation of 4 mm ACP (Aluminum Composite Panel) sheet to cover the vertical drainage pipe at the edge of the gutter, mounted on the structural steel member, includes all necessary materials such as the ACP sheet, SS screws, and any other components required, as per the instructions of the Engineer-in-Charge (EIC) | item43 | 1038.18 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | DSR-Analysis | [33 empty] | 0 | 0 | #VALUE!
11.06 | Providing, designing, fabricating, installing of Decorative ACP Sheet with Aluminum duly powder coated (50-60 micron) as per approved design by Client/Architect. The dimension of the Sections will be determined after calculation. This rate is including of all materials like 4 mm Thick ACP Sheet, Fastner, paint, accessories, labour charges only. | item44 | 1980 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | DSR-Analysis | [33 empty] | 0 | 0 | #VALUE!
12 | LIGHTINING ARRESTER | [6 empty] | Excess(+) | 1 | Full Conversion
12.01 | Supply & Installation of lightining arrester ESE LA 107 mtr radius with L.A. accessories GI mast 5 mtr 40mm dia ,L.A. Accessories Test Link Box ,L.A. Accessories strike counter 6 DIGIT SINGLE BUS BAR including earthing pit with Single core copper cable COPPER CABLE 70 SQ MM All Complete as per directed by Engineer in Charge | item45 | 2 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | MR | [33 empty] | 0 | 0 | #VALUE!
13 | RAINWATER DISPOSAL | [6 empty] | Excess(+) | 1 | Full Conversion
13.01 | Dismantling C.I. or asbestos rain water pipe with fittings and clamps including stacking the material within 50 metres lead : | [6 empty] | Excess(+) | 1 | Full Conversion
13.02 | 100mm Dia Pipe | item46 | 110 | Mtr |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | 15.42.2 | [33 empty] | 0 | 0 | #VALUE!
13.03 | 150mm Dia Pipe | item47 | 385 | Mtr |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | 15.42.3 | [33 empty] | 0 | 0 | #VALUE!
13.04 | Providing and fixing M.S. holder bat clamps of approved design to C.I. or S.C.I. rain water pipes embedded in and including cement concrete blocks 10x10x10 cm of 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) and cost of cutting holes and making good the walls etc. : | item48 | 830.13 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | 12.38 | [33 empty] | 0 | 0 | #VALUE!
13.05 | Providing and fixing on wall face unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring, Clamp 50x 3 mm Flate conforming to IS : 5382, leaving 10 mm gap for thermal expansion. | [6 empty] | Excess(+) | 1 | Full Conversion
13.06 | 160mm | item49 | 1245.2 | Mtr |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | MR | [33 empty] | 0 | 0 | #VALUE!
13.07 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. | [6 empty] | Excess(+) | 1 | Full Conversion
13.08 | Coupler - 160mm | item50 | 124.52 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | MR | [33 empty] | 0 | 0 | #VALUE!
13.09 | Single tee with door - 160x160x160mm | item51 | 186 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | MR | [33 empty] | 0 | 0 | #VALUE!
13.1 | Bend 87.5° - 160mm bend | item52 | 248 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | MR | [33 empty] | 0 | 0 | #VALUE!
13.11 | Shoe (Plain) - 160 mm Shoe | item53 | 186 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | MR | [33 empty] | 0 | 0 | #VALUE!
14 | REPAIR OF DRAIN | [6 empty] | Excess(+) | 1 | Full Conversion
14.01 | Cleaning rubbish, sludge, weeds scum, liquid earth, mud etc. from road side masonary open drain/nikashi etc. by mathor labour after removing concrete slab / manhole cover etc. without damaging the same and refixing the same properly after cleaning as necessary and removing the sludge etc. by using iron pans, buckets including all labour, tools & plants including expulsion of impure/inflammable/asphyxiating gases from the drains etc. and removing the spoils in dry condition and disposing the same by truck beyond the area of Municipal Corporation / Municipality / Notified Area Authority / Industrial Township Authority etc. for such disposal including the cost of loading, unloading, transportation and making arrangement of necessary land for disposal, spreading and leveling as necessary etc. and cleaning the road side in all respects, complete as per direction of the Engineer-in-Charge. | item54 | 75 | Cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | DSR-Analysis | [33 empty] | 0 | 0 | #VALUE!
14.02 | Constructing masonry Chamber 90x90x100 cm inside, in brick work in cement mortar 1:4 (1 cement : 4 coarse sand) for sluice valve, with C.I. surface box 100 mm top diameter, 160 mm bottom diameter and 180 mm deep (inside) with chained lid and RCC top slab 1:1.5:3 mix (1 cement : 1.5 coarse sand : 3 graded stone aggregate 20 mm nominal size ), including necessary excavation, foundation concrete 1:5:10 (1 cement : 5 fine sand : 10 graded stone aggregate 40 mm nominal size ) and inside plastering with cement mortar 1:3 (1 cement : 3 coarse sand) 12 mm thick, finished with a floating coat of neat cement complete as per standard design : With common burnt clay F.P.S.(non modular) bricks of class designation 7.5 | item55 | 31 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | 18.34 | [33 empty] | 0 | 0 | #VALUE!
15 | POLYURETHANE CEMENTITIOUS FLOORING | [6 empty] | Excess(+) | 1 | Full Conversion
15.01 | Supply and application of 4mm thick self-smoothening breathable Polyurethane cementitious Flooring system including filler material or mortar for repairs of Low depth patched up to depth of 10 - 15 mm including Scrubbing of Old Flooring where ever Required, desired level of Surface Preparation as per Manufacturer's Specification complete in all respects. | item56 | 4900 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | MR | [33 empty] | 0 | 0 | #VALUE!
16 | HIGH BAY LIGHT | [6 empty] | Excess(+) | 1 | Full Conversion
16.01 | Supply of 100 Watt LED Pressure die-cast aluminum housing with polycarbonate lens. LED module fixed on die-cast aluminum heat sink for proper thermal management and LED driver compartment with 4 Stage Protection - Over + Under Voltage, Short Circuit, Reverse Polarity &Over Temp. Secondary lens optics provided for better and uniform distrubution. System efficacy should not be less than 130lm/W with nominal lumens of 13000 lumens , CRI > 70, CCT 5700K and lifetime of 50,000 hours at L70. Operating Temperature Range -20degC to 50degC with Potted Driver, THD<10 %, Constant Current topology driver with proper heat sink for heat dissipation suitable to operate in input voltage range of 140V to 270V (nominal rated voltage –240V) 4kV internal + 10kV External (optional) surge protection. IP rating of IP66 and IK07 impact resistance. Driver should comply Driver safety requirements as per IS 15885 with BIS certification. Manufacture should have in house NABL testing facility. LM 79 report from NABL accredited Lab shall be submited. The luminaire should comply with all the required IEC and IS standards. Equivalent to Bajaj Novabay 100W WH WB PC SD with relevant accessories for fitting (wire, bends, pipe etc.) as per the direction of Engineer incharge. | item57 | 15 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | MR | [33 empty] | 0 | 0 | #VALUE!
16.02 | Providing & Fixing of 150 Watt LED Pressure die-cast aluminum housing with polycarbonate lens. LED module fixed on die-cast aluminum heat sink for proper thermal management and LED driver compartment with 4 Stage Protection - Over + Under Voltage, Short Circuit, Reverse Polarity &Over Temp. Secondary lens optics provided for better and uniform distrubution. System efficacy should not be less than 130lm/W with nominal lumens of 19500 lumens , CRI > 70, CCT 5700K and lifetime of 50,000 hours at L70. Operating Temperature Range -20degC to 50degC with Potted Driver, THD<10 %, Constant Current topology driver with proper heat sink for heat dissipation suitable to operate in input voltage range of 140V to 270V (nominal rated voltage –240V) 4kV internal + 10kV External (optional) surge protection. IP rating of IP66 and IK07 impact resistance. Driver should comply Driver safety requirements as per IS 15885 with BIS certification. Manufacture should have in house NABL testing facility. LM 79 report from NABL accredited Lab shall be submited. The luminaire should comply with all the required IEC and IS standards. Equivalent to Bajaj Novabay 150W WH WB PC SD including all relevant accessories for fitting (wire, bends, pipe etc.) as per the direction of Engineer incharge. | item58 | 163 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | MR | [33 empty] | 0 | 0 | #VALUE!
17 | MOTORISED GI ROLLING SHUTTER | [6 empty] | Excess(+) | 1 | Full Conversion
17.01 | Supply & Fixing of Motorised GI Rolling Shutter Clear Opening Galvanized Motorized Rolling Shutter 1.CURTIN SHAPE; 95 MM x 19G THICK flat GI Profile 2. HEAVY DUTY SIDE PLATES 2 MM WITH AIRTIGHT RUBBER SEAL 3.BOTTOM SUPPORTS 3MM STIFFNERS WITH AIRTIGHT RUBBER SEAL 3.35 X 100 MM HEAY DUTY MS SIDE GUIDES, 4.HEAY DUTY BOTTOM SECTION WITH STIFFNER ANGLE COMPLETE WITH ALL ACCESSORIES 5.PUSH BUTTON JUNCTION(OPEN/CLOSE/STOP) 6.DRUM ROLLER WITH SHAFT AND BEARINGS 7.22G HOOD AND MOTOR COVER 8. Heavy Duty MS Roller/ Drum MOTOR: 600 KG CAPACITY, including removal of existing Shutter as directed by Engineer incharge. | item59 | 5 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | MR | [33 empty] | 0 | 0 | #VALUE!
18 | DEVELOPMENT OF STRUCTURAL FRAME | [6 empty] | Excess(+) | 1 | Full Conversion
18.01 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | item60 | 39758.2 | kg |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | 10.2 | [33 empty] | 0 | 0 | #VALUE!
19 | INDUSTRIAL PARTITION WALL & ROOF | [6 empty] | Excess(+) | 1 | Full Conversion
19.01 | Industrial Partition Sandwich Puf panels for wall of thickness 50mm with PPGL metal sheet facing having AZ coating with both side sheet thickness 0.50mm In Off white color or equivalent as per the direction of Engineer Incharge with premium grade PU core. | item61 | 745 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | MR | [33 empty] | 0 | 0 | #VALUE!
19.02 | Providing and fixing factory made uPVC glazed/wire mesh windows/doors comprising of lead free uPVC multi-chambered frame, sash and mullion/coupler (where ever required) extruded profiles having minimum wall thickness of 1.70 mm for Series R1 and R2 profiles and 2.10 mm for Series R3 and R4 profiles conforming to EN: 12608 in any shape, colour and design duly reinforced with galvanized mild steel section made of required shape & size as per CPWD Specification, uPVC extruded glazing beads, interlocks and Inline sash adaptor (where ever required) of appropriate dimension, EPDM gasket, hardware, SS 304 grade fasteners of minimum 8 mm dia with countersunk head, comprising of matching polyamide PA6 grade sleeve for fixing frame to finished wall as per IS 1367 : Part 1 to 14, plastic packers, plastic caps and necessary stainless steel screws etc. Profile of frame, sash & mullion (if required) shall be mitred cut and fusion welded/mechanically jointed duly sealed at all corners, including drilling of holes for fixing hardware and drainage of water etc. After fixing frame the gap between frame and adjacent finished wall shall be filled with weather proof silicon sealant over backer rod of approved size and quality, all complete as per approved drawing conforming to CPWD specification & direction of Engineer-in-Charge. Section of steel reinforcement and cross sections of uPVC profiles to be as per design approved by Engineer-in-Charge. Wire mesh / Glazing of plain/ toughened/ laminated/ double glass unit with / without high performance coatings as per design requirements and conforming to IS: 3548 & IS: 16231 shall be paid separately. | item62 | 315.06 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | 9.147A | [33 empty] | 0 | 0 | #VALUE!
19.03 | Providing and fixing 12 mm thick frameless toughened glass door shutter of approved brand and manufacture, including providing and fixing top & bottom pivot & double acting hydraulic floor spring type fixing arrangement and making necessary holes etc. for fixing required door fittings, all complete as per direction of Engineer-in-charge (Door handle, lock and stopper etc.to be paid separately). | item63 | 157.53 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | 21.18 | [33 empty] | 0 | 0 | #VALUE!
19.04 | Supply & Fixing of Zincalume profile sheet of nom.1072 mm overall width and nominal 28.5 mm deep ribs with subtle square fluting in the five pans at nominal 203 mm centreto-centre. The end rib shall be designed for anti-capillary action, to avoid any seepage of water through the lateral overlap. The feed material shall be of nominal base metal thickness of 0.45 mm Nominal -with +/- 0.04 Thickness Tolerances- ( 0.51 mm TCT) , High tensile with min 550 MPa yield strength, metallic hotdipped coated with Al-Zn alloy (55% Aluminium, 43.5% Zinc, 1.5% Si ) (min. 200 g/m2 total on both sides) The steel sheet shall have standard brand marking on back side at regular interval confirming genuineness of the material. | item64 | 1212 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | MR | [33 empty] | 0 | 0 | #VALUE!
20 | FLOORING | [6 empty] | Excess(+) | 1 | Full Conversion
20.01 | Supply and application of 4mm thick self-smoothening breathable Polyurethane cementitious Flooring system including filler material or mortar for repairs of Low depth patched up to depth of 10 - 15 mm including Scrubbing of Old Flooring where ever Required, desired level of Surface Preparation as per Manufacturer's Specification complete in all respects. | item65 | 1212 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | MR | [33 empty] | 0 | 0 | #VALUE!
21 | FALSE CEILING | [6 empty] | Excess(+) | 1 | Full Conversion
21.01 | Providing & fixing false ceiling at all heights with GRG (Glass Fibre Reinforced Gypsum) false ceiling tiles of Size 595x595 mm of approved texture, design and patterns having moisture content less than 2%, humidity resistance of 99%, NRC0.50 to 0.75 as per IS 8225:1987, Non combustible as per BS 476 (part 4)-1970 and light reflectance of 85% (minimum) to be laid in true horizontal level suspended on inter-locking metal T-Grid of hot dipped galvanised iron section of 0.33mm thick (galvanized @ 120 grams per sqm including both sides) comprising of main-T runners of size 15x32 mm of length 3000 mm, cross - T of size 15x32 mm of length 1200 mm and secondary intermediate cross-T of size 15x32 mm of length 600mm to form grid module of size 600 x 600 mm, suspended from ceiling using galvanised mild steel items (galvanizing @ 80 grams per sqm) i.e. 50 mm long, 8 mm outer diameter M-6 dash fasteners, 6 mm dia fully threaded hanger rod upto 1000 mm length and L-shape level adjuster of size 85x25x2 mm. Galvanised iron perimeter wall angle of size 24x24x0.40 mm of length 3000 mm to be fixed on periphery wall / partition with the help of plastic rawl plugs at 450 mm center to center and 40 mm long dry wall wood screws. The work shall be carried out as per specifications, drawing and as per directions of the Engineer-in-Charge. With semi perforated 12 mm thick micro tegular edged GRG false ceiling tiles. | item66 | 1212 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | 26.26 | [33 empty] | 0 | 0 | #VALUE!
22 | HVAC SYSTEM | [6 empty] | Excess(+) | 1 | Full Conversion
22.01 | Variable Refrigerant Volume (VRV) Machines | [6 empty] | Excess(+) | 1 | Full Conversion
22.02 | Supply Installation, Testing & Commissioning of modular type Variable Refrigerant Flow/Variable Refrigerant Volume air cooled Outdoor units suitable for cooling and heating, having all hermetically sealed inverter type Scroll Compressor(s), minimum two compressors for above 14 HP modules, microprocessor based Controller, top discharge type condensing unit(s), with R 410 A Refrigerant, vibration isolators, with suitable foundation etc. complete as required. The unit shall deliver the rated capacity at AHRI Conditions and work even at 50°C ambient temperature without tripping. The unit shall be suitable to work on 400V +/- 10%, 3 Phase, 50Hz AC power supply. The unit shall be filled with first charge of the refrigerant and ready for use as required. The COP at AHRI conditions shall not be less than 3.1 and IEER not less than 6.5 | item67 | 361.62 | Per HP |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | DSR & AOR- 2019 No. 1 | [33 empty] | 0 | 0 | #VALUE!
22.03 | INDOOR UNIT-CASSETTE TYPE | [6 empty] | Excess(+) | 1 | Full Conversion
22.04 | Supply, installation, testing and commissioning of following minimum capacity 4-way flow VRV/VRF Cassette Type Indoor ceiling mounted unit equipped with synthetic washable media pre-filter, fan section with low noise fan/dynamically balanced blower, multispeed motor, coil section with DX Copper coil, electronic expansion valve, outer cabinet, drain pump, grill, necessary supports, vibration isolation, cord less remote control etc., suitable for operation on single phase 230 V ± 10%, 50Hz AC supply, complete, as required. The unit shall have automatic force shut down provision in case of fire on receiving signal from BMS System. The cooling capacity of indoor unit will be at air inlet conditions of 27 Degree C DB and 19 Degree C WB temperature. | [6 empty] | Excess(+) | 1 | Full Conversion
22.05 | 3.2 TR | item68 | 23.97 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | DSR & AOR- 2019 No 2.8 | [33 empty] | 0 | 0 | #VALUE!
22.06 | COPEER REFRIGERANT PIPING | [6 empty] | Excess(+) | 1 | Full Conversion
22.07 | Supply, Installation, testing and commissioning including vaccumiazation and Nitrogen testing of following nominal sizes of soft/hard drawn copper refrigerant piping for VRV/VRF system, complete with fittings, with suitable adjustable ring type hanger supports, jointing/brazing including accessories, insulated with XPLE Class-O tubular insulation/with Class-O closed cell elastometric nitrile rubber tubular sleeves sections of specified thickness as given below for Suction and Liquid lines, all accessories as per specifications etc. as required : | [6 empty] | Excess(+) | 1 | Full Conversion
22.08 | 12.7 mm dia (OD) (Soft drawn) with tube thickness 1.2 mm with 19 mm thick insulation | item69 | 69.43 | Rmtr |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | DSR & AOR- 2019 No 5.3 | [33 empty] | 0 | 0 | #VALUE!
22.09 | 15.86 mm dia (OD) (Soft drawn) with tube thickness 1.2 mm with 19 mm thick insulation | item70 | 64.34 | Rmtr |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | DSR & AOR- 2019 No 5.4 | [33 empty] | 0 | 0 | #VALUE!
22.1 | 19 mm dia (OD) (Hard drawn) with tube thickness 1.2 mm with 19 mm thick insulation | item71 | 19.84 | Rmtr |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | DSR & AOR- 2019 No 5.5 | [33 empty] | 0 | 0 | #VALUE!
22.11 | 22.2 mm dia (OD) (Hard drawn) with tube thickness 1.2 mm with 19 mm thick insulation | item72 | 19.84 | Rmtr |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | DSR & AOR- 2019 No 5.6 | [33 empty] | 0 | 0 | #VALUE!
22.12 | 25.4 mm dia (OD) (Hard drawn) with tube thickness 1.2 mm with 19 mm thick insulation | item73 | 18.87 | Rmtr |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | DSR & AOR- 2019 No 5.7 | [33 empty] | 0 | 0 | #VALUE!
22.13 | 28.58 mm dia (OD) (Hard drawn) with tube thickness 1.2 mm with 19 mm thick insulation | item74 | 18.87 | Rmtr |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | DSR & AOR- 2019 No 5.8 | [33 empty] | 0 | 0 | #VALUE!
22.14 | 31.8 mm dia (OD) (Hard drawn) with tube thickness 1.62 mm with 19 mm thick insulation | item75 | 53.48 | Rmtr |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | DSR & AOR- 2019 No 5.09 | [33 empty] | 0 | 0 | #VALUE!
22.15 | 34.9 mm dia (OD) (Hard drawn) with tube thickness 1.62 mm with 19 mm thick insulation | item76 | 40.21 | Rmtr |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | DSR & AOR- 2019 No 5.1 | [33 empty] | 0 | 0 | #VALUE!
22.16 | 38.1 mm dia (OD) (Hard drawn) with tube thickness 1.62 mm with 19 mm thick insulation | item77 | 48.08 | Rmtr |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | DSR & AOR- 2019 No 5.11 | [33 empty] | 0 | 0 | #VALUE!
22.17 | 41.27 mm dia (OD) (Hard drawn) with tube thickness 1.62 mm with 19 mm thick insulation | item78 | 21.34 | Rmtr |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | DSR & AOR- 2019 No 5.12 | [33 empty] | 0 | 0 | #VALUE!
22.18 | MS Cable Tray | [6 empty] | Excess(+) | 1 | Full Conversion
22.19 | Supplying and installing following size of perforated painted with powder coating M.S. cable trays with perforation not more than 17.5%, in convenient sections, joined with connectors, suspended from the ceiling with M.S. suspenders including bolts & nuts, painting suspenders etc as required. | [6 empty] | Excess(+) | 1 | Full Conversion
22.2 | 600 mm width X 50 mm depth X 2.0 mm thickness | item79 | 175 | Rmtr |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | 4.1.7 | [33 empty] | 0 | 0 | #VALUE!
22.21 | DRAIN PIPE | [6 empty] | Excess(+) | 1 | Full Conversion
22.22 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply and all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge. Internal work - Exposed on wall | [6 empty] | Excess(+) | 1 | Full Conversion
22.23 | 25 mm nominal outer dia .Pipes | item80 | 96.76 | RMT |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | 18.7.3 | [33 empty] | 0 | 0 | #VALUE!
22.24 | 32 mm nominal outer dia .Pipes. | item81 | 70.2 | RMT |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | 18.7.4 | [33 empty] | 0 | 0 | #VALUE!
22.25 | 40 mm nominal outer dia .Pipes. | item82 | 24.38 | RMT |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | 18.7.5 | [33 empty] | 0 | 0 | #VALUE!
23 | INDUSTRIAL PARTITION WALL | [6 empty] | Excess(+) | 1 | Full Conversion
23.01 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | item83 | 17978.48 | Kg |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | 10.2 | [33 empty] | 0 | 0 | #VALUE!
23.02 | Industrial Partition Sandwich Puf panels for wall of thickness 50mm with PPGL metal sheet facing having AZ coating with both side sheet thickness 0.50mm In Off white color or equivalent as per the direction of Engineer Incharge with premium grade PU core. | item84 | 617.1 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | MR | [33 empty] | 0 | 0 | #VALUE!
23.03 | Providing and fixing factory made uPVC glazed/wire mesh windows/doors comprising of lead free uPVC multi-chambered frame, sash and mullion/coupler (where ever required) extruded profiles having minimum wall thickness of 1.70 mm for Series R1 and R2 profiles and 2.10 mm for Series R3 and R4 profiles conforming to EN: 12608 in any shape, colour and design duly reinforced with galvanized mild steel section made of required shape & size as per CPWD Specification, uPVC extruded glazing beads, interlocks and Inline sash adaptor (where ever required) of appropriate dimension, EPDM gasket, hardware, SS 304 grade fasteners of minimum 8 mm dia with countersunk head, comprising of matching polyamide PA6 grade sleeve for fixing frame to finished wall as per IS 1367 : Part 1 to 14, plastic packers, plastic caps and necessary stainless steel screws etc. Profile of frame, sash & mullion (if required) shall be mitred cut and fusion welded/mechanically jointed duly sealed at all corners, including drilling of holes for fixing hardware and drainage of water etc. After fixing frame the gap between frame and adjacent finished wall shall be filled with weather proof silicon sealant over backer rod of approved size and quality, all complete as per approved drawing conforming to CPWD specification & direction of Engineer-in-Charge. Section of steel reinforcement and cross sections of uPVC profiles to be as per design approved by Engineer-in-Charge. Wire mesh / Glazing of plain/ toughened/ laminated/ double glass unit with / without high performance coatings as per design requirements and conforming to IS: 3548 & IS: 16231 shall be paid separately. | item85 | 113.82 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | 9.147A | [33 empty] | 0 | 0 | #VALUE!
23.04 | Providing and fixing 12 mm thick frameless toughened glass door shutter of approved brand and manufacture, including providing and fixing top & bottom pivot & double acting hydraulic floor spring type fixing arrangement and making necessary holes etc. for fixing required door fittings, all complete as per direction of Engineer-in-charge (Door handle, lock and stopper etc.to be paid separately). | item86 | 113.82 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | 21.18 | [33 empty] | 0 | 0 | #VALUE!
24 | FLOORING | [6 empty] | Excess(+) | 1 | Full Conversion
24.01 | Kota stone slabs 20 mm thick in risers of steps, skirting, dado and pillars laid on 12 mm (average) thick cement mortar 1:3 (1 cement: 3 coarse sand) and jointed with grey cement slurry mixed with pigment to match the shade of the slabs, including rubbing and polishing complete | item87 | 31.75 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | 11.27 | [33 empty] | 0 | 0 | #VALUE!
24.02 | 52 mm thick cement concrete flooring with concrete hardener topping, under layer 40 mm thick cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) and top layer 12 mm thick cement hardener consisting of mix 1:2 (1cement hardener mix : 2 graded stone aggregate 6 mm nominal size) by volume, hardening compound mixed @ 2 litre per 50 kg of cement or as per manufacturer’s specifications. This includes cost of cement slurry, but excluding the cost of nosing of steps etc. complete | item88 | 1745.67 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | 11.4 | [33 empty] | 0 | 0 | #VALUE!
24.03 | Supply and application of 4mm thick self-smoothening breathable Polyurethane cementitious Flooring system including filler material or mortar for repairs of Low depth patched up to depth of 10 - 15 mm including Scrubbing of Old Flooring where ever Required, desired level of Surface Preparation as per Manufacturer's Specification complete in all respects. | item89 | 1196.8 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | MR | [33 empty] | 0 | 0 | #VALUE!
25 | FALSE CEILING | [6 empty] | Excess(+) | 1 | Full Conversion
25.01 | Providing & fixing false ceiling at all heights with GRG (Glass Fibre Reinforced Gypsum) false ceiling tiles of Size 595x595 mm of approved texture, design and patterns having moisture content less than 2%, humidity resistance of 99%, NRC0.50 to 0.75 as per IS 8225:1987, Non combustible as per BS 476 (part 4)-1970 and light reflectance of 85% (minimum) to be laid in true horizontal level suspended on inter-locking metal T-Grid of hot dipped galvanised iron section of 0.33mm thick (galvanized @ 120 grams per sqm including both sides) comprising of main-T runners of size 15x32 mm of length 3000 mm, cross - T of size 15x32 mm of length 1200 mm and secondary intermediate cross-T of size 15x32 mm of length 600mm to form grid module of size 600 x 600 mm, suspended from ceiling using galvanised mild steel items (galvanizing @ 80 grams per sqm) i.e. 50 mm long, 8 mm outer diameter M-6 dash fasteners, 6 mm dia fully threaded hanger rod upto 1000 mm length and L-shape level adjuster of size 85x25x2 mm. Galvanised iron perimeter wall angle of size 24x24x0.40 mm of length 3000 mm to be fixed on periphery wall / partition with the help of plastic rawl plugs at 450 mm center to center and 40 mm long dry wall wood screws. The work shall be carried out as per specifications, drawing and as per directions of the Engineer-in-Charge. With semi perforated 12 mm thick micro tegular edged GRG false ceiling tiles. | item90 | 1088 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | 26.26 | [33 empty] | 0 | 0 | #VALUE!
26 | LIFT ( B+G+1) | [6 empty] | Excess(+) | 1 | Full Conversion
26.01 | Providing & fixing of Commercial Lift of capacity 1000kg of speed 1m/s with 3 stops / opening will all accessories required to install Lift as per the direction of engineer incharge. | item91 | 1 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | MR | [33 empty] | 0 | 0 | #VALUE!
27 | Internal Wiring | [6 empty] | Excess(+) | 1 | Full Conversion
27.01 | Wiring to light, ceiling fan, exhaust fan, call bell, & 6A On board with 1.5sqmm FRLS PVC insulated 1100 volt grade multistranded copper conductor wire for phase, neutral and earth continuity conductor run inside 2mm wall thick ISI mark FRLS rigid PVC conduit pipe surface or recessed in wall/ column/ ceiling / above false ceiling / under the floor of the building including supply of materials such as clip-in type modular switches, metallic concealed box, wire, , junction box etc as per the electrical layout drawing & technical specifications complete with making good to the damages caused as required and as per direction of Engineer-in-charge. | [6 empty] | Excess(+) | 1 | Full Conversion
27.02 | Single light point controlled by one 6A switch | item92 | 378 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | DSR 2022 (Electrical) Item No 1.10.2 | [33 empty] | 0 | 0 | #VALUE!
27.03 | Ceiling Fan Point | item93 | 176 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | DSR 2022 (Electrical) Item No 1.10.3 | [33 empty] | 0 | 0 | #VALUE!
27.04 | 6A Socket & switch on existing Switch board | item94 | 34 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
27.05 | 2 way Point | item95 | 14 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | DSR 2022 (Electrical) Item No 1.11 | [33 empty] | 0 | 0 | #VALUE!
28 | Supply, delivery, installation & testing of suitable size Separate metallic concealed box with modular plate and cover in front on surface including following type plug boards with interconnections and making good the damages caused complete as required and as per direction of Engineer-in-charge. | [6 empty] | Excess(+) | 1 | Full Conversion
28.01 | 2x6 ampere plug boards consisting of a 2nos 6 amp clip-in type modular shuttered plug socket and 2nos 6 A clip-in type modular switches fixed on metallic concealed box connections etc. | item96 | 62 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | MR | [33 empty] | 0 | 0 | #VALUE!
28.02 | Supply, delivery, installation & testing of AC boards consisting of 25A Modular switch with 16A Moular socket in indivisual Modular G.I Box making good the damages caused complete as required and as per direction of Engineer-in-charge. | item97 | 1 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | MR | [33 empty] | 0 | 0 | #VALUE!
28.03 | Supplying and fixing 3 pin, 6 amp ceiling rose including connections etc. as required, as per drawing and as per the direction of Engineer in charge | item98 | 176 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | MR | [33 empty] | 0 | 0 | #VALUE!
28.04 | Supplying and fixing 6/16A modular socket with 16A Switch on modular plate & switch box including connections etc. as required. as per the direction of E.I.C. | item99 | 10 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | MR | [33 empty] | 0 | 0 | #VALUE!
29 | Wiring for circuits & submain with following number & sizes of FRLS PVC insulated 1100 volt grade multistranded copper conductor wire run inside 2mm thick PVC conduit pipe recessed in ceiling/ column/ walls of building including supply of all materials such as wires, PVC conduit, junction box & pull box etc complete with making good the damages caused as required and as per direction of Engineer-in-charge. | [6 empty] | Excess(+) | 1 | Full Conversion
29.01 | 2 numbers single core 1.5 sqmm copper wire for phase & neutral and 1 number single core 1.5 sqmm copper wire for earth continuity conductor.( for point wiring beyond 5mtrs long & 6A Switch Socket (Sep. board ) & 2nos 6A Switch Socket (Sep. board ) | item100 | 360 | Mtr |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | DSR 2022 (Electrical) Item No 1.14.1 | [33 empty] | 0 | 0 | #VALUE!
29.02 | 2 numbers single core 2.5 sqmm copper wire for phase & neutral and 1 number single core 2.5 sqmm copper wire for earth continuity conductor. | item101 | 210 | Mtr |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | DSR 2022 (Electrical) Item No 1.14.2 | [33 empty] | 0 | 0 | #VALUE!
29.03 | 2 numbers single core 4.0 sqmm copper wire for phase & neutral and 1 number single core 4.0 sqmm copper wire for earth continuity conductor. | item102 | 150 | Mtr |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | DSR 2022 (Electrical) Item No 1.14.3 | [33 empty] | 0 | 0 | #VALUE!
29.04 | 2 numbers single core 6.0 sqmm copper wire for phase & neutral and 1 number single core 6.0 sqmm copper wire for earth continuity conductor. | item103 | 60 | Mtr |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | DSR 2022 (Electrical) Item No 1.14.4 | [33 empty] | 0 | 0 | #VALUE!
29.05 | Supplying and fixing suitable size metallic concealed box with modular plate and cover in front on surface or in recess, including providng and fixing 1 no. Stepped type Modular Fan regulator (2 module), connections etc. as required. as per drawing and as per the direction of Engineer in charge | item104 | 176 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | MR | [33 empty] | 0 | 0 | #VALUE!
30 | Installation of Fittings & Fixtures | [6 empty] | Excess(+) | 1 | Full Conversion
30.01 | Installation ,Testing, Commissioning of ceiling Light/ LED Tube Light fittings of all sizes and shapes containing upto two LED lamps per fitting, complete with all accessories including connections etc. as required as per drawing and as per the direction of Engineer in charge | [6 empty] | Excess(+) | 1 | Full Conversion
30.02 | 40 Watt LED Tube Light | item105 | 90 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | MR | [33 empty] | 0 | 0 | #VALUE!
30.03 | 18 Watt LED Recess Light | item106 | 83 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | MR | [33 empty] | 0 | 0 | #VALUE!
30.04 | 36 Watt LED Recess Light | item107 | 199 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | MR | [33 empty] | 0 | 0 | #VALUE!
30.05 | 6 Watt LED Recess Light | item108 | 69 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | MR | [33 empty] | 0 | 0 | #VALUE!
30.06 | Supply, installation, testing and commissioning of ceiling fan & exhaust Fanincluding wiring the down rods of standard length (upto 30 cm) with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable, . as required, as per drawing and as per the direction of Engineer in charge | [6 empty] | Excess(+) | 1 | Full Conversion
30.07 | 1200 mm sweep | item109 | 153 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | MR | [33 empty] | 0 | 0 | #VALUE!
30.08 | 300 mm Heavy Duty Exhaust fan | item110 | 26 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | MR | [33 empty] | 0 | 0 | #VALUE!
31 | Supply, delivery, installation, testing & commissioning of L.T. indoor wall mounted double door type distribution boards of original factory made enclosures of the same brand as the MCB conforming to the relevant ISS and as per special conditions of contract making good the damages caused complete as per the direction of Engineer-in-charge. | [6 empty] | Excess(+) | 1 | Full Conversion
31.01 | BDB (4way(8+12) TPN DB) (IP-43 IK 09 with Metalic Door) | item111 | 2 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | DSR 2022 (Electrical) Item No 2.4.1 | [33 empty] | 0 | 0 | #VALUE!
31.02 | BDB (6way(8+18) TPN DB) (IP-43 IK 09 with Metalic Door) | item112 | 1 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | DSR 2022 (Electrical) Item No 2.4.2 | [33 empty] | 0 | 0 | #VALUE!
32 | Supply, delivery, installation, testing & commissioning following rating, four pole, (three phase and neutral), 415 volts, Residual current operated Circuit Breaker with Overcurrent protection" (RCBB), in the existing MCB DB complete with connections, testing and commissioning etc. as required and as per direction of Engineer-in-charge | [6 empty] | Excess(+) | 1 | Full Conversion
32.01 | 40A | item113 | 1 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | DSR 2022 (Electrical) Item No 2.15.2 | [33 empty] | 0 | 0 | #VALUE!
32.02 | 25A | item114 | 2 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | DSR 2022 (Electrical) Item No 2.15.1 | [33 empty] | 0 | 0 | #VALUE!
33 | Supplying and fixing 5 amps to 32 amps rating, 240/415 volts, 10 kA, “C” curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. | [6 empty] | Excess(+) | 1 | Full Conversion
33.01 | 5 amps to 32 SP MCB 10KA 'C' | item115 | 42 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | DSR 2022 (Electrical) Item No 2.10.1 | [33 empty] | 0 | 0 | #VALUE!
34 | Supply & Fixing of following sizes of Heavy Mechanical Strees class PVC conduit along with accessories in recess including cutting the wall and making good the same in case of recessed conduit as required , as required and as per direction of Engineer-in-charge. | [6 empty] | Excess(+) | 1 | Full Conversion
34.01 | 25mm | item116 | 300 | Mtr |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | DSR 2022 (Electrical) Item No 1.21.2 | [33 empty] | 0 | 0 | #VALUE!
34.02 | 20mm | item117 | 400 | Mtr |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | DSR 2022 (Electrical) Item No 1.21.1 | [33 empty] | 0 | 0 | #VALUE!
35 | TERRACE PUMPS | [6 empty] | Excess(+) | 1 | Full Conversion
35.01 | Supplying, installation, testing and commissioning of electric driven terrace pump with suitable for automatic operation and consisting of following, complete in all respects, as required: (Terrace Pump) (a) Horizontal type, Multistage, centrifugal, split casing pump of cast iron body & bronze impeller with stainless steel shaft, confirming to IS : 1520 (b) Suitable HP squirell cage induction motor TEFC type suitable for operation on 415 volts, 3 phase, 50 Hz, AC supply with IP55 class of protection for enclosure, horiziontal foot mounted type with Class-'F' insulation, conforming to IS-325. (c) M.S.fabricated common base plate, coupling, coupling guard, foundation bolts etc.as required. (d) Suitable cement concrete foundation duly plastered and with anti-vibration pads. Warranty: 3year-warranty from OEM shall be produced. | [6 empty] | Excess(+) | 1 | Full Conversion
35.02 | 900 LPM @ 35 M Head (9.3kw, 12.5 HP) | item118 | 1 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | DSR 2022 (Electrical) Item No18.4.1 | [33 empty] | 0 | 0 | #VALUE!
36 | AUTOMATION & CONTROL PANEL FOR TERRACE PUMPS | [6 empty] | Excess(+) | 1 | Full Conversion
36.01 | Supply, delivery, installation, testing & commissioning of TERRACE PUMP CONTROL PANEL wall / floor mounted type distribution boards with 100Amp AL Bus Bar ,Indication Lamp ,Selector Switch ,Voltmeter & Ammeter, made out of 2mm thick CR sheet metal cubicle fixed on m.s. channel base, duly acid treated for derusting, primered and painted with 2 coats of enamel paint with post office box RED colour , dust, damp & vermin proof, having hinged door and compartmental arrangement for each equipment, cable alley chamber in each outgoings & busbar chamber on the top of the panel running horizontally, having provision for cable ,with control wiring top/bottom entry, earthing studs as per specification mentioned below duly factory frlsh wired conforming to the relevant IS and as per special conditions of contract making good the damages caused complete as per the direction of Engineer-in-charge. Incomer :- 63A 4P,MCCB-1 NOS , OUT GOING:- 32A,3P+N,MCB'C'-2 NOS ,DOL STARTER (7.5 HP , AUTOMATIC):-1 NOS . | item119 | 1 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | MR | [33 empty] | 0 | 0 | #VALUE!
37 | Supplying & laying one number XLPE insulated PVC inner sheathed copper Conductor Copper armoured cable of 1.1 KV grade Conforming to IS 7098/1988 as required. | [6 empty] | Excess(+) | 1 | Full Conversion
37.01 | 3 Core x 10 Sqmm (Terrace Pump) | item120 | 100 | Meter |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | DSR 2022 (Electrical) Item No 7.7.1 | [33 empty] | 0 | 0 | #VALUE!
38 | Suppling and making end termination with brass compression gland and copper lugs for following size of PVC insulated and PVC sheathed / XLPE copper conductor cable of 1.1 KV grade as required. | [6 empty] | Excess(+) | 1 | Full Conversion
38.01 | 3C X 10 sqmm | item121 | 2 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | DSR 2022 (Electrical) Item No 9.1.7 | [33 empty] | 0 | 0 | #VALUE!
39 | PRESSURE SWITCH | [6 empty] | Excess(+) | 1 | Full Conversion
39.01 | Supply, Installation testing and commissioning of IPS Pressure switch along with the required cutoff ball valve, socket, bush and all are complete as per the direction of the Engineer in charge. | item122 | 26 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | DSR 2022 (Electrical) Item No 18.22 | [33 empty] | 0 | 0 | #VALUE!
40 | PRESSURE GAUGE | [6 empty] | Excess(+) | 1 | Full Conversion
40.01 | Supply, Installation testing and commissioning of Glycerine filled specific dia SS dial Pressure gauge along with the required cutoff ball valve, socket, bush and all are complete as per the direction of the Engineer in charge. | item123 | 26 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | MR | [33 empty] | 0 | 0 | #VALUE!
41 | BUTTERFLY VALVE | [6 empty] | Excess(+) | 1 | Full Conversion
41.01 | Supplying, fixing, testing and commissioning of butterfly valve of PN 1.6 rating with bronze / gunmetal seat duly ISI marked complete nuts, bolts, washers, gaskets conforming to IS 13095 of Following size as required: | [6 empty] | Excess(+) | 1 | Full Conversion
41.02 | 150mm dia | item124 | 12 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | DSR 2022 (Electrical) Item No 18.11.6 | [33 empty] | 0 | 0 | #VALUE!
41.03 | 100mm dia | item125 | 5 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | DSR 2022 (Electrical) Item No 18.11.5 | [33 empty] | 0 | 0 | #VALUE!
41.04 | 50mm dia | item126 | 2 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | DSR 2022 (Electrical) Item No 18.11.2 | [33 empty] | 0 | 0 | #VALUE!
42 | NON RETURN VALVE | [6 empty] | Excess(+) | 1 | Full Conversion
42.01 | Providing, fitting & fixing of following size Cast iron double flanged type Non return Valve as per IS- 5312 (Part 1): 2004 with ISI mark of pressure ratting PN-1.60 including fixing the same with supply of required jointing materials like flanges, rubber insertion, MS nuts & bolts, paint etc. and testing the joints with required water pressure for all floors etc. all complete as per specification & direction of E.I.C. | [6 empty] | Excess(+) | 1 | Full Conversion
42.02 | 150mm dia | item127 | 4 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | DSR 2022 (Electrical) Item No 18.14.7 | [33 empty] | 0 | 0 | #VALUE!
42.03 | 100mm dia | item128 | 5 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | DSR 2022 (Electrical) Item No 18.14.5 | [33 empty] | 0 | 0 | #VALUE!
43 | Y-STRAINER | [6 empty] | Excess(+) | 1 | Full Conversion
43.01 | Providing, fitting & fixing of following size Cast iron double flanged (CIDF) type Y strainer as per IS- 14846 : 2000 and with stainless steel mesh 1.2 mm with ISI mark of pressure ratting PN-1.60 including fixing the same with supply of required jointing materials like flanges, rubber insertion, MS nuts & bolts, paint etc. and testing the joints with required water pressure for all floors etc. all complete as per specification & direction of E.I.C. | [6 empty] | Excess(+) | 1 | Full Conversion
43.02 | 150mm dia | item129 | 1 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | DSR 2022 (Electrical) Item No 18.15.3 | [33 empty] | 0 | 0 | #VALUE!
44 | BALL VALVE | [6 empty] | Excess(+) | 1 | Full Conversion
44.01 | Providing, fitting and fixing of 25mm size Gunmetal / Bronze ball valves confirming to IS:14845/2000 with ISI mark for waterworks purposes including fixing the same with hydrant riser including testing & commissioning the system etc. all complete as per approved specification & direction of EIC. | item130 | 25 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | MR | [33 empty] | 0 | 0 | #VALUE!
45 | AIR RELEASE VALVE | [6 empty] | Excess(+) | 1 | Full Conversion
45.01 | Supplying and fixing air vessel made of 250 mm dia, 8 mm thick MS sheet, 1200 mm in height with air release valve on top and flanged connection to riser, drain arrangement with 25 mm dia gun metal wheel valve with required accessories, pressure gauge and paintingwith synthetic enamel paint of approved shade as required. | item131 | 1 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | DSR 2022 (Electrical) Item No 18.2 | [33 empty] | 0 | 0 | #VALUE!
46 | 'C' CLASS HEAVY DUTY M.S. PIPE | [6 empty] | Excess(+) | 1 | Full Conversion
46.01 | Providing laying, testing & commissioning of 'C' class heavy duty MS Pipe conforming to IS 1239/3589 i/c fittings like elbows, tees, flanges, tapers, nuts bolts, gaskets etc. in ground including welding, excavation & providing cement concrete blocks as supports, anti corrosive treatment with coaltar/asphalt tape as per IS 10221, refilling the trench etc. of following sizes complete as required. | [6 empty] | Excess(+) | 1 | Full Conversion
46.02 | 150 mm dia | item132 | 20 | Meter |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | DSR 2022 (Electrical) Item No 18.6.2 | [33 empty] | 0 | 0 | #VALUE!
47 | Providing all materials, labour, T&P for laying of following dia M.S. heavy grade class C pipes conforming to IS:1239/IS:3589 with ISI mark & required sizes of fitting like off set, bend, tee, reducer, flange & flange joints etc. as per site condition including gas cutting by oxygen and acetelene gas flame, fitting and setting as per required size wherever necessary, jointing the pipes by electric welding confirming to( IS specification and electrodes confirming to IS specification after 'V' grove cutting. supporting/fixing the pipe on floor / wall /ceiling with clamps, hangers (using anchor fasteners) or angle iron, G.I. pipe sleeve of suitable higher size shall be provided including cutting holes and chases in brick/RCC wall/roof/chajja and making good the same to original condition. All hangers, clamps, brackets etc. shall be of galvanized iron unless specified otherwise and then supply of the same shall also be included. Painting 2 (two) or more coats with synthetic enamel paint of Signal red shade over a coat of zinc primer for above ground level. Prior to application of primer the surface should be cleaned for any dirt, rusts, rough substance etc. Including painting of legends both direction arrow as per the approved specification including testing & commissioning the system.The cost inclusive of hire and running charges of welding generator set transportation, hire & running charges of machineries, POL, to & fro charges with all consumables for all floors etc. all complete as per specification & direction of EIC. | [6 empty] | Excess(+) | 1 | Full Conversion
47.01 | 150 mm dia | item133 | 980 | Meter |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | DSR 2022 (Electrical) Item No 18.7.8 | [33 empty] | 0 | 0 | #VALUE!
47.02 | 100 mm dia | item134 | 150 | Meter |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | DSR 2022 (Electrical) Item No 18.7.7 | [33 empty] | 0 | 0 | #VALUE!
47.03 | 80 mm dia | item135 | 80 | Meter |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | DSR 2022 (Electrical) Item No 18.7.6 | [33 empty] | 0 | 0 | #VALUE!
47.04 | 65 mm dia | item136 | 80 | Meter |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | DSR 2022 (Electrical) Item No 18.7.5 | [33 empty] | 0 | 0 | #VALUE!
47.05 | 50 mm dia | item137 | 80 | Meter |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | DSR 2022 (Electrical) Item No 18.7.4 | [33 empty] | 0 | 0 | #VALUE!
47.06 | 40 mm dia | item138 | 180 | Meter |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | DSR 2022 (Electrical) Item No 18.7.3 | [33 empty] | 0 | 0 | #VALUE!
47.07 | 32 mm dia | item139 | 200 | Meter |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | DSR 2022 (Electrical) Item No 18.7.2 | [33 empty] | 0 | 0 | #VALUE!
47.08 | 25 mm dia | item140 | 900 | Meter |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | DSR 2022 (Electrical) Item No 18.7.1 | [33 empty] | 0 | 0 | #VALUE!
48 | FIRST-AID HOSE-REEL | [6 empty] | Excess(+) | 1 | Full Conversion
48.01 | Supplying and fixing first-aid Hose Reel with MS construction spray painted in post office red, conforming to IS 884 complete with the following as required. (A) 20 mm nominal internal dia water hose thermoplastic (Textile reinforced) type -2 as per IS: 12585 (B) 20 mm nominal internal dia gun metal globe valve & nozzle. (C ) Drum and brackets for fixing the equipmets on wall. (D) Connections from riser with 25 mm dia stop gun metal valve & M.S. Pipe and socket. (30mtr Length) | item141 | 25 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | DSR 2022 (Electrical) Item No 18.17.1 | [33 empty] | 0 | 0 | #VALUE!
49 | Single headed internal hydrant valve | [6 empty] | Excess(+) | 1 | Full Conversion
49.01 | Supplying and fixing single headed internal hydrant valve with instantaneous Stainless Steel coupling of 63 mm dia with cast iron wheel ISI marked conforming to IS 5290 (Type -A) with blank Gunmetal/Stainless Steel cap and chain as required | item142 | 25 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | DSR 2022 (Electrical) Item No 18.9.2 | [33 empty] | 0 | 0 | #VALUE!
50 | Weather proof hose cabinets | [6 empty] | Excess(+) | 1 | Full Conversion
50.01 | Supply, Installation, Testing & Commissioning of: Weather proof hose cabinets fabricated from 16 g M.S. Sheet with full glass door and locking arrangement, suitable to accommodate 2 nos. 15 M long hose and 1 No branch pipe. The cabinet shall be painted with one coat of primer and finished stove enamelled "Fire Red", "Fire Hose" written on front including suitably mounted on a raised masonry platform as required. (Approx 0.75mx0.6 m x 0.25 m). | item143 | 25 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | MR | [33 empty] | 0 | 0 | #VALUE!
51 | Gun metal short branch pipe | [6 empty] | Excess(+) | 1 | Full Conversion
51.01 | Supplying and fixing 63 mm. dia gun metal short Stainless Steel branch pipe with 20 mm (Nominal internal diameter) size Stainless Steel nozzle conforming to IS903, suitable for instantaneous connection to interconnect hose pipe coupling as required. | item144 | 25 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | DSR 2022 (Electrical) Item No 18.18.2 | [33 empty] | 0 | 0 | #VALUE!
52 | RRL hose pipe | [6 empty] | Excess(+) | 1 | Full Conversion
52.01 | Supplying and fixing 63 mm dia, 15 m long RRL hose pipe with 63 mm dia male and female couplings duly bound with GI wire, rivets etc. conforming to IS 636 (type-A) as required Stainless Steel (Grade 304) | item145 | 50 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | DSR 2022 (Electrical) Item No 18.16.2 | [33 empty] | 0 | 0 | #VALUE!
53 | 2-WAY FIRE INLET | [6 empty] | Excess(+) | 1 | Full Conversion
53.01 | Supplying and fixing, testing and commissioning of 2-way fire brigade connection of CI body with 2 Nos. gunmetal male intertaneous inlet couplings complete with rubber blank caps & chains as required for 100 mm dia Ms pipe connection confirming to IS: 904 as required. | item146 | 5 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | DSR 2022 (Electrical) Item No 18.19.1 | [33 empty] | 0 | 0 | #VALUE!
54 | FIRE ALARM SYSTEM | [6 empty] | Excess(+) | 1 | Full Conversion
54.01 | Supplying, installation, testing and commissioning of micro processor based intelligent addressable main fire alarm panel, central processing unit with the following loop modules and capable of supporting not less than 240 devices (including detectors) and minimum 120 detectors per loop and loop length up to 2 km, network communication card, minimum 320 character graphics/ LCD display with touch screen or other keypad and minimum 4000 events history log in the non volatile memory (EPROM), power supply unit (230 ± 5 % V, 50 hz), 48 hrs back-up with 24 volt sealed maintenance free batteries with automatic charger. The panel shall have facility to connect printer to printout log and facility to have seamless integration with analog/digital voice evacuation system (which is part of the schedule of work under SH: PA System) and shall be complete with all accessories. The panel shall be compatible for IBMS system with open protocol BACnet/ Modbus over IP complete as per specifications. | item147 | 1 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | DSR 2022 (Electrical) Item No 17.2.1.2 | [33 empty] | 0 | 0 | #VALUE!
54.02 | Supplying installation testing and commissioning of Addressable manual call point soft addressable type with in built fault isolator as per NFPA style 7 wiring etc all complete as per specification & direction of EIC. | item148 | 37 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | DSR 2022 (Electrical) Item No 17.2.14 | [33 empty] | 0 | 0 | #VALUE!
54.03 | Supplying, installing, testing and commissioning of addressable loop power Hooter Cum Strobe (strength of light led) complete witrh inbuilt isolator as per requirement etc all complete as per specification & direction of EIC. | item149 | 37 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | DSR 2022 (Electrical) Item No 17.2.15 | [33 empty] | 0 | 0 | #VALUE!
54.04 | Supply, Installation, Testing & Commissioning of addressable fire control module all complete as per specification & direction of EIC. | item150 | 1 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | DSR 2022 (Electrical) Item No 17.2.10 | [33 empty] | 0 | 0 | #VALUE!
54.05 | Supplying & laying of 2x1.5 sqmm fire alarm armoured cable, 600/1000V rated with annealed copper conductor having steel wire armouring complete as required. all complete as per specification & direction of Engineer-in-charge. | item151 | 800 | Meter |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | DSR 2022 (Electrical) Item No 17.5.2 | [33 empty] | 0 | 0 | #VALUE!
55 | Fire Extinguishers | [6 empty] | Excess(+) | 1 | Full Conversion
55.01 | Supplying & fixing of powder type fire extinguisher (stored pressure type confirming to IS:15683:2006) 6 Kg. capacity with initial refill of ISI marked ABC powder completed with squeeze grip, release valve, discharge pipe, pressure gauge, locking safety clip, mounting bracket etc. i/c fixing on wall etc. as required. | item152 | 65 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | MR | [33 empty] | 0 | 0 | #VALUE!
55.02 | SITC of Carbon Dioxide (CO2) gas type fire extinguisher of 4.5 Kg. capacity with initial charge i/c discharge hose and horn, squeeze grip release valve, locking arrangement, bracket with two screw and sleeve i/c fixing on wall as required. (Fire extinguisher shall be ISI marked confirming to IS: 15683) | item153 | 40 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | MR | [33 empty] | 0 | 0 | #VALUE!
56 | Signages | [6 empty] | Excess(+) | 1 | Full Conversion
56.01 | Supplying and Installation in position the following type of sign boards made out of 3mm thick "Opaque" PVC foam board with computer cut, PVC non-reflective self adhesive vinyle painted foam board, complete with mirror fasteners. Lift, Staircase, Floor, Corridors, all exit doors etc. | item154 | 70 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | MR | [33 empty] | 0 | 0 | #VALUE!
56.02 | Supplying, & Fixing of Fire Escape Route Floor plan Photoluminesent Vinyle sheet pasted on 4mm thick ACP Sheet covered with 4mm thick toughend glass to fixed on wall of sizemade of A3 or 600mm x 600mm , the design and drawing approved by the Engineer-In-Charge with necessary studs complete in all respect. | item155 | 15 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | MR | [33 empty] | 0 | 0 | #VALUE!
56.03 | Single sided EXIT LED Light fitting signage (both side visible) with built in battery back-up for 2 hrs with proper wiring with PVC conduiting from the existing power sources for all floors etc. | item156 | 20 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | MR | [33 empty] | 0 | 0 | #VALUE!
57 | PA SYSTEM | [6 empty] | Excess(+) | 1 | Full Conversion
57.01 | Supplying, installation, testing & commissioning of 6/3/1.5 Watts wall/surface/ceiling mounted speakers complete as required or as per direction of EIC. | item157 | 100 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | DSR 2022 (Electrical) Item No 17.3.3 | [33 empty] | 0 | 0 | #VALUE!
57.02 | Supply, Installation, Testing & Commissioning of 250W Class-D, Public Address System compatible for Fire Alarm Panels - for the purpose of making announcements, conveying information and messages needed in a particular location or zone - The consoles comes in a range begins from not less than 6 Zone. This console is user friendly system with option of zone selection for individual zone announcement and common announcement through goose neck/handheld microphones, It should have functioned like audio playing, zone control fault monitoring, log recording, volume control and amplifier switch over etc all complete as per specification & direction of EIC. | item158 | 1 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | MR | [33 empty] | 0 | 0 | #VALUE!
57.03 | Supply,installation,testing and commissioning of 9U Rack Standard for Racks configuration will be welded frame integrated with side panel and vented top cover with fan mounting provision, associated with Front Glass Door with Lock & Key and Back Metal Door with Lock & Key and freestanding on floor with 4 No casters wheels with 2 No with brakes and 2 No without brakes Available in 6RU ~32RU Variants with 600 Depth configurations and 600 Width configurations Floor Mount Racks - FM Series. | item159 | 1 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | MR | [33 empty] | 0 | 0 | #VALUE!
57.04 | Supply and wiring with 2C x 1.5 sq.mm FRL-SH twisted pair shielded, PVC insulated unarmoured copper conductor cable, PVC overall sheathed cable in laid surface / recessed HMS PVC conduit with interconnections complete as required and as directed by EIC for public address system. | item160 | 800 | Meter |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | DSR 2022 (Electrical) Item No 1.21.2 | [33 empty] | 0 | 0 | #VALUE!
58 | SPRINKLER SYSTEM | [6 empty] | Excess(+) | 1 | Full Conversion
58.01 | Supply, Installation, Testing & Commissioning of Pendent / Upright type standard Sprinkler with quartzoid bulb of 68 / 79 deg. C temperature rating and 1/2" end connection confirming to IS:15105 with ISI mark for all floors etc. All complete as per direction of EIC. | item161 | 350 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | DSR 2022 (Electrical) Item No 18.21.1 / 18.21.2 | [33 empty] | 0 | 0 | #VALUE!
58.02 | Supply, testing & commissioning of Orifice plate made out of 6 mm thick stainless steel sheet with orifice of required size in between flange and landing valve of external and internal hydrant to reduce pressure to working pressure of 3.5 kg/cm´ etc all complete as per direction EIC. | item162 | 2 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | DSR 2022 (Electrical) Item No 18.13 | [33 empty] | 0 | 0 | #VALUE!
58.03 | Supply, Installation, testing and commissioning of Water Flow Switch with the following M.S. pipe sizes including all accessories for all floor etc. all complete as per direction of EIC. (150mm) | item163 | 2 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | DSR 2022 (Electrical) Item No 18.23.2 | [33 empty] | 0 | 0 | #VALUE!
58.04 | Supplying, laying, testing and commissioning approved make 2C x 2.5 Sq.mm. PVC insulated, armoured cable PVC sheathed,600/1000 V rated with annealed copper conductor having XLPE insulation for annunciation panel of flow switch on the sprinkler line capable of sending impulses to the control room with accessories. | item164 | 100 | Meter |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | MR | [33 empty] | 0 | 0 | #VALUE!
58.05 | Supplying, installation, testing & commissioning of sprinkler flexible pipe (UL Listed) of Stainless steel complete with 15NPT on reducer thread with maximum working pressure of 175 PSI test pressure of 875 PSI (Brust) with branch line (inlet) 25mm NPT male thread to sprinkler head (Outlet) 15mm NPT female thread with reducer, nipple, 2 side brackets, center bracket, stockbar of following sizes as required: (1000mm Length) | item165 | 350 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | DSR 2022 (Electrical) Item No 18.25.2 | [33 empty] | 0 | 0 | #VALUE!
59 | Construction of 12000 Liters RCC Under ground Reservoir of Inside size- (2.0*2.0*3.0)m | [6 empty] | Excess(+) | 1 | Full Conversion
59.01 | Earth work in excavation by mechanical means (Hydraulic excavator)/ manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and lift upto 1.5 m, as directed by Engineer-in charge. All kinds of soil | [6 empty] | Excess(+) | 1 | Full Conversion
59.02 | Upto 1.5 Mtr Depth | item166 | 10.14 | Cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | 2.6.1 | [33 empty] | 0 | 0 | #VALUE!
59.03 | From 1.5 Mtr to 3.0 Mtr Depth | item167 | 11.83 | Cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | 2.26.1 | [33 empty] | 0 | 0 | #VALUE!
60 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. | [6 empty] | Excess(+) | 1 | Full Conversion
60.01 | Nominal concrete 1:4:8 or leaner mix (including equivalent design mix) | item168 | 1.86 | Cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | 15.2.2 | [33 empty] | 0 | 0 | #VALUE!
61 | Plain Cement concrete (1:4:8)in foundation and floors using 4cm(1½”) size hard crusher broken granite stone metal of approved quality and from approved quarry including lowering, laying concrete, watering, curing etc, complete to required levels laid in layers not exceeding 0’-6” thick in each layer including cost, conveyances, royalties, taxes of all materials and cost of all labour with T&P required for the work etc, complete as per specification & direction of the Engineer-in-charge. | item169 | 0.51 | Cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | 4.1.8 | [33 empty] | 0 | 0 | #VALUE!
62 | Providing and laying in position ready mixed or site batched design mix cement concrete for reinforced cement concrete work; using coarse aggregate and fine aggregate derived from natural sources, Portland Pozzolana / Ordinary Portland /Portland Slag cement, admixtures in recommended proportions as per IS: 9103 to accelerate / retard setting of concrete, to improve durability and workability without impairing strength; including pumping of concrete to site of laying, curing, carriage for all leads; but excluding the cost of centering, shuttering, finishing and reinforcement as per direction of the engineer-in-charge; for the following grades of concrete | [6 empty] | Excess(+) | 1 | Full Conversion
62.01 | All works upto plinth level | [6 empty] | Excess(+) | 1 | Full Conversion
62.02 | Concrete of M35 grade with minimum cement content of 370 kg /cum | item170 | 9.1 | Cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | 5.33.1.2 | [33 empty] | 0 | 0 | #VALUE!
63 | Centering and shuttering including strutting, propping etc. and removal of form for | [6 empty] | Excess(+) | 1 | Full Conversion
63.01 | Foundations, footings, bases of columns, etc. for mass concrete | item171 | 2.34 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | 5.9.1 | [33 empty] | 0 | 0 | #VALUE!
63.02 | Walls (any thickness) including attached pilasters, butteresses, plinth and string courses etc. | item172 | 53.52 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | 5.9.2 | [33 empty] | 0 | 0 | #VALUE!
63.03 | Suspended floors, roofs, landings, balconies and access platform etc. | item173 | 5.97 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | 5.9.3 | [33 empty] | 0 | 0 | #VALUE!
64 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. Thermo-Mechanically Treated bars of grade Fe-500D or more. | item174 | 1321.75 | Kg |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | 5.22.6 | [33 empty] | 0 | 0 | #VALUE!
65 | Providing and applying integral crystalline slurry of hydrophilic in nature for waterproofing treatment to the RCC structures like retaining walls of the basement, water tanks, roof slabs, podiums, reservior, sewage & water treatment plant, tunnels / subway and bridge deck etc., prepared by mixing in the ratio of 5 : 2 (5 parts integral crystalline slurry : 2 parts water) for vertical surfaces and 3 : 1 (3 parts integral crystalline slurry : 1 part water) for horizontal surfaces and applying the same from negative (internal) side with the help of synthetic fiber brush. The material shall meet the requirements as specified in ACI- 212-3R-2010 i.e by reducing permeability of concrete by more than 90% compared with control concrete as per DIN 1048 and resistant to 16 bar hydrostatic pressure on negative side. The crystalline slurry shall be capable of self-healing of cracks up to a width of 0.50mm. The work shall be carried out all complete as per specification and the direction of the engineer-in-charge. The product performance shall carry guarantee for 10 years against any leakage- | [6 empty] | Excess(+) | 1 | Full Conversion
65.01 | For vertical surface two coats @ 0.70 kg per sqm | item175 | 12 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | 22.23.1 | [33 empty] | 0 | 0 | #VALUE!
65.02 | For horizontal surface one coat @ 1.10 kg per sqm | item176 | 8 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | 22.23.2 | [33 empty] | 0 | 0 | #VALUE!
66 | Providing and applying of swellable type water stop tape, 19mm x25mm thick in linear meter (expansive nature) for construction jointstreatment of RCC structure such as raft slab, retaining walls, water storage tank and at the junctions of raft slab with the retaining wallsetc.. After cleaning the surface, one coat of required primer forswellable water stop tape shall be applied throughout the length ofthe joint @3.78 litre per 240 running meter. Over the primed surface swellable type water stop tape shall be placed. The work shall becarried out all complete as per specification and the direction of theEngineer-In-Charge. The product performance shall carry guarantee for 10 years against any leakage. | item177 | 10.82 | Mtr |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | 22.26 | [33 empty] | 0 | 0 | #VALUE!
67 | Providing orange colour safety foot rest of minimum 6 mm thickplastic encapsulated as per IS : 10910, on 12 mm dia steel barconforming to IS: 1786, having minimum cross section as 23 mmx25mm and over all minimum length 263 mm and width as 165 mm withminimum 112 mm space between protruded legs having 2 mm tread fixing, including fixing in manholes with 30x20x15 cm cementconcrete block 1:3:6 (1 cement : 3 coarse sand : 6 graded stone aggregate 20 mm nominal size) complete as per designon top surface by ribbing or chequering besides necessary and adequate anchoring projections on tail length on 138 mm as perstandard drawing and suitable to with stand the bend test andchemical resistance test as per specifications and having manufacture's permanent identification mark to be visible even after | item178 | 20 | No's |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | 19.16 | [33 empty] | 0 | 0 | #VALUE!
68 | Providing and fixing 600mm dia Cast Iron Precast Concrete Manhole cover over UGR including cost, conveyance, taxes of all materials, cost of all labour, labour cess, T&P, etc. complete as per the direction of Engineer-in-Charge. | item179 | 1 | No's |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | MR | [33 empty] | 0 | 0 | #VALUE!
69 | Providing and fixing on wall face unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring, Clamp 50x 3 mm Flate conforming to IS : 5382, leaving 10 mm gap for thermal expansion. | item180 | [5 empty] | Excess(+) | 1 | Full Conversion
69.01 | 160 mm | item181 | 100 | Mtr |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | MR | [33 empty] | 0 | 0 | #VALUE!
70 | Supplying all materials, labour, T&P, fitting and fixing of following dia uPVC SWR (Ringfit) fittings of approved make confirming to IS-14735 in all floor with all duties, transportation & requisite testing as per specification & direction of EIC. | [6 empty] | Excess(+) | 1 | Full Conversion
70.01 | 160 mm Bend 87.5° | item182 | 2 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | MR | [33 empty] | 0 | 0 | #VALUE!
70.02 | 160 mm Coupler | item183 | 17 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | MR | [33 empty] | 0 | 0 | #VALUE!
70.03 | 110x75mm Floor Trap | item184 | 1 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | MR | [33 empty] | 0 | 0 | #VALUE!
70.04 | 110x75mm Multi Trap | item185 | 2 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | MR | [33 empty] | 0 | 0 | #VALUE!
71 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge. Internal work - Exposed on wall | [6 empty] | Excess(+) | 1 | Full Conversion
71.01 | 50 mm nominal dia Pipes | item186 | 5 | Mtr |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | 18.7.6 | [33 empty] | 0 | 0 | #VALUE!
72 | Providing all materials, labour,T&P and fittings and fixing of different water supply fittings (Quarter Turn or as specified) as per IS specification & approved make in all floor of following sizes and specification with leak proof threaded joints with thread seal tape or any other method as required and directed including all duties, transportation etc., testing and rectification of defects after testing complete as per direction of Engineer-in-charge. | [6 empty] | Excess(+) | 1 | Full Conversion
72.01 | SS Grating with/without waste pipe hole | item187 | 3 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
73 | Lowering and lifting of Submersible pump for Sump Tank | [6 empty] | Excess(+) | 1 | Full Conversion
73.01 | LAP 2015 / 0.5 HP | item188 | 1 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | MR | [33 empty] | 0 | 0 | #VALUE!
73.02 | Control Panel | item189 | 1 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | MR | [33 empty] | 0 | 0 | #VALUE!
74 | Sub Structure | [6 empty] | Excess(+) | 1 | Full Conversion
74.01 | Earth work in excavation by mechanical means (Hydraulic excavator) /manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m. All kinds of soil | item190 | 73.1 | cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | 2.8 | [33 empty] | 0 | 0 | #VALUE!
74.02 | Extra for every additional lift of 1.5 m or part thereof in excavation /banking excavated or stacked materials. | item191 | 24.37 | cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | 2.26 | [33 empty] | 0 | 0 | #VALUE!
74.03 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 m and lift upto 1.5 m. | item192 | 86.25 | cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | 2.25 | [33 empty] | 0 | 0 | #VALUE!
74.04 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:3:6 (1 Cement : 3 coarse sand (zone-III) derived from natural sources : 6 graded stone aggregate 20 mm nominal size derived from natural sources) | item193 | 2.01 | cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | 4.1.5 | [33 empty] | 0 | 0 | #VALUE!
75 | Providing and laying in position ready mixed or site batched design mix cement concrete for plain cement concrete work; using coarse aggregate and fine aggregate derived from natural sources, Portland Pozzolana/Ordinary Portland /Portland Slag cement, admixtures in recommended proportions: 9103 to accelerate / retard setting of concrete, to improve durability and workability without impairing strength; including pumping of concrete to site of laying, curing, carriage for all leads; but excluding the cost of centering, shuttering and finishing as per direction of the engineer-in-charge; for the following grades of concrete. Note: Extra cement up to 10% of the minimum specified cement content in design mix shall be payable separately. In case the cement content in design mix is more than 110% of the minimum specified cement content, the contractor shall have discretion to either re-design the mix or bear the cost of extra cement. All works upto plinth level : | [6 empty] | Excess(+) | 1 | Full Conversion
75.01 | Concrete of M30 grade with minimum cement content of 350 kg /cum | item194 | 11.23 | Cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | 5.33.1.2 | [33 empty] | 0 | 0 | #VALUE!
76 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level Thermo-Mechanically Treated bars of grade Fe-500D or more. | item195 | 1347.84 | Kg |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | 5.22.6 | [33 empty] | 0 | 0 | #VALUE!
77 | Centering and shuttering including strutting, propping etc. and removal of form work for : | [6 empty] | Excess(+) | 1 | Full Conversion | [7 empty] | 5.9
77.01 | Foundations, footings, bases for columns | item196 | 37.08 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | 5.9.1 | [33 empty] | 0 | 0 | #VALUE!
77.02 | Lintels, beams, plinth beams, girders, bressumers and cantilevers | item197 | 18 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | 5.9.5 | [33 empty] | 0 | 0 | #VALUE!
78 | Super Structure | [6 empty] | Excess(+) | 1 | Full Conversion
78.01 | Steel work in built up tubular (round, square or rectangular hollow tubes etc.) trusses etc., including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer, including welding and bolted with special shaped washers etc. complete. Hot finished welded type tubes | item198 | 1292.47 | Kg |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | 10.16.1 | [33 empty] | 0 | 0 | #VALUE!
78.02 | Providing and fixing hand rail of approved size by welding etc. to steel ladder railing, balcony railing, staircase railing and similar works, including applying priming coat of approved steel primer M.S. tube | item199 | 27.2 | Kg |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | 10.26 | [33 empty] | 0 | 0 | #VALUE!
78.03 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. - In stringers, treads, landings etc. of stair cases, including use of chequered plate wherever required, all complete | item200 | 1867.04 | Kg |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | 10.25.1 | [33 empty] | 0 | 0 | #VALUE!
79 | GRP TANK | [6 empty] | Excess(+) | 1 | Full Conversion
79.01 | Providing, Testing & Commioning of GRP (Glass Reinforced Plastic) water tank conforming to IS 14856: 2000 as per approved drawings and specification with all CPVC fittings. | item201 | 1 | Job |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | MR | [33 empty] | 0 | 0 | #VALUE!
Total in Figures | [51 empty] | 0 | 0 | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information