## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: WAPCOS Limited
Work Name : Water Supply Arrangement for Drawing 3 MLD Raw Water from Pazhassi Reservoir to KINFRA Industrial Park, Mattannur – Phase 1
Contract No: WAP/INFRA/KERALA/2025/KPZI/513
Bidder Name :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55
1 | CIVIL | BI01010001010000000000000515BI0100001113 | [6 empty] | 1 | [45 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.001 | 2.31 Clearing jungle including uprooting of rank vegetation, grass, brush wood, trees and saplings of girth up to 30 cm measured at a height of 1 m above ground level and removal of rubbish up to a distance of 50 m outside the periphery of the area cleared |  | 600 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.002 | OD20412/2025-2026 Putting of bund by driving half split coconut poles having length of 7m (1.5 m bed&lt;br&gt;level) at a distance of 45cm c/c at both sides. Tying with 1/2 split coconut poles horizontals at top and&lt;br&gt;middle, providing struts across the bund using half split coconut piles between poles at both sides,&lt;br&gt;providing support using half split coconut poles from half depth of the bund to the bed. Tying coconut&lt;br&gt;reapers horizontally at 20cm c/c to the poles and screening with plated green coconut in pairs over the&lt;br&gt;reapers, providing earth filled gunnybags inside the structures towards the width of 50cm at both sides & filled inside with puddle clay and packing sand bag on slope area, bund length- 45m (width4m,height 5.5m) |  | 400 | cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
1.003 | 100.3.7.1 Earthwork in open well excavation (above water) for wells of diameter above 6.0m and up to 9.0m in all kinds of soil and conveying and depositing the spoil within initial lead of 50m and lift up to 1.5m including neat banking. |  | 124.588 | cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.004 | 100.3.7.12 Earthwork in open well excavation (in or under water) for wells of diameter above 6.0m and up to 9.0m in all kinds of soil and conveying and depositing the spoil within initial lead of 50m and lift from 1.50m to 3.0m including neat banking. |  | 87.088 | cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.005 | 100.3.7.13 Earthwork in open well excavation (in or under water) for wells of diameter above 6.0m and up to 9.0m in all kinds of soil and conveying and depositing the spoil within initial lead of 50m and lift from 3.0m to 4.5m including neat banking. |  | 87.088 | cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.006 | 100.4.7 Granite rock blasting in wells, measured in solids, including collecting and stacking spoil for measurement within the initial lead of 50m and lift up to 3.0m (1.5m to 3.0m) but excluding bailing out water and including providing protection by earth filled cement bags (300 Nos. of earth filled cement bags / 10 m3 blasting) to avoid damages to the nearby structures) |  | 37.5 | cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.007 | 100.4.9 Granite rock blasting in wells, measured in solids, including collecting and stacking spoil for measurement within the initial lead of 50m and lift up to 6.0m (4.5m to 6.0m) but excluding bailing out water and including providing protection by earth filled cement bags (300 Nos. of earth filled cement bags / 10 m3 blasting) to avoid damages to the nearby structures) |  | 87.088 | cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.008 | OD21318/2025-2026 Granite rock blasting in wells, measured in solids, including collecting and stacking spoil for measurement within the initial lead of 50m and lift up to 6.0m (6m to 7.5m) but excluding bailing out water and including providing protection by earth filled cement bags (300 Nos. of earth filled cement bags / 10 m3 blasting) to avoid damages to the nearby structures) |  | 87.088 | cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.009 | OD21332/2025-2026 Granite rock blasting in wells, measured in solids, including collecting and stacking spoil for measurement within the initial lead of 50m and lift up to 6.0m (7.5m to 9m) but excluding bailing out water and including providing protection by earth filled cement bags (300 Nos. of earth filled cement bags / 10 m3 blasting) to avoid damages to the nearby structures) |  | 87.088 | cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.01 | OD21349/2025-2026 Granite rock blasting in wells, measured in solids, including collecting and stacking spoil for measurement within the initial lead of 50m and lift up to 6.0m (9m to 10.0m) but excluding bailing out water and including providing protection by earth filled cement bags (300 Nos. of earth filled cement bags / 10 m3 blasting) to avoid damages to the nearby structures) |  | 58.059 | cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.011 | 100.7.2 Bailing out water with engine and pump set above 5HP up to 10HP including conveyance to the site, erecting, dismantling and taking back of engine and pump, cost of fuel lubricating oil and other stores pay of staff etc., complete. |  | 25000 | Kwh |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.012 | 4.1.3 Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level:1:2:4 (cement : 2 coarse sand (zone-III) : 4 graded stone aggregate 20 mm nominal size) |  | 9.774 | Kwh |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.013 | 5.9.12 Centering and shuttering including strutting, etc. and removal of form for:Well steining |  | 622.034 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.014 | 5.9.3 Centering and shuttering including strutting, etc. and removal of form for:Suspended floors, roofs, landings, balconies and access platform |  | 128.968 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.015 | 5.9.5 Centering and shuttering including strutting, etc. and removal of form for:Lintels, beams, plinth beams, girders bressumers and cantilevers |  | 63.855 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.016 | 5.9.6 Centering and shuttering including strutting, etc. and removal of form for:Columns, Pillars, Piers, Abutments, Posts and Struts |  | 182.48 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.017 | 5.22.6 Steel reinforcement for R.C.C work including straightening, cutting, bending, placing in position and binding all complete upto plinth levelThermo - Mechanically Treated bars of grade Fe-500D or more |  | 15291.32 | kg |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.018 | 5.22A.6 Steel reinforcement for R.C.C work including straightening, cutting, bending, placing in position and binding all complete above plinth level.Thermo - Mechanically Treated bars of grade Fe-500D or more |  | 4522.4 | kg |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.019 | 5.33.2 Providing and laying in position machine batched and machine mixed design mix M25 grade cement concrete for reinforced cement concrete work, using cement content as per approved design mix, including pumping of concrete to site of laying but excluding the cost of centering, shuttering, finishing and reinforcement, including admixtures in recommended proportions as per IS: 9103 to accelerate, retard setting of concrete, improve workability without impairing strength and durability as per direction of Engineer - in-charge. Note:- Cement content considered in this item is @ 330 kg/ cum. Excess or less cement used as per design mix is payable or recoverable separately.All work above plinth level upto floor V level |  | 24.834 | cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.02 | 5.33.2.2 Providing and laying in position machine batched and machine mixed design mix M25 grade cement concrete for reinforced cement concrete work, using cement content as per approved design mix, including pumping of concrete to site of laying but excluding the cost of centering, shuttering, finishing and reinforcement, including admixtures in recommended proportions as per IS: 9103 to accelerate, retard setting of concrete, improve workability without impairing strength and durability as per direction of Engineer - in-charge. Note:- Cement content considered in this item is @ 330 kg/ cum. Excess or less cement used as per design mix is payable or recoverable separately.Concrete of M30 grade with minimum cement content of 350 kg /cum |  | 132.264 | cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.021 | 50.6.1.2 Solid block masonry using pre cast solid blocks (Factory made) of size 40x20x20cm or nearest available size confirming to IS 2185 part I of 1979 for super structure up to floor two level thickness 20cm and above in: CM 1:6 ( 1 cement: 6 coarse sand) etc complete. |  | 23.057 | cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.022 | 13.1.1 12 mm cement plaster of mix:1:4 ( 1 cement : 4 fine sand) |  | 254.968 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.023 | 13.16.1 6 mm cement plaster of mix:1:3 ( 1 cement : 3 fine sand) |  | 141.865 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.024 | 10.26.3 Providing and fixing hand rail of approved size by welding etc. to steel ladder railing, balcony railing, staircase railing and similar works, including applying priming coat of approves steel primer.G.I. pipes |  | 324.048 | kg |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.025 | 10.6.1 Supplying and fixing rolling shutters of approved make, made of required size M.S. laths, interlocked together through their entire length and jointed together at the end by end locks, mounted on specially designed pipe shaft with brackets, side guides and arrangements for inside and outside locking with push and pull operation complete, including the cost of providing and fixing necessary 27.5 cm long wire springs manufactured from high tensile steel wire of adequate strength conforming to IS: 4454 - part 1 and M.S. top cover of required thickness for rolling shutters.80x1.25 mm M.S. laths with 1.25 mm thick top cover |  | 9 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.026 | 13.44.1 Finishing walls with water proofing cement paint of required shade:New work (Two or more coats applied @ 3.84 kg/10 sqm) |  | 396.833 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.027 | 13.50.3 Applying priming coat:With ready mixed red oxide zinc chromate primer of approved brand and manufacture on steel galvanised iron /steel works |  | 18 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.028 | 10.25.2 Item Shifted to Sub head 14 as item 14.73 Item Shifted to head 14 as item 14.74 Steel work welded in built up sections/framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required.In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works |  | 500 | kg |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.029 | 50.9.1.1 Providing wood work in frames of doors, windows, clerestory windows and other frames, wrought framed and fixed in position with hold fast lugs or with dash fasteners of required dia & length (hold fast lugs or dash fastener shall be paid for separately), using good quality Anjili wood /jack wood |  | 0.233 | cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.03 | 50.9.3.1 Providing and fixing paneled or paneled and glazed shutters for doors, windows and clerestory windows, 30 mm thick shutters including ISI marked M.S. pressed butt hinges bright finished of required size with necessary screws, excluding paneling which will be paid for separately, all complete as per direction 0f Engineer in- charge. using Anjili/ Jack wood |  | 7.5 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.031 | 10.1 Structural steel work in single section, fixed with or without connecting plate, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. |  | 80 | kg |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.032 | 100.1.1 Excavating trenches of required width for pipes, cables, etc., including excavation for sockets, and dressing of sides, ramming of bottoms, depth up to 1.5m, including getting out the excavated soil, and then returning the soil as required, in layers not exceeding 20cm in depth, including consolidating each deposited layer by ramming, watering, etc., and disposing of surplus excavated soil as directed, within a lead of 50m, in all kinds of soil. |  | 150 | cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.033 | 100.1.15 Excavating trenches of required width for pipes, cables, etc., including excavation for sockets, and dressing of sides, ramming of bottoms, depth exceeding 3m but not exceeding 4.5m, including getting out the excavated soil, and then returning the soil as required, in layers not exceeding 20cm in depth, including consolidating each deposited layer by ramming, watering, etc., and disposing of surplus excavated soil as directed, within a lead of 50m, in Hard Rock where Blasting is Prohibited. |  | 112.5 | cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.034 | 100.1.2 Excavating trenches of required width for pipes, cables, etc., including excavation for sockets, and dressing of sides, ramming of bottoms, depth exceeding 1.5m but not exceeding 3m, including getting out the excavated soil, and then returning the soil as required, in layers not exceeding 20cm in depth, including consolidating each deposited layer by ramming, watering, etc., and disposing of surplus excavated soil as directed, within a lead of 50m, in all kinds of soil. |  | 150 | cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.035 | 100.14.10 Conveying and laying S&S Centrifugally Cast (Spun) / Ductile Iron Pipes conforming to IS: 8329 excluding cost of pipes and specials: 600mm diameter Ductile Iron Class K-9 Pipes. |  | 60 | metre |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.036 | 100.41.33 Supplying and fixing 500mm dia C.I. manhole cover with frame (medium duty) charges including all cost, labour charges etc., complete. |  | 3 | no |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.037 | 100.98.124 Supply of DI K9 Pipe Conforming to IS 8329/2000, 600mm Dia. |  | 60 | metre |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.038 | 18.30.12 Providing flanged joints to double flanged C.I./ D.I pipes and specials, including testing of joints:600 mm diameter pipe |  | 8 | no |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.039 | OD22202/2025-2026 Providing S S Strainer at the mouth of 600 mm DI K9 leading pipe laid in the river bed portion and fixing permanently |  | 2 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.04 | 18.68.1 Providing and laying D.I specials of class K - 12 suitable for push - on jointing as per IS : 9523 :Upt 600 mm dia |  | 2 | quintal |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.041 | 18.70.10 Providing push - on-joints to Centrifugally (Spun) Cast Iron Pipes or Ductile Iron Pipes including testing of joints and including the cost of rubber gasket:600 mm dia pipes |  | 15 | joint |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.042 | 18.83.12 Labour for cutting C.I. pipe with steel saw.600 mm diameter C.I. pipe |  | 5 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.043 | 100.98.468 Supply of CI Double Flanged Sluice Valve Conforming to IS 14846 - 2000, Sluice Valve with Cap PN 1.6, Size 600mm. |  | 2 | no |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.044 | OD22128/2025-2026 Supplying, erection, testing, trial run commissioning a high-quality grantary crane of capacity 3 Ton and a lift of 6m including the cost of all accessories, for operating the equipment conveyance and loading/unloading charges- , Installation and commissioning of and providing Structural steelwork riveted, bolted or welded in built-up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete.It can move in circular motion and East-west, North-south directions and lift pump from any position in the pump house. |  | 1 | no |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.045 | OD22152/2025-2026 Fabricating and providing valve controlling mechanism for 500 mm sluice valves three numbers fitted inside inspection chamber by extending connection from valve head of all three valves up to walk way of pump house by MS fabrication work and making the valve operation easy by providing bearings in the extended rod and providing support with the civil structure using ISA/ISMC and making the unit functional including cost and conveyance of all materials, all fabrication charges etc. complete as per the direction of engineer in charge. |  | 2 | no |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2 | ELECTRIFICATION | [7 empty] | 1
2.001 | 1.10.3 Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed medium class PVC conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm. FRLS PVC insulated copper conductor single core cable etc as required.Group C |  | 14 | point |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.002 | OD21522/2025-2026 Wiring combined plug point together with the light point/ fan point/ exhaust fan point/ call bell point including 6 A 5 pin modular socket controlled by 6A one way modular switch in the existing switch board and giving connection to the phase,neutral and earth terminal with 1.5 sq.mm. FRLS PVC insulated copper conductor single core cable ( Green wire for earthing) etc as required. |  | 2 | point |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.003 | 90.3.19.3 Supply conveyance, installation, testing and commissioning the light fittings of following types made from CRCA sheet 0.5mm thickness with all accessories and lamps directly on wall and giving connections with 16/0.20 mm 3 core PVC insulated and sheathed round copper conductor flex wire or extending the original wiring and giving connections as required1200 mm 1X20W LED Lamp with box type fixture |  | 7 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.004 | 90.15.4.2 Supply Conveyance, installation, testing and commissioning of 36/40W LED street light output greater than 105lumen/W 4000-6000 K with IP 66 protection LED Chip make Cree/Lumilled/Nichea with power factor greater than 0.95 at full load, internal surge protection up to 8 KV,and Aluminium pressure die-cast Powder coated housing,acrylic cover complete with THD less than 10%, power factor greater than 0.98, RoHS compliant, duly wired up for use on 230 V AC supply. Driver compartment should be seperatly accessible for maintenance (LM 79&80 certificates from NABL accredited Third party lab to be produced mentioning chip manufacturer) |  | 6 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.005 | 90.3.18.2 Supply, fabrication, conveyance and fixing the following sizes of B class GI pipe bent to shape / cut and welded to shape and fixing the same to wall / parapet using clamps as noted along with each size, painting with 2 coats of synthetic enamel paint over a coat of zinc chromate primer, making good the damages, colour washing etc as required.32 mm dia with HG company fabricated clamps |  | 9 | metre |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.006 | OD21524/2025-2026 SITC of Bulk head fittings Pressure die cast housing IP 65 Protection against dust and water on wall including cutting necessary holes, giving connections with the extended original wiring , making good the damages ,Colour washing etc. as required. |  | 2 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.007 | 90.4.1 Supply and installation of suitable size MS rod type fan clamp in the RCC slab as per IS 732 as required. |  | 2 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.008 | OD21525/2025-2026 Supply, Installation, Testing and Commissioning of 1200 mm sweep, BEE 5 star rated, ceiling fan with Brush Less Direct Current (BLDC) Motor, class of insulation: B, 3 nos. blades, 30 cm long down rod, 2 nos. canopies, shackle kit, safety rope, copper winding, Power Factor not less than 0.9, Service Value (CMM/W) minimum 6.85, Air delivery minimum 215 CMM, 350 RPM (tolerance as per IS : 374- 2019), THD less than 10%, remote or electronic regulator unit for speed control and all remaining accessories including safety pin, nut bolts, washers, temperature rise=75 degree C (max.), insulation resistance more than 2 mega ohm, suitable for 230 V, 50 Hz, single phase AC Supply, earthing etc. complete as required. |  | 2 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.009 | 90.4.9 Charges for cutting holes suitable for accommodating exhaust fans above 305mm sweep and up to 450mm sweep including plastering colour washing etc. as required. |  | 2 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.01 | OD21527/2025-2026 Supply, conveyance, installation , testing and commissioning of 450 mm sweep 1400 rpm Heavy Duty Exhaust fan in metal frame working on 230 V A/C in the existing opening, fixing necessary anchor bolts / bolt and nuts etc., as required including giving connections with the supplied wire along with the exhaust fan. |  | 2 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.011 | 1.21.1 Supplying and fixing of following sizes of medium class PVC conduit along with accessories in surface/ recess including cutting the wall and making good the same in case of recessed conduit as required.20 mm |  | 100 | metre |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.012 | 1.21.2 Supplying and fixing of following sizes of medium class PVC conduit along with accessories in surface/ recess including cutting the wall and making good the same in case of recessed conduit as required.25 mm |  | 50 | metre |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.013 | 1.21.3 Supplying and fixing of following sizes of medium class PVC conduit along with accessories in surface/ recess including cutting the wall and making good the same in case of recessed conduit as required.32 mm |  | 25 | metre |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.014 | 1.27.2 Supplying and fixing following size/ modules, GI box alongwith modular base & cover plate for modular switches in recess etc as required.3 Module (100mmX75mm) |  | 3 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.015 | 1.24.3 Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required.15/16 amp switch |  | 3 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.016 | 1.24.5 Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required.6 pin 15/16 amp socket outlet |  | 3 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.017 | 1.17.3 Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface / recessed steel/ PVC conduit as required.3 X 1.5 sq.mm |  | 70 | metre |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.018 | 1.17.12 Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface / recessed steel/ PVC conduit as required.3 x 2.5 sq. mm |  | 50 | metre |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.019 | 1.17.21 Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface / recessed steel/ PVC conduit as required.3 x 4 sq. mm |  | 30 | metre |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.02 | 1.17.30 Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface / recessed steel/ PVC conduit as required.3 x 6 sq. mm |  | 30 | metre |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.021 | 90.16.1.1 Supply and drawing bare earthing conductors of the following sizes along with wiring/ cables and giving connection as required2.00 mm copper conductor ( 14 SWG) |  | 60 | metre |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.022 | 90.16.5.1 Supply of superior quality copper earth socket for the following size of earth conductor including crimping etc. as required.2.00 mm (14 SWG) |  | 10 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.023 | 90.11.1.10 Supply and installation of sheet steel, phosphatised and painted, dust and vermin proof enclosure of MCB DB including copper /brass bus bar, neutral link, earth bus and DIN rail suitable for fixing MCB/ isolator etc. fixed on wall using suitable anchor bolts or fixed in recess including cutting hole on the wall , making good the damages, colour washing etc. as required4 way (8+12) - three phase double cover (IP 42/43) |  | 1 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.024 | 2.13.2 Supplying and fixing following rating, four pole, 415 volts, isolator in the existing MCB DB complete with connections, testing and commissioning etc. as required.63 amps |  | 1 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.025 | 2.15.2 Supplying and fixing following rating, four pole, (three phase and neutral), 415 volts, residual current circuit breaker (RCCB), having a sensitivity current upto 300 milliamperes in the existing MCB DB complete with connections, testing and commissioning etc. as required.40 amps |  | 1 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.026 | 2.10.1 Supplying and fixing 5 amps to 32 amps rating, 240/415 volts, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required.Single pole |  | 12 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.027 | OD21530/2025-2026 Supply and Laying of 11KV, 3 core 300 sq mm stranded compact circular aluminium conductor, conductors screened with extruded semi conducting compound XLPE insulated, insulation screened with extruded semi conducting compound incombination with copper tape (0.3KA for I sec.) cores laid up. inner sheath of PVC tape, galvanised steel flat strip armoured, and overall PVC sheathed cable conforming to IS: 7098 part II 1985 with latest amendments in the existing RCC/ HUME/METAL pipe as required |  | 200 | metre |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.028 | OD21531/2025-2026 Supply, laying and clamping of 11KV ,3 core 300 sq mm stranded compact circular aluminium conductor, conductors screened with extruded semi conducting compound XLPE insulated, insulation screened with extruded semi conducting compound in combination with copper tape (0.3KA for I sec.) cores laid up. inner sheath of PVC tape, galvanised steel flat strip armoured, and overall PVC sheathed cable conforming to IS: 7098 part II 1985 with latest amendments using clamps noted along with the cables, spacing of clamps not exceeding 60cms, making good the damages , colour washing etc. as required.3 core 300 sq mm |  | 60 | metre |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.029 | 90.12.7.36 Supply, laying and clamping of 1 no. PVC insulated and PVC sheathed armoured aluminium power cable, 1.1 KV grade of the following sizes using clamps noted along with the cables, spacing of clamps not exceeding 60cms, making good the damages , colour washing etc. as required.3.5 core 300 sq mm |  | 100 | metre |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.03 | 90.12.7.34 Supply, laying and clamping of 1 no. PVC insulated and PVC sheathed armoured aluminium power cable, 1.1 KV grade of the following sizes using clamps noted along with the cables, spacing of clamps not exceeding 60cms, making good the damages , colour washing etc. as required.3.5 core 185 sq mm |  | 40 | metre |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.031 | 10.4.4 Supplying and making indoor cable end termination with heat shrinkable jointing kit complete with all accessories including lugs suitable for following size of 3 core, XLPE aluminium conductor cable of 11 KV grade as required:300 sq. mm |  | 1 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.032 | 10.5.4 Supplying and making outdoor cable end termination with heat shrinkable jointing kit complete with all accessories including lugs suitable for following size of 3 core, XLPE aluminium conductor cable of 11 KV grade as required :300 sq. mm |  | 1 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.033 | 9.1.30 Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required.3 1/2X 300 sq. mm (70mm) |  | 4 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.034 | 9.1.27 Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required.3 1/2X 185 sq. mm (57mm) |  | 2 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.035 | 90.14.1.2 Fabrication, supply, conveyance, installation testing and commissioning of floor or wall mounting, dust and vermin proof, cubicle type MV panel board comprising of the following components/ devices & complying to IS 8623. Fabrication of fully partitioned, dust and vermin proof enclosure for panel assembly as per form 4 of IS 8623 (with latest amendments) using CRCA sheet as per approved design and requirement, with front and rear access facility, bus bar chambers, hinged doors for all switch gear compartments, earthing the doors using 4 sq mm braided copper conductor, providing necessary cut-outs for mounting meters, relays, indication lamps, bus bar interconnection etc, detachable covers for bus bar chamber and cable alley, powder coating the assembly after subjecting to 7 tank process etc as required. CRCA sheet alone be used for the fabrication. Angles/ flats/ slotted angles etc shall not be used for the fabrication of panel assembly. The measurments will be taken the area of the complete sheets used for panel board including partitions, folding, shrouding etc.Supply and fabrication of MV panel board using 1.6mm CRCA sheet, powder coated (excluding base frame) |  | 30 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.036 | 90.14.2.1 Supply and providing 2mm SMC sheet as shrouding for bus interconnection / terminations etc. including required nut & bolt etc. |  | 3.5 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.037 | 90.14.3.1 Supply and providing heavy duty 'A' section neoprene gasket in the panel boardA' section neoprene beeding suitable for 1.60/ 2.00 mm sheet |  | 25 | metre |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.038 | 90.14.4 Supply and fabrication conveyance and installation of base frame of panel board using 75 x 40 mm rolled steel channel (ISMC) |  | 8 | metre |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.039 | 90.14.6 Supply and providing copper bus bars including finger type SMC bus bar supports in the bus chamber, suitable size nut & bolt, providng heat shrink sleeves etc. as required. |  | 4500 | cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.04 | 90.14.7 Supply and providing copper earth bus in the panel board |  | 1500 | cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.041 | 90.14.10.17 Supply, conveyance and fixing the following types & current rated control gears & switchgears conforming to IS 13947 suitable for 440 V, 50 Hz, AC supply in the existing panel assembly as required.320A/400A, 50/55 kA (Ics=100%Icu), 4 pole, current limiting type MCCB with microprocessor based release with overload setting of 50 - 100% having adjustable OL & SC |  | 4 | no |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.042 | 90.14.10.13 Supply, conveyance and fixing the following types & current rated control gears & switchgears conforming to IS 13947 suitable for 440 V, 50 Hz, AC supply in the existing panel assembly as required.200A, 35/36 kA (Ics=100%Icu), 4 pole, current limiting type MCCB with microprocessor based release with overload setting of 50 100% having adjustable OL & SC |  | 1 | no |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.043 | 90.14.10.10 Supply, conveyance and fixing the following types & current rated control gears & switchgears conforming to IS 13947 suitable for 440 V, 50 Hz, AC supply in the existing panel assembly as required.16A -100A, 35/36 kA (Ics=100%Icu), 4 pole, current limiting type MCCB with microprocessor based release with overload setting of 50 - 100% having adjustable OL & SC |  | 1 | no |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.044 | 90.14.11.15 MCCB AccessoriesSupply and fixing rotary handle, External type (including BUC handle with door interlock ) in the existing MCCB of rating up to 315-630 A |  | 5 | no |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.045 | 90.14.11.14 MCCB AccessoriesSupply and fixing rotary handle, Direct type (including BUC handle with door interlock ) in the existing MCCB of rating up to 250 A |  | 2 | no |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.046 | 90.14.11.3 MCCB AccessoriesSupply and fixing one number earth fault Relay up to 250A to 400A with CBCT. |  | 1 | no |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.047 | OD21533/2025-2026 Supply and fixing one set of spreader/ terminal adaptor kit Extended terminal for 4 pole MCCB of rating 320 A - 400 A |  | 8 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.048 | OD21532/2025-2026 Supply and fixing one set of spreader/ terminal adaptor kit Extended terminal for 4 pole MCCB of rating 200 A |  | 2 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.049 | OD21534/2025-2026 Supply and Fixing of Spreader Terminals for 4 pole MCCB in the existing panel board and giving connections etc. as required. 100A |  | 2 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.05 | OD21957/2025-2026 Providing and fixing the following multi function meter to read: V, A, F, 3 phase accuracy class 1 in existing panel and giving connection complete as required. |  | 2 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.051 | OD21985/2025-2026 Supply and fixing 400/5A Cast resin Metering CT including connection in existing Panel board |  | 3 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.052 | OD21988/2025-2026 Supply and fixing 250/5A Cast resin Metering CT including connection in existing Panel board |  | 3 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.053 | OD22012/2025-2026 Supply and fixing 20 A bake lite type HRC fuse base with link in existing metal box and giving connections etc.as required. |  | 6 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.054 | 90.14.24.76 Supply & fixing the following Power Capacitors 3 phase delta connected in positon and giving connection.30 KVAr, 3 phase, 520 V, Metalised Poly Propylene Heavy duty, Box type resin filled Capacitor suitable for APFC panel with block reactor. |  | 1 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.055 | 90.14.24.74 Supply & fixing the following Power Capacitors 3 phase delta connected in positon and giving connection.20 KVAr, 3 phase, 520 V, Metalised Poly Propylene Heavy duty, Box type resin filled Capacitor suitable for APFC panel with block reactor. |  | 1 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.056 | 90.14.24.73 Supply & fixing the following Power Capacitors 3 phase delta connected in positon and giving connection.15 KVAr, 3 phase, 520 V, Metalised Poly Propylene Heavy duty, Box type resin filled Capacitor suitable for APFC panel with block reactor. |  | 1 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.057 | 90.14.24.71 Supply & fixing the following Power Capacitors 3 phase delta connected in positon and giving connection.10KVAr, 3 phase, 520 V, Metalised Poly Propylene Heavy duty, Box type resin filled Capacitor suitable for APFC panel with block reactor. |  | 2 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.058 | 90.14.24.68 Supply & fixing the following Power Capacitors 3 phase delta connected in positon and giving connection.5 KVAr, 3 phase, 520 V, Metalised Poly Propylene Heavy duty, Box type resin filled Capacitor suitable for APFC panel with block reactor. |  | 1 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.059 | OD21539/2025-2026 Supply and fixing 3 pole, capacitor duty contactor with AC coil for switching capacitor banks of rating 30 - 33 KVAR &amp; with 1 NO auxiliary contact in the existing panel assembly as required. |  | 1 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.06 | OD21535/2025-2026 Supply and fixing 3 pole, capacitor duty contactor with AC coil for switching capacitor banks of rating 16 - 25 KVAR &amp; with 1 NO auxiliary contact in the existing panel assembly as required. |  | 1 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.061 | OD21536/2025-2026 Supply and fixing 3 pole, capacitor duty contactor with AC coil for switching capacitor banks of rating 11 - 15 KVAR &amp; with 1 NO auxiliary contact in the existing panel assembly as required. |  | 1 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.062 | OD21537/2025-2026 Supply and fixing 3 pole, capacitor duty contactor with AC coil for switching capacitor banks of rating 7.5 -10 KVAR &amp; with 1 NO auxiliary contact in the existing panel assembly as required. |  | 2 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.063 | OD21538/2025-2026 Supply and fixing 3 pole, capacitor duty contactor with AC coil for switching capacitor banks of rating 4 - 7 KVAR &amp; with 1 NO auxiliary contact in the existing panel assembly as required |  | 1 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.064 | OD21540/2025-2026 Supply and providing 8 stage 440/110V 5/1A Intelligent power factor controller in the existing panel board and giving connection |  | 1 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.065 | OD22120/2025-2026 Flush head Push Button with 1 NC Block |  | 6 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.066 | OD22121/2025-2026 Flush head Push Button with 1 NO Block. |  | 6 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.067 | OD22122/2025-2026 Supply and Fixing of Illuminated Flush head Actuator - Green with legend 'ON', (Contact - 1 NO) and giving connection as required. |  | 6 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.068 | OD22228/2025-2026 Carrying out control wiring for panel with normal meters and indication lamps alone with 650/1100 V grade PVC insulated stranded single core copper conductor cables conforming to IS 694 part I 1990 for interconnecting the control devices/equipment's including providing suitable size insulated sockets at the termination points or soldered properly, providing numbering ferules for the proper identification of the wiring, keeping the wiring firm by suitable tie/tie mounts/PVC duct etc as required. 1.5 sq mm wire single run |  | 30 | metre |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.069 | OD22229/2025-2026 Carrying out control wiring for panel with normal meters and indication lamps alone with 650/1100 V grade PVC insulated stranded single core copper conductor cables conforming to IS 694 part I 1990 for interconnecting the control devices/equipment's including providing suitable size insulated sockets at the termination points or soldered properly, providing numbering ferules for the proper identification of the wiring, keeping the wiring firm by suitable tie/tie mounts/PVC duct etc as required. 2.5 sq mm wire single run |  | 30 | metre |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.07 | OD22230/2025-2026 Carrying out control wiring for panel with normal meters and indication lamps alone with 650/1100 V grade PVC insulated stranded single core copper conductor cables conforming to IS 694 part I 1990 for interconnecting the control devices/equipment's including providing suitable size insulated sockets at the termination points or soldered properly, providing numbering ferules for the proper identification of the wiring, keeping the wiring firm by suitable tie/tie mounts/PVC duct etc as required. 4.00 sq mm wire single run |  | 20 | metre |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.071 | OD22233/2025-2026 Carrying out control wiring for panel with normal meters and indication lamps alone with 650/1100 V grade PVC insulated stranded single core copper conductor cables conforming to IS 694 part I 1990 for interconnecting the control devices/equipment's including providing suitable size insulated sockets at the termination points or soldered properly, providing numbering ferules for the proper identification of the wiring, keeping the wiring firm by suitable tie/tie mounts/PVC duct etc as required. 6.00 sq mm wire single run |  | 15 | metre |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.072 | OD22231/2025-2026 Carrying out control wiring for panel with normal meters and indication lamps alone with 650/1100 V grade PVC insulated stranded single core copper conductor cables conforming to IS 694 part I 1990 for interconnecting the control devices/equipment&#39;s including providing suitable size insulated sockets at the termination points or soldered properly, providing numbering ferules for the proper identification of the wiring, keeping the wiring firm by suitable tie/tie mounts/PVC duct etc as required. 10.00 sq mm wire sin |  | 10 | metre |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.073 | OD22232/2025-2026 Carrying out control wiring for panel with normal meters and indication lamps alone with 650/1100 V grade PVC insulated stranded single core copper conductor cables conforming to IS 694 part I 1990 for interconnecting the control devices/equipment's including providing suitable size insulated sockets at the termination points or soldered properly,providing numbering ferules for the proper identification of the wiring, keeping the wiring firm by suitable tie/tie mounts/PVC duct etc as required. 16.00 sq mm wire single run |  | 10 | metre |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.074 | OD36517/2025-2026 Supply, conveyance, installation, testing and commissioning of 200 KVA out door Oil filled Transformer with 11 KV 50HZ ,350MVA, 630A VCB on H.T.side and manually operated, with bottom / top entry cable box as per technical details furnished below. H.T. Portion H.T. Portion consists of (1)1No 11K.V, 630A,350MVA VCB suitable for 3 phase,3 wire,50 HZ system with 20 A H.R.C. fuses with earth inter lock with main switch and mechanical ON/OFF indication, and LT portion consists of 630 A, 50/55 kA (Ics=100%Icu), 4 pole, current limiting type MCCB with microprocessor based release with overload setting of 50-100% having adjustable OL &amp; SC. (2)shunt trip coil for the remote operation of the the VCB (3)1No, 0-12 K.V (or nearest range) voltmeter with selector switch,(4) One number Cast resin type P.T and 6 Nos CTs Transformer Portion Supply of 200 K.V.A , 11 K.V, 50 HZ,3 phase Vector DYN-11, Oil cooled transformer with tapping +5% to 10% in steps of 2.5% operatable through Off circuit Tap switch with LV Cable Box Delta/Star connected cast resin insulated copper wound transformer. The core shall be made of high grade laser scribed core shall be protected against corrosion by epoxy resin finish. Class &#39;F&#39; insulation level shall be maintained. OFF load tap changing facility shall be incorporated so as to achieve tap position of 2.5% x 4.Temperature scanner with trip annunciator, Blower for cooling shall be provided. The transformer shall confirm to IEC 726 and I.S 11171/1985 reaffirmed in 1991 . L.T.Portion The LT portion shall be provided with 1No over current earth fault relay, suitable ratio NCT, Shunt trip in existing MCCB as required. All inter connection from HT to VCB and to LT breaker shall be given using Aluminium bus bars and support insulators. All internal earth connections are to be given as per standards. Necessary protection shall be made for giving cable connections on the HT side as well as LT side. Phase barriers and shrouding as per rules has to be given. The enclosure shall comply to IP 20 standards made of 2 mm GI sheet and shall powder coating the assembly after subjecting to 7 tank process, air ventilation arrangement etc as required. The USS shall be installed as per the directions at site. |  | 1 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.075 | OD22243/2025-2026 Supply and providing three Phase HT TOD Meter 3Phase 4 Wire /5A with an accuracy of Class 0.2S DLMSC compatable as per the KSEB Standard with terminal block and 20A fuse with HRC link |  | 1 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.076 | 2.21 Providing and fixing M.V. danger notice plate of 200 mm X 150 mm, made of mild steel, at least 2 mm thick, and vitreous enameled white on both sides, and with inscription in single red colour on front side as required. |  | 2 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.077 | OD22086/2025-2026 Supply, laying and clamping of 2.5 sq mm 2 core PVC / XLPE insulated armoured control cables with copper conductors for working voltages up to and including 1100 V conforming to IS |  | 30 | metre |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.078 | OD22124/2025-2026 Supply and fixing water proof emergency stop Rotary Self-locking Push-button Switch with IP65 protection and giving connections required. |  | 1 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.079 | 12.1 Supplying and erection of stay set complete (galvanised) with 19/20 mm dia X 1.8 metres long stay rod, anchor plate of size 45 cm X 45 cm X 7.5 mm, thimble, stay clamps, turn buckle ( 20 mm X 60 cm ), 7/ 4.00 mm dia G.I. stay wire and strain insulator etc in cement concrete 1:3:6 (1 cement : 3 coarse sand : 6 graded stone aggregate 40 mm nominal size ) foundation including excavation and refilling etc. as required. |  | 2 | no |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.08 | 12.11 Supplying of channel iron 75 mm X 40 mm X 6 mm (7.14 kg per metre) cross arm for 4 wire over head line complete with clamps, bolts, nuts and washer etc including drilling of holes for insulator pins etc (as per drawing) and painting with primer and finished paint as required . |  | 6 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.081 | 12.16 Supplying and erection of 75 mm X 90 mm shackle insulator with G. I. Bolt, nuts and straps etc.as required . |  | 6 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.082 | 12.30 Supplying and erection of 30 A aerial fuse complete as required. |  | 3 | set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.083 | 11.1.1 Erection of RCC/ PCC pole of following length in brick ballast and ramming the foundation, finishing with 150mm thick cement concrete (1:3:6) layer on top with including excavation and refilling etc as required.Above 4.5 metre and upto 6.5 metre |  | 1 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.084 | 11.1.2 Above 6.5 metre and upto 8.0 metre |  | 4 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.085 | OD36518/2025-2026 supply and fixing 11KV 200A AB Switch in position and giving connection etc. as required |  | 1 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.086 | OD36519/2025-2026 Supply and providing 11KV DO Fuse in position and giving connections etc. as required. |  | 1 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.087 | OD21541/2025-2026 Supply and providing plate earthing with 1200x1200x12mm GI earth plate,50 mm GI(medium class) watering pipe,GI funnel with weld mesh,25x5 mm GI clamps, CI/MS cover plate with locking arrangements, charcoal/coke and salt etc. including providing brick work masonry enclosure at the top (450x450x450mm inside) etc. as required. |  | 10 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.088 | 5.4 Earthing with G.I. earth plate 600 mm X 600 mm X 6 mm thick including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe of 2.7 metre long etc. with charcoal/ coke and salt as required. |  | 2 | set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.089 | OD21542/2025-2026 Supplying and laying 32 mm X 6 mm copper strip at 0.50 metre below ground as strip earth electrode, including connection/ terminating with nut, bolt, spring, washer etc. as required. (Jointing shall be done by overlapping and with 2 sets of brass nut bolt & spring washer spaced at 50mm) |  | 200 | metre |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.09 | 90.16.3.12 Supply and clamping the following size of strips on surface of wall/ parapet/ existing cable tray using clamps fabricated from 20 X 3 mm GI flat duly painted or heavy duty GI spacer saddles spacing of clamps not exceeding 1 m, making good the damages, colour washing etc. as required ( for horizontal run)32 x 6 mm copper strip |  | 50 | metre |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.091 | 90.16.4.11 Supply and clamping the following sizes of strips on surface of wall / parapet/ existing cable tray using clamps fabricated from 20 x3 mm GI flat duly painted orheavy duty GI spacer saddles, spacing of clamps not exceeding 1 m , making good the damages, colour washing etc. as required ( for vertical run).32 x 6 mm copper strip |  | 30 | metre |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.092 | 90.16.3.9 Supply and clamping the following size of strips on surface of wall/ parapet/ existing cable tray using clamps fabricated from 20 X 3 mm GI flat duly painted or heavy duty GI spacer saddles spacing of clamps not exceeding 1 m, making good the damages, colour washing etc. as required ( for horizontal run)25 x 3 mm copper strip |  | 20 | metre |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.093 | 90.16.4.8 Supply and clamping the following sizes of strips on surface of wall / parapet/ existing cable tray using clamps fabricated from 20 x3 mm GI flat duly painted or heavy duty GI spacer saddles, spacing of clamps not exceeding 1 m , making good the damages, colour washing etc. as required ( for vertical run).25 x 3 mm copper strip |  | 20 | metre |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.094 | OD21543/2025-2026 Supplying and laying 25 mm X 3 mm copper strip at 0.50 metre below ground as strip earth electrode, including connection/ terminating with nut, bolt, spring, washer etc. as required. (Jointing shall be done by overlapping and with 2 sets of brass nut bolt & spring washer spaced at 50mm) |  | 60 | metre |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.095 | OD21545/2025-2026 Supply conveyance installation of portable type ABC TYPE 5 KG Capacity fire extinguisher in position etc. as required |  | 2 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.096 | OD21544/2025-2026 Supply conveyance installation of portable type CO2 TYPE 4.5 KG Capacity fire extinguisher in position as required. |  | 2 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.097 | OD21546/2025-2026 Supply and providing First Aid Chart duly framed and placed in a conspicuous location for clear vision. |  | 1 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.098 | 2.22 Providing and fixing H.T. danger notice plate of 250 mm X 200 mm, made of mild steel, at least 2 mm thick, and vitreous enameled white on both sides, and withinscription in single red colour on front side as required. |  | 2 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.099 | OD21548/2025-2026 Supply and providing 2.5mm thick Elastomeric fire retardant insulating mat as per IS 15652/2006 to withstand 11 KV dielectric strength. |  | 4 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.1 | OD21890/2025-2026 Supply and providing 6mm thick MS chequered plate cut to shape and place in position excluding frame work if required |  | 6 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.101 | OD21550/2025-2026 Painting letters or figures of the following sizes with enamel paint as identification mark to SB, DB, panel board etc as required 2.50 cm, 4 cm or 5 cm height |  | 400 | no |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.102 | OD21553/2025-2026 Supply of Heavy duty Electric glove |  | 2 | pair |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.103 | OD22015/2025-2026 Preparation of the Drawing and Schematic diagram and obtain the Application form from the Electrical Inspectorate /KSEB the actual amount may be returned on produce of original Receipts |  | 1 | Day |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.104 | OD22026/2025-2026 Charges for preparation of Electrical Schematic per A3 sheet first copy |  | 40 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.105 | OD22030/2025-2026 Copying charges for additional copies per A3 sheet |  | 75 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.106 | OD36233/2025-2026 Design, Supply, erection, testing, trial running and commissioning of following 1.Pump - best quality ISI marked electrically driven water lubricated Vertical turbine pump set with bronze impeller with M.S ERW column pipe of suitable diameter and SS 316 shaft with couplings bronze impeller, bowl assembly with strainer etc with suitable type base plate, foundation, nuts and bolts including providing suitable concrete foundation including cost of cement, sand and metal etc complete. Discharge per pump -53 LPS, Total head - 145 M, Impeller - Bronze, Approximate length of column assembly - 15 M with flanged type column pipe (not more than 1.50 M length). One pumpset running at a time with one standby .Suitable delivery size so as to suit the pumping main.(Total head to be ensured by the contractor) 2. Motor-Supply, erection, testing and commissioning of prequalified reputed make horizontal solid shaft foot mounted TEFC squirrel cage induction motor suitable for the above pump working on 3 phase 50 Hz Ac supply, working voltage 415V/3300 V(select suitable), 1500rpm. The motor shall confirm to Latest IE standards including providing suitable concrete foundation, including cost of materials etc. complete for 3300 V motors digital motor protection. Relay shall be included in starter as per present IE rules. . Flexible coupling shall be used for coupling of pumps and motors 3. Starter. Supply erection testing and commissioning of suitable rating (Fully automatic starter with air break contact for less than 100 HP and for above 100 HP FCMA starter to be used) . Here soft starter to be provided. Starter suitable for the above motor with over voltage and under voltage protection, single phase preventor, overload relay with motor protection relay with main contactor and bye pass contactor as per IE rules and code of practice etc complete 4.Valves and Pressure gauges ? Supply, Erection and commissioning of suitable size best quality heavy duty ISI marked CI double flanged Sluice Valve electrical actuator (capable of operating in Fully, Semiautomatic modes and also in manual mode), Non Return Valve and Pressure Gauges with suitable Pressure rating. Fitting of valves shall include proper RCC support. In case of positive suction pipes set sluice valve should be in suction as well as delivery sides for easy repair works. 5. Suction and delivery pipe connection - Supply and fitting of suitable size best quality MS pipe of shell thickness not less than 10 mm for a total of 10 m. suitable for the above pump set and suitable size foot valve and connecting the suction pipe and valve with suitable flanges, nut and bolts IR sheet etc complete and connecting the delivery side of thr pump with the valves and suitable specials to connect the pumping main. If the dia of suction pipe is above 80 mm CI pipes and specials shall be provided. Efficiency of pumpset shall not be less than 70 %. The guarantee period is minimum two years with full replacement of above mentioned units . As per the order no. 9710/ae 15/2021/kwa dtd 8-2-2023. 6. Designing, providing, fixing and commissioning a Surge arrester with bypass arrangements along with designsheet 400mm in a suitable position after conducting surge analysis for the proposed DI K9 pumping main including design fabrication, (PN 2.0 or more), and necessary D.I. Specials with necessary earthwork excavation, anchor blocks, construction ofvalve chamber and necessary road restoration works etc. as per the direction of departmental officers. |  | 1 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.107 | OD36247/2025-2026 Design, Supply, erection, testing, trial running and commissioning of following 1.Pump - best quality ISI marked electrically driven water lubricated Vertical turbine pump set with bronze impeller with M.S ERW column pipe of suitable diameter and SS 316 shaft with couplings bronze impeller, bowl assembly with strainer etc with suitable type base plate, foundation, nuts and bolts including providing suitable concrete foundation including cost of cement, sand and metal etc complete. Discharge per pump -53 LPS, Total head - 145 M, Impeller - Bronze, Approximate length of column assembly - 15 M with flanged type column pipe (not more than 1.50 M length). One pumpset running at a time with one standby .Suitable delivery size so as to suit the pumping main.(Total head to be ensured by the contractor) 2. Motor-Supply, erection, testing and commissioning of prequalified reputed make horizontal solid shaft foot mounted TEFC squirrel cage induction motor suitable for the above pump working on 3 phase 50 Hz Ac supply, working voltage 415V/3300 V(select suitable), 1500rpm. The motor shall confirm to Latest IE standards including providing suitable concrete foundation, including cost of materials etc. complete for 3300 V motors digital motor protection. Relay shall be included in starter as per present IE rules. . Flexible coupling shall be used for coupling of pumps and motors 3. Starter. Supply erection testing and commissioning of suitable rating (Fully automatic starter with air break contact for less than 100 HP and for above 100 HP FCMA starter to be used) . Here soft starter to be provided. Starter suitable for the above motor with over voltage and under voltage protection, single phase preventor, overload relay with motor protection relay with main contactor and bye pass contactor as per IE rules and code of practice etc complete 4.Valves and Pressure gauges - Supply, Erection and commissioning of suitable size best quality heavy duty ISI marked CI double flanged Sluice Valve electrical actuator (capable of operating in Fully, Semiautomatic modes and also in manual mode), Non Return Valve and Pressure Gauges with suitable Pressure rating. Fitting of valves shall include proper RCC support. In case of positive suction pipes set sluice valve should be in suction as well as delivery sides for easy repair works. 5. Suction and delivery pipe connection Supply and fitting of suitable size best quality MS pipe of shell thickness not less than 10 mm for a total of 10 m. suitable for the above pump set and suitable size foot valve and connecting the suction pipe and valve with suitable flanges, nut and bolts IR sheet etc complete and connecting the delivery side of thr pump with the valves and suitable specials to connect the pumping main. If the dia of suction pipe is above 80 mm CI pipes and specials shall be provided. Efficiency of pumpset shall not be less than 70 %. The guarantee period is minimum two years with full replacement of abovementioned units . ( stand by pump) |  | 1 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3 | CIVIL WORKS | [7 empty] | 1
3.001 | 2.31 Clearing jungle including uprooting of rank vegetation, grass, brush wood, trees and saplings of girth up to 30 cm measured at a height of 1 m above ground level and removal of rubbish up to a distance of 50 m outside the periphery of the area cleared |  | 600 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3.002 | 2.8.1 Earth work in excavation by mechanical means (Hydraulic excavator) /manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, lift up to 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m.All kinds of soil |  | 38.4 | cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3.003 | 4.1.8 Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level:1:4:8 (1 cement : 4 coarse sand : 8 graded stone aggregate 40 nominal size) |  | 2.56 | cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3.004 | 5.22A.6 Steel reinforcement for R.C.C work including straightening, cutting, bending, placing in position and binding all complete above plinth level.Thermo - Mechanically Treated bars of grade Fe-500D or more |  | 4751.6 | kg |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3.005 | 5.33.1 Providing and laying in position machine batched and machine mixed design mix M25 grade cement concrete for reinforced cement concrete work, using cement content as per approved design mix, including pumping of concrete to site of laying but excluding the cost of centering, shuttering, finishing and reinforcement, including admixtures in recommended proportions as per IS: 9103 to accelerate, retard setting of concrete, improve workability without impairing strength and durability as per direction of Engineer - in-charge. Note:- Cement content considered in this item is @ 330 kg/ cum. Excess or less cement used as per design mix is payable or recoverable separately.All work upto plinth level |  | 7.38 | cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3.006 | 5.33.2 Providing and laying in position machine batched and machine mixed design mix M25 grade cement concrete for reinforced cement concrete work, using cement content as per approved design mix, including pumping of concrete to site of laying but excluding the cost of centering, shuttering, finishing and reinforcement, including admixtures in recommended proportions as per IS: 9103 to accelerate, retard setting of concrete, improve workability without impairing strength and durability as per direction of Engineer - in-charge. Note:- Cement content considered in this item is @ 330 kg/ cum. Excess or less cement used as per design mix is payable or recoverable separately.All work above plinth level upto floor V level |  | 26.56 | cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3.007 | 5.9.3 Centering and shuttering including strutting, etc. and removal of form for:Suspended floors, roofs, landings, balconies and access platform |  | 70 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3.008 | 5.9.5 Centering and shuttering including strutting, etc. and removal of form for:Lintels, beams, plinth beams, girders bressumers and cantilevers |  | 71.15 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3.009 | 5.9.6 Centering and shuttering including strutting, etc. and removal of form for:Columns, Pillars, Piers, Abutments, Posts and Struts |  | 86.8 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3.01 | 10.26.3 Providing and fixing hand rail of approved size by welding etc. to steel ladder railing, balcony railing, staircase railing and similar works, including applying priming coat of approves steel primer.G.I. pipes |  | 400 | kg |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4 | ROAD Work | [7 empty] | 1
4.001 | 3.5.3 Excavation in Soil using Hydraulic Excavator and Tippers with disposal upto 1000 m Excavation for roadwork in soil with hydraulic excavator of 0.9 cum bucket capacity including cutting and loading in tippers, trimming bottom and side slopes, in accordance with requirements of lines, grades and cross-sections, and transporting to the embankment location with a lift upto 1.5 m and lead upto 1000 m as per Technical Specification Clause 302.3 |  | 1200 | cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4.002 | 4.1.A.1 Granular Sub-base with Well Graded Material (Table 400.1) (A) By Mix in Place Method Construction of granular sub-base by providing well graded material, spreading in uniform layers with motor grader on prepared surface, mixing by mix in place method with rotavator at OMC, and compacting with smooth wheel roller to achieve the desired density, complete as per Technical Specification Clause 401. (i) For Grading I Material |  | 60 | cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4.003 | 4.9 Wet Mix Macadam Providing, laying, spreading and compacting graded stone aggregate to wet mix macadam specification including premixing the material with water at OMC in mechanical mixer (Pug Mill), carriage of mixed material by tipper to site, laying in uniform layers in sub-base/base course on a well prepared sub-base and compacting with smooth wheel roller of 80 to 100kN weight to achieve the desired density including lighting, barricading and maintenance of diversion, etc as per Tables 400.11 & 400.12 and Technical Specification Clause 406. By Mechanical Means with 1 km lead |  | 60 | cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4.004 | 5.8.1 Providing Plain cement concrete for road work CC 1:2:4 (1 cement: 2 fine aggregate: 4course aggregate) laid to required slope and camber in panels (@ 3 m c/c) as requiredincluding compaction, finishing and tamping etc .complete. Max. size of courseaggregate not exceeding 25mm , mixed in concrete mixer etc complete as perspecification (i) Nominal mix (1:2:4) |  | 52.5 | cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
Total in Figures | [51 empty] | #VALUE! | #VALUE! | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information