## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: WAPCOS Limited
Work Name : Establishment of Liquid Waste Treatment System at DH Aluva Ernakulam
Tender No: WAP/INFRA/KERALA/2025/EDHA/514
Bidder Name :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55
1 | Civil works | BI01010001010000000000000515BI0100001113 | [6 empty] | 1 | [45 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.01 | 2.31 : Clearing jungle including uprooting of rank vegetation, grass, brush wood, trees and saplings of girth up to 30 cm measured at a height of 1 m above ground level and removal of rubbish up to a distance of 50 m outside the periphery of the area cleared | BI01010001010000000000000515BI0100001114 | 600 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.02 | 2.6.1 : Earth work in excavation by mechanical means (Hydraulic excavator)/manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including disposal of excavated earth, lead up to 50 m and lift up to 1.5 m, disposed earth to be levelled and neatly dressed.All kinds of soil | BI01010001010000000000000515BI0100001115 | 163.876 | cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
1.03 | od337921/2021_2022 : Earth work in excavation by mechanical means (Hydraulic excavator)/manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including disposal of excavated earth, lead upto 50 m and lift upto 1.5 m, disposed earth to be leveled and neatly dressed, as directed by Engineer-in-charge but for every additional lift of 1.5m to 3.00 m or part there of: All kind of soil.&lt;br&gt; | BI01010001010000000000000515BI0100001116 | 213.087 | cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.04 | 2.25 : Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20 cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 m and lift up to 1.5 m.Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundation etc. in layers not exceeding 20 cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 m and lift up to 1.5 m. | BI01010001010000000000000515BI0100001117 | 5.984 | cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.05 | 4.1.8 : Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level:1:4:8 (1 cement : 4 coarse sand : 8 graded stone aggregate 40 nominal size) | BI01010001010000000000000515BI0100001118 | 18.145 | cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.06 | 4.1.3 : Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level:1:2:4 (cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) | BI01010001010000000000000515BI0100001119 | 1.292 | cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.07 | 7.1.1 : Random rubble masonry with hard stone in foundation and plinth including levelling up with cement concrete 1:6:12 (1 cement : 6 coarse sand : 12 graded stone aggregate 20 mm nominal size) up to plinth level with:Cement mortar 1:6 (1 cement : 6 coarse sand) | BI01010001010000000000000515BI0100001120 | 4.05 | cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.08 | 60.7.1 : DRY RUBBLE MASONRY _ Dry rubble without concrete levelling course masonry with good quality blasted rubble including packing to compactness to lines and levels cost and conveyance of all materials labour charges etc. complete as per direction of Departmental officers at site | BI01010001010000000000000515BI0100001121 | 1.772 | cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.09 | od310807/2021_2022 : Providing and laying in position machine batched and machine mixed design mix M-30 grade cement concrete for reinforced cement concrete work, using cement content as per approved design mix, including pumping of concrete to site of laying but excluding the cost of centering, shuttering, finishing and reinforcement, including admixtures in recommended proportions as per IS: 9103 to accelerate, retard setting of concrete, improve workability without impairing strength and durability as per direction of Engineer-in-charge. ((Note :- Cement content considered in this item is @ 340 kg/cum. Excess/ less cement used as per design mix is payable/recoverable separately).Sulphate resistant portland cement should be usedAll work upto plinth level | BI01010001010000000000000515BI0100001122 | 77.042 | cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.1 | od310808/2021_2022 : Providing and laying in position machine batched and machine mixed design mix M-30 grade cement concrete for reinforced cement concrete work, using cement content as per approved design mix, including pumping of concrete to site of laying but excluding the cost of centering, shuttering, finishing and reinforcement, including admixtures in recommended proportions as per IS: 9103 to accelerate, retard setting of concrete, improve workability without impairing strength and durability as per direction of Engineer-in-charge. ((Note :- Cement content considered in this item is @ 340 kg/cum. Excess/ less cement used as per design mix is payable/recoverable separately).Sulphate resistant portland cement should be used&lt;br&gt;All works above plinth level upto floor V level&lt;br&gt; | BI01010001010000000000000515BI0100001123 | 65.618 | cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.11 | 5.9.1 : Centering and shuttering including strutting, etc. and removal of form for:Foundations, footings, bases of columns, etc for mass concrete | BI01010001010000000000000515BI0100001124 | 27.13 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.12 | 5.9.2 : Centering and shuttering including strutting, etc. and removal of form for:Walls (any thickness) including attached pilasters, butteresses, plinth and string courses etc. | BI01010001010000000000000515BI0100001125 | 874.582 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.13 | 5.9.3 : Centering and shuttering including strutting, etc. and removal of form for:Suspended floors, roofs, landings, balconies and access platform | BI01010001010000000000000515BI0100001126 | 5.671 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.14 | 5.9.5 : Centering and shuttering including strutting, etc. and removal of form for:Lintels, beams, plinth beams, girders bressumers and cantilevers | BI01010001010000000000000515BI0100001127 | 19.181 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.15 | 5.22.6 : Steel reinforcement for R.C.C work including straightening, cutting, bending, placing in position and binding all complete upto plinth levelThermo - Mechanically Treated bars of grade Fe-500D or more | BI01010001010000000000000515BI0100001128 | 6141.28 | kilogram |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.16 | 5.22A.6 : Steel reinforcement for R.C.C work including straightening, cutting, bending, placing in position and binding all complete above plinth level.Thermo - Mechanically Treated bars of grade Fe-500D or more | BI01010001010000000000000515BI0100001129 | 5260.881 | kg |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.17 | 50.6.1.5 : Solid block masonry using pre cast solid blocks ( Factory made) of size 30x20x20cm or nearest available size confirming to IS 2185 Part I of 1979 for super structure up to floor two level thickness 20cm and above in: CM 1:6 ( 1 cement : 6 coarse sand) etc complete | BI01010001010000000000000515BI0100001130 | 17.424 | cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.18 | 13.1.1 : 12 mm cement plaster of mix:1:4 ( 1 cement : 4 fine sand) | BI01010001010000000000000515BI0100001131 | 1126.248 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.19 | 13.48.1 : Finishing with Deluxe Multi surface paint system for interiors and exteriors using primer as per manufacturers specifications:Two or more coats applied on walls @ 1.25 ltr/10 sqm over and including one coat of special primer applied @ 0.75 ltr /10 sqm | BI01010001010000000000000515BI0100001132 | 298.77 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.2 | 11.3.1 : Cement concrete flooring 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate)finished with a floating coat of neat cement, including cement slurry, but excluding the cost of nosing of steps etc. complete.40 mm thick with 20 mm nominal size stone aggregate | BI01010001010000000000000515BI0100001133 | 34.65 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.21 | 11.37 : Providing and laying Ceramic glazed floor tiles of size 300x300 mm (thickness to be specified by the manufacturer), of 1st quality conforming to IS : 15622, of approved make, in colours such as White, Ivory, Grey, Fume Red Brown, laid on 20 mm thick cement mortar 1:4 (1 Cement : 4 Coarse sand), including pointing the joints with white cement and matching pigment etc., complete. | BI01010001010000000000000515BI0100001134 | 2.026 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.22 | 11.41.1 : Providing and laying vitrified floor tiles in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS : 15622, of approved make, in all colours and shades, laid on 20 mm thick cement mortar 1:4(1 cement : 4 coarse sand), including grouting the joints with white cement and matching pigments etc., complete.Size of Tile 500x500 mm. | BI01010001010000000000000515BI0100001135 | 10.89 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.23 | 9.1.1 : Providing wood work in frames of doors, windows, clerestory windows and other frames, wrought framed and fixed in position with hold fast lugs or with dash fasteners of required dia & length (hold fast lugs or dash fastener shall be paid for separately).Second class teak wood | BI01010001010000000000000515BI0100001136 | 0.036 | cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.24 | 9.5.1.1 : Providing and fixing panelled or panelled and glazed shutters for shutters for doors, windows and clerestory windows, including ISI marked M.S. pressed butt hinges bright finished of required size with necessery screws, excluding panelling which will be paid for separately, all complete as per direction of Engineer - in-charge.Second class teak woodProviding and fixing panelled or panelled and glazed shutters for doors, windows and clerestory windows fixing with butt hinges of required size with necessary screws, excluding panelling which will be paid for separately, all complete as per direction of Engineer-in-charge. (Note:- Butt hinges and necessary screws shall be paid separately) Second class teak wood 35 mm thick shutters | BI01010001010000000000000515BI0100001137 | 1.743 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.25 | 9.145 : Providing and Fixing factory made PVC door frame made of PVC extruded sections of size 75 mm x 53 mm, having wall thickness 2.0 mm (± 0.2 mm) Both vertical sides of the frame reinforced with PVC profile of cross section size 28 mm x 30 mm x 2 mm thickness (± 0.2 mm ) and 75 mmx 200 mm long, including reinforcing both ends of the top frame with PVC profile. PVC Door Frame and PVC reinforcement profile to be mitred cut jointed and fusion welded together, including providing and fixing 3 nos of 125 mm long stainless steel hinges to frame, fixing the frame with jamb with required nos & sizes of anchor dash fastener, all complete as per manufacturer's specification and direction of engineer-in-charge. | BI01010001010000000000000515BI0100001138 | 5.8 | metre |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.26 | 9.146 : Providing and fixing 37 mm thick factory made PVC Door shutter, styles and rails made of PVC hollow extruded printed and laminated section having overall dimension 115 mm x 37 mm with wall thickness 2 mm ( � 0.2 mm) with inbuilt beading on one side, the styles and rails mitred cut and joint at corners by inserting 2 nos PVC profile reinforcement of size 75 mm x 200 mm long with cross section size of 28 mm x 30 mm having wall thickness 2 mm (� 0.2 mm). Styles, rails and reinforcements to be fusion welded together. Only hinges side vertical style to be reinforced with PVC profile reinforcement in full length, Printed and laminated PVC lock rail of size 110 mm x 37 mm having wall thickness 2 mm (� 0.2 mm) to be welded horizontally with the vertical styles after inserting PVC profile reinforcement as in styles and rails, providing with PVC snap fit beading, panels of 100 x 20 mm printed & laminated and inserting 2 nos 6 mm dia bright steel rod horizontally with both side threaded and tightened with check nuts and washers complete, all as per manufacturer's specification and direction of engineer-in-charge. | BI01010001010000000000000515BI0100001139 | 1.538 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.27 | 9.48.2 : Providing and fixing M.S. Grills of required pattern in frames of windows etc. with M.S. flats, square or round bars etc. including priming coat with approved steel primer all complete.Fixed to openings/ wooden frames with rawl plugs screws etc | BI01010001010000000000000515BI0100001140 | 439.433 | kg |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.28 | 13.48.3 : Finishing with Deluxe Multi surface paint system for interiors and exteriors using primer as per manufacturers specifications:Painting Steel work with Deluxe Multi Surface Paint to give an even shade. Two or more coat applied @ 0.90 ltr/10 sqm over an under coat of primer applied @ 0.80 ltr/10 sqm of approved brand and manufacture | BI01010001010000000000000515BI0100001141 | 22.535 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.29 | 21.1.1.2 : Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS : 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminnium snap beading for glazing /paneling, C.P. brass/ stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge.(Glazing, paneling and dash fasteners to be paid for separately):For fixed portionPowder coated aluminium (minimum thickness of powder coating 50 micron) | BI01010001010000000000000515BI0100001142 | 19.44 | kg |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.3 | 21.3.1 : Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of Engineer - in -Charge. ( Cost of aluminium snap beading shall be paid in basic item):With float glass panes of 4.0 mm thickness | BI01010001010000000000000515BI0100001143 | 4.86 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.31 | 10.16.1 : Steel work in built up tubular (round, square or rectangular hollow tubes etc.) trusses etc., including cutting, hoisting, fixing position and applying a priming coat of approved steel primer, including welding and bolted with special shaped washers etc. complete.Hot finished welded type tubes | BI01010001010000000000000515BI0100001144 | 858.88 | kg |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.32 | 12.1.1 : Providing corrugate G.S. sheet roofing including vertical/ curved surface fixed with polymer coated J or L hooks, bolts and nuts 8 mm diameter with bitumen and G.I. limpet washers or with G.I. limpet washers filled with white lead, including a coat of approved steel primer and two coats of approved paint on overlapping of sheets complete ( up to any pitch in horizontal / vertical or curved surfaces), excluding the cost of purlins, rafters and trusses and including cutting to size and shape wherever required.1.00 mm thick with zinc coating not less than 275 gm/m2 | BI01010001010000000000000515BI0100001145 | 50.91 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.33 | 22.23.1 : Providing and applying integral crystalline slurry of hydrophilic in nature for waterproofing treatment to the RCC structures like retaining walls of the basement, water tanks, roof slabs, podiums, reservior, sewage & water treatment plant, tunnels / subway and bridge deck etc., prepared by mixing in the ratio of 5 : 2 (5 parts integral crystalline slurry : 2 parts water) for vertical surfaces and 3 : 1 (3 parts integral crystalline slurry : 1 part water) for horizontal surfaces and applying the same from negative (internal) side with the help of synthetic fiber brush. The material shall meet the requirements as specified in ACI-212-3R-2010 i.e by reducing permeability of concrete by more than 90% compared with control concrete as per DIN 1048 and resistant to 16 bar hydrostatic pressure on negative side. The crystalline slurry shall be capable of self-healing of cracks up to a width of 0.50mm. The work shall be carried out all complete as per specification and the direction of the engineerin- charge. The product performance shall carry guarantee for 10 years against any leakage.For vertical surface two coats @0.70 kg per sqm | BI01010001010000000000000515BI0100001146 | 623.101 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.34 | 22.23.2 : Providing and applying integral crystalline slurry of hydrophilic in nature for waterproofing treatment to the RCC structures like retaining walls of the basement, water tanks, roof slabs, podiums, reservior, sewage & water treatment plant, tunnels / subway and bridge deck etc., prepared by mixing in the ratio of 5 : 2 (5 parts integral crystalline slurry : 2 parts water) for vertical surfaces and 3 : 1 (3 parts integral crystalline slurry : 1 part water) for horizontal surfaces and applying the same from negative (internal) side with the help of synthetic fiber brush. The material shall meet the requirements as specified in ACI-212-3R-2010 i.e by reducing permeability of concrete by more than 90% compared with control concrete as per DIN 1048 and resistant to 16 bar hydrostatic pressure on negative side. The crystalline slurry shall be capable of self-healing of cracks up to a width of 0.50mm. The work shall be carried out all complete as per specification and the direction of the engineerin- charge. The product performance shall carry guarantee for 10 years against any leakage.For horizontal surface one coat @1.10 kg per sqm. | BI01010001010000000000000515BI0100001147 | 151.696 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.35 | 23.5 : Supplying, filling, spreading & leveling stone boulders of size range 5 cm to 20 cm, in recharge pit, in the required thickness, for all leads & lifts, all complete as per direction of Engineer -in- charges | BI01010001010000000000000515BI0100001148 | 13.5 | cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.36 | od320410/2021_2022 : Supplying and fixing C.I cover for manholes: 600x600 mm C.I. (medium duty) manhole cover | BI01010001010000000000000515BI0100001149 | 19 | no |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.37 | od234136/2021_2022 : D. LT CABLE- Supply of following size 1.1 KV gradeA2XFY or XLPE insulated, PVC sheathed, armoured Aluminium conductor power cable conforming to IS 7098 (Part 1) amended upto date3.5 C x 25sqmm | BI01010001010000000000000515BI0100001150 | 200 | RM |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2 | MECHANISM PART | BI01010001010000000000000515BI0100001151 | [6 empty] | 1
2.01 | od337922/2021_2022 : Supply installation and commissioning of bar screen of Size 1.0 m x 1.0m x 1.50 m. Screen is made out of MS Flat of Size 10mm x 50mm (10mm facing the flow), Clear spacing between bars is 20mm, Inclination of bars with horizontal is 60&deg; (For Manual Cleaning)&lt;br&gt;&lt;br&gt; | BI01010001010000000000000515BI0100001152 | 2 | no |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.02 | od337923/2021_2022 : Supply installation and commissioning of Perforated SS screening box of 3mm thickness just before oil and grease chamber in the inlet pipe to prevent solid particles. | BI01010001010000000000000515BI0100001153 | 1 | no |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.03 | od337924/2021_2022 : supply installation and commissioning of sewage transfer pump with 2 HP self priming sludge pump capacity:7000lph@12m , 3Phase&lt;br&gt;Make:Kirloskar/ Crompton greaves/equivalent. 1 no as working and 1 no as standby. | BI01010001010000000000000515BI0100001154 | 2 | no |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.04 | od337925/2021_2022 : supply installation and commissioning of sludge recirculation pump with self priming sludge pump capacity:3000lph,0.75KW, 3 Phase , pump Model 750CW Suitable for 06mtr to 12mtr head. Discharge up to 336LPM to 145 LPM , Del 50 MM. Make:Kirloskar/ Crompton greaves/equivalent. 1 No as working and 1 no as standby | BI01010001010000000000000515BI0100001155 | 2 | no |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.05 | od337926/2021_2022 : supply installation and commissioning of sludge transfer pump with 2 HP self priming sludge pump capacity : 7000 lph @12m, 3PhaseMake:Kirloskar/ Crompton greaves/equivalent.1no as working and 1 no as standby. | BI01010001010000000000000515BI0100001156 | 2 | no |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.06 | od337927/2021_2022 : supply installation and commissioning of filter feed pump of 3 HP centrifugal pump capacity : 10000 lph @ 15m , 3 Phase&lt;br&gt;Make:Kirloskar/ Crompton greaves/equivqlent.1 no as working and 1 no as standby | BI01010001010000000000000515BI0100001157 | 2 | no |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.07 | od331757/2021_2022 : supply installation and commissioning of air blower with motor: Air Flow : 160m3/hr @ 0.4kg/cm2 Type:Twinlobe&lt;br&gt;Motor:5.5KW/ 7.5HP , 1440 RPM , foot mounted, TEFC squirrel cage induction motor suitable for Operation on 415 +/- 10%V, 3 Phase, 50 Hz,+/-5% AC supply with ambient 50&rsquo;C,Class F insulation. | BI01010001010000000000000515BI0100001158 | 2 | no |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.08 | od337954/2021_2022 : supply, installation,testing and commissioning of fine bubble diffuser . Tube type fine bubble diffuser with EPDM membrane construction ,Membrane Tube of 90x 1000.Make:SCOGEN/equivalent | BI01010001010000000000000515BI0100001159 | 16 | no |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.09 | od337955/2021_2022 : supply,installation,testing and commissioning of coarse bubble diffusers. Disc type coarse bubble diffuser with design flow rate 5m3/hr with EPDM membrane construction&lt;br&gt;Make:SCOGEN/equivalent | BI01010001010000000000000515BI0100001160 | 12 | no |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.1 | od337956/2021_2022 : supply,providing in position, testing and commissioning media for MBBR tank with protected surface area of 400 m2/m3, Specific Gravity: 0.9 cylindrical, size :22 mm x 16 mm&lt;br&gt;Make:SCOGEN/equivalent | BI01010001010000000000000515BI0100001161 | 15 | cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.11 | od337957/2021_2022 : supply installation and commissioning of Diaphragm Type Electronic Dosing Pump,Suction/Discharge LDPE Tubing, 4 lph,pressure:0.0- 3.5 kg/cm2, PE Storage Tank - 100 L&lt;br&gt;Make:UKL/equivalent | BI01010001010000000000000515BI0100001162 | 3 | no |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.12 | od337928/2021_2022 : supply installation and commissioning of DUAL MEDIA FILTER with Vessel Size : 800mm x 1850 mm Top&amp; Bottom (708Ltr Volume), Vessel Make: Pentair/equivalent,Vessel Moc : Polyglass,Pressure Gauge : Included,Vessel Supporting Stand : Included,Valve Type : Manual MPV,Valve Size : 40 mm Line,Under bed Media : Filter Media Silex,Filtration Media : Filter Media Fine Sand &amp; Anthracite,Plumbing Material for frontal piping : UPVC | BI01010001010000000000000515BI0100001163 | 1 | no |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.13 | od337929/2021_2022 : supply installation and commissioning of ACTIVATED CARBON FILTER with Vessel Size : 800 mm x 1850 mm Top &amp; Bottom (708 Ltr Volume),Vessel Make: Pentair/equivalent ,Vessel Moc : Polyglass,Pressure Gauge : Included,Vessel Supporting Stand : Included Valve Type : Manual MPV&lt;br&gt;Valve Size : 40 mm Line,Under bed Media : Filter Media Silex,Filtration Media : Activated Carbon IV 1050,Activated Carbon Make: Indo German Carbon Ltd.Plumbing Material for frontal piping : UPVC | BI01010001010000000000000515BI0100001164 | 1 | no |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.14 | od331746/2021_2022 : supply installation and commissioning of Electrical control panel with Bus Bar &ndash; Copper Bus Bar,Earth &ndash; 10 SWG, Panel Size &ndash; 900 X 600 X 210mm,Sheet Thickness -16 SWG, Colour &ndash; Siemens Grey,Cable Entry &ndash; Bottom,Bus Bar Spec &ndash; MCB Shorting 3 pole( GUTS) 63A MAX ,Cable connectors &ndash; Will be provided on the bottom side,Power Cables &ndash; 4sq mm, 2.5sq mm, 1.5 sq mm,Control Cables &ndash; 1 sq mm | BI01010001010000000000000515BI0100001165 | 1 | no |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.15 | od332273/2021_2022 : Supplying of Electrical Cables considering a plant room with in 5 m nearby STP. Cables of approved make 4Core 10 mm2,&lt;br&gt;Aluminum Armored Cable, 2.5 mm2- Flexible Cu Cable, 1.5 mm2-Cu Cable Flexible With earth pit and earthling work,also include switches sockets and MCBs | BI01010001010000000000000515BI0100001166 | 1 | set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.16 | od234881/2021_2022 : Supplying of plumbing interconnections considering a plant room with in 5 m nearby STP. Airline Header: GI/MS, Air line&lt;br&gt;after header UPVC-ASTM, Pressurized Water ,Wastewater lines - UPVC-ASTM, Overflow Conduits / Gravity Lines PVC 10 kg/cm2, Ball Valves - UPVC, With fittings | BI01010001010000000000000515BI0100001167 | 1 | set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.17 | od337930/2021_2022 : Annual Maintenance including monthly site visit, to check and correct all functioning parameters including calibration of all equipments for the smooth functioning of the plant. Maintenance and supervision of all electro mechanical devices, maintaining oil balance of blower etc included. Any related electrical and mechanical works are under AMC. | BI01010001010000000000000515BI0100001168 | 12 | Month |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.18 | od325947/2021_2022 : supply installation and testing of ultrafiltration unit of 10000 LHP with Skid - (1 Nos ),Membrane - (1 No ), Flow Meter - (2 Nos), Pressure gauge (3 Nos) ,Solenoid valve (4 Nos),Panel (1 No), Filter feed Pump (1 No), Backwash Pump (1 No), Chemical Dosing Pump - (1 Nos),Chemical Tank (1 Nos),Piping -( 1 Lot - ASTM),1 &frac12; Victolice cupling - (3 Nos ),20mm Jumbo Housing - (1 No),20mm Jumbo cartridge (5 micron) - 1No | BI01010001010000000000000515BI0100001169 | 1 | no |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3 | Estimate for Sewer network | BI01010001010000000000000515BI0100001170 | [6 empty] | 1
3.01 | 50.18.9.5.2 : Providing and fixing PVC pipes includings jointing of pipes with one step PVC solvent cement, trenching, refilling & testing of joints compete as per direction of Engineer in Charge. 40 mm dia 6 Kgf/cm2 | BI01010001010000000000000515BI0100001171 | 300 | metre |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3.02 | od337931/2021_2022 : Providing and fixing pvc ball valve of approved quality- 40 mm for pumping of sewage from collection tank to upper level in sewage line | BI01010001010000000000000515BI0100001172 | 36 | no |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3.03 | 50.18.9.9.2 : Providing and fixing PVC pipes includes joints of pipes with one step PVC solvent cement, trenching, refilling & testing of joints complete as per direction of Engineer in CHarge. 110 mm dia 4 Kg/cm2 | BI01010001010000000000000515BI0100001173 | 95 | metre |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3.04 | 50.18.9.22.1 : Providing and fixing PVC moulded fittings/ accessories for Rigid PVC pipes, including jointing with PVC solvent cement - 110 mm dia Elbow | BI01010001010000000000000515BI0100001174 | 85 | no |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3.05 | 50.18.9.22.2 : Providing and fixing PVC moulded fittings / accessories for Rigid PVC pipes, including jointing with PVC solvent cement - 110 mm dia 45 degree Elbow | BI01010001010000000000000515BI0100001175 | 20 | no |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3.06 | 50.18.9.22.5 : Providing and fixing PVC moulded fittings/ accessories for Rigid PVC pipes including jointing with PVC solvent cement 110x110x110 mm dia Tee | BI01010001010000000000000515BI0100001176 | 40 | no |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3.07 | 18.7.5 : Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer -in-Charge. Internal work - Exposed on wall40 mm nominal outer dia pipes | BI01010001010000000000000515BI0100001177 | 75 | metre |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3.08 | od317360/2021_2022 : Providing and fixing CPVC valve of approved quality- 40 mm | BI01010001010000000000000515BI0100001178 | 25 | no |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3.09 | 18.7.2 : Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer -in-Charge. Internal work - Exposed on wall20 mm nominal outer dia pipes | BI01010001010000000000000515BI0100001179 | 70 | metre |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4 | Plumbing cost for collection of all Sewage & Sullage Line to common STP area | BI01010001010000000000000515BI0100001180 | [6 empty] | 1
4.01 | 2.10.1.2 : Excavating trenches of required width for pipes, cables, etc including excavation for sockets, and dressing of sides, ramming of bottoms, depth up to 1.5 m, including getting out the excavated soil. and then returning the soil as required, in layers not exceeding 20 cm in depth, including consolidating each deposited layer by ramming, watering, etc. and disposing of surplus excavated soil as directed, within a lead of 50 m:Pipes, cables etc. exceeding 80 mm dia but not exceeding 300 mm dia | BI01010001010000000000000515BI0100001181 | 865 | metre |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4.02 | od320559/2021_2022 : Constructing brick masonry manhole in cement mortar 1:4 ( 1 cement : 4 coarse sand ) with R.C.C. top slab with 1:1.5:3 mix (1 cement : 1.5 coarse sand (zoneIII) : 3 graded stone aggregate 20 mm nominal size), foundation concrete 1:4:8 mix (1 cement : 4 coarse sand : 8 graded stone aggregate 40 mm nominal size), inside plastering 12 mm thick with cement mortar 1:3 (1 cement : 3 coarse sand) finished with floating coat of neat cement and making channels in cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) finished with a floating coat of neat cement complete as per standard design :&lt;br&gt;Inside size 60x60 cm and 80 cm deep including C.I. cover with frame (light duty) 500x500 mm internal dimensions, total weight of cover and frame to be not less than 38 kg (weight of cover 23 kg and weight of frame 15 kg) :&lt;br&gt;With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | BI01010001010000000000000515BI0100001182 | 92 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4.03 | 50.18.9.6.2 : Providing and fixing PVC pipes includings jointing of pipes with one step PVC solvent cement, trenching, refilling & testing of joints complete as per direction of Engineer in Charge. 50 mm dia 6 Kgf/cm2 | BI01010001010000000000000515BI0100001183 | 190 | metre |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4.04 | 50.18.9.10.1 : Providing and fixing PVC pipes includings jointing of pipes with one step pvc solvent cement, trenching , refilling & testing of joints complete as per direction of Engineer in Charge. 150 mm dia 6 Kgf/cm2 | BI01010001010000000000000515BI0100001184 | 1350 | metre |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5 | Collection tank | BI01010001010000000000000515BI0100001185 | [6 empty] | 1
5.01 | 2.6.1 : Earth work in excavation by mechanical means (Hydraulic excavator)/manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including disposal of excavated earth, lead up to 50 m and lift up to 1.5 m, disposed earth to be levelled and neatly dressed.All kinds of soil | BI01010001010000000000000515BI0100001186 | 10.14 | cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5.02 | od337921/2021_2022 : Earth work in excavation by mechanical means (Hydraulic excavator)/manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including disposal of excavated earth, lead upto 50 m and lift upto 1.5 m, disposed earth to be leveled and neatly dressed, as directed by Engineer-in-charge but for every additional lift of 1.5m to 3.00 m or part there of: All kind of soil.&lt;br&gt; | BI01010001010000000000000515BI0100001187 | 16.901 | cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5.03 | 4.1.8 : Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level:1:4:8 (1 cement : 4 coarse sand : 8 graded stone aggregate 40 nominal size) | BI01010001010000000000000515BI0100001188 | 1.353 | cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5.04 | od310807/2021_2022 : Providing and laying in position machine batched and machine mixed design mix M-30 grade cement concrete for reinforced cement concrete work, using cement content as per approved design mix, including pumping of concrete to site of laying but excluding the cost of centering, shuttering, finishing and reinforcement, including admixtures in recommended proportions as per IS: 9103 to accelerate, retard setting of concrete, improve workability without impairing strength and durability as per direction of Engineer-in-charge. ((Note :- Cement content considered in this item is @ 340 kg/cum. Excess/ less cement used as per design mix is payable/recoverable separately).Sulphate resistant portland cement should be usedAll work upto plinth level | BI01010001010000000000000515BI0100001189 | 5.855 | cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5.05 | 5.9.1 : Centering and shuttering including strutting, etc. and removal of form for:Foundations, footings, bases of columns, etc for mass concrete | BI01010001010000000000000515BI0100001190 | 62.42 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5.06 | 5.22.6 : Steel reinforcement for R.C.C work including straightening, cutting, bending, placing in position and binding all complete upto plinth levelThermo - Mechanically Treated bars of grade Fe-500D or more | BI01010001010000000000000515BI0100001191 | 468.401 | kilogram |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5.07 | 13.1.1 : 12 mm cement plaster of mix:1:4 ( 1 cement : 4 fine sand) | BI01010001010000000000000515BI0100001192 | 64.2 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5.08 | 22.23.1 : Providing and applying integral crystalline slurry of hydrophilic in nature for waterproofing treatment to the RCC structures like retaining walls of the basement, water tanks, roof slabs, podiums, reservior, sewage & water treatment plant, tunnels / subway and bridge deck etc., prepared by mixing in the ratio of 5 : 2 (5 parts integral crystalline slurry : 2 parts water) for vertical surfaces and 3 : 1 (3 parts integral crystalline slurry : 1 part water) for horizontal surfaces and applying the same from negative (internal) side with the help of synthetic fiber brush. The material shall meet the requirements as specified in ACI-212-3R-2010 i.e by reducing permeability of concrete by more than 90% compared with control concrete as per DIN 1048 and resistant to 16 bar hydrostatic pressure on negative side. The crystalline slurry shall be capable of self-healing of cracks up to a width of 0.50mm. The work shall be carried out all complete as per specification and the direction of the engineerin- charge. The product performance shall carry guarantee for 10 years against any leakage.For vertical surface two coats @0.70 kg per sqm | BI01010001010000000000000515BI0100001193 | 28 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5.09 | 22.23.2 : Providing and applying integral crystalline slurry of hydrophilic in nature for waterproofing treatment to the RCC structures like retaining walls of the basement, water tanks, roof slabs, podiums, reservior, sewage & water treatment plant, tunnels / subway and bridge deck etc., prepared by mixing in the ratio of 5 : 2 (5 parts integral crystalline slurry : 2 parts water) for vertical surfaces and 3 : 1 (3 parts integral crystalline slurry : 1 part water) for horizontal surfaces and applying the same from negative (internal) side with the help of synthetic fiber brush. The material shall meet the requirements as specified in ACI-212-3R-2010 i.e by reducing permeability of concrete by more than 90% compared with control concrete as per DIN 1048 and resistant to 16 bar hydrostatic pressure on negative side. The crystalline slurry shall be capable of self-healing of cracks up to a width of 0.50mm. The work shall be carried out all complete as per specification and the direction of the engineerin- charge. The product performance shall carry guarantee for 10 years against any leakage.For horizontal surface one coat @1.10 kg per sqm. | BI01010001010000000000000515BI0100001194 | 4 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5.1 | od320410/2021_2022 : Supplying and fixing C.I cover for manholes: 600x600 mm C.I. (medium duty) manhole cover | BI01010001010000000000000515BI0100001195 | 1 | no |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
6 | OG Trap for canteen | BI01010001010000000000000515BI0100001196 | [6 empty] | 1
6.01 | 2.6.1 : Earth work in excavation by mechanical means (Hydraulic excavator)/manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including disposal of excavated earth, lead up to 50 m and lift up to 1.5 m, disposed earth to be levelled and neatly dressed.All kinds of soil | BI01010001010000000000000515BI0100001197 | 11.97 | cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
6.02 | od337921/2021_2022 : Earth work in excavation by mechanical means (Hydraulic excavator)/manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including disposal of excavated earth, lead upto 50 m and lift upto 1.5 m, disposed earth to be leveled and neatly dressed, as directed by Engineer-in-charge but for every additional lift of 1.5m to 3.00 m or part there of: All kind of soil.&lt;br&gt; | BI01010001010000000000000515BI0100001198 | 2.394 | cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
6.03 | 4.1.8 : Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level:1:4:8 (1 cement : 4 coarse sand : 8 graded stone aggregate 40 nominal size) | BI01010001010000000000000515BI0100001199 | 1.596 | cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
6.04 | od310807/2021_2022 : Providing and laying in position machine batched and machine mixed design mix M-30 grade cement concrete for reinforced cement concrete work, using cement content as per approved design mix, including pumping of concrete to site of laying but excluding the cost of centering, shuttering, finishing and reinforcement, including admixtures in recommended proportions as per IS: 9103 to accelerate, retard setting of concrete, improve workability without impairing strength and durability as per direction of Engineer-in-charge. ((Note :- Cement content considered in this item is @ 340 kg/cum. Excess/ less cement used as per design mix is payable/recoverable separately).Sulphate resistant portland cement should be usedAll work upto plinth level | BI01010001010000000000000515BI0100001200 | 3.815 | cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
6.05 | 5.9.1 : Centering and shuttering including strutting, etc. and removal of form for:Foundations, footings, bases of columns, etc for mass concrete | BI01010001010000000000000515BI0100001201 | 34.222 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
6.06 | 5.22.6 : Steel reinforcement for R.C.C work including straightening, cutting, bending, placing in position and binding all complete upto plinth levelThermo - Mechanically Treated bars of grade Fe-500D or more | BI01010001010000000000000515BI0100001202 | 305.2 | kilogram |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
6.07 | 13.1.1 : 12 mm cement plaster of mix:1:4 ( 1 cement : 4 fine sand) | BI01010001010000000000000515BI0100001203 | 37.942 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
6.08 | 22.23.1 : Providing and applying integral crystalline slurry of hydrophilic in nature for waterproofing treatment to the RCC structures like retaining walls of the basement, water tanks, roof slabs, podiums, reservior, sewage & water treatment plant, tunnels / subway and bridge deck etc., prepared by mixing in the ratio of 5 : 2 (5 parts integral crystalline slurry : 2 parts water) for vertical surfaces and 3 : 1 (3 parts integral crystalline slurry : 1 part water) for horizontal surfaces and applying the same from negative (internal) side with the help of synthetic fiber brush. The material shall meet the requirements as specified in ACI-212-3R-2010 i.e by reducing permeability of concrete by more than 90% compared with control concrete as per DIN 1048 and resistant to 16 bar hydrostatic pressure on negative side. The crystalline slurry shall be capable of self-healing of cracks up to a width of 0.50mm. The work shall be carried out all complete as per specification and the direction of the engineerin- charge. The product performance shall carry guarantee for 10 years against any leakage.For vertical surface two coats @0.70 kg per sqm | BI01010001010000000000000515BI0100001204 | 15.601 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
6.09 | 22.23.2 : Providing and applying integral crystalline slurry of hydrophilic in nature for waterproofing treatment to the RCC structures like retaining walls of the basement, water tanks, roof slabs, podiums, reservior, sewage & water treatment plant, tunnels / subway and bridge deck etc., prepared by mixing in the ratio of 5 : 2 (5 parts integral crystalline slurry : 2 parts water) for vertical surfaces and 3 : 1 (3 parts integral crystalline slurry : 1 part water) for horizontal surfaces and applying the same from negative (internal) side with the help of synthetic fiber brush. The material shall meet the requirements as specified in ACI-212-3R-2010 i.e by reducing permeability of concrete by more than 90% compared with control concrete as per DIN 1048 and resistant to 16 bar hydrostatic pressure on negative side. The crystalline slurry shall be capable of self-healing of cracks up to a width of 0.50mm. The work shall be carried out all complete as per specification and the direction of the engineerin- charge. The product performance shall carry guarantee for 10 years against any leakage.For horizontal surface one coat @1.10 kg per sqm. | BI01010001010000000000000515BI0100001205 | 5.7 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
6.1 | od320410/2021_2022 : Supplying and fixing C.I cover for manholes: 600x600 mm C.I. (medium duty) manhole cover | BI01010001010000000000000515BI0100001206 | 3 | no |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
7 | Soak Pit | BI01010001010000000000000515BI0100001207 | [6 empty] | 1
7.01 | 2.6.1 : Earth work in excavation by mechanical means (Hydraulic excavator)/manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including disposal of excavated earth, lead up to 50 m and lift up to 1.5 m, disposed earth to be levelled and neatly dressed.All kinds of soil | BI01010001010000000000000515BI0100001208 | 37.5 | cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
7.02 | od337921/2021_2022 : Earth work in excavation by mechanical means (Hydraulic excavator)/manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including disposal of excavated earth, lead upto 50 m and lift upto 1.5 m, disposed earth to be leveled and neatly dressed, as directed by Engineer-in-charge but for every additional lift of 1.5m to 3.00 m or part there of: All kind of soil.&lt;br&gt; | BI01010001010000000000000515BI0100001209 | 44.5 | cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
7.03 | 4.1.8 : Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level:1:4:8 (1 cement : 4 coarse sand : 8 graded stone aggregate 40 nominal size) | BI01010001010000000000000515BI0100001210 | 3.873 | cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
7.04 | 50.6.7.1 : Laterate masonry with neatly dressed laterate stone of size 40x20x15cm or nearest size in cement mortar 1:6 for foundation and basement including all cost of materials, labour charges etc. | BI01010001010000000000000515BI0100001211 | 9.601 | cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
7.05 | 5.1.2 : Providing and laying in position specified grade of reinforced cement concrete, excluding the cost of centering, shuttering, finishing and reinforcement - All work up to plinth level:1:1:5:3 (1 cement 1.5 coarse sand :3 graded stone aggregate 20 mm nominal size | BI01010001010000000000000515BI0100001212 | 4.05 | cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
7.06 | 5.9.1 : Centering and shuttering including strutting, etc. and removal of form for:Foundations, footings, bases of columns, etc for mass concrete | BI01010001010000000000000515BI0100001213 | 3.6 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
7.07 | 5.22.6 : Steel reinforcement for R.C.C work including straightening, cutting, bending, placing in position and binding all complete upto plinth levelThermo - Mechanically Treated bars of grade Fe-500D or more | BI01010001010000000000000515BI0100001214 | 324 | kilogram |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
7.08 | od235065/2021_2022 : supplying and filling gravel on sides of soak pit | BI01010001010000000000000515BI0100001215 | 14.4 | cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
8 | Plumbing for lab/supervisor room | BI01010001010000000000000515BI0100001216 | [6 empty] | 1
8.01 | 17.3.1 : Providing and fixing white vitreous china pedestal type water closet (European type) with seat and lid, 10 litre low level white vitreous china flushing cistern & C.P. flush bend with fittings & C.I. brackets, 40 mm flush bend, overflow arrangement with specials of standard make and mosquito proof coupling of approved municipal design complete, including painting of fittings and brackets, cutting and making good the walls and floors wherever required :W.C. pan with ISI marked white solid plastic seat and lid | BI01010001010000000000000515BI0100001217 | 1 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
8.02 | 17.7.1 : Providing and fixing wash basin with C.I. brackets, 15 mm C.P. brass pillar taps, 32 mm C.P. brass waste of standard pattern, including painting of fittings and brackets, cutting and making good the walls wherever require:White Vitreous China Wash basin size 630x450 mm with a pair of 15 mm C.P. brass pillar taps | BI01010001010000000000000515BI0100001218 | 1 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
8.03 | 17.28.2.1 : Flexible pipe32 mm dia | BI01010001010000000000000515BI0100001219 | 1 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
8.04 | 50.17.1.4 : Supplying and fixing CP Health faucet good quality including cost of materials and labour charges etc. complete as per the direction of site engineer-in-charge. | BI01010001010000000000000515BI0100001220 | 1 | no |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
8.05 | 18.21.1.1 : Providing and fixing uplasticised PVC connection pipe with brass unions:30 cm length15 mm nominal bore | BI01010001010000000000000515BI0100001221 | 2 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
8.06 | 18.51.1 : Providing and fixing C.P. brass long body bib cock of approved quality conforming to IS standards and weighing not less than 690 gms.15 mm nominal bore | BI01010001010000000000000515BI0100001222 | 1 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
8.07 | 18.53.1 : Providing and fixing C.P. brass angle valve for basin mixer and geyser points of approved quality conforming to IS: 893115 mm nominal bore | BI01010001010000000000000515BI0100001223 | 3 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
8.08 | 50.17.1.1 : Supplying and fixing Stainless steel soap dish including cost of materials and labour charges etc complete as per the direction of site Engineer-in-charge. | BI01010001010000000000000515BI0100001224 | 1 | no |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
8.09 | 18.8.2 : Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes& fittings, with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer-in-Charge. Concealed work, including cutting chases and making good the wall etc.20 mm nominal outer dia pipes | BI01010001010000000000000515BI0100001225 | 3 | metre |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
8.1 | 18.8.3 : Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes& fittings, with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer-in-Charge. Concealed work, including cutting chases and making good the wall etc.25 mm nominal outer dia pipes | BI01010001010000000000000515BI0100001226 | 5 | metre |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
8.11 | 19.4.3.1 : Providing and fixing square-mouth S.W. gully trap class SP -1 complete with C.I. grating brick masonry chamber with water tight C.I. cover with frame of 300x300 mm size (inside) the weight of cover to be not less than 4.50 kg and frame to be not less than 2.70 kg as per standard design:180x150 mm size P typeWith common burnt clay F.P.S (non modular) bricks of class designation 7.5 | BI01010001010000000000000515BI0100001227 | 1 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
8.12 | od249897/2021_2022 : Supplying, Installing &amp; Testing at site in position uPVC Deep seal Floor trap (ht 7&quot;) supporting on G.I.slotted rails (1.6 mm thick), Full threaded rod , Anchor Fasteners etc at site.110 X 75mm dia out let (Multiple Floor Trap). | BI01010001010000000000000515BI0100001228 | 1 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
8.13 | od249898/2021_2022 : Supplying &amp; Installing at site in position Floor Drain Lock type (SS304) of 1.2 mm thick.125 x 125mm Square | BI01010001010000000000000515BI0100001229 | 1 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
8.14 | od249899/2021_2022 : Supplying, Installing &amp; Testing at site in position SWR pipe of Type B (IS:13592) including injection moulded fittings with bosses where required eg tees, bends, clamps couplings and adapters &amp; clamping with Universal clamps, Anchor fastners(8mm), Threaded Rod(8mm), nuts, washers etc complete.and jointing with adhesive approved by manufactures including cutting and making good the walls or surface mounted with clamps as required at site (For Soil &amp; waste pipes ).&lt;br&gt;75 mm | BI01010001010000000000000515BI0100001230 | 5 | metre |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
9 | Electrical for lab/supervisor room and mechinery room | BI01010001010000000000000515BI0100001231 | [6 empty] | 1
9.01 | 1.10.3 : Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed medium class PVC conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm. FRLS PVC insulated copper conductor single core cable etc as required.Group C | BI01010001010000000000000515BI0100001232 | 9 | point |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
9.02 | 1.12 : Wiring for light/ power plug with 2X4 sq. mm FRLS PVC insulated copper conductor single core cable in surface/ recessed medium class PVC conduit along with 1 No 4 sq. mm FRLS PVC insulated copper conductor single core cable for loop earthing as required. | BI01010001010000000000000515BI0100001233 | 10 | metre |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
9.03 | 1.42 : Installation, testing and commissioning of pre-wired, fluorescent fitting / compact fluorescent fitting of all types, complete with all accessories and tube etc., including supplying and fixing ball and socket arrangement, 2 no. down rods of 20 mm dia X 1.6 mm thick steel conduit upto 30 cm length, painting and wiring the down rods and connection with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable and earthing etc. as required. | BI01010001010000000000000515BI0100001234 | 4 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
9.04 | 1.44 : Installation, testing and commissioning of ceiling fan, including wiring the down rods of standard length (upto 30 cm) with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable etc. as required. | BI01010001010000000000000515BI0100001235 | 2 | no |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
9.05 | 1.50.1 : Installation of exhaust fan in the existing opening, including making good the damage connection testing, commissioning etc. as required.Upto 450 mm sweep | BI01010001010000000000000515BI0100001236 | 1 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
9.06 | 1.58 : Supplying and fixing PVC batten/ angle holder including connection etc. as required. | BI01010001010000000000000515BI0100001237 | 2 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
9.07 | 1.17.3 : Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface / recessed steel/ PVC conduit as required.3 X 1.5 sq.mm | BI01010001010000000000000515BI0100001238 | 10 | metre |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
9.08 | 1.20.1 : Supplying and fixing of following sizes of steel conduit along with accessories in surface/recess including painting in case of surface conduit, or cutting the wall and making good the same in case of recessed conduit as required.20 mm | BI01010001010000000000000515BI0100001239 | 5 | metre |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
9.09 | 1.24.1 : Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required.5/6 amps switch | BI01010001010000000000000515BI0100001240 | 9 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
9.1 | 1.25 : Supplying and fixing two module stepped type electronic fan regulator on the existing modular plate switch box including connections but excluding modular plate etc. as required. | BI01010001010000000000000515BI0100001241 | 2 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
9.11 | 1.27.1 : Supplying and fixing following size/ modules, GI box alongwith modular base & cover plate for modular switches in recess etc as required.1 or 2 Module (75mmX75mm) | BI01010001010000000000000515BI0100001242 | 1 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
9.12 | 1.27.2 : Supplying and fixing following size/ modules, GI box alongwith modular base & cover plate for modular switches in recess etc as required.3 Module (100mmX75mm) | BI01010001010000000000000515BI0100001243 | 1 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
9.13 | 1.27.3 : Supplying and fixing following size/ modules, GI box alongwith modular base & cover plate for modular switches in recess etc as required.4 Module (125mmX75mm) | BI01010001010000000000000515BI0100001244 | 1 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
9.14 | 1.31 : Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 3 pin 5/6 amps modular socket outlet and 5/6 amps modular switch, connection etc. as required. (For light plugs to be used in non residential buildings). | BI01010001010000000000000515BI0100001245 | 3 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
9.15 | od249937/2021_2022 : Supply and conveyance of exhaust fans in the existing opening 250 mm sweep&lt;br&gt;Light Duty Exhaust fan in plastic body with self opening lowers working on 230V&lt;br&gt;single phase A/C | BI01010001010000000000000515BI0100001246 | 1 | no |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
9.16 | od249938/2021_2022 : Supply and conveyance ceiling fans (5-star rated) using standard accessories&lt;br&gt;excluding regulator,wiring the down rod with 16/0.20 mm PVC&lt;br&gt;insulated and PVC sheathed 650/1100V grade 3 core round copper conductor flex wire or with extended original wiring etc as required.&lt;br&gt;1200 mm Sweep Ceiling Fan | BI01010001010000000000000515BI0100001247 | 2 | no |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
9.17 | od249939/2021_2022 : Supply of 9W LED bulb in the existing angle holder as required | BI01010001010000000000000515BI0100001248 | 2 | no |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
9.18 | od249940/2021_2022 : Supply of 1200mm, 20W LED Tube fittings prewired complete with all necessary accessories as required | BI01010001010000000000000515BI0100001249 | 4 | no |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
10 | Lab equipments | BI01010001010000000000000515BI0100001250 | [6 empty] | 1
10.01 | od290739/2021_2022 : supply of Test tube with Rim 15x150mm (approx) 15ml | BI01010001010000000000000515BI0100001251 | 10 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
10.02 | od290740/2021_2022 : supply of Conical Flasks-Erlenmeyer, Graduated,N/M, Capacity: 250ml, Approx. O.D. x Height: 85x145mm, Approx. Neck O.D.: 34mm, | BI01010001010000000000000515BI0100001252 | 2 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
10.03 | od290741/2021_2022 : supply of Measuring Cylinders-Graduated, single metric scale, with pour out, with hexagonal base,Class B Capacity: 500ml, Graduation interval: 5.0ml, Tolerance: +/-5.0ml, | BI01010001010000000000000515BI0100001253 | 1 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
10.04 | od290742/2021_2022 : supply of Pipettes-Transfer, Volumetric, Class B, Capacity: 10ml,Tolerance: +/-0.04ml, | BI01010001010000000000000515BI0100001254 | 1 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
10.05 | od290743/2021_2022 : supply of Burettes-Straight bore stopcock, accuracy as per Class B of I.S. 1997:2008/EN ISO 385, Capacity: 50ml Graduation interval: 0.1ml, Tolerance: +/-0.1ml, | BI01010001010000000000000515BI0100001255 | 1 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
10.06 | od290744/2021_2022 : supply of Thermometer Mercury Yellow Back 110, 250, 360C | BI01010001010000000000000515BI0100001256 | 1 | no |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
10.07 | od290745/2021_2022 : supply of TDS Meter Digital 0-9990ppm Model TDS-3 | BI01010001010000000000000515BI0100001257 | 1 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
10.08 | od290746/2021_2022 : supply of Digital pH Meter with Electrode | BI01010001010000000000000515BI0100001258 | 1 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
10.09 | od290747/2021_2022 : supply of Indicator paper-Wide range pH 0.0-10.0 | BI01010001010000000000000515BI0100001259 | 1 | set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
10.1 | od290748/2021_2022 : supply of Electronic Balance Accuracy 0.1g (100mg) Capacity 1000gm Model HT Compact&lt;br&gt; | BI01010001010000000000000515BI0100001260 | 1 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
10.11 | od290749/2021_2022 : Supply of Test tube Stand 16mm &amp; 25mm 6 holes | BI01010001010000000000000515BI0100001261 | 2 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
10.12 | od338169/2021_2022 : supply of Dissolved oxygen meter with 16x2 alpha numeric LCD display. | BI01010001010000000000000515BI0100001262 | 1 | no |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
Total in Figures | [51 empty] | #VALUE! | #VALUE! | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information