## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: WAPCOS Limited
Work Name : Construction of new building for District Vector Control Unit at, Kozhikode
Contract No: WAP/INFRA/KERALA/2024/DVC/478
Bidder Name :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55
1 | Civil works | BI01010001010000000000000515BI0100001113 | [6 empty] | 1 | [45 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.01 | 2.6.1 : Earth work in excavation by mechanical means (Hydraulic excavator)/manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including disposal of excavated earth, lead up to 50 m and lift up to 1.5 m, disposed earth to be levelled and neatly dressed.All kinds of soil |  | 459.246 | cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.02 | 2.26.1 : Extra for every additional lift 1.5 m or part there of in excavation / banking excavated or stacked materials.All kinds of soil |  | 94.82 | cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
1.03 | 2.25 : Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20 cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 m and lift up to 1.5 m.Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundation etc. in layers not exceeding 20 cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 m and lift up to 1.5 m. |  | 255.466 | cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.04 | 4.1.8 : Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level:1:4:8 (1 cement : 4 coarse sand : 8 graded stone aggregate 40 nominal size) |  | 56.575 | cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.05 | 4.1.3 : Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level:1:2:4 (cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) |  | 16.56 | cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.06 | 2.34.1 : Supplying chemical emulsion in sealed containers including delivery as specified.Chlorpyriphos / Lindane emulsifiable concentrate of 20% |  | 165.6 | Litre |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.07 | 2.35.3.1 : Diluting and injecting chemical emulsion for POST -CONSTRUCTIONAL anti-termite treatment (excluding the cost of chemical emulsion):Treatment of soil under existing floors using chemical emulsion @ one litre per hole, 300 mm apart including drilling 12 mm diameter holes and plugging with cement mortar 1:2 (1 cement : 2 coarse sand) to match the existing floor:With Chlorpyriphos/Lindane E.C. 20% with 1% concentration |  | 276 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.08 | 4.11 : Providing and laying damp-proof course 50 mm thick with cement concrete 1:2:4(1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size). |  | 31.541 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.09 | od95715/2023_2024 : Providing &amp; applying a coat of residual petroleum bitumen of grade of VG-10 of approved quality using 1.7kg per square metre on damp proof course after cleaning the surface with brushes and finally with apiece of cloth lightly soaked in kerosene oil. |  | 31.541 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.1 | 5.9.1 : Centering and shuttering including strutting, etc. and removal of form for:Foundations, footings, bases of columns, etc for mass concrete |  | 167.091 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.11 | 5.9.3 : Centering and shuttering including strutting, etc. and removal of form for:Suspended floors, roofs, landings, balconies and access platform |  | 522.231 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.12 | 5.9.5 : Centering and shuttering including strutting, etc. and removal of form for:Lintels, beams, plinth beams, girders bressumers and cantilevers |  | 598.635 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.13 | 5.9.6 : Centering and shuttering including strutting, etc. and removal of form for:Columns, Pillars, Piers, Abutments, Posts and Struts |  | 228 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.14 | 5.9.7 : Centering and shuttering including strutting, etc. and removal of form for:Stairs, (excluding landings ) except spiral - staircases) |  | 29.64 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.15 | 5.9.16.1 : Centering and shuttering including strutting, etc. and removal of form for:Edges of slabs and breaks in floors and wallsUnder 20 cm wide |  | 223.201 | metre |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.16 | 5.9.19 : Centering and shuttering including strutting, etc. and removal of form for:Weather shade, Chajjas, corbels etc., including edges |  | 96.88 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.17 | 5.9.2 : Centering and shuttering including strutting, etc. and removal of form for:Walls (any thickness) including attached pilasters, butteresses, plinth and string courses etc. |  | 23.682 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.18 | 5.11.1 : Extra additional height in centering, shuttering where ever required with adequate bracing, propping etc. including cost of de-shuttering and decentering at all levels, over a height of 3.5m, for every additional height of 1 metre or part thereof (Plan area to be measured).Suspended floors, roofs, landing, beams and balconies (Plan area to be measured) |  | 503.841 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.19 | 5.22A.6 : Steel reinforcement for R.C.C work including straightening, cutting, bending, placing in position and binding all complete above plinth level.Thermo - Mechanically Treated bars of grade Fe-500D or more |  | 28842.6 | kg |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.2 | od95716/2023_2024 : Providing and fixing S.S fan clamp of 10mm dia in RCC slabs , beams including cost and conveyance of all materials,labour charges etc complete as directed by the Engineer - in - Charge at all levels |  | 15 | no |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.21 | 5.30 : Add for plaster drip course / groove in plastered surface or moulding to R.C.C. projections. |  | 138.4 | metre |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.22 | 5.33.1 : Providing and laying in position machine batched and machine mixed design mix M-25 grade cement concrete for reinforced cement concrete work, using cement content as per approved design mix, including pumping of concrete to site of laying but excluding the cost of centering, shuttering, finishing and reinforcement, including admixtures in recommended proportions as per IS: 9103 to accelerate, retard setting of concrete, improve workability without impairing strength and durability as per direction of Engineer - in-charge. Note:- Cement content considered in this item is @ 330 kg/ cum. Excess or less cement used as per design mix is payable or recoverable separately.All work upto plinth level |  | 111.501 | cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.23 | 5.33.2 : Providing and laying in position machine batched and machine mixed design mix M-25 grade cement concrete for reinforced cement concrete work, using cement content as per approved design mix, including pumping of concrete to site of laying but excluding the cost of centering, shuttering, finishing and reinforcement, including admixtures in recommended proportions as per IS: 9103 to accelerate, retard setting of concrete, improve workability without impairing strength and durability as per direction of Engineer - in-charge. Note:- Cement content considered in this item is @ 330 kg/ cum. Excess or less cement used as per design mix is payable or recoverable separately.All work above plinth level upto floor V level |  | 143.615 | cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.24 | od308104/2023_2024 : Providing and laying in position machine batched and machine mixed design mix&lt;br&gt;M-30 grade cement concrete for reinforced cement concrete work, using cement&lt;br&gt;content as per approved design mix, including pumping of concrete to site of laying&lt;br&gt;but excluding the cost of centering, shuttering, finishing and reinforcement,&lt;br&gt;including admixtures in recommended proportions as per IS: 9103 to accelerate,&lt;br&gt;retard setting of concrete, improve workability without impairing strength and&lt;br&gt;durability as per direction of Engineer-in-charge.&lt;br&gt;All works upto plinth level |  | 10.252 | cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.25 | 50.6.7.1 : Laterate masonry with neatly dressed laterate stone of size 40x20x15cm or nearest size in cement mortar 1:6 for foundation and basement including all cost of materials, labour charges etc. |  | 23.651 | cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.26 | 50.6.7.2 : Laterate masonry with neatly dressed laterate stone of size 40x20x15cm or nearest size in cement mortar 1:6 for super structure above plinth level up to floor two level including all cost of materials, labour charges etc. |  | 216.579 | cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.27 | 13.1.2 : 12 mm cement plaster of mix:1:6 (1 cement : 6 fine sand). |  | 1783.585 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.28 | 13.10 : 15 mm cement plaster 1:3 ( 1 cement :3 coarse sand) finished with a floating coat of neat cement on the rough side of single or half brick wall. |  | 350.785 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.29 | 13.2.1 : 15 mm cement plaster on the rough side of single or half brick wall of mix:1:4 (1 cement :4 fine sand) |  | 447.184 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.3 | 13.16.1 : 6 mm cement plaster of mix:1:3 ( 1 cement : 3 fine sand) |  | 654.09 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.31 | od307922/2023_2024 : Brick jelly Concrete in Cement Mortar 1:3:6 using 40 mm broken bricks including cost,conveyance,labour charges etc. ... complete as per the direction from Engineer in Charge |  | 2.082 | cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.32 | 13.43.1 : Applying one coat of water thinnable cement primer of approved brand and manufacture on wall surface:Water thinnable cement primer |  | 2437.675 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.33 | 13.47.1 : Finishing walls with Premium Acrylic Smooth exterior paint with Silicone additives of required shade:New work (Two or more coats applied @ 1.43 ltr/ 10 sqm over and including priming coat of exterior primer applied @ 2.20 kg/ 10 sqm) |  | 447.184 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.34 | 13.60.1 : Wall painting with acrylic emulsion paint of approved brand and manufacture to give an even shade:Two or more coats on new work |  | 2437.675 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.35 | 13.62.1 : Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade:Two or more coats on new work over an under coat of suitable shade with ordinary paint of approved brand and manufacture . |  | 108.114 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.36 | 13.80 : Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. |  | 84.022 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.37 | 8.2.2.1 : Providing and fixing 18 mm thick gang saw cut, mirror, polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations, of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 ( 1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edges to give high gloss finish etc. complete at all levels.Granite of any colour and shadeArea of slab upto 0.50 sqm |  | 87.604 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.38 | 8.5 : Extra for providing opening or required size & shape for wash basin/kitchen sink in kitchen platform, vanity counter and similar location in marble/granite/ stone work, including necessary holes for pillar taps etc. including moulding, rubbing and polishing of cut edges etc. complete. |  | 8 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.39 | 9.48.2 : Providing and fixing M.S. Grills of required pattern in frames of windows etc. with M.S. flats, square or round bars etc. including priming coat with approved steel primer all complete.Fixed to openings/ wooden frames with rawl plugs screws etc |  | 690 | kg |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.4 | 10.28 : Providing and fixing stainless steel (Grade 304) railing made of Hollow tubes, channels, plates etc., including welding, grinding, buffing, polishing and making curvature (wherever required) and fitting the same with necessary stainless steel nuts and bolts complete, i/c fixing the railing with necessary accessories & stainless steel dash fasteners, stainless steel bolts etc., of required size on the top of the floor or the side of waist slab with suitable arrangement as per approval of Engineer-in-charge, (for payment purpose only weight of stainless steel members shall be considered excluding fixing accessories such as nuts, bolts, fasteners etc.) |  | 219.072 | kg |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.41 | 11.41.2 : Providing and laying vitrified floor tiles in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS : 15622, of approved make, in all colours and shades, laid on 20 mm thick cement mortar 1:4(1 cement : 4 coarse sand), including grouting the joints with white cement and matching pigments etc., complete.Size of Tile 600 x 600 mm. |  | 373.983 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.42 | 11.46.2 : Providing and laying Vitrified tiles indifferent sizes (thickness to be specified by manufacturer), with water absorption less than 0.08 % and conforming to I.S. 15622, of approved make, in all colours & shade, in skirting, riser of steps, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand), including grouting the joint with white cement & matching pigments etc. complete.Size of Tile 600x600 mm |  | 38.104 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.43 | 11.37A : Providing and fixing 1st quality ceramic glazed floor tiles conforming to IS : 15622 (thickness to be specified by the manufacturer ) of approved make in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge in skirting, risers of steps and dados over 12 mm thick bed of cement Mortar 1:3 (1 cement: 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm including pointing in white cement mixed with pigment of matching shade complete. |  | 20.802 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.44 | 8.31 : Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineerin-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. |  | 154.985 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.45 | 11.19.4 : Chequered terrazo tiles 22 mm thick with graded marble chips of size up to 6 mm in floors, jointed with neat cement slurry mixed with pigment to match the shade of the tiles, including rubbing and polishing complete, on 20 mm thick bed of cement mortar 1:4 ( 1 cement : 4 coarse sand):Ordinary cement without any pigment |  | 8.1 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.46 | 21.1.1.2 : Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS : 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminnium snap beading for glazing /paneling, C.P. brass/ stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge.(Glazing, paneling and dash fasteners to be paid for separately):For fixed portionPowder coated aluminium (minimum thickness of powder coating 50 micron) |  | 233.778 | kg |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.47 | 21.1.2.2 : For shutters of doors, windows & ventilators including providing and fixing hinges / pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber/ neoprene gasket required (Fittings shall be paid for separately)Powder coated aluminium (minimum thickness of powder coating 50 micron) |  | 331.987 | kg |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.48 | 21.3.1 : Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of Engineer - in -Charge. ( Cost of aluminium snap beading shall be paid in basic item):With float glass panes of 4.0 mm thickness |  | 64.17 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.49 | 21.18 : Providing and fixing 12 mm thick frameless toughened glass door shutter of approved brand and manufacture, including providing and fixing top & bottom pivot & spring type fixing arrangement and making necessary holes etc. for fixing required door fittings, all complete as per direction of Engineer-in-charge ( Door handle, lock and stopper etc to be paid separately) |  | 8.4 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.5 | 22.5 : Providing and laying water proofing treatment in sunken portion of WCs, bathroom etc., by applying cement slurry mixed with water proofing cement compound consisting of applying : a) First layer of slurry of cement @ 0.488 kg/sqm mixed with water proofing cement compound @ 0.253 kg/sqm. This layer will be allowed to air cure for 4 hours. b) Second layer of slurry of cement @ 0.242 kg /sqm mixed with water proofing cement compound @ 0.126 kg/ sqm. This layer will be allowed to air cure for 4 hours followed with water curing for 48 hours. The rate includes preparation of surface, treatment and sealing of all joints, corners, junctions of pipes and masonry with polymer mixed slurry. |  | 22.401 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.51 | 22.6 : Providing and laying water proofing treatment on roofs of slabs by applying cement slurry mixed with water proofing cement compound consisting of applying : a) after surface preparation, first layer of slurry of cement @ 0.488 kg/ sqm mixed with water proofing cement compound @ 0.253 kg/ sqm. laying second layer of fibre glass cloth when the first layer is still green. Overlaps of joints of fibre cloth should not be less than 10 cm. c) third layer of 1.5 mm thickness consisting of slurry of cement @ 1.289 kg/ sqm mixed with water proofing cement compound @ 0.670 kg/sqm and coarse sand @ 1.289 kg/sqm. This will be allowed to air cure for 4 hours followed by water curing for 48 hours. The entire treatment will be taken upto 30 cm on parapet wall and tucked into groove in parapet all around. d) fourth and final layer of brick tilling with cement mortar (which will be paid for separately. For the purpose of measurement the entire treated surface will be measured) |  | 233.145 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.52 | 50.9.15.1 : Supplying and fixing 200 mm Aluminium aldrop |  | 22 | no |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.53 | 9.14 : Extra for providing ISI marked Stainless Steel butt hinges instead of M.S. pressed butt hinges bright finished of required size with necessary screws. ( Shutter area to be measured) |  | 80 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.54 | 9.84 : Providing and fixing aluminium extruded section body tubular type universal hydraulic door closer (having brand logo with ISI, IS : 3564, embossed on the body, door weight upto 36 kg to 80 kg and door width form 701 mm to 1000 mm), with double speed adjustment with necessary accessories and screws etc. complete. |  | 18 | no |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.55 | 9.96.1 : Providing and fixing aluminium sliding door bolts, ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete:300x16 mm |  | 20 | no |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.56 | 9.100.1 : Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete:125 mm |  | 20 | no |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.57 | 9.101.1 : Providing and fixing aluminium hanging floor door stopper, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS: 1868) transparent or dyed to required colour and shade, with necessary screws etc. complete.Single rubber stopper |  | 20 | no |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.58 | 9.102 : Providing and fixing aluminium casement stays, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour and shade, with necessary screws etc. complete. |  | 90 | no |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.59 | 9.103 : Providing and fixing bright finished brass 100 mm mortice latch and lock, ISI marked, with six levers and a pair of anodised (anodic coating not less than grade AC 10 as per IS: 1868) aluminium lever handles of approved quality with necessary screws etc . complete. |  | 20 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.6 | 9.118.1 : Providing and fixing to existing door frames24 mm thick factory made PVC door shutters made of styles and rails of a uPVC hollow section of size 59x24 mm and wall thickness 2 mm (± 0.2 mm) with inbuilt edging on both sides. The styles and rails mitred and joint at the corners by means of M.S. galvanised/plastic brackets of size 75x220 mm having wall thickness 1.0 mm and stainless steel screws. The styles of the shutter reinforced by inserting galvanised M.S. tube of size 20x20 mm and 1 mm (± 0.1 mm) wall thickness. The lock rail made up of 'H' section, a uPVC hollow section of size 100x24 mm and 2 mm (± 0.2 mm) wall thickness,fixed to the shutter styles by means of plastic/galvanised M.S. 'U' cleats. The shutter frame filled with a uPVC multi-chambered single panel of size not less than 620 mm, having over all thickness of 20 mm and 1 mm (± 0.1 mm) wall thickness. The panels filled vertically and tie bar at two places by inserting horizontally 6 mm galvanised M.S. rod and fastened with nuts and washers, complete as per manufacturer's specification and direction of Engineer-in-charge( For W.C. and bathroom door shutter). |  | 2.042 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.61 | 9.118.2 : Providing and fixing to existing door frames30 mm thick factory made Polyvinyl Chloride (PVC) door shutter made of styles and rails of a uPVC hollow section of size 60x30 mm and wall thickness 2 mm (± 0.2 mm), with inbuilt decorative moulding edging on one side. The styles and rails mitred and joint at the corners by means of M.S. galvanised/plastic brackets of size 75x220 mm having wall thickness 1.0 mm and stainless steel screws. The styles of the shutter reinforced by inserting galvanised M.S. tube of size 25x20 mm and 1 mm (± 0.1 mm) wall thickness. The lock rail made up of 'H' section, a uPVC hollow section of size 100x30 mm and 2 mm (± 0.2 mm) wall thickness fixed to the shutter styles by means of plastic/galvanised M.S. 'U' cleats. The shutter frame filled with a uPVC multi-chambered single panel of size not less than 620 mm, having over all thickness of 20 mm and 1 mm (± 0.1 mm) wall thickness. The panels filled vertically and tie bar at two places by inserting horizontally 6 mm galvanised M.S. rod and fastened with nuts and washers, complete as per manufacturer's specification and direction of Engineer-in-charge. |  | 7.561 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.62 | od106686/2023_2024 : Supply and installation of signage, Vinyl in foam sheet with lettering, All fixingarrangements in fasteners,stainless steel screws etc or by hanging using SS chain as per design&lt;br&gt;requirements at required locations as directed by the engineer in charged. rate inclusive of all materials and&lt;br&gt;labour.Sign board of size 15 x45 cm |  | 20 | no |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.63 | 16.68 : Providing and laying 60 mm thick factory made cement concrete interlocking paver block of M - 30 grade made by block making machine with strong vibratory compaction, of approved size, design & shape, laid in required colour and pattern over and including 50 mm thick compacted bed of coarse sand, filling the joints with fine sand etc. all complete as per the direction of Engineer-in-charge. |  | 400 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.64 | od294732/2023_2024 : Application and Approval of Building Permit , PCB Approvals, fire NOC Inspectorate Charge for Approval and sanction, KSEB Charge for availing Regularizing the existing HT Connection to New Demand including meter testing Fee etc.. (Actual amount will be reimbursed on submission of receipts)&lt;br&gt; |  | 1 | L.S |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2 | Plumbing works- Sanitary Installations | [7 empty] | 1
2.01 | 17.2.2 : Providing and fixing white vitreous china pedestal type water closet (European type W.C. pan) with seat and lid, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever), conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required:W.C. pan with ISI marked black solid plastic seat and lid |  | 4 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.02 | 17.7.4 : Providing and fixing wash basin with C.I. brackets, 15 mm C.P. brass pillar taps, 32 mm C.P. brass waste of standard pattern, including painting of fittings and brackets, cutting and making good the walls wherever require:White Vitreous China Flat back wash basin size 550x400mm with single 15 mm C.P.brass pillar taps |  | 7 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.03 | 17.7.9 : Providing and fixing wash basin with C.I. brackets, 15 mm C.P. brass pillar taps, 32 mm C.P. brass waste of standard pattern, including painting of fittings and brackets, cutting and making good the walls wherever require:White Vitreous China Surgeon Type wash basin of size 660x460 mm with single 15 mm C P. brass pillar taps with elbow operated levers ISI marked |  | 1 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.04 | 17.23 : Providing and fixing white vitreous china flat back or wall corner type lipped front urinal basin of 430x260x350 mm or 340x410x265 mm sizes respectively. |  | 1 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.05 | 17.31 : Providing and fixing 600x450 mm beveled edge mirror of superior glass (of approved quality) complete with 6 mm thick hard board ground fixed to wooden cleats with C.P. brass screws and washers complete. |  | 7 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.06 | 17.71 : Providing and fixing PTMT liquid soap container 109 mm wide, 125 mm high and 112 mm distance from wall of standard shape with bracket of the same materials with snap fittings of approved quality and colour, weighing not less than 105 gms |  | 13 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.07 | 17.72 : Providing and fixing PTMT towel ring trapezoidal shape 215 mm long, 200 mm wide with minimum distances of 37 mm from wall face with concealed fittings arrangement of approved quality and colour, weighing not less than 88 gms |  | 4 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.08 | 17.75 : Providing and fixing PTMT 15 mm Urinal spreader size 95x69x100 mm with 1/2" BSP thread and shapes, weighing not less than 60 gms. |  | 2 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.09 | 8.10.2 : Providing and fixing stone slab with table rubbed, edges rounded and polished, of size 75x50 cm deep and 1.8 cm thick, fixed in urinal partitions by cutting a chase of appropriate width with chase cutter and embedding the stone in the chase with epoxy grout or with cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 6 mm nominal size) as per direction of Engineer-in Charge and finished smooth.Granite Stone of approved shade |  | 1 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.1 | 18.21.2.1 : Providing and fixing uplasticised PVC connection pipe with brass unions:45 cm length15 mm nominal bore |  | 13 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.11 | 18.51.1 : Providing and fixing C.P. brass long body bib cock of approved quality conforming to IS standards and weighing not less than 690 gms.15 mm nominal bore |  | 4 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.12 | 18.53.1 : Providing and fixing C.P. brass angle valve for basin mixer and geyser points of approved quality conforming to IS: 893115 mm nominal bore |  | 23 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.13 | 50.17.1.3 : Supplying and fixing CP Towel rod 60cm or nearest available length including cost of materials and labour charges etc complete as per the direction of site Engineer-in-charge. |  | 4 | no |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.14 | 50.17.1.5 : Supplying and fixing CP Health Faucet superior quality ( Jagur or equvalent make ) including cost of materials and labour charges etc complete as per the direction of site Engineer-in-charge. |  | 5 | no |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.15 | od98342/2023_2024 : Providing and fixing cooler (hot, cold and normal water) with inbuild RO filter including cost and conveyance of all materials labour charges etc. complete, including necessary wall cutting / chasing and making good as required etc. complete, testing and commissioning to the satisfaction of Engineer in Charge as per direction of Engineer-In charge at all levels |  | 1 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.16 | od98343/2023_2024 : Providing,fixing testing and commissioning Energy Efficient Storage Type Electric Water Heater, 2kw each, as per specification&lt;br&gt;Capacity 15 Ltrs |  | 4 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.17 | od98344/2023_2024 : Providing and fixing of C. P. Robe Hook, 60mm. Dia. x 45mm. High. |  | 5 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.18 | od98345/2023_2024 : Providing and Fixing ABS Body P-Trap with threaded union connections, flanges and all other necessary accessories, all as per manufacturer&apos;s instructions and to the approval of the Engineer-in-charge.&lt;br&gt;For Sinks and Scrub, 40mm, Size |  | 9 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.19 | od98346/2023_2024 : Providing and Fixing ABS Body P-Trap with threaded union connections, flanges and all other necessary accessories, all as per manufacturer&apos;s instructions and to the approval of the Engineer-in-charge.&lt;br&gt;For Wash Basin, 32mm, Size. |  | 5 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.2 | od98347/2023_2024 : Heavy duty braided Connection tube - Providing, Fixing, Testing and Commissioning at site of Heavy duty braided Connection tube with brass unions:45 cm length 15 mm nominal bore |  | 8 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.21 | od98348/2023_2024 : Providing and fixing CP Surgical Purpose Elbow Action, Wall Mounted type, Clinical Sink Mixer with extended lever handle, complete with Wall Flanges and all necessary accessories, all as per manufacturer&apos;s instructions and to the approval of the Engineer-in-charge. |  | 5 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.22 | od98349/2023_2024 : Kitchen sink with Drain board - Providing, Fixing, Testing and Commissioning at site of approved shape and size Stainless Steel A ISI 304 (18/8) kitchen sink as per IS 13983 with C.I. brackets and stainless steel plug 40 mm, including painting of fittings and brackets, cutting and making good the walls wherever required: Kitchen sink with drain board 510x1040 mm bowl depth 200 mm |  | 1 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.23 | od98350/2023_2024 : Providing and fixing of Black colour Poly Propylene Laboratory Sink, Dimensions: external 558 x 355 x 240mm, Net weight: 2.7 kg, Temperature range: 0-80&deg;C, 1/2&rdquo; BSP Waste connection, Net weight: 0.2 kg Dimensions: &Oslash;73, 1&frac12;&rdquo; BSP with PTMT/PP waste coupling, adjustable screw on nut. , including cutting and making good the walls wherever required: Polypropylene Laboratory Sink without drain board |  | 4 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3 | Plumbing works- Internal Drainage | [7 empty] | 1
3.01 | 50.18.8.6.2 : Providing and fixing PVC pipes, fittings including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step PVC solvent cement and testing of joints complete as per direction of Engineer-in-Charge. Concealed work, including cutting chases and making good the wall etc. 50 mm pipe 6 kgf/cm2 |  | 24 | metre |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3.02 | 50.18.8.7.2 : Providing and fixing PVC pipes, fittings including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes with one step PVC solvent cement and testing of joints complete as per direction of Engineer-in-Charge. Concealed work, including cutting chases and making good the wall etc 63 mm pipe 4 kgf/ cm2 |  | 15 | metre |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3.03 | 50.18.8.8.1 : Providing and fixing PVC pipes, fittings including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes with one step PVC solvent cement and testing of joints complete as per direction of Engineer-in-Charge. Concealed work, including cutting chases and making good the wall etc. 75 mm pipe 6 Kgf/cm2 |  | 25 | metre |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3.04 | 50.18.8.9.1 : Providing and fixing PVC pipes, fittings including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes with one step PVC solvent cement and testing of joints complete as per direction of Engineer-in-Charge. Concealed work, including cutting chased and making good the wall etc. 110 mm pipe 6kgf/cm2 |  | 16 | metre |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3.05 | 50.18.9.20.7 : Providing and fixing PVC moulded fittings/ accessories for Rigid PVC pipes, including jointing with PVC solvent cement - 63 mm dia vent cowl |  | 2 | no |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3.06 | 50.18.9.21.7 : Providing and fixing PVC moulded fittings/ accessories for Rigid PVC pipes, including jointing with PVC solvent cement - 75 mm dia Vent cowl |  | 4 | no |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3.07 | 50.18.9.22.8 : Providing and fixing PVC moulded fittings /accessories for Rigid PVC pipes, including jointing with PVC solvent cement -110 mm dia Vent cowl |  | 1 | no |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3.08 | od98383/2023_2024 : Supply, fix at site in position, Rain Khurra (Rain Water Outlet) Side Wall Parapet Type in Cast Iron body, Aluminium Gratings, S.S. Screws etc. complete with Gratings, all as per Technical Specifications.&lt;br&gt;100mm dia. for 110mm. PVC Down Pipe |  | 2 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3.09 | od98385/2023_2024 : Heavy duty stainless steel cleanout cover - Providing and Fixing Heavy Duty Stainless Steel A ISI 304 Clean out Cover, sealed, threaded covers, including suitable keys for opening, if required. - For 75mm |  | 1 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3.1 | od98386/2023_2024 : Heavyduty stainless steel cover for Concealed Floor Trap for Urinal - Providing and Fixing 125x125mm dia Heavyduty stainless steel cover for Concealed Floor Trap ISI 304 Cover, for Urinal. |  | 1 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3.11 | od98387/2023_2024 : Stainless steel Square Flat cut lock grating cover - Providing and Fixing Heavy Duty Stainless Steel Square Flat cut lock Trap Stainless Steel A ISI 304 with 125x125 mm. Grating, for 110mm. |  | 12 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3.12 | od98388/2023_2024 : Supplying, installing, testing &amp; commissioning at site in position 110mm dia deep seal PVC P Trap with boss tee and access cap including all necessary fittings and supports complete. |  | 1 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3.13 | od98389/2023_2024 : uPVC fabricated Multi floor trap - Providing, Fixing, testing and commissioning at site in position uPVC Fabricated Multi Floor Trap, with thrust block support including complete cost o cutting chases and making good the walls in all respects - 50/75 mm dia inlet/outlet (In Sunken) |  | 12 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3.14 | od98390/2023_2024 : Providing and fixing PVC pipes, fittings including fixing the pipe with clamps/clips at 1.00 m spacing. This includes jointing of pipes with one step PVC solvent cement and testing of joints complete as per direction of Engineer-in-Charge 110 m dia 4 Kgf/cm2 - External work - Exposed on wall |  | 56.4 | metre |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3.15 | od98391/2023_2024 : Providing and fixing PVC pipes, fittings including fixing the pipe with clamps/ clips/ at 1.00 m spacing . This includes jointing of pipes with one step PVC solvent cement and testing of joints complete as per direction of Engineer-in-Charge 110 mm dia 6 Kgf/cm2 - External work- Exposed on wall |  | 8.4 | metre |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3.16 | od98392/2023_2024 : Providing and fixing PVC pipes, fittings including fixing the pipe with clamps/clips at 1.00 m spacing. This included jointing of pipes with one step PVC solvent cement and testing of joints complete as per direction of Engineer-in-Charge 75 mm dia 6Kgf/cm2 - External work- Exposed on wall |  | 25.2 | metre |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4 | Plumbing works- Water supply | [7 empty] | 1
4.01 | 18.7.2 : Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer -in-Charge. Internal work - Exposed on wall20 mm nominal outer dia pipes |  | 35 | metre |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4.02 | 18.7.3 : Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer -in-Charge. Internal work - Exposed on wall25 mm nominal outer dia pipes |  | 55 | metre |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4.03 | 18.7.4 : Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer -in-Charge. Internal work - Exposed on wall32 mm nominal outer dia pipes |  | 20 | metre |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4.04 | 18.8.2 : Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes& fittings, with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer-in-Charge. Concealed work, including cutting chases and making good the wall etc.20 mm nominal outer dia pipes |  | 60 | metre |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4.05 | 18.17.2 : Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) :32 mm nominal bore |  | 5 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4.06 | 18.17.3 : Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) :40 mm nominal bore |  | 2 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4.07 | 18.18.2 : Providing and fixing ball valve (brass) of approved quality, High or low pressure, with plastic floats complete:20 mm nominal bore |  | 10 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4.08 | 18.18.3 : Providing and fixing ball valve (brass) of approved quality, High or low pressure, with plastic floats complete:25 mm nominal bore |  | 1 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4.09 | 50.18.9.4.1 : Providing and fixing PVC pipes includings jointing of pipes with one step PVC solvent cement, trenching, refilling & testing of joints complete as per direction of Engineer in Charge.32 mm dia 10.Kgf/cm2 |  | 15 | metre |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4.1 | 50.18.9.5.1 : Providing and fixing PVC pipes includings jointing of pipes with one step PVC solvent cement, trenching refilling & testing of joints complete as per direction of Engineer in Charge 40 mm dia 10Kgf/cm2 |  | 15 | metre |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4.11 | 50.18.9.14.1 : Providing and fixing PVC pipes, fittings including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step PVC solvent cement and testing of joints complete as per direction of Engineer-in-Charge 32 mm dia 10 Kgf/cm2 - External work- Exposed on wall |  | 23.4 | metre |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4.12 | 50.18.9.15.1 : Providing and fixing PVC pipes, fittings including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step PVC solvent cement and testing of joints complete as per direction of Engineer-in-Charge 40 mm dia 10Kgf/cm2- External work- Exposed on wall |  | 23.4 | metre |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4.13 | od98418/2023_2024 : Supplying, Installing, Testing &amp; Commissioning at site in position CI Y-type stainer with drain plug, SS screen 304 complete in all respects.&lt;br&gt;32 dia |  | 2 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4.14 | od98419/2023_2024 : Supplying, Installing, Testing &amp; Commissioning at site in position CI Y-type stainer with drain plug, SS screen 304 complete in all respects.&lt;br&gt;25 dia |  | 2 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4.15 | od98420/2023_2024 : Supplying, Installing, Testing &amp; Commissioning at site in position Brass Non Return Valve screw type complete&lt;br&gt;40mm Vertical |  | 2 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4.16 | od98421/2023_2024 : Supplying, Installing, Testing &amp; Commissioning at site in position Brass Non Return Valve screw type complete&lt;br&gt;32mm Vertical |  | 2 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4.17 | od98423/2023_2024 : CI Y Strainer 1 1/2&rdquo; (40mm) dia - Supply,Installation,Testing and Commisioning of CI Y-type stainer with drain plug, SS screen 304 complete in all respects. |  | 2 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4.18 | od98424/2023_2024 : Brass Automatic Air Release Valves - Providing, Fixing, testing and commissioning at site in positions Brass Automatic Air Release Valves, of approved quality and make on the top of the vertical water supply pipes as per specification and drawing - 3/4&quot;(20mm) dia |  | 2 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5 | Plumbing works- External Sewerage and Storm Water Drain | [7 empty] | 1
5.01 | 50.18.9.8.1 : Providing and fixing PVC pipes includings jointing of pipes with one step PVC solvent cement, trenching, refilling & testing of joints complete as per direction of Engineer in Charge. 75 mm dia 6 Kgf/ cm2 |  | 5 | metre |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5.02 | 50.18.9.10.1 : Providing and fixing PVC pipes includings jointing of pipes with one step pvc solvent cement, trenching , refilling & testing of joints complete as per direction of Engineer in Charge. 150 mm dia 6 Kgf/cm2 |  | 30 | metre |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5.03 | 50.18.9.9.2 : Providing and fixing PVC pipes includes joints of pipes with one step PVC solvent cement, trenching, refilling & testing of joints complete as per direction of Engineer in CHarge. 110 mm dia 4 Kg/cm2 |  | 20 | metre |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5.04 | 19.4.1.1 : Providing and fixing square-mouth S.W. gully trap class SP -1 complete with C.I. grating brick masonry chamber with water tight C.I. cover with frame of 300x300 mm size (inside) the weight of cover to be not less than 4.50 kg and frame to be not less than 2.70 kg as per standard design:100x100 mm size P typeWith common burnt clay F.P.S. (non modular) bricks of class designation 7.5 |  | 4 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5.05 | 19.7.1.1 : Constructing brick masonry manhole in cement mortar 1:4 ( 1 cement : 4 coarse sand) with R.C.C. top with 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size), foundation concrete 1:4:8 mix ( 1 cement : 4 coarse sand : 8 graded stone aggregate 40 mm nominal size,) inside plastering 12 mm thick with cement mortar 1:3 ( 1 cement : 3 coarse sand) finished with floating coat of neat cement and making channels in cement concrete 1:2:4 ( 1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size ) finished with a floating coat of neat cement complete as per standard design:Inside size 90x80 cm and 45 cm deep including C.I. cover with frame (light duty) 455x610 mm internal dimensions, total weight of cover and frame to be not less than 38 kg (weigh of cover 23 kg and weight of frame 15 kg):With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 |  | 6 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5.06 | 19.8.1.1 : Extra for depth for manholesSize 90x80 cmWith common burnt clay F.P.S. ( non modular ) bricks of class designation 7.5 |  | 3 | metre |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5.07 | 19.16 : Providing orange colour safety foot rest of minimum 6 mm thick plastic encapsulated as per IS: 10910 on 12 mm dia steeel bar conforming to IS:1786, having minimum cross section as 23 mm x 25 mm and over all minimum length 263 mm and width as 165 mm with minimum 112 mm space between protruded legs having 2 mm tread on top surface by ribbing or chequering besides necessary and adequate anchoring projections on tail length on 138 mm as per standard drawing and suitable to with stand the bend test and chemical resistance test as per specifications and having manufactures permanent identification mark to be visible even after fixing including fixing in manholes with 30x20x15 cm cement concrete block 1:3:6 ( 1cement: 3 coarse sand: 6 graded stone aggregate 20 mm nominal size) Complete as per design |  | 10 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5.08 | 19.32.1 : Making soak pit 2.5 m diameter 3.0 metre deep with 45 x 45 cm dry brick honey comb shaft with bricks and S.W. drain pipe 100 mm diameter, 1.8 m long complete as per standard design.With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 |  | 1 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5.09 | 19.33 : Constructing soak pit 1.20x1.20 m filled with brickbats including S.W. drain pipe 100 mm diameter and 1.20 m long complete as per standard design. |  | 3 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
6 | Plumbing works- Pump &amp; Tank | [7 empty] | 1
6.01 | 18.48 : Providing and placing on terrace (at all floor levels) polyethylene water storage tank :ISI 12701 marked, with cover and suitable locking arrangement and making necessary holes for inlet, outlet and overflow pipes but without fittings and the base support for tank. |  | 3000 | Litre |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
6.02 | od98477/2023_2024 : Providing and fixing at site in position micro controller based automatic level controller system with inbuilt tuner, starter, level controller, float switch, overload protection, with Three phase, Automatic change over each start/stop, auto/manual mode, sensor for under ground sump/well and over head tank complete in all respects. The quoted rate shall include the necessary AC and DC wiring. |  | 2 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
6.03 | od98479/2023_2024 : Supply, Installation, Testing and Commissioning 2 nos, Monoblock set, having SS Impeller and Shafts, CI/SS Casing, Mechanical Seal Each pumps should be capable to deliver 2.3LPS @ 16mtr head, Head range 6 to 28 mtrs, &apos;&apos;F&apos;&apos; class Insulation, IE3 Rated Electric Motors, IP 55 Protection, Hydraulic efficiency more than 67% motor efficiency more than 85% with Wall mounting Microprocessor based common control Panel to operate the pumpset as ( 1Working + 1Standby ) Star Delta, having features of automatic pump change over in every Start/Stop, Dry run, Overload, Phase Reversal Protections etc. level controller for Auto Start/ Stop Function with sufficient length cable, Digital display, Pressure gauges, Non-retrun valves, Isolation valves, Footvalves, Float Switches, Auto/Manuel Operation. |  | 1 | set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
7 | Electrical works- Wiring | [7 empty] | 1
7.01 | 1.10.3 : Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed medium class PVC conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm. FRLS PVC insulated copper conductor single core cable etc as required.Group C |  | 75 | point |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
7.02 | 1.11 : Wiring for twin control light point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed medium class PVC conduit, 2 way modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm. FRLS PVC insulated copper conductor single core cable etc as required. |  | 10 | point |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
7.03 | 1.14.1 : Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface / recessed medium class PVC conduit as required2x1.5 sq.mm + 1x1.5 sq.mm earth wire |  | 426 | metre |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
7.04 | 1.14.2 : Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface / recessed medium class PVC conduit as required2X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire |  | 465 | metre |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
7.05 | 1.14.3 : Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface / recessed medium class PVC conduit as required2 X 4 sq. mm + 1 X 4 sq. mm earth wire |  | 420 | metre |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
7.06 | 1.21.1 : Supplying and fixing of following sizes of medium class PVC conduit along with accessories in surface/ recess including cutting the wall and making good the same in case of recessed conduit as required.20 mm |  | 30 | metre |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
7.07 | 1.21.2 : Supplying and fixing of following sizes of medium class PVC conduit along with accessories in surface/ recess including cutting the wall and making good the same in case of recessed conduit as required.25 mm |  | 20 | metre |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
7.08 | 1.21.3 : Supplying and fixing of following sizes of medium class PVC conduit along with accessories in surface/ recess including cutting the wall and making good the same in case of recessed conduit as required.32 mm |  | 10 | metre |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
7.09 | 1.25 : Supplying and fixing two module stepped type electronic fan regulator on the existing modular plate switch box including connections but excluding modular plate etc. as required. |  | 15 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
7.1 | 1.26 : Supplying and fixing modular blanking plate on the existing modular plate & switch box excluding modular plate as required. |  | 15 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
7.11 | 1.31 : Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 3 pin 5/6 amps modular socket outlet and 5/6 amps modular switch, connection etc. as required. (For light plugs to be used in non residential buildings). |  | 82 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
7.12 | 1.33 : Supplying and fixing 3 pin, 5 amp ceiling rose on the existing junction box/ wooden block including connection etc as required. |  | 15 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
7.13 | 1.41 : Installation, testing and commissioning of pre - wired, fluorescent fitting/ compact fluorescent fitting of all types, complete with all accessories and tube etc. directly on ceiling/ wall, including connection with 1.5 sq.mm FRLS PVC insulated, copper conductor, single core cable and earthing etc. as required. |  | 107 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
7.14 | 1.44 : Installation, testing and commissioning of ceiling fan, including wiring the down rods of standard length (upto 30 cm) with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable etc. as required. |  | 15 | no |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
7.15 | 1.55.3 : Wiring for group controlled (looped) light point/fan point/exhaust fan point/ call bell point ( without independent switch etc.) with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable in surface/ recessed PVC conduit, and earthing the point with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable etc. as required.Group C |  | 41 | point |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
7.16 | 1.50.1 : Installation of exhaust fan in the existing opening, including making good the damage connection testing, commissioning etc. as required.Upto 450 mm sweep |  | 4 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
7.17 | od102237/2023_2024 : Wiring for stair case light points with 2.5 sq.mm FRLS PVC insulated copper conductor single core cable in and including surface / recessed medium class PVC conduit and all acessories required for complete installation etc , with 1 way modular switch, modular plate, suitable GI box medium class PVC conduit and all acessories required etc and earthing the point with 2.5 sq.mm FRLS PVC insulated copper conductor single core cable etc as required and instructed by engineer in charge/consultant. (Note - Staircase light point shall be controlled by a single switch located inside fire control room in ground floor as per latest fire norms)&lt;br&gt;B.Loop wiring for Light point |  | 4 | metre |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
7.18 | od102238/2023_2024 : Wiring for stair case light points with 2.5 sq.mm FRLS PVC insulated copper conductor single core cable in and including surface / recessed medium class PVC conduit and all acessories required for complete installation etc , with 1 way modular switch, modular plate, suitable GI box medium class PVC conduit and all acessories required etc and earthing the point with 2.5 sq.mm FRLS PVC insulated copper conductor single core cable etc as required and instructed by engineer in charge/consultant. (Note - Staircase light point shall be controlled by a single switch located inside fire control room in ground floor as per latest fire norms)&lt;br&gt;A. One light point controlled by one way switch (At ground floor) |  | 2 | metre |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
7.19 | od102869/2023_2024 : POP-UP-BOX -Wiring for pop up box suitable for fixing 2 No 6A socket with switch &amp; 1 No of network point fixed in recess using 1.5 sq.mm FRLS PVC insulated copper single core stranded wire and earthing using using 1.5 Sqmm FRLS PVC insulated copper single core stranded wire, green colour continuous run thorough existing floor trunking and through PVC flexible conduit from trunking earthing etc and also including UTP CAT 6 socket for network point including all acessories as required for complete installation but excluding Cat 6 cable and circuit main as directed by engineer in charge and making good all damages made for installation. (Cost inclusive of approved make Pop-up box with two 6A socket and data point I/O and flexible wire for 6A socket and PVC flexible conduit) |  | 4 | point |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
7.2 | od102870/2023_2024 : PVC FLEXIBLE CONDUIT - Supply and clamping the following size of corrugated pvc fiexible conduit with necessary locking ring and check nut at termination pointed using suitable size GI/painted MS saddles spacing not exceeding 60 cms on surface including making good the damages, colour washing etc.as required&lt;br&gt; 40mm dia |  | 10 | metre |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
7.21 | od102871/2023_2024 : PVC FLEXIBLE CONDUIT - Supply and clamping the following size of corrugated pvc fiexible conduit with necessary locking ring and check nut at termination pointed using suitable size GI/painted MS saddles spacing not exceeding 60 cms on surface including making good the damages, colour washing etc.as required&lt;br&gt;32mm dia |  | 10 | metre |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
7.22 | od102872/2023_2024 : PVC FLEXIBLE CONDUIT - Supply and clamping the following size of corrugated pvc fiexible conduit with necessary locking ring and check nut at termination pointed using suitable size GI/painted MS saddles spacing not exceeding 60 cms on surface including making good the damages, colour washing etc.as required&lt;br&gt;25mm dia&lt;br&gt; |  | 30 | metre |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
7.23 | od102873/2023_2024 : PVC FLEXIBLE CONDUIT - Supply and clamping the following size of corrugated pvc fiexible conduit with necessary locking ring and check nut at termination pointed using suitable size GI/painted MS saddles spacing not exceeding 60 cms on surface including making good the damages, colour washing etc.as required&lt;br&gt;20mm dia &lt;br&gt; |  | 50 | metre |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
8 | Electrical works- Distribution Board | [7 empty] | 1
8.01 | 2.25 : Supplying and fixing Cable End Box (Loose Wire Box) (IP 43) suitable for tripple pole and neutral, sheet steel, Vertical MCB distribution board, 415 V, on surface/ recess, complete with testing and commissioning etc. as required. |  | 4 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
8.02 | od102875/2023_2024 : 8C X 2.5 Sq.mm Cu Control Cable&lt;br&gt; |  | 20 | metre |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
8.03 | od102876/2023_2024 : 4C X 4 Sq.mm Al Cable&lt;br&gt; |  | 2 | metre |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
8.04 | od102877/2023_2024 : 4C X 6 Sq.mm Al Cable&lt;br&gt; |  | 4 | metre |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
8.05 | od102879/2023_2024 : 4C X 25 Sq.mm Al Cable&lt;br&gt; |  | 4 | metre |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
8.06 | 9.1.21 : Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required.3 1/2X 35 sq. mm (32mm) |  | 2 | set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
8.07 | 9.1.32 : Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required.4 X 10 sq. mm (25mm) |  | 8 | set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
8.08 | 9.1.34 : Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required.4 X 25 sq. mm (28mm) |  | 2 | set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
8.09 | od102880/2023_2024 : Supply of the following size 1.1kV grade XLPE insulated PVC sheathed, armoured Aluminium conductor power cable confirming to IS 7098 (part 1) ammended upto date. &lt;br&gt;3.5C X 35 Sq.mm Al Cable&lt;br&gt; |  | 24 | metre |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
8.1 | od102881/2023_2024 : Supplying and fixing of following ways surface/ recess mounting, Vertical type, 415 V, TPN MCCB distribution board of sheet steel, dust protected, duly powder painted, inclusive of 200 A, tinned copper bus bar, common neutral link, earth bar, din bar for mounting MCBs (but without MCBs and incomer) as required. (Note : Vertical type MCB TPDB is normally used where 3 phase outlets are required.)&lt;br&gt;4 way (4 + 12), Double door |  | 1 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
8.11 | od102882/2023_2024 : Supplying and fixing following way, horizontal type three pole and neutral, sheet steel, MCB distribution board, 415 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator)&lt;br&gt;6 way (8 + 18), Double door |  | 4 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
8.12 | od103051/2023_2024 : Supply of superior quality copper tubular cable socket and making core termination of cables of the following sizes including crimping etc. as required.&lt;br&gt;1Cx6 Sq.mm Copper Flexible Cable &lt;br&gt; |  | 20 | no |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
8.13 | od103052/2023_2024 : Supply and laying and clamping of the following PVC sheathed unarmoured power cable conductor of best conductivity copper solid/stranded conductor, XLPE insulated, PVC inner sheathed 1.1kV grade strictly conforming to IS:1554 (Part-I) 1964 of the following sizes in meduin duty conduit / cable tray /wall using factory made heavy gauge GI/painted MS clamps. Space between clamps not exceeding 60cms amd making good the damages colour washing etc as required. and instructed by engineer at site/consultant.&lt;br&gt;1CX6 Sq.mm Copper Flexible Cable &lt;br&gt; |  | 100 | metre |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
8.14 | 2.10.1 : Supplying and fixing 5 amps to 32 amps rating, 240/415 volts, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required.Single pole |  | 72 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
8.15 | 2.10.4 : Supplying and fixing 5 amps to 32 amps rating, 240/415 volts, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required.Triple pole |  | 4 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
8.16 | 2.11 : Supplying and fixing single pole blanking plate in the existing MCB DB complete etc. as required. |  | 20 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
8.17 | od103053/2023_2024 : Fabrication, supply, erection, testing and commissioning of cubicle type, dust and vermin proof, floor mounted, front operated MV Main panel board made out of 16 SWG thick CRCA sheet (7 tank treatment) fully compartmentalised complete with hinged and earthed front doors with name plate, danger notice board, heavy duty rubber gaskets, removable gland plates made out of 3mm thick sheet steel including all components as shown in the schematic drawing. All opening parts of the panel shall be sealable.&lt;br&gt;Incomers&lt;br&gt;80A FP ATS with AMF Control - 1 Set&lt;br&gt;EB/DG Feeder - 80A, 25kA, FP, Microprocessor Based MCCB - 1 Set.&lt;br&gt;80A, 415V, 16kA best conductivity Al TPN bus bar with SMC supports, heat shrinkable sleeves etc complete as required. Necessary interlocking arrangement&lt;br&gt;Multi function digital LED meters with accuracy class 1, with necessary CT and accessories for measuring V, A, F, PF, kW, kVA, Old energy, On and Run hours, site selectable kWh/ kVAh, True PF or Displacement PF site selectable - 1 Sets&lt;br&gt;RYB phase indicating LED lamps with control fuses and switches - 1 set.&lt;br&gt;Class B &amp; Class C / Class 1 &amp; Class 2 Surge arrestor device with necessary HRC Fuse for back-up protection - 1 Set.&lt;br&gt;Outgoings&lt;br&gt;40A, 10kA, TP+NL Microprocessor Based MCCB - 4 Nos.&lt;br&gt;Supply, Installation, Testing and Commisioning&lt;br&gt; |  | 1 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
8.18 | od103054/2023_2024 : Fabrication, supply, erection, testing and commissioning of cubicle type, dust and vermin proof, wall mounted meteriung cubicle made out of CRCA sheet complete with hinged and earthed front doors with name plate, heavy duty rubber gaskets, removable gland plates including all accessories required for complete instalation as per KSEBL standard. The front door shall be with vision panel/glass for meter reading and locking arrangement. All opening parts of the panel shall be sealable.&lt;br&gt;Meter - Three phase LT energy / TOD meter with necessary accessories required for complete installation. The meter shall be tested and aproval shall be taken from the concerned department (KSEBL) including all accessories required for complete installation and its connections and inter connections etc - 1 Set&lt;br&gt;63 A TP Cutout fuse unit with Neutral link - 1 Set&lt;br&gt;63 A FP Isolator, handle operated type - 1 Set&lt;br&gt;Supply, Installation, testing and commisioning&lt;br&gt; |  | 1 | no |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
8.19 | od103055/2023_2024 : EXHAUST PIPES - Supplying and fixing exhaust gas piping of suitable dia, welded black M.S class &apos;B&apos; pipe confirming to IS:3589 cut to required lengths and installed with necessary bends, supports and clamps, anti-vibration mountings, insulation of exhaust system with mineral Wool / Rockwool, 50 mm thick wire mesh &amp; aluminium cladding etc. after applying one coat HR paint as per manufacturer reccommendation, as required as per specifications. suitable rain cap for top to avoid rain water entry. The distance between exhaust pipe at top and rain cap should be higher than diameter of pipe. Horizontal run of exhaust piping should slope downwards away from engine to the condensate trap. Silencer should be installed with drain plug at bottom. Fixing shall be done with proper clamps, expansion bolts, and all other acessories as instructed by the Engineer and the rate inclusive of all minor civil works required, bolts, clamps etc as required for istallation. Support to exhaust piping should be done in such a manner that load of exhaust piping is not exerted to turbo charger and the vertical run of the pipes shall be provided with indirect supporting method so that when the pipes are hot and expanded they will be lifted into the supports. Exhaust pipe height shall be 3m more than the top of any adjacent building withing 10m radius of the exhaust&lt;br&gt;For 25 kVA DG Set&lt;br&gt; |  | 15 | metre |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
8.2 | od103056/2023_2024 : Supply, installation, testing and commissioning of 3phase, 415V, 0.8pf 50hz. radiator cooled DG set of the rating 25 kVA Prime Duty Diesel generating set comprising of diesel engine alternator, fuel tank, starting system, battery, battery charger, etc with all accessories required for AMF operation. The battery charger of auxillary DC power supply unit, with dry batteries with connecting leads and terminals with stationary type, high discharge perfomance, Valve Regulated Lead Acid (VRLA) sealed maintenance free, battery charger including all other accessories like interconnecting cables etc as required for complete installation. The Generator set shall have a integral type acoustic enclosure as per latest CPCB norms. Diesel engine shall be suitable for continuous operation of generator set and satisfies with EURO-II specifications. |  | 1 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
8.21 | od103057/2023_2024 : Isolator With Enclosure - Supply and fixing of following DP/FP 230V / 415V, isolators in sheet steel powder coated enclosure with door interlock facility on surface confirming to IEC 60947-3 complete with all accesories, connections, testing and commissioning etc as required and as instructed by engineer in charge also making good any damages made during installation.&lt;br&gt;6A - 40A FP Isolator with enclosure&lt;br&gt; |  | 2 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
8.22 | od103058/2023_2024 : MCCB: Supply, fixing, testing and commisioning of following rating, breaking capacity and pole, Thermal Magnetic Release type MCCB in existing Vertical Distribution Board with spredear links, terminal connections and all accesories as required making all necessary connections etc as required and instructed by engineer in charge/consultant.&lt;br&gt;40 16 kA FP MCCB &lt;br&gt; |  | 1 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
8.23 | od103059/2023_2024 : RCBO - Supplying, fixing, testing and commissioning following four pole and double pole , 415 volts and 240 volts, residual current circuit breaker with overload protection (RCBO) of the following rating and sensitivity current in the existing MCB SPN and TPN horizontal/vertical DB&apos;s complete with connections, etc. as required and instructed by engineer in charge/consultant..&lt;br&gt;40A 30mA FP RCBO&lt;br&gt; |  | 2 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
9 | Electrical works- Light &amp; Fan Fixtures | [7 empty] | 1
9.01 | od103320/2023_2024 : Supply, installation, testing and commissioning of exhaust fan of approved make 250mm (sweep size) BLDC motor Energy Saving Exhaust Fan (Black) as per the specification. Similar to atomberg studio+ or equivalent.&lt;br&gt; |  | 4 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
9.02 | od103321/2023_2024 : Supply, installation, testing and commissioning of BLDC motor wall fan of 450mm sweep, 1200 RPM, 70 Cu.Mtr/Min Air delivery. Plastic body &amp; blades with pull cords for speed regulation &amp; wide oscillation control. Aerodynamically designed blades for high air efficiency.&lt;br&gt; |  | 1 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
9.03 | od103322/2023_2024 : Supplying of ceiling fan of 1200 mm (48 inch) Energy Efficient 5 Star Rated High Speed BLDC Ceiling Fan with Remote / Regulator type, high speed, including the down rod as per the site condition. Similar to atomberg ikano or equivalent.&lt;br&gt; |  | 15 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
9.04 | od103323/2023_2024 : Supply, fixing, testing and commissioning of 3 M octagonal poles of approved Make having top dia 70 mm, bottom dia 130 mm, Sheet thickness 3 mm, pitch circle dia (PCD) of 200 mm, Base plate diamentions 200mm length x 200mm bredth x 12mm thickness, EN8 grade Foundation bolts of size 4 x 16 mm dia, having bolt length of 450 mm. The Octagonal Poles shall be designed to withstand the maximum wind speed as per IS 875. The pole shaft shall have octagonal cross section and shall be continuously tapered with single longitudinal welding. There shall not be any circumferential welding. The octagonal Poles shall have door of approximate 500 mm length at the elevation of 500 mm from the Base plate. &lt;br&gt;The door shall be vandal resistance and shall be weather proof to ensure safety of inside connections. The door shall be flush with the exterior surface and shall have suitable locking arrangement. There shall also be suitable arrangement for the purpose of earthing. Material Octagonal Poles HT Steel Conforming to grade S355JO. Base Plate Fe 410 conforming to IS 226 / IS 2062Foundation Bolts EN.8 grade The poles shall be hot dip galvanised as per IS 2629 / IS 2633 / IS 4759 standards with average coating thickness of 85 micron. The galvanizing shall be done in single dipping. The pole shall be with one arm of minimum 0.5 meter long for fixing 20 W LED fixture (Similar to Wipro make : LR02-261-XXX-57-XX LED Street Light). The cost inclusive of all material required for complete installation including light fixture, pole, foundation etc. required as per the specification.&lt;br&gt; |  | 4 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
9.05 | od103324/2023_2024 : Supply of LED Bulk Head Luminaire with max wattage of 10W with system lumens not less than 300 Lumes. The luminaire shall have a rated system lifetime of 50,000 burning hours at L70. Housing shall be pressure die cast aluminum with IP 65 rating. luminaire should have a color temperature of 5700K and CRI&gt;80. Driver of the luminaire shall have THD&lt;10% and PF &gt;0.9. There should be in-built surge protection upto 2 KV. The LED Shall be ANSI Bin C78.377A and IEC62471 with class1 electrical insulation. Similar to Wipro Make LW07-141-XXX-57-XX or Equivalent.&lt;br&gt; |  | 11 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
9.06 | od103325/2023_2024 : Supply of Mirror Light, high efficiency with a nominal system lumen output of 760 lumens. Luminaire wattage should not exceed 9W. The luminaire should have a&nbsp; CRI &gt; 80. Driver of the luminaire shall have THD &lt; 10% and PF &gt; 0.9. Slim LED batten in aluminium housing and decorative end caps. Robust driver with wide voltage range 100-240 volts and inbuilt protection. Aesthetically designed mirror LED light fixture of 4000 K, of surface mounting which provides soft-light and glare free symmetrical illumination.&lt;br&gt; |  | 5 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
9.07 | od103326/2023_2024 : Supply of 12W LED DOWNLIGHT, System efficacy 100 lm/W, High efficient Surface mounted LED round downlighter with white powder coated, pressure die cast aluminium housing. High transmittivity PS diffuser provides soft light. CRI&gt;80, IP20, Ambient temp-0 to 45DegC, CCT - 4000/5700K, 50,000 hrs @ L70 life.Driver efficiency&gt;85%, THD&lt;10%, Powerfactor&gt;0.9, Surge protection-2 kV, Multistage Isolated Constant Current-Constant Voltage operated driver with range 100-265V AC and Safety Extra Low Voltage Safe level&lt;60V DC as per IEC standard. Wipro Model LD06-151XXX-57SMG1or Equivelent approved make&lt;br&gt; |  | 2 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
9.08 | od103327/2023_2024 : Supply of Recessed 1X1 LED fixture (For Corridor, general area etc) with a nominal system lumen output of minimu 1800 lumens. System wattage should not exceed 20W. The luminaire shall have a rated system lifetime of 50,000 burning hours. The luminaire should have a color temperature of 6500K and CRI&gt;80. Driver of the luminaire shall have THD &lt; 10% and PF &gt; 0.95. Housing shall be CRCA powder coated with PMMA diffuser.Driver shall have 85% efficiency. LED shall comply to ANSI Bin C78.377A &amp; IEC62471&lt;br&gt; |  | 44 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
9.09 | od103328/2023_2024 : Supply of Recessed 2X2 LED fixture (For Corridor, general area etc) with a nominal system lumen output of minimu 3100 lumens. System wattage should not exceed 36W. The luminaire shall have a rated system lifetime of 50,000 burning hours. The luminaire should have a color temperature of 5700K and CRI&gt;80. Driver of the luminaire shall have THD &lt; 10% and PF &gt; 0.95. Housing shall be CRCA powder coated with PMMA diffuser.Driver shall have 85% efficiency. LED shall comply to ANSI Bin C78.377A &amp; IEC62471. Similar to Wipro Make CRCO10R038HP57GL or Eqivalent&lt;br&gt; |  | 13 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
9.1 | od103329/2023_2024 : Supply of Recessed LED Clean Room Luminaire (CRL) with a nominal system lumen output of 4100 lumens and a minimum system efficacy of 95 lm/W. The luminaire shall have a rated system lifetime of 50,000 burning hours at L70. The luminaire should have a CRI &gt; 80. The luminaire shall meet IP54 rating with THD&lt;10% and PF&gt;0.9. The luminaire housing should made of powder coated CRCA sheet steel with HET Diffuser. The total power consumption should not exceed42W (including driver). LED Shall be with ANSI Bin C78.377A &amp; IEC62471 Similar to Wipro Make LC20-551-XXX-57-XX or equivalent.&lt;br&gt; |  | 17 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
9.11 | od103330/2023_2024 : Supply of LED DOWN LIGHT 10W, System efficacy 100 lm/W, IP65, High efficient Surface mounted LED round downlighter with white powder coated, pressure die cast aluminium housing. High transmittivity poly carbonate diffuser provides soft light. CRI&gt;80, IP65, Ambient temp-0 to 45DegC, CCT - 4000/5700K, 50,000 hrs @ L70 life.Driver efficiency&gt;85%, THD&lt;10%, Powerfactor&gt;0.9, Surge protection-2 kV, Multistage Isolated Constant Current operated driver with range 150-270 V AC and Safety Extra Low Voltage Safe level&lt;60V DC as per IEC standard. Wipro Model LW21-111-XXX-57-XX or Equivelent approved make.&lt;br&gt; |  | 4 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
9.12 | od103331/2023_2024 : Supply of 20W LED Batten, with a nominal system lumen output of 500 lumens. System wattage should not exceed 20W. The luminaire shall have a rated system lifetime of 50,000 burning hours at 70. The luminaire should have a color temperature of 5700K and CRI&gt;80. Driver of the luminaire shall have THD &lt; 20% and PF &gt; 0.95. The heat sink should be made of Extruded therma polycarbonate&nbsp; and the luminaire optics shall have a high efficiency PC diffuser. The light fixture including driver shall comply to IEC and IS. Similar to Wipro Make Model No:LL24-541-XXX-57-CD or equivalent.&lt;br&gt; |  | 9 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
9.13 | od103444/2023_2024 : Supply and providing laminated First Aid chart duly framed and placed in a conspicuous location for clear vision.&lt;br&gt; |  | 1 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
9.14 | od103445/2023_2024 : Supply and providing First Aid Box.&lt;br&gt; |  | 1 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
9.15 | od103446/2023_2024 : Supply and providing 2/3 mm thick sythetic type and 1 m wide electrical grade chequered type rubber mat to withstand 3.3 kV dielectric strength conforming to IS 5429/1969.&lt;br&gt; |  | 3 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
9.16 | od103447/2023_2024 : Supply and fixing of 4 Kg ABC Dry Powder (Stored Pressure) Type Fire Extinguisher. pressurized with dry nitrogen gas at 15 bar. Design, construction and testing as per IS 2171-1999 external epoxy powder coating with PO Red Shade No. 538 of IS 5, Supplied with standard accessories.&lt;br&gt; |  | 1 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
9.17 | od103448/2023_2024 : Copper wire No.6 SWG &lt;br&gt; |  | 33 | metre |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
9.18 | od103449/2023_2024 : Supply and laying the following sizes of earthing bare copper/strips on cable tray or wall surface, including necessary clamps (each clamp not exceeding 60 cm) and bolts etc as required for complete installation as instructed by engineer in charge/consultant. &lt;br&gt;Copper wire No.8 SWG &lt;br&gt; |  | 44 | metre |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
9.19 | od103450/2023_2024 : Supply and laying the following sizes of Cu strips laid 0.6 m below ground level including excavating trench of suitable size and refilling, including necessary clamps and bolts etc and all accessories as required for complete installation as instructed by engineer in charge/consultant. &lt;br&gt;Copper wire No.6 SWG &lt;br&gt; |  | 17 | metre |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
9.2 | od103451/2023_2024 : Supply, installation and tesing of 1200mmx1200mmx12mm CI plate electrode earth station conforming to IS:3043-1987 / NEC / IEE complete with brick masonry chamber, CI cover, CI frame, GI watering pipe of 50 mm dia with funnel having 20G GI wire mesh etc. The CI cover frame/ chamber shall be of 1000mm x 500mm x 600mm size. CI manhole cover with frame shall be painted with bitumastic paint, identification of earthpit with yellow paint below the chamber cover, mixtures of charcoal &amp; common salt around electrode including digging of pit up to permanent moisture level but not less than 3 metre depth and back filling. ( value of earth resistance should be less than 1 ohm )&lt;br&gt; |  | 4 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
9.21 | od103452/2023_2024 : 10 kVA UPS : Supply, installation, testing and commissioning of 10 kVA UPS from the manufacturer directly including battery and transformer of three phase in and single phase out out with indoor (IP20) with surge protection system Input pf 0.99, Input THDi &lt; 5%, inbuilt isolation transformers at input side even in the bypass mode, with necessary battery circuit breaker, double conversion technology with input 400V, 50Hz three phase, output 400V, 50Hz three phase, It shall be 100% generator compatible, with Efficiency &gt; 92 % and output power factor unity (10 KVA=10 kW), Eco mode Efficiency 98% and including all accessories etc as required. The acoustic noise at 1m of the system should be&lt;65dB.The system shall comply to EN/IEC 62040-1,2,3 and ISO14025 and relevant IS standard. The system shall be true online double - conversion DSP based UPS system and also UPS shall be with automatic &amp; manual bypass switch. The system shall have IGBT rectifier and inverter. Including rack and inter connecting cables.&lt;br&gt; |  | 1 | set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
Total in Figures | [51 empty] | #VALUE! | #VALUE! | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information