## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: WAPCOS Limited
Work Name : CONSTRUCTION OF MODERN MARKET COMPLEX AT NEDUMKANDAM PHASE 2
Contract No: WAP/INFRA/KERALA/2024/CNMM/489
Bidder Name :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55
1 | CIVIL WORKS | BI01010001010000000000000515BI0100001113 | [6 empty] | 1 | [45 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.01 | 50.6.1.5 : Solid block masonry using pre cast solid blocks ( Factory made) of size 30x20x20cm or nearest available size confirming to IS 2185 Part I of 1979 for super structure up to floor two level thickness 20cm and above in: CM 1:6 ( 1 cement : 6 coarse sand) etc complete |  | 191.379 | cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.02 | 50.6.1.6 : Solid block masonry using pre cast solid blocks (Factory made) of size 30x20x20cm or nearest available size confirming to IS 2185 part I of 1979 for super structure above floor two level upto floor five level thickness 20cm and above in : CM 1:6 ( 1 cement : 6 coarse sand sand) etc complete |  | 123.491 | cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
1.03 | 2.7.2 : Earth work in excavation by mechanical means (Hydraulic excavator )/ manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including disposal of excavated earth, lead up to 50 m and lift up to 1.5 m, disposed earth to be levelled and neatly dressed.Hard rock (requiring blasting) |  | 168.345 | cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.04 | 2.7.1 : Earth work in excavation by mechanical means (Hydraulic excavator )/ manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including disposal of excavated earth, lead up to 50 m and lift up to 1.5 m, disposed earth to be levelled and neatly dressed.Ordinary rock |  | 222.345 | cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.05 | 2.25 : Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20 cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 m and lift up to 1.5 m.Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundation etc. in layers not exceeding 20 cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 m and lift up to 1.5 m. |  | 360 | cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.06 | 4.1.8 : Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level:1:4:8 (1 cement : 4 coarse sand : 8 graded stone aggregate 40 nominal size) |  | 27.603 | cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.07 | od55266/2024_2025 : Providing and laying in position machine batched and machine mixed design mix&lt;br&gt;M-30 grade cement concrete for reinforced cement concrete work, using cement&lt;br&gt;content as per approved design mix, including pumping of concrete to site of laying&lt;br&gt;but excluding the cost of centering, shuttering, finishing and reinforcement,&lt;br&gt;including admixtures in recommended proportions as per IS: 9103 to accelerate,&lt;br&gt;retard setting of concrete, improve workability without impairing strength and&lt;br&gt;durability as per direction of Engineer-in-charge.&lt;br&gt;All works upto plinth level |  | 117.839 | cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.08 | 5.9.1 : Centering and shuttering including strutting, etc. and removal of form for:Foundations, footings, bases of columns, etc for mass concrete |  | 43.841 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.09 | 5.9.3 : Centering and shuttering including strutting, etc. and removal of form for:Suspended floors, roofs, landings, balconies and access platform |  | 82.95 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.1 | 5.9.5 : Centering and shuttering including strutting, etc. and removal of form for:Lintels, beams, plinth beams, girders bressumers and cantilevers |  | 78.636 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.11 | 5.9.2 : Centering and shuttering including strutting, etc. and removal of form for:Walls (any thickness) including attached pilasters, butteresses, plinth and string courses etc. |  | 297.12 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.12 | 5.22A.6 : Steel reinforcement for R.C.C work including straightening, cutting, bending, placing in position and binding all complete above plinth level.Thermo - Mechanically Treated bars of grade Fe-500D or more |  | 13699.92 | kg |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.13 | 13.16.1 : 6 mm cement plaster of mix:1:3 ( 1 cement : 3 fine sand) |  | 2634.718 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.14 | 13.7.1 : 12 mm cement plaster finished with a floating coat of neat cement of mix:1:3 ( 1 cement : 3 fine sand) |  | 679.18 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.15 | 13.4.1 : 12 mm cement plaster of mix:1:4 ( 1 cement : 4 coarse sand) |  | 6689.371 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.16 | 13.44.1 : Finishing walls with water proofing cement paint of required shade:New work (Two or more coats applied @ 3.84 kg/10 sqm) |  | 9648.679 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.17 | 13.46.1 : Finishing walls with Acrylic Smooth exterior paint of required shade:New work (Two or more coat applied @ 1.67 ltr/10 sqm over and including priming coat of exterior primer applied @ 2.20 kg/10 sqm) |  | 2378.284 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.18 | 13.48.1 : Finishing with Deluxe Multi surface paint system for interiors and exteriors using primer as per manufacturers specifications:Two or more coats applied on walls @ 1.25 ltr/10 sqm over and including one coat of special primer applied @ 0.75 ltr /10 sqm |  | 7261.37 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.19 | 13.52.1 : Finishing with Epoxy paint (two or more coats) at all locations prepared and applied as per manufacturer's specifications including appropriate priming coat, preparation of surface, etc. complete.On steel work |  | 906 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.2 | 9.147A.5 : Providing and fixing factory made uPVC white colour casement/casement cum fixed glazed windows comprising of uPVC multi-chambered frame, sash and mullion (where ever required) extruded profiles duly reinforced with 1.60 +/- 0.2 mm thick galvanized mild steel section made from roll forming process of required length (shape & size according to uPVC profile), uPVC extruded glazing beads of appropriate dimension, EPDM gasket, stainless steel (SS 304 grade) friction hinges, zinc alloy (white powder coated) casement handles, G.I fasteners 100 x 8 mm size for fixing frame to finished wall, plastic packers, plastic caps and necessary stainless steel screws etc. Profile of frame & sash shall be mitred cut and fusion welded at all corners, mullion (if required) shall be also fusion welded including drilling of holes for fixing hardware's and drainage of water etc. After fixing frame the gap between frame and adjacent finished wall shall be filled with weather proof silicon sealant over backer rod of required size and of approved quality, all complete as per approved drawing & direction of Engineer-in-Charge. (Single / double glass panes and silicon sealant shall be paid separately)<br> Note: For uPVC frame, sash and mullion extruded profiles minus 5% tolerance in dimension i.e. in depth & width of profile shall be acceptable.Casement window double panels with S.S. friction hinges (350 x 19 x 1.9 mm) made of (big series)frame 67 x 60 mm & sash / mullion 67 x 80 mm both having wall thickness of 2.3 ± 0.2 mm and single glazing bead/ double glazing bead of appropriate dimension. (Area of window above 1.50 sqm). |  | 14.43 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.21 | 10.5.1 : Providing and fixing 1 mm thick M.S. sheet door with frame of 40x40x6 mm angle iron and 3 mm M.S. gusset plates at the junctions and corners, all necessary fittings complete, including applying a priming coat of approved steel primer.Using M.S. angels 40x40x6 mm for diagonal braces |  | 4.2 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.22 | 10.6.1 : Supplying and fixing rolling shutters of approved make, made of required size M.S. laths, interlocked together through their entire length and jointed together at the end by end locks, mounted on specially designed pipe shaft with brackets, side guides and arrangements for inside and outside locking with push and pull operation complete, including the cost of providing and fixing necessary 27.5 cm long wire springs manufactured from high tensile steel wire of adequate strength conforming to IS: 4454 - part 1 and M.S. top cover of required thickness for rolling shutters.80x1.25 mm M.S. laths with 1.25 mm thick top cover |  | 884.308 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.23 | 10.7 : Providing and fixing ball bearing for rolling shutters. |  | 45 | no |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.24 | 9.121 : Providing and fixing Fiber Glass Reinforced plastic (FRP) Door Frames of cross- section 90 mm x 45 mm having single rebate of 32 mm x 15 mm to receive shutter of 30 mm thickness. The laminated shall be moulded with fire resistant grade unsaturated polyester resin and chopped mat. Door frame laminate shall be 2 mm thick and shall be filled with suitable wooden block in all the three legs. The frame shall be covered with fiber glass from all sides. M.S. stay shall be provided at the bottom to steady the frame. |  | 57.6 | metre |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.25 | 9.122.2 : Providing and fixing to existing door frames.30 mm thick Fiberglass Reinforced Plastic (F.R.P) flush door shutter in different plain and wood finish made with fire retardant grade unsaturated polyester resin, moulded to 3 mm thick FRP laminate all around, with suitable wooden blocks inside at required places for fixing of fittings and polyurethane foam (PUF) / Polystyrene foam to be used all filler material throughout the hollow panel, casted monoolithically with testing parameters of F.R.P. laminate conforming to table - 3 of IS : 14856, complete as per direction of Engineer-in-charge. |  | 25.201 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.26 | 9.48.1 : Providing and fixing M.S. Grills of required pattern in frames of windows etc. with M.S. flats, square or round bars etc. including priming coat with approved steel primer all complete.Fixed to steel windows by welding |  | 432.9 | kg |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.27 | 10.26.3 : Providing and fixing hand rail of approved size by welding etc. to steel ladder railing, balcony railing, staircase railing and similar works, including applying priming coat of approves steel primer.G.I. pipes |  | 6282 | kg |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.28 | 51.20 : Providing and fixing precoated galvanised iron profile sheets (size, shape and pitch ofcorrugation as approved by Engineer-in-charge) 0.35 mm (+0.05%), total coatedthickness with zinc coating 120 grams per sqm as per IS: 277, in 240 mpa steel grade, 5-7 microns epoxy primer on both side. of the sheet and polyester top coat 15-18 microns.Sheet should have protective guard film of 25 microns minimum to avoid scratchesduring transportation and should be supplied in single length upto 12 metre or as desiredby Engineer-in-charge. The sheet shall be fixed using self drilling/self tapping screws ofsize (5.5x55mm) with EPDM seal, complete upto any pitch in horizontal/ vertical orcurved surfaces, excluding the cost of purlins, rafters and trusses and including cutting tosize and shape wherever required. |  | 80 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.29 | 10.28 : Providing and fixing stainless steel (Grade 304) railing made of Hollow tubes, channels, plates etc., including welding, grinding, buffing, polishing and making curvature (wherever required) and fitting the same with necessary stainless steel nuts and bolts complete, i/c fixing the railing with necessary accessories & stainless steel dash fasteners, stainless steel bolts etc., of required size on the top of the floor or the side of waist slab with suitable arrangement as per approval of Engineer-in-charge, (for payment purpose only weight of stainless steel members shall be considered excluding fixing accessories such as nuts, bolts, fasteners etc.) |  | 2808 | kg |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.3 | 11.38 : Providing and laying Ceramic glazed floor tiles of size 300x300 mm (thickness to be specified by the manufacturer), of Ist quality conforming to IS : 15622, of approved make, in all colours, shades, except White, Ivory, Grey, Fume Red Brown, laid on 20 mm thick bed of cement mortar 1:4 ( 1 cement : 4 Coarse sand), including pointing the joints with white cement and matching pigments etc., complete. |  | 29.34 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.31 | 11.47.2 : Providing and laying Vitrified tiles in different sizes (thickness to be specified by the manufacturer), with water absorption less than 0.08% and conforming to IS : 15622, of approved brand & manufacturer,in all colours and shade, in skirting, riser of steps, laid with cement based high polymer modified quick set tile adhesive (water based) conforming to IS : 15477, in average 6 mm thickness, including grouting of joints (Payment for grouting of joints to be made separately).Size of Tile 600x600 mm |  | 2829.161 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.32 | 8.31 : Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineerin-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. |  | 115.92 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.33 | 22.5 : Providing and laying water proofing treatment in sunken portion of WCs, bathroom etc., by applying cement slurry mixed with water proofing cement compound consisting of applying : a) First layer of slurry of cement @ 0.488 kg/sqm mixed with water proofing cement compound @ 0.253 kg/sqm. This layer will be allowed to air cure for 4 hours. b) Second layer of slurry of cement @ 0.242 kg /sqm mixed with water proofing cement compound @ 0.126 kg/ sqm. This layer will be allowed to air cure for 4 hours followed with water curing for 48 hours. The rate includes preparation of surface, treatment and sealing of all joints, corners, junctions of pipes and masonry with polymer mixed slurry. |  | 821.661 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.34 | 22.6 : Providing and laying water proofing treatment on roofs of slabs by applying cement slurry mixed with water proofing cement compound consisting of applying : a) after surface preparation, first layer of slurry of cement @ 0.488 kg/ sqm mixed with water proofing cement compound @ 0.253 kg/ sqm. laying second layer of fibre glass cloth when the first layer is still green. Overlaps of joints of fibre cloth should not be less than 10 cm. c) third layer of 1.5 mm thickness consisting of slurry of cement @ 1.289 kg/ sqm mixed with water proofing cement compound @ 0.670 kg/sqm and coarse sand @ 1.289 kg/sqm. This will be allowed to air cure for 4 hours followed by water curing for 48 hours. The entire treatment will be taken upto 30 cm on parapet wall and tucked into groove in parapet all around. d) fourth and final layer of brick tilling with cement mortar (which will be paid for separately. For the purpose of measurement the entire treated surface will be measured) |  | 959.1 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.35 | 17.3.1 : Providing and fixing white vitreous china pedestal type water closet (European type) with seat and lid, 10 litre low level white vitreous china flushing cistern & C.P. flush bend with fittings & C.I. brackets, 40 mm flush bend, overflow arrangement with specials of standard make and mosquito proof coupling of approved municipal design complete, including painting of fittings and brackets, cutting and making good the walls and floors wherever required :W.C. pan with ISI marked white solid plastic seat and lid |  | 9 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.36 | 17.7.1 : Providing and fixing wash basin with C.I. brackets, 15 mm C.P. brass pillar taps, 32 mm C.P. brass waste of standard pattern, including painting of fittings and brackets, cutting and making good the walls wherever require:White Vitreous China Wash basin size 630x450 mm with a pair of 15 mm C.P. brass pillar taps |  | 9 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.37 | 18.53.1 : Providing and fixing C.P. brass angle valve for basin mixer and geyser points of approved quality conforming to IS: 893115 mm nominal bore |  | 6 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.38 | 18.55.3 : Providing and fixing PTMT stop cock of approved quality and colour.Concealed stop cock, 15 mm nominal bore, 108 mm long, weighing not less than 108 gms |  | 9 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.39 | 18.51.1 : Providing and fixing C.P. brass long body bib cock of approved quality conforming to IS standards and weighing not less than 690 gms.15 mm nominal bore |  | 15 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.4 | 18.65 : Providing and fixing PTMT Soap Dish Holder having length of 138 mm, breadth 102 mm, height of 75 mm with concealed fittings arrangements, weighing not less than 106 gms. |  | 9 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.41 | 17.73.2 : Providing and fixing PTMT towel rail complete with brackets fixed to wooden cleats with CP brass screws with concealed fitting arrangement of approved quality and colour600 mm long towel rail with total length of 645 mm, width 78 mm and effective height of 88 mm, weighting not less than 190 gms |  | 9 | no |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.42 | 17.31 : Providing and fixing 600x450 mm beveled edge mirror of superior glass (of approved quality) complete with 6 mm thick hard board ground fixed to wooden cleats with C.P. brass screws and washers complete. |  | 3 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.43 | 50.17.1.5 : Supplying and fixing CP Health Faucet superior quality ( Jagur or equvalent make ) including cost of materials and labour charges etc complete as per the direction of site Engineer-in-charge. |  | 9 | no |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.44 | 17.29 : Providing and fixing 100 mm sand cast Iron grating for gully trap. |  | 15 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.45 | 18.36.1 : Constructing masonry chamber 60x60x75 cm inside, in brick work in cement mortar 1:4 (1 cement : 4 coarse sand) for fire hydrants, with C.I surface box 350x350 mm top and 165 mm deep (inside) with chained lid and RCC top slab 1:2:4 mix (1 cement : 2 coarse sand : 4 grades stone aggregate 20 mm nominal size), i/c necessary excavation, foundation concrete 1:5:10 (1 cement : 5 fine sand: 10 graded stone aggregate 40 mm nominal size) and inside plastering with cement mortar 1:3 (1 cement : 3 coarse sand) 12 mm thick, finished with a floating coat of neat cement complete as per standard design:With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 |  | 8 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.46 | 18.48 : Providing and placing on terrace (at all floor levels) polyethylene water storage tank :ISI 12701 marked, with cover and suitable locking arrangement and making necessary holes for inlet, outlet and overflow pipes but without fittings and the base support for tank. |  | 10000 | Litre |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.47 | 19.32.1 : Making soak pit 2.5 m diameter 3.0 metre deep with 45 x 45 cm dry brick honey comb shaft with bricks and S.W. drain pipe 100 mm diameter, 1.8 m long complete as per standard design.With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 |  | 3 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.48 | 18.8.2 : Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes& fittings, with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer-in-Charge. Concealed work, including cutting chases and making good the wall etc.20 mm nominal outer dia pipes |  | 320 | metre |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.49 | 50.18.8.5.1 : Providing and fixing PVC pipes, fittings including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step PVC solvent cement and testing of joints complete as per direction of Engineer-in-Charge. concealed work, including cutting chases and making good the wall etc. 40 mm pipe 10 kgf/ cm2 |  | 165 | metre |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.5 | 50.18.8.6.1 : Providing and fixing PVC pipes, fittings including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step PVC solvent cement and testing of joints complete as per direction of Engineer-in-Charge. Concealed work, including cutting chases and making good the wall etc. 50 mm pipe 10 kgf/cm2 |  | 320 | metre |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.51 | 50.18.9.22.4 : Providing and fixing PVC moulded fittings/ accessories for Rigid PVC pipes, including jointing with PVC solvent cement- 110 mm dia Bend |  | 45 | no |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.52 | 50.18.9.22.1 : Providing and fixing PVC moulded fittings/ accessories for Rigid PVC pipes, including jointing with PVC solvent cement - 110 mm dia Elbow |  | 30 | no |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.53 | 50.18.9.22.8 : Providing and fixing PVC moulded fittings /accessories for Rigid PVC pipes, including jointing with PVC solvent cement -110 mm dia Vent cowl |  | 18 | no |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.54 | 18.17.4 : Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) :50 mm nominal bore |  | 8 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.55 | 18.17.3 : Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) :40 mm nominal bore |  | 10 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.56 | 18.17.1 : Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) :25 mm nominal bore |  | 9 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.57 | 16.1 : Preparation and consolidation of sub grade with power road roller of 8 to 12 tonne capacity after excavating earth to an average of 22.5 cm depth, dressing to camber and consolidating with road roller including making good the undulations etc. and re-rolling the sub grade and disposal of surplus earth with lead upto 50 metres. |  | 855.501 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.58 | 16.78.2 : Construction of granular sub- base by Providing close graded Material conforming to specifications, mixing in a mechanical mix plant at OMC, Carriage of mixed material by tippers to work site, for all leads & lifts, spreading in uniform layers of specified thickness with motor grader on prepared surface and compacting with vibratory power roller to achieve the desired density, complete as per specifications and directions of Engineer-in- Charge.With material conforming to Grade-II (size range 53 mm to 0.075 mm ) having CBR Value-25 |  | 245.85 | cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.59 | 16.91.2 : Providing and laying factory made chamfered edge Cement Concrete paver blocks in footpath, parks, lawns, drive ways or light traffic parking etc, of required strength, thickness & size/ shape, made by table vibratory method using PU mould, laid in required colour & pattern over 50mm thick compacted bed of sand, compacting and proper embedding/laying of inter locking paver blocks into the sand bedding layer through vibratory compaction by using plate vibrator, filling the joints with sand and cutting of paver blocks as per required size and pattern, finishing and sweeping extra sand. complete all as per direction of Engineer-in-Charge.80 mm thick C.C. paver block of M-30 grade with approved color design and pattern. |  | 980.6 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.6 | 50.18.8.3.1 : Providing and fixing PVC pipes, fittings including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step PVC solvent cement and testing of joints complete as per direction of Engineer-in-Charge. Concealed work, including cutting chases and making good the wall etc. 25 mm pipe 12 kgf/cm2 |  | 120 | metre |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.61 | 50.18.8.9.1 : Providing and fixing PVC pipes, fittings including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes with one step PVC solvent cement and testing of joints complete as per direction of Engineer-in-Charge. Concealed work, including cutting chased and making good the wall etc. 110 mm pipe 6kgf/cm2 |  | 210 | metre |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2 | ELECTRICAL WORKS | [7 empty] | 1
2.01 | 90.12.1.32 : Supply & laying of one number PVC insulated and PVC sheathed armoured aluminium power cable of 1.1KV grade of the following sizes in ground including excavation of trench of size 35 x 75 cm, refilling the trench etc. as required but excluding sand cushioning and protective covering (in ordinary soil). |  | 50 | metre |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.02 | 90.12.1.34 : Supply & laying of one number PVC insulated and PVC sheathed armoured aluminium power cable of 1.1KV grade of the following sizes in ground including excavation of trench of size 35 x 75 cm, refilling the trench etc. as required but excluding sand cushioning and protective covering (in ordinary soil). |  | 20 | metre |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.03 | 90.12.5.41 : Supply & laying of one number PVC insulated and PVC sheathed armoured aluminium power cable of 1.1KV grade of the following sizes in the existing RCC/ HUME / STONE WARE/ GI/ DWC pipe as required. |  | 756 | metre |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.04 | 90.12.6.41 : Supply & laying of one No. PVC insulated and PVC sheathed armoured aluminium power cable of 1.1 KV grade of the following sizes in the existing masonry open duct as required. |  | 2100 | metre |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.05 | 2.4.2 : Supplying and fixing following way, horizontal type three pole and neutral, sheet steel, MCB distribution board, 415 volts, on surface / recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator)6 way (4 + 18), Double door |  | 54 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.06 | 2.10.1 : Supplying and fixing 5 amps to 32 amps rating, 240/415 volts, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required.Single pole |  | 972 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.07 | 2.13.1 : Supplying and fixing following rating, four pole, 415 volts, isolator in the existing MCB DB complete with connections, testing and commissioning etc. as required.40 amps |  | 54 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.08 | 2.15.2 : Supplying and fixing following rating, four pole, (three phase and neutral), 415 volts, residual current circuit breaker (RCCB), having a sensitivity current 30 mA in the existing MCB DB complete with connections, testing and commissioning etc. as required.40 amps |  | 54 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.09 | 1.10.3 : Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed medium class PVC conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm. FRLS PVC insulated copper conductor single core cable etc as required.Group C |  | 250 | point |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.1 | 1.14.1 : Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface / recessed medium class PVC conduit as required2x1.5 sq.mm + 1x1.5 sq.mm earth wire |  | 1250 | metre |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.11 | 1.14.2 : Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface / recessed medium class PVC conduit as required2X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire |  | 500 | metre |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.12 | 1.17.3 : Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface / recessed steel/ PVC conduit as required.3 X 1.5 sq.mm |  | 100 | metre |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.13 | 1.21.1 : Supplying and fixing of following sizes of medium class PVC conduit along with accessories in surface/ recess including cutting the wall and making good the same in case of recessed conduit as required.20 mm |  | 500 | metre |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.14 | 1.21.2 : Supplying and fixing of following sizes of medium class PVC conduit along with accessories in surface/ recess including cutting the wall and making good the same in case of recessed conduit as required.25 mm |  | 250 | metre |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.15 | 1.24.1 : Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required.5/6 amps switch |  | 325 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.16 | 1.24.3 : Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required.15/16 amp switch |  | 108 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.17 | 1.24.4 : Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required.3 pin 5/6 amp socket outlet |  | 325 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.18 | 1.24.5 : Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required.6 pin 15/16 amp socket outlet |  | 108 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.19 | 1.25 : Supplying and fixing two module stepped type electronic fan regulator on the existing modular plate switch box including connections but excluding modular plate etc. as required. |  | 56 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.2 | 1.27.2 : Supplying and fixing following size/ modules, GI box alongwith modular base & cover plate for modular switches in recess etc as required.3 Module (100mmX75mm) |  | 15 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.21 | 1.27.4 : Supplying and fixing following size/ modules, GI box alongwith modular base & cover plate for modular switches in recess etc as required.6 Module (200mmX75mm) |  | 165 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.22 | 1.28.2 : Supplying and fixing following Modular base & cover plate on existing modular metal boxes etc. as required.3 Module |  | 15 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.23 | 1.28.4 : Supplying and fixing following Modular base & cover plate on existing modular metal boxes etc. as required.6 Module |  | 165 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.24 | 1.33 : Supplying and fixing 3 pin, 5 amp ceiling rose on the existing junction box/ wooden block including connection etc as required. |  | 170 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.25 | 1.50.1 : Installation of exhaust fan in the existing opening, including making good the damage connection testing, commissioning etc. as required.Upto 450 mm sweep |  | 10 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.26 | 1.58 : Supplying and fixing PVC batten/ angle holder including connection etc. as required. |  | 10 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.27 | 90.15.4.4 : Supply Conveyance, installation, testing and commissioning of 100W LED street light output greater than 105lumen/W 4000-6000 K with IP 66 protection LED Chip make Cree/Lumilled/Nichea with power factor greater than 0.95 at full load, internal surge protection up to 8 KV,and Aluminium pressure die-cast Powder coated housing,acrylic cover complete with THD less than 10%, power factor greater than 0.98, RoHS compliant, duly wired up for use on 230 V AC supply. Driver compartment should be seperatly accessible for maintenance (LM 79&80 certificates from NABL accredited Third party lab to be produced mentioning chip manufacturer) |  | 5 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.28 | 90.15.4.5 : Supply Conveyance, installation, testing and commissioning of 40W LED Flood light output greater than 105lumen/W 4000-6000 K with IP 66 protection LED Chip make Cree/Lumilled/Nichea with power factor greater than 0.95 at full load, internal surge protection up to 8 KV,and Aluminium pressure die-cast Powder coated housing, acrylic cover complete with THD less than10%, power factor greater than 0.98, RoHS compliant, duly wired up for use on 230 V AC supply. Driver compartment should be seperatly accessible for maintenance (LM 79&80 certificates from NABL accredited Third party lab to be produced mentioning chip manufacturer) |  | 5 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.29 | 9.1.25 : Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required.3 1/2 X 120 sq. mm (45mm) |  | 10 | set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.3 | 9.1.27 : Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required.3 1/2X 185 sq. mm (57mm) |  | 2 | set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.31 | 9.1.33 : Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required.4 X 16 sq. mm (28mm) |  | 108 | set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.32 | od63495/2024_2025 : Supply, installation testing &amp;amp; commissioning of 150 mm sweep Light Duty Exhaust fan in non metal frame working on 230 V A/C (make:- Usha, havells or equivalent) |  | 10 | no |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.33 | od63532/2024_2025 : Supply installation testing and commissioning of 20 W LED tube light of approved make as per the direction of engineer at site and complete the work as required&lt;br&gt; |  | 120 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.34 | od63496/2024_2025 : Supply and Providing 9 W LED Bulb with B22 base, working on 230 V AC supply |  | 15 | no |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.35 | od63497/2024_2025 : :Supply, conveyance, installation, testing and commissioning of Surface mounted LED bulkhead having efficacy not less than 66 lumen/watt and power consumption of not less than 9W with high pressure die cast aluminium polycarbonate diffuser with all accessories as required. with IP 65 protection.(Wipro model - LW 07-141 or equivalent) |  | 54 | no |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.36 | od63498/2024_2025 : Supply, conveyance, installation, testing and commissioning of ceiling fans of the following sizes using standard accessories excluding resistance type regulator, wiring the down rod with 16/0.20mm PVC insulated and PVC sheathed 650/1100V grade 3 core round copper conductor flex wire or with extended original wiring etc. as required.1200mm sweep -5star rated BLDC ceiling fan complete with 300mm down rod , canopies, shackles and blades working on 230V/240V single phase A/C |  | 54 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.37 | od63499/2024_2025 : METERING PANEL&lt;br&gt;Supply, fabrication, erection, testing and commissioning of cubicle type fully compartmentalised, dust tight, vermin proof, water proof Metering Panel falling to IP54 category fabricated out of 16 SWG CRCA Sheet Steel painted as per standards with double earth,Glass windows connection to all switches, internal rigid connection etc. including suitable chambers, front open, bottom cable entry with water proof shrouding panel consisting of the following as per standards ( All switches shall confirm to conforming to IEC 60947-2 standards).&lt;br&gt;Incomer - 125A TPN Isolator&lt;br&gt;Metering Provisions- Provisions suiting to LT Three Phase,kwh class I Digital type Energy Meter-11 No&lt;br&gt;The panel shall be using of framework fabricated out of MS Flats / Angles etc.painted with two coats of Zinc Chromate primer and two coats of enamel |  | 5 | no |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.38 | od63500/2024_2025 : MAIN SWITCH BOARD&lt;br&gt;Supply, installation, testing &amp; commissioning of cubical type&lt;br&gt;Switch Board Panel suitable for 415 V, 3 Phase, 4 Wire 50 Hz AC&lt;br&gt;supply system having sufficient front surface area fabricated in&lt;br&gt;for frame compartmentalized design from CRCA sheet steel of 1.6&lt;br&gt;mm thick work and covers, 3 mm thick for gland, plates cleaning and&lt;br&gt;finishing complete with 7 tank process for powder coating&lt;br&gt;in approved shade, having 200 Amps capacity type TPN&lt;br&gt;Aluminum alloy bus bars of high conductivity, DMC / SMC /&lt;br&gt;FRP bus bar supports, with short circuit withstand capacity&lt;br&gt;of 31 MVA for 1 Sec., bottom base channel of MS section&lt;br&gt;not less than 100 mm x 50 mm x 5 mm thick, fabrication&lt;br&gt;shall be done in transportable sections, entire panel shall have&lt;br&gt;a common copper earth bar of size 25 mm x 6 mm at the rear&lt;br&gt;with 2 Nos. earth stud, solid connections from main bus bar&lt;br&gt;to switch gears with required size of AL. bus bars and&lt;br&gt;control wiring with 1.5 sq. mm. PVC insulated LSZH (Low&lt;br&gt;Smoke Zero Halogen) copper conductor cables cable alleys&lt;br&gt;etc. For all MCCBs Ics shall be 100% Icu. The panel shall&lt;br&gt;conform to the Electrical Inspectorate standards and it shall only&lt;br&gt;be manufactured after getting approval from the Electrical&lt;br&gt;Inspectorate and the consultant.&lt;br&gt;Busbar&lt;br&gt;1 Runs of 40 x 10mm AL.Busbar for each Phase&lt;br&gt;1 Runs of 40 x 6mm AL.Busbar for Neutral&lt;br&gt; Incomer &lt;br&gt;1 Nos 400A 36kA 4P Thermal Magnetic Type MCCB having70 to 100% setting provision with E/F releases, ROM and spreader&lt;br&gt;1 Set - RYB Indication lamps with Control MCBs&lt;br&gt;3 Nos - 400/5A CL:1, 10VA CT&lt;br&gt;1 Nos - Digital Multifunction Meter measuring V,A,F,KW, KVA,PF with Control MCBs&lt;br&gt;1 Nos - Stand by Earth Fault Relay&lt;br&gt;Outgoings&lt;br&gt;6 Nos - 125A 36kA 4P Thermal Magnetic Type MCCB having70 to 100% setting provision with E/F releases, ROM and spreader &lt;br&gt; |  | 1 | no |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.39 | od63501/2024_2025 : A) 11KV/433V,50Hz, 250KVA USS Indoor Type&lt;br&gt;Cast Resin Transformer, Reference Standards IS 2026/IS 11171, Type of Cooling ANAN(Air Natural),Vector Group Dyn 11, Connections ( HV / LV) Delta / Star, Type of Tap changer Off- Circuit Tap Links, Tappings on HV side +5% to -5% in steps of 2.5%, Class of insulation Class F, Lamination CRGO (M-4 Grade), Reference Ambient Temperature 50&deg;C, Temperature rise of windings above ambient 90&deg;C, Insulation level, Impulse withstand voltage (HV), Power frequency withstand voltage (HV/LV) 75 kV ( Peak) 28 kV (rms) / 3 kV (rms), Terminal Arrangement (HV/ LV) Provision with connecting LBS Panel / Cable Box with provision for DTR Metering, Type of Installation Indoor, Fittings Lifting lugs, Temperature Indicator, Rating and Diagram Plate, Earthing Terminals, Enclosure &ndash; IP23&lt;br&gt;B) 11KV LBS Panel Without HT metering &ndash; Indoor&lt;br&gt;1) Reference Standards IS 9920&lt;br&gt;2 )Type Air Break, Manual Front operated 3)Duty Load Breaking, Fault Making&lt;br&gt;4 )Voltage 11 kV,3&Phi;,50 Hz.&lt;br&gt;5 )Rated Current 630 A&lt;br&gt;6 )Rated short circuit withstand current 26.3 kA/1 sec&lt;br&gt;7 )Operating Handle Yes&lt;br&gt;8 )Mechanical Trip push button Yes 9) Electrical Trip push button Yes&lt;br&gt;10) Trip Coil Voltage 230 V AC&lt;br&gt;11) ON / OFF Indicator Yes&lt;br&gt;12) Earth Switch Yes&lt;br&gt;13) Interlock Between SFU &amp; Earth switch&lt;br&gt;14) HRC fuse link 3 NOS.&lt;br&gt;15) Space heater &amp; Thermostat Yes&lt;br&gt;16) Control Wiring with appropriate colors 1 Lot&lt;br&gt;17) Provision for receiving incoming and outgoing cable Through bottom entry&lt;br&gt;18) Enclosure Powder Coated CRCA sheet&lt;br&gt;19) Type of Installation Indoor&lt;br&gt;Cast Resin Transformer, Reference Standards IS 2026/IS 11171, Type of Cooling ANAN(Air Natural),Vector Group Dyn 11, Connections ( HV / LV) Delta / Star, Type of Tap changer Off- Circuit Tap Links, Tappings on HV side +5% to -5% in steps of 2.5%, Class of insulation Class F, Lamination CRGO (M-4 Grade), Reference Ambient Temperature 50&deg;C, Temperature rise of windings above ambient 90&deg;C, Insulation level, Impulse withstand voltage (HV), Power frequency withstand voltage (HV/LV) 75 kV ( Peak) 28 kV (rms) / 3 kV (rms), Terminal Arrangement (HV/ LV) Provision with connecting LBS Panel / Cable Box with provision for DTR Metering, Type of Installation Indoor, Fittings Lifting lugs, Temperature Indicator, Rating and Diagram Plate, Earthing Terminals, Enclosure &ndash; IP23&lt;br&gt;B) 11KV LBS Panel Without HT metering &ndash; Indoor&lt;br&gt;1) Reference Standards IS 9920&lt;br&gt;2 )Type Air Break, Manual Front operated 3)Duty Load Breaking, Fault Making&lt;br&gt;4 )Voltage 11 kV,3&Phi;,50 Hz.&lt;br&gt;5 )Rated Current 630 A&lt;br&gt;6 )Rated short circuit withstand current 26.3 kA/1 sec&lt;br&gt;7 )Operating Handle Yes&lt;br&gt;8 )Mechanical Trip push button Yes 9) Electrical Trip push button Yes&lt;br&gt;10) Trip Coil Voltage 230 V AC&lt;br&gt;11) ON / OFF Indicator Yes&lt;br&gt;12) Earth Switch Yes&lt;br&gt;13) Interlock Between SFU &amp; Earth switch&lt;br&gt;14) HRC fuse link 3 NOS.&lt;br&gt;15) Space heater &amp; Thermostat Yes&lt;br&gt;16) Control Wiring with appropriate colors 1 Lot&lt;br&gt;17) Provision for receiving incoming and outgoing cable Through bottom entry&lt;br&gt;18) Enclosure Powder Coated CRCA sheet&lt;br&gt;19) Type of Installation Indoor |  | 1 | no |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.4 | od63506/2024_2025 : OD: Supply, fabrication and installation of checkered plates of 6mm thickness to use above the cable trenches duly supported with channels and duly painted with one coat of epoxy primer and two coats of epoxy grey paint.&lt;br&gt; |  | 500 | kg |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.41 | od63507/2024_2025 : OD: Supply, fabrication and installation of cable tray and supports using M.S angles and plates of adequate size painted with one coat of epoxy primer and two coats of epoxy grey paint.&lt;br&gt; |  | 2000 | kg |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3 | PLATE EARTHING | [7 empty] | 1
3.01 | od63502/2024_2025 : Supply and providing earthing with CI earth plate 600mm x 600mm x 6mm thick electrode including accessories, and providing masonary enclosure with cover plate having locking arrangement and watering pipe of 2.7 meter long etc. with charcoal/coke and salt as required conforming to relevant IS, Electrical Inspectorate standards etc. |  | 4 | no |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3.02 | od63503/2024_2025 : Supply and providing earthing with CI earth plate 1200mm x 1200mm x 12.6mm thick electrode including accessories, and providing masonary enclosure with cover plate having locking arrangement and watering pipe of 2.7 meter long etc. with charcoal/coke and salt as required conforming to relevant IS, Electrical Inspectorate standards etc. |  | 5 | no |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4 | EARTHING CONDUCTORS | [7 empty] | 1
4.01 | od63504/2024_2025 : OD: Supply following size of GI/Copper flats/wires for earthing of transformer, Panel board etc. and interconnection of earth pits as per technical specification. Earth strip/wires to be taken through GI pipes/cable trays/Hume pipes/built in trunches/soil etc. wherever necessary. Rate inclusive of connected civil works, necessary tinning, providing sockets and end termination of GI/copper strips/wires with all accessories required for the comple10 SWG Copper Wire&lt;br&gt;te work. &lt;br&gt; |  | 500 | kg |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4.02 | od63529/2024_2025 : Supply following size of GI/Copper flats/wires for earthing of transformer, Panel board etc. and interconnection of earth pits as per technical specification. Earth strip/wires to be taken through GI pipes/cable trays/Hume pipes/built in trunches/soil etc. wherever necessary. Rate inclusive of connected civil works, necessary tinning, providing sockets and end termination of GI/copper strips/wires with all accessories required for the complete work.32 x 6 mm Copper Strip&lt;br&gt; |  | 50 | kg |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4.03 | od63505/2024_2025 : OD: Supply following size of GI/Copper flats/wires for earthing of transformer, Panel board etc. and interconnection of earth pits as per technical specification. Earth strip/wires to be taken through GI pipes/cable trays/Hume pipes/built in trunches/soil etc. wherever necessary. Rate inclusive of connected civil works, necessary tinning, providing sockets and end termination of GI/copper strips/wires with all accessories required for the complete work. &lt;br&gt;25 x 6 mm Copper Strip&lt;br&gt; |  | 50 | kg |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5 | SAFETY EQUIPMENTS | [7 empty] | 1
5.01 | od63510/2024_2025 : OD: Supply and providing tested industrial safety helmet conforming to IS 2925 : 1984&lt;br&gt; |  | 2 | no |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5.02 | od63511/2024_2025 : OD: Supply and providing 11KV tested discharge rod conforming to IEC 61230&lt;br&gt; |  | 1 | no |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5.03 | od63512/2024_2025 : OD: Supply and providing 1 pair of 11KV tested rubber gloves conforming to IS 4770 : 1991.&lt;br&gt; |  | 1 | no |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5.04 | od63513/2024_2025 : OD: Supply and providing electrical grade rubber mat of size 2m x 1m having 12mm thickness in front of panels and DBs conforming to IS 15652 : 2006 standard.&lt;br&gt; |  | 6 | no |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5.05 | od63514/2024_2025 : OD: Supply and fixing laminated shock treatment chart duly mounted on a good frame work&lt;br&gt; |  | 2 | no |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5.06 | od63515/2024_2025 : OD: Supply and providing First Aid Box as approved by St.John Ambulance Brigade / Indian Red Cross conforming to IS 2217 : 1963&lt;br&gt; |  | 2 | no |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5.07 | od63516/2024_2025 : OD: Supply and providing a set of 2 Nos. 9.5 Litre capacity GI bucket painted in post office red colour with prior coat of red oxide paint and written with white paint &quot;FIRE&quot; and mounted on MS angle iron frame with bracket of appropriate size and capacity including filling sand etc.&lt;br&gt; |  | 2 | no |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5.08 | od63517/2024_2025 : OD: Supply and fixing safety instruction chart in word duly framed in good frame work as required.&lt;br&gt; |  | 2 | no |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5.09 | od63518/2024_2025 : OD:Supply and fixing 5Kg Dry Chemical Powder (DCP) type fire extinguisher complete with Gun Metal cap, hose with squeeze grip nozzle, wall fixing brackets conforming to BIS: 2171 and with ISI mark&lt;br&gt; |  | 5 | no |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5.1 | od63519/2024_2025 : OD: Supply and fixing MV danger notice plate of 200 mm x 150mm, made of mild stee,l at least 2mm thick and vitreous enameled white on both sides and with inscriptions in signal red colour on front side as required. &lt;br&gt; |  | 10 | no |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5.11 | od63520/2024_2025 : Supply and fixing HT danger notice plate of 250 mm x 200mm, made of mild stee,l at least 2mm thick and vitreous enameled white on both sides and with inscriptions in signal red colour on front side as required. &lt;br&gt; |  | 1 | no |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
6 | APPROVALS | [7 empty] | 1
6.01 | od63523/2024_2025 : Co-ordination with KSEB for getting power allocation etc.(All Statutory fees shall be remitted by the Client / Consumer or it shall be reimbursed on the submission of supporting documents).&lt;br&gt; |  | 1 | L.S |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
6.02 | od63524/2024_2025 : Submission of completion report, arranging inspection and obtaining Sanction Order from Electrical Inspectorate .(All Statutory fees shall be remitted by the Client / Consumer or it shall be reimbursed on the submission of supporting documents).&lt;br&gt; |  | 1 | L.S |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
6.03 | od63525/2024_2025 : Preparation of drawings and getting approval from Electrical Inspectorate. (*All Statutory fees shall be remitted by the Client / Consumer or it shall be reimbursed on the submission of supporting documents). &lt;br&gt; |  | 1 | L.S |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
6.04 | od63526/2024_2025 : Taking soil resistivity at site and obtaining test certificate from Electrical Inspectorate (*All Statutory fees shall be remitted by the Client / Consumer or it shall be reimbursed on the submission of supporting documents).&lt;br&gt; |  | 1 | L.S |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
Total in Figures | [51 empty] | #VALUE! | #VALUE! | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information