## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver4.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: WAPCOS LIMITED
Name of Work: Comprehensive Upgradation of Roads, Pathways & landscaping at MTPF-AVNL Ambernath,Maharashtra.
Contract No: WAP/ROPEWAYS/2025-26/07
Name of the Bidder/ Bidding Firm / Company : | [50 empty] | 1
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only) Note:- 1. The Performa for filling the item rate (Excluding GST) is given in Microsoft excel sheet. The bidder shall fill the quoted amount only up to two decimal place in soft format. The bidder will upload same filled quote in soft Microsoft Excel copy during uploading of financial bid. 2. The bidder shall quote Amount up to two decimal only in bill of quantity of tender. 3. Prices quoted by the bidder shall include all Materials, Tools & Plant, labour, supervision, profit; other levies together with all general risks, liabilities and obligations set out or implied in the contract, applicable Labour Cess, cost of insurance to this contract, all applicable tax liabilities like Income Tax & Surcharges, etc. Any other taxes /cess as per Government directives shall be deducted from each bill paid to the Contractor, from time to time. GST shall be payable extra as per prevailing rates. It is mandatory to bidders to deposit GST within time limit framed by Govt. of India, if applicable. The Goods and Services Tax (GST), shall be reimbursed to the Agency only after uploading of bills by Contractor on GST Portal “to avail Input benefit of GST 4. It is mandatory to bidders to deposit The Contractor shall issue Tax Invoices to the Employer showing (i) Basic amount (ii) GST amount separately in each bill. It is mandatory to bidders to deposit GST within time limit framed by Govt. of India, if applicable. The Goods and Services Tax (GST), shall be reimbursed to the Agency only after uploading of bills by Contractor on GST Portal “to avail Input benefit of GST”. 5. The company shall be performing all its duties of deduction TDS and other deduction on payment made to the contractor as per applicable legislation in force on the date of submission of bid or to be newly /amended introduced during the execution of the Contract. 6. The payment shall be made as per the quantity of work executed after due verification of work by WAPCOS.
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  | DSR/NDSR Item No | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT (excluding of GST) | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 6 | 7 | 14 | 15 | 16 | 17 | 18 | 8 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 9 | 54 | 10
1 | Widening of Road (By Cement Concete Pavement) (CPWD SOR 2023) | [54 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.01 | Surface dressing of the ground including removing vegetation and in-equalities not exceeding15 cm deep and disposal of rubbish, lead up to 50 m and lift up to 1.5 m. | [54 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.02 | All Kind of Soil | item1 | 9599.7 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | 2.28.1 | [33 empty] | 0 | 0 | #VALUE!
1.03 | Providing (Loading, Unloading & Stacking) and banking supply earth in layers not exceeding 20cm in depth, breaking clods, watering, rolling each layer with ½ tonne roller or wooden or steel rammers, and rolling every 3rd and top-most layer with power roller of minimum 8 tonnes and dressing up in embankments for roads, flood banks, marginal banks and guide banks or filling up ground depressions, lead upto 5 Km and for all lift : Borrow Pit Shall be Instructed by Client. | item2 | 1919.94 | Cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | DSR Analysis | [33 empty] | 0 | 0 | #VALUE!
1.04 | Earth work in excavation by mechanical means (Hydraulic excavator)/manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and lift upto 1.5 m, as directed by Engineer-in- charge. All kinds of soil | item3 | 5471.83 | Cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | 2.6.1 | [33 empty] | 0 | 0 | #VALUE!
1.05 | Construction of granular sub-base by providing close graded Material conforming to specifications, mixing in a mechanical mix plant at OMC, carriage of mixed material by tippers to work site, for all leads & lifts, spreading in uniform layers of specified thickness with motor grader on prepared surface and compacting with vibratory power roller to achieve the desireddensity, complete as per specifications and directions of Engineer-in-Charge.
1.06 | With material conforming to Grade-I (size range 75 mm to 0.075 mm) having CBR Value-30 | item4 | 959.97 | cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | 16.78.1 | [33 empty] | 0 | 0 | #VALUE!
1.07 | With material conforming to Grade-II (size range 53 mm to 0.075 mm ) having CBR Value-25 | item5 | 959.97 | cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | 16.78.2 | [33 empty] | 0 | 0 | #VALUE!
1.08 | Construction of dry lean cement concrete sub base over a prepared sub-grade with coarseand fine aggregate conforming to IS:383, the size of coarse aggregate not exceeding 25 mm,aggregate cement ratio not to exceed 15:1, aggregate gradation after blending to be as perspecifications, cement content not to be less than 150 Kg/cum, optimum moisture contentto be determined during trial length construction, concrete strength not to be less than 10Mpa at 7 days, mixed in a batching plant, transported to site, for all leads & lifts, laid witha mechanical paver, compacting with 8-10 tonne vibratory roller, finishing and curing etc.complete as per direction of Engineer-in- charge. | item6 | 1439.96 | cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | 16.8 | [33 empty] | 0 | 0 | #VALUE!
1.09 | Providing and laying design mix cement concrete of M- 30 grade, in roads/ taxi tracks/ runways, using cement content as per design mix, using coarse sand and graded stone aggregate of 40 mm nominal size in appropriate proportions as per approved & specified design criteria, providing dowel bars with sleeve/ tie bars wherever required, laying at site, spreading and compacting mechanically by using needle and surface vibrators, levelling to required slope/ camber,finishing with required texture, including steel form work with sturdy M.S. channel sections, curing, making provision for contraction/ expansion, construction & longitudinal joints (10 mm wide x 50 mm deep) by groove cutting machine, providing and filling joints with approved joint filler and sealants, complete all as per direction of Engineer-in-charge (Item of joint fillers, sealants, dowel bars with sleeve/ tie bars to be paid separately) Note: Cement content considered in M-30 is @ 340Kg/Cum. Excess/Less cement used as per design mix is payable, recoverable separately. Cement concrete manufactured in automatic batching plant (RMC plant) i/c transportation to site in transit mixer. | item7 | 2111.93 | Cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | 16.43.2 | [33 empty] | 0 | 0 | #VALUE!
1.1 | Providing and laying bitumen mastic wearing course (as per specifications) with industrial bitumen of grade 85/25 conforming to IS : 702, prepared by using mastic cooker and laid to required level and slope, including providing antiskid surface with bitumen precoated fine grained hard stone chipping of approved size at the rate of 0.005 cum per 10 sqm and at approximate spacing of 10 cm centre to centre in both directions, pressed into surface protruding 1 mm to 4 mm over mastic surface, including cleaning the surface, removal of debris etc. all complete. (Considering bitumen using 10.2% as per MORTH specification). 25mm thick | item8 | 13438.15 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | 16.37 | [33 empty] | 0 | 0 | #VALUE!
1.11 | Providing and applying 2.5 mm thick road marking strips (retro-reflective) of specified shade/ colour using hot thermoplastic material by fully/ semi automatic thermoplastic paint applicator machine fitted with profile shoe, glass beads dispenser, propane tank heater and profile shoe heater, driven by experienced operator on road surface including cost of material, labour, T&P, cleaning the road surface of all dirt, seals, oil, grease and foreign material etc. complete as per direction of Engineer-in-charge and accordance with applicable specifications. | item9 | 642.8 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | 16.62 | [33 empty] | 0 | 0 | #VALUE!
2 | Widening of Road (By 80mm Interlocking Paver Block) (CPWD SOR 2023)
2.01 | Surface dressing of the ground including removing vegetation and in-equalities not exceeding15 cm deep and disposal of rubbish, lead up to 50 m and lift up to 1.5 m. | [6 empty] | Excess(+) | 1 | Full Conversion
2.02 | All Kind of Soil | item10 | 7794.93 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | 2.28.1 | [33 empty] | 0 | 0 | #VALUE! |  | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.03 | Earth work in surface excavation not exceeding 30 cm in depth but exceeding 1.5 m in width as well as 10 sqm on plan including getting out and disposal of excavated earth upto 50 m and lift up to 1.5 m, as directed by Engineer-in-Charge: All kinds of soil | item11 | 7794.93 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | 2.1.1 | [33 empty] | 0 | 0 | #VALUE! |  | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.04 | Construction of granular sub-base by providing close graded Material conforming to specifications, mixing in a mechanical mix plant at OMC, carriage of mixed material by tippers to work site, for all leads & lifts, spreading in uniform layers of specified thickness with motor grader on prepared surface and compacting with vibratory power roller to achieve the desireddensity, complete as per specifications and directions of Engineer-in-Charge. | [6 empty] | Excess(+) | 1 | Full Conversion | [45 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
2.05 | With material conforming to Grade-I (size range 75 mm to 0.075 mm) having CBR Value-30 | item12 | 779.49 | cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | 16.78.1 | [33 empty] | 0 | 0 | #VALUE! |  | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
2.06 | With material conforming to Grade-II (size range 53 mm to 0.075 mm ) having CBR Value-25 | item13 | 779.49 | cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | 16.78.2 | [33 empty] | 0 | 0 | #VALUE! |  | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.07 | Construction of dry lean cement concrete sub base over a prepared sub-grade with coarseand fine aggregate conforming to IS:383, the size of coarse aggregate not exceeding 25 mm,aggregate cement ratio not to exceed 15:1, aggregate gradation after blending to be as perspecifications, cement content not to be less than 150 Kg/cum, optimum moisture contentto be determined during trial length construction, concrete strength not to be less than 10Mpa at 7 days, mixed in a batching plant, transported to site, for all leads & lifts, laid witha mechanical paver, compacting with 8-10 tonne vibratory roller, finishing and curing etc.complete as per direction of Engineer-in- charge. | item14 | 779.49 | Cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | 16.8 | [33 empty] | 0 | 0 | #VALUE!
2.08 | Providing and laying factory made chamfered edge Cement Concrete paver blocks In foot path, park & lawns driveway or light & traffic parking etc. of required strength, thickness & size/ shape, made by table vibratory method using PU mould, laid in required colour & pattern over 50mm thick compacted bed of course sand, compacting and proper embedding/ laying of inter locking paver blocks into the sand bedding layer through vibratory compaction by using plate vibrator, filling the joints with sand and cutting of paver blocks as per required size and pattern, finishing and sweeping extra sand, all complete as per manufacturer's specifications & direction of Engineer in-Charge. 80mm thick Cement concrete paver block of M-30 grade with approved colour, design & pattern | item15 | 7794.93 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | 16.91.2 | [33 empty] | 0 | 0 | #VALUE!
3 | Parking (60 mm Interlocking Paver Block) (CPWD SOR 2023)
3.01 | Surface dressing of the ground including removing vegetation and in-equalities not exceeding15 cm deep and disposal of rubbish, lead up to 50 m and lift up to 1.5 m.
3.02 | All Kind of Soil | item16 | 5804.71 | Sqm | [5 empty] | Full Conversion | INR | [6 empty] | 2.28.1 | [33 empty] | 0 | 0 | #VALUE!
3.03 | Earth work in surface excavation not exceeding 30 cm in depth but exceeding 1.5 m in width as well as 10 sqm on plan including getting out and disposal of excavated earth upto 50 m and lift up to 1.5 m, as directed by Engineer-in-Charge: All kinds of soil | item17 | 5804.71 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | 2.1.1 | [33 empty] | 0 | 0 | #VALUE! |  | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
3.04 | Construction of dry lean cement concrete sub base over a prepared sub-grade with coarseand fine aggregate conforming to IS:383, the size of coarse aggregate not exceeding 25 mm,aggregate cement ratio not to exceed 15:1, aggregate gradation after blending to be as perspecifications, cement content not to be less than 150 Kg/cum, optimum moisture contentto be determined during trial length construction, concrete strength not to be less than 10Mpa at 7 days, mixed in a batching plant, transported to site, for all leads & lifts, laid witha mechanical paver, compacting with 8-10 tonne vibratory roller, finishing and curing etc.complete as per direction of Engineer-in- charge. | item18 | 580.47 | Cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | 16.8 | [33 empty] | 0 | 0 | #VALUE! |  | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3.05 | Providing and laying 60mm thick factory made cement concrete interlocking paver block of M -30 grade made by block making machine with strong vibratory compaction, of approved size, design & shape, laid in required colour and pattern over and including 50mm thick compacted bed of coarse sand, filling the joints with fine sand etc. all complete as per the direction of Engineer-in-charge. | item19 | 580.47 | Sqm | [5 empty] | Full Conversion | INR | [6 empty] | 16.68 | [33 empty] | 0 | 0 | #VALUE!
3.06 | Providing and laying at or near ground level factory made kerb stone of M-25 grade cementconcrete in position to the required line, level and curvature, jointed with cement mortar 1:3(1 cement: 3 coarse sand), including making joints with or without grooves (thickness ofjoints except at sharp curve shall not to more than 5mm), including making drainage openingwherever required complete etc. as per direction of Engineer-in-charge (length of finishedkerb edging shall be measured to calculate volume for payment). (Precast C.C. kerb stoneshall be approved by Engineer-in-charge). | item20 | 3218.82 | Rmt | [5 empty] | Full Conversion | INR | [6 empty] | DSR Analysis | [33 empty] | 0 | 0 | #VALUE!
3.07 | Painting two coats including primer coat after filling the surface with synthetic enamel paint in all shades on new, plastered / concrete surfaces as per drawing and Technical Specification Clause 1701 (Paint on Kerb Stone) | item21 | 965.65 | Sqm | [5 empty] | Full Conversion | INR | [6 empty] | 10.5 | [33 empty] | 0 | 0 | #VALUE!
4 | Dismantling (CPWD SOR 2023) | [8 empty] | Full Conversion
4.01 | Demolishing R.C.C. work manually/ by mechanical means including stacking of steel bars and disposal of unserviceable material within 50 metres lead as per direction of Engineer - in- charge. | [8 empty] | Full Conversion
4.02 | Dismantling of Operator Room (16 Sqm) | item22 | 6.54 | Cum | [5 empty] | Full Conversion | INR | [6 empty] | 15.3 (i) | [33 empty] | 0 | 0 | #VALUE!
4.03 | Dismantling of Fuse Building 1 (110 Sqm) | item23 | 44.98 | Cum | [5 empty] | Full Conversion | INR | [6 empty] | 15.3 (ii) | [33 empty] | 0 | 0 | #VALUE!
4.04 | Dismantling of Fuse Building 2 (20 Sqm) | item24 | 8.18 | Cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | 15.3 (iii) | [33 empty] | 0 | 0 | #VALUE! |  | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
4.05 | Dismantling of ATM (50 Sqm) | item25 | 20.44 | Cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | 15.3 (iv) | [33 empty] | 0 | 0 | #VALUE! |  | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
4.06 | Taking out doors, windows and clerestory window shutters (steel or wood) including stacking within 50 metres lead: Of area 3 sq. metres and below | [54 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
4.07 | Dismantling of Operator Room (16 Sqm) | item26 | 3 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | 15.13.1(i) | [33 empty] | 0 | 0 | #VALUE!
4.08 | Dismantling of Fuse Building 1 (110 Sqm) | item27 | 5 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | 15.13.1 (ii) | [33 empty] | 0 | 0 | #VALUE!
4.09 | Dismantling of Fuse Building 2 (20 Sqm) | item28 | 3 | Each | [5 empty] | Full Conversion | INR | [6 empty] | 15.13.1 (iii) | [33 empty] | 0 | 0 | #VALUE!
4.1 | Dismantling of ATM (50 Sqm) | item29 | 4 | Each | [5 empty] | Full Conversion | INR | [6 empty] | 15.13.1 (iv) | [33 empty] | 0 | 0 | #VALUE!
4.11 | Demolishing stone rubble masonry manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge : In cement mortar | [8 empty] | Full Conversion
4.12 | Dismantling of Operator Room (16 Sqm) | item30 | 22.4 | Cum | [5 empty] | Full Conversion | INR | [6 empty] | 15.9.2 (i) | [33 empty] | 0 | 0 | #VALUE!
4.13 | Dismantling of Fuse Structure 1 (110 Sqm) | item31 | 154 | Cum | [5 empty] | Full Conversion | INR | [6 empty] | 15.9.2 (ii) | [33 empty] | 0 | 0 | #VALUE!
4.14 | Dismantling of Fuse Structure 2 (20 Sqm) | item32 | 28 | Cum | [5 empty] | Full Conversion | INR | [6 empty] | 15.9.2 (iii) | [33 empty] | 0 | 0 | #VALUE!
4.15 | Dismantling of ATM (50 Sqm) | item33 | 70 | Cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | 15.9.2 (iv) | [33 empty] | 0 | 0 | #VALUE!
4.16 | Dismantling of Boundary Wall Road -5 (187m) | item34 | 189.34 | Cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | 15.9.2 (v) | [33 empty] | 0 | 0 | #VALUE!
4.17 | Removing mortar from and cleaning stones and concrete articles (net quantity of stacks of cleaned materials will be measured): In cement mortar | item35 | 189.34 | Cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | 15.11.2 | [33 empty] | 0 | 0 | #VALUE!
4.18 | Dismantling steel work in built up sections in angles, tees, flats and channels including all gusset plates, bolts, nuts, cutting rivets, welding etc. including dismembering and stacking within 50 metres lead.
4.19 | Dismantling of Shed Parking (At East Gate Entry) (145 Sqm) | item36 | 5460.7 | Kg |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | 15.18 (i) | [33 empty] | 0 | 0 | #VALUE!
4.2 | Dismantling of Building No.6 (110 Sqm) | item37 | 4142.6 | Kg |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | 15.18 (ii) | [33 empty] | 0 | 0 | #VALUE!
4.21 | Parking Shed (Between Admin Block and Building No. 9)(50 Sqm) | item38 | 1883 | Kg |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | 15.18 (iii) | [33 empty] | 0 | 0 | #VALUE!
4.22 | Parking Shed (Behind Admin Block)(275 Sqm) | item39 | 10356.5 | Kg |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | 15.18 (iv) | [33 empty] | 0 | 0 | #VALUE!
4.23 | Dismantling roofing including ridges, hips, valleys and gutters etc., and stacking the material within 50 metres lead of: | [6 empty] | Excess(+) | 1 | Full Conversion
4.24 | Dismantling of Shed Parking (145 Sqm) (G.S. Sheet) | item40 | 145 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | 15.28.1 | [33 empty] | 0 | 0 | #VALUE!
4.25 | Dismantling of Building No.6 (110 Sqm) (Tiled Roofing) | item41 | 110 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | 15.31 | [33 empty] | 0 | 0 | #VALUE!
4.26 | Parking Shed (Between Admin Block and Building No. 9)(50 Sqm)(G.S. Sheet) | item42 | 50 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | 15.28.1 | [33 empty] | 0 | 0 | #VALUE!
4.27 | Parking Shed (Behind Admin Block)(275 Sqm)(G.S. Sheet) | item43 | 275 | Sqm | [5 empty] | Full Conversion | INR | [6 empty] | 15.28.1 | [33 empty] | 0 | 0 | #VALUE!
5 | Reconstruction of Boundary Wall at Road No. - 5 (187m Long) (CPWD SOR 2023) | [8 empty] | Full Conversion
5.01 | Earth work in excavation by mechanical means (Hydraulic excavator)/manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and lift upto 1.5 m, as directed by Engineer-in- charge. All kinds of soil | [8 empty] | Full Conversion
5.02 | Upto 1.5 Mtr Depth | item44 | 828.97 | Cum | [5 empty] | Full Conversion | INR | [6 empty] | 2.6.1 | [33 empty] | 0 | 0 | #VALUE!
5.03 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 m and lift upto 1.5 m. | item45 | 662.89 | cum | [5 empty] | Full Conversion | INR | [6 empty] | 2.25 | [33 empty] | 0 | 0 | #VALUE!
5.04 | Disposal of moorum/building rubbish/ malba/ similar unserviceable, dismantled or waste material by mechanical transport including loading, transporting, unloading to approved municipal dumping ground for lead upto 10 km for all lifts, complete as per directions of Engineer-in-charge | item46 | 166.08 | cum | [5 empty] | Full Conversion | INR | [6 empty] | 1.1.18 | [33 empty] | 0 | 0 | #VALUE!
5.05 | Brick soling in foundation: Dry brick pitching half brick thick in drains including supply of bricks and preparing the surface complete : With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | item47 | 26.97 | Sqm | [5 empty] | Full Conversion | INR | [6 empty] | 16.12 | [33 empty] | 0 | 0 | #VALUE!
5.06 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:3:6 (1 Cement : 3 coarse sand (zone-III) : 6 graded stone aggregate 20 mm nominal size) | item48 | 17.98 | cum | [5 empty] | Full Conversion | INR | [6 empty] | 4.1.5 | [33 empty] | 0 | 0 | #VALUE!
5.07 | Random rubble masonry with hard stone in foundation and plinth including levelling up with cement concrete 1:6:12 (1 cement : 6 coarse sand : 12 graded stone aggregate 20mm nominal size) upto plinth level with : Cement mortar 1:6 (1 cement : 6 coarse sand) | item49 | 121.13 | cum | [5 empty] | Full Conversion | INR | [6 empty] | 7.1.1 | [33 empty] | 0 | 0 | #VALUE!
5.08 | Extra for random rubble masonry with hard stone in : Square or rectangular pillars | item50 | 52.04 | cum | [5 empty] | Full Conversion | INR | [6 empty] | 7.4 | [33 empty] | 0 | 0 | #VALUE!
5.09 | Random rubble masonry with hard stone in superstructure above plinth level and upto floor five level, including leveling up with cement concrete 1:6:12 (1 cement : 6 coarse sand : 12 graded stone aggregate 20mm nominal size) at window sills, ceiling level and the like. | item51 | 80.19 | cum | [5 empty] | Full Conversion | INR | [6 empty] | 7.2 | [33 empty] | 0 | 0 | #VALUE!
5.1 | 15 mm cement plaster on the rough side of single or half brick wall of mix : 1:4 (1 cement: 4 fine sand) | item52 | 493.68 | Sqm | [5 empty] | Full Conversion | INR | [6 empty] | 41306 | [33 empty] | 0 | 0 | #VALUE!
5.11 | Finishing walls with water proofing cement paint of required shade : New work (Two or more coats applied @ 3.84 kg/10 sqm) | item53 | 493.68 | Sqm | [5 empty] | Full Conversion | INR | [6 empty] | 13.44 | [33 empty] | 0 | 0 | #VALUE!
6 | Construction of Two Wheeler Parking Shed (Near Building No.9) (270 Sqm) (CPWD SOR 2023) | [8 empty] | Full Conversion
6.01 | Earth work in excavation by mechanical means (Hydraulic excavator)/manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and lift upto 1.5 m, as directed by Engineer-in- charge. All kinds of soil | [8 empty] | Full Conversion
6.02 | Upto 1.5 Mtr Depth | item54 | 194.27 | Cum | [5 empty] | Full Conversion | INR | [6 empty] | 2.6.1 | [33 empty] | 0 | 0 | #VALUE!
6.03 | From 1.5 Mtr to 3.0 Mtr Depth (Additional Depth after 1.5 upto 3.0 Mtr) | item55 | 64.76 | Cum | [5 empty] | Full Conversion | INR | [6 empty] | 2.26 | [33 empty] | 0 | 0 | #VALUE!
6.04 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 m and lift upto 1.5 m. | item56 | 218.54 | cum | [5 empty] | Full Conversion | INR | [6 empty] | 2.25 | [33 empty] | 0 | 0 | #VALUE!
6.05 | Disposal of moorum/building rubbish/ malba/ similar unserviceable, dismantled or waste material by mechanical transport including loading, transporting, unloading to approved municipal dumping ground for lead upto 10 km for all lifts, complete as per directions of Engineer-in-charge | item57 | 40.49 | cum | [5 empty] | Full Conversion | INR | [6 empty] | 1.1.18 | [33 empty] | 0 | 0 | #VALUE!
6.06 | Brick soling in foundation: Dry brick pitching half brick thick in drains including supply of bricks and preparing the surface complete : With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | item58 | 1.13 | Sqm | [5 empty] | Full Conversion | INR | [6 empty] | 16.12 | [33 empty] | 0 | 0 | #VALUE!
6.07 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:3:6 (1 Cement : 3 coarse sand (zone-III) : 6 graded stone aggregate 20 mm nominal size) | item59 | 0.75 | cum | [5 empty] | Full Conversion | INR | [6 empty] | 4.1.5 | [33 empty] | 0 | 0 | #VALUE!
6.08 | Providing and laying in position specified grade of reinforced cement concrete, excluding the cost of centering, shuttering, finishing and reinforcement - All work up to plinth level : 1:1.5:3 (1 cement : 1.5 coarse sand (zone-III): 3 graded stone aggregate 20 mm nominal size) | item60 | 38.6 | cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | 5.1.2 | [33 empty] | 0 | 0 | #VALUE!
6.09 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. Thermo-Mechanically Treated bars of grade Fe-500D or more | item61 | 4632.01 | Kg |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | 5.22.6 | [33 empty] | 0 | 0 | #VALUE!
6.1 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | item62 | 11424.99 | Kg |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | 10.2 | [33 empty] | 0 | 0 | #VALUE!
6.11 | Finishing with Epoxy paint (two or more coats) at all locations prepared and applied as per manufacturer's specifications including appropriate priming coat, preparation of surface, etc. complete.On steel work | item63 | 294.8 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | 13.52.1 | [33 empty] | 0 | 0 | #VALUE!
6.12 | Surface dressing of the ground including removing vegetation and in-equalities not exceeding15 cm deep and disposal of rubbish, lead up to 50 m and lift up to 1.5 m. | [6 empty] | Excess(+) | 1 | Full Conversion
6.13 | All Kind of Soil | item64 | 275.5 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | 2.28.1 | [33 empty] | 0 | 0 | #VALUE!
6.14 | Earth work in surface excavation not exceeding 30 cm in depth but exceeding 1.5 m in width as well as 10 sqm on plan including getting out and disposal of excavated earth upto 50 m and lift up to 1.5 m, as directed by Engineer-in-Charge: All kinds of soil | item65 | 275.5 | Sqm | [5 empty] | Full Conversion | INR | [6 empty] | 2.1.1 | [33 empty] | 0 | 0 | #VALUE!
6.15 | Construction of dry lean cement concrete sub base over a prepared sub-grade with coarseand fine aggregate conforming to IS:383, the size of coarse aggregate not exceeding 25 mm,aggregate cement ratio not to exceed 15:1, aggregate gradation after blending to be as perspecifications, cement content not to be less than 150 Kg/cum, optimum moisture contentto be determined during trial length construction, concrete strength not to be less than 10Mpa at 7 days, mixed in a batching plant, transported to site, for all leads & lifts, laid witha mechanical paver, compacting with 8-10 tonne vibratory roller, finishing and curing etc.complete as per direction of Engineer-in- charge. | item66 | 27.55 | Cum | [5 empty] | Full Conversion | INR | [6 empty] | 16.8 | [33 empty] | 0 | 0 | #VALUE!
6.16 | Providing and laying 60mm thick factory made cement concrete interlocking paver block of M -30 grade made by block making machine with strong vibratory compaction, of approved size, design & shape, laid in required colour and pattern over and including 50mm thick compacted bed of coarse sand, filling the joints with fine sand etc. all complete as per the direction of Engineer-in-charge. | item67 | 275.5 | Sqm | [5 empty] | Full Conversion | INR | [6 empty] | 16.68 | [33 empty] | 0 | 0 | #VALUE!
7 | CIVIL WORK (CPWD SOR 2023) of Reconstruction of Operator Room (Area = 16 Sqm)
7.01 | EXCAVATION AND FILLING
7.02 | Earth work in excavation by mechanical means (Hydraulic excavator)/ manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and lift upto 1.5 m, as directed by Engineer-in charge. All kinds of soil | item68 | 37.76 | Cum | [5 empty] | Full Conversion | INR | [6 empty] | 2.6.1 | [33 empty] | 0 | 0 | #VALUE!
7.03 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 m and lift upto 1.5 m. | item69 | 37.65 | Cum | [5 empty] | Full Conversion | INR | [6 empty] | 2.25 | [33 empty] | 0 | 0 | #VALUE!
7.04 | Supplying and filling in plinth with sand under floors, including watering, ramming, consolidating and dressing complete. | item70 | 4.08 | Cum | [5 empty] | Full Conversion | INR | [6 empty] | 2.27 | [33 empty] | 0 | 0 | #VALUE!
7.05 | ANTI-TERMITE TREATMENT | [6 empty] | Excess(+) | 1 | Full Conversion
7.06 | Treatment of soil under using chemical emulsion @ 0.5 litre per sqm, With Chlorpyriphos/Lindane E.C. 20% with 1% concentration. | item71 | 25.96 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | DSR Analysis | [33 empty] | 0 | 0 | #VALUE!
7.07 | BRICK SOLING | [6 empty] | Excess(+) | 1 | Full Conversion
7.08 | Brick Soling: Dry brick pitching half brick thick in drains including supply of bricks and preparing the surface complete : With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | item72 | 22.2 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | 16.12 | [33 empty] | 0 | 0 | #VALUE!
7.09 | PLAIN CEMENT CONCRETE | [8 empty] | Full Conversion
7.1 | Plain Cement concrete (1:4:8)in foundation and floors using 4cm(1½”) size hard crusher broken granite stone metal of approved quality and from approved quarry including lowering, laying concrete, watering, curing etc, complete to required levels laid in layers not exceeding 0’-6” thick in each layer including cost, conveyances, royalties, taxes of all materials and cost of all labour with T&P required for the work etc, complete as per specification & direction of the Engineer-in-charge. | item73 | 2.22 | Cum | [5 empty] | Full Conversion | INR | [6 empty] | 4.1.8 | [33 empty] | 0 | 0 | #VALUE!
7.11 | PLINTH PROTECTION | [8 empty] | Full Conversion
7.12 | Making plinth protection 50mm thick of cement concrete 1:3:6 (1 cement: 3 coarse sand (zone-III) derived from natural sources : 6 graded stone aggregate 20 mm nominal size derived from natural sources) over 75mm thick bed of dry brick ballast 40 mm nominal size, well rammed and consolidated and grouted with fine sand, including necessary excavation, levelling & dressing & finishing the top smooth. | item74 | 9.01 | Sqm | [5 empty] | Full Conversion | INR | [6 empty] | 4.17 | [33 empty] | 0 | 0 | #VALUE!
7.13 | REINFORCED CEMENT CONCRETE | [8 empty] | Full Conversion
7.14 | Providing and laying in position ready mixed or site batched design mix cement concrete for reinforced cement concrete work; using coarse aggregate and fine aggregate derived from natural sources, Portland Pozzolana / Ordinary Portland /Portland Slag cement, admixtures in recommended proportions as per IS: 9103 to accelerate / retard setting of concrete, to improve durability and workability without impairing strength; including pumping of concrete to site of laying, curing, carriage for all leads; but excluding the cost of centering, shuttering, finishing and reinforcement as per direction of the engineer-in-charge; for the following grades of concrete. Note: Extra cement up to 10% of the minimum specified cement content in design mix shall be payable separately. In case the cement content in design mix is more than 110% of the specified minimum cement content, the contractor shall have discretion to either re design the mix or bear the cost of extra cement All works upto plinth level Concrete of M25 grade with minimum cement content of 330 kg /cum | item75 | 4.24 | Cum | [5 empty] | Full Conversion | INR | [6 empty] | 5.33.1.1 | [33 empty] | 0 | 0 | #VALUE!
7.15 | All works above plinth level upto floor V level Concrete of M25 grade with minimum cement content of 330 kg /cum | item76 | 5.25 | Cum | [5 empty] | Full Conversion | INR | [6 empty] | 5.33.2.1 | [33 empty] | 0 | 0 | #VALUE! | 1366379.3
7.16 | REINFORCEMENT | [8 empty] | Full Conversion
7.17 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. Thermo-Mechanically Treated bars of grade Fe-500D or more. | item77 | 0.48 | Mt |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | 5.22.6 | [33 empty] | 0 | 0 | #VALUE!
7.18 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. Thermo-Mechanically Treated bars of grade Fe-500D or more. | item78 | 0.55 | Mt |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | 5.22A.6 | [33 empty] | 0 | 0 | #VALUE!
7.19 | CENTERING AND SHUTTERING | [8 empty] | Full Conversion
7.2 | Centering and shuttering including strutting, propping etc. and removal of form for Foundations, footings, bases of columns, etc. for mass concrete | item79 | 17.35 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | 5.9.1 | [33 empty] | 0 | 0 | #VALUE!
7.21 | Centering and shuttering including strutting, propping etc. and removal of form for Suspended floors, roofs, landings, balconies and access platform etc. | item80 | 19.5 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | 5.9.3 | [33 empty] | 0 | 0 | #VALUE!
7.22 | Centering and shuttering including strutting, propping etc. and removal of form for Lintels, beams, plinth beams, girders, bressumers and cantilevers | item81 | 19.46 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | 5.9.5 | [33 empty] | 0 | 0 | #VALUE!
7.23 | Centering and shuttering including strutting, propping etc. and removal of form for Columns, Pillars, Piers, Abutments, Posts and Struts | item82 | 16.4 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [6 empty] | 5.9.6 | [33 empty] | 0 | 0 | #VALUE!
7.24 | BRICKWORK | [8 empty] | Full Conversion
7.25 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in: Cement mortar 1:4 (1 cement : 4 coarse sand). | item83 | 10.7 | Cum | [5 empty] | Full Conversion | INR | [6 empty] | 6.1.1 | [33 empty] | 0 | 0 | #VALUE!
7.26 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : Cement mortar 1:4 (1 cement : 4 coarse sand) | item84 | 12.99 | Cum | [5 empty] | Full Conversion | INR | [6 empty] | 6.4.1 | [33 empty] | 0 | 0 | #VALUE!
7.27 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level. Cement mortar 1:3 (1 cement :3 coarse sand) | item85 | 10.81 | Sqm | [5 empty] | Full Conversion | INR | [6 empty] | 6.13.1 | [33 empty] | 0 | 0 | #VALUE!
7.28 | PLASTER | [8 empty] | Full Conversion
7.29 | 6 mm cement plaster of mix : 1:3 (1 cement : 3 fine sand) | item86 | 19.56 | Sqm | [5 empty] | Full Conversion | INR | [6 empty] | 13.16.1 | [33 empty] | 0 | 0 | #VALUE!
7.3 | 12 mm cement plaster of mix : 1:4 (1 cement: 4 fine sand) | item87 | 46.51 | Sqm | [5 empty] | Full Conversion | INR | [6 empty] | 13.1.1 | [33 empty] | 0 | 0 | #VALUE!
7.31 | 20 mm cement plaster of mix : 1:6 (1 cement: 6 fine sand) | item88 | 73.03 | Sqm | [5 empty] | Full Conversion | INR | [6 empty] | 13.3.2 | [33 empty] | 0 | 0 | #VALUE!
7.32 | PUTTY & PAINT
7.33 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | item89 | 139.11 | Sqm | [5 empty] | Full Conversion | INR | [6 empty] | 13.8 | [33 empty] | 0 | 0 | #VALUE!
7.34 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC content less than 50 gms/litre, of approved manufacturer, of required shade and colour complete, as per manufacturer's specification: Two or more coats on new work. | item90 | 66.08 | Sqm | [5 empty] | Full Conversion | INR | [6 empty] | 13.41 | [33 empty] | 0 | 0 | #VALUE!
7.35 | Finishing walls with Acrylic Smooth exterior paint of required shade : New work (Two or more coat applied @ 1.67 ltr/10 sqm over and including priming coat of exterior primer applied @ 2.20 kg/10 sqm) | item91 | 73.03 | Sqm | [5 empty] | Full Conversion | INR | [6 empty] | 13.46 | [33 empty] | 0 | 0 | #VALUE!
7.36 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : Two or more coats on new work | item92 | 2.18 | Sqm | [5 empty] | Full Conversion | INR | [6 empty] | 13.62 | [33 empty] | 0 | 0 | #VALUE!
7.37 | FLOOR AND WALL TILES | [8 empty] | Full Conversion
7.38 | Providing and laying vitrified floor tiles in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS: 15622, of approved make, in all colours and shades, laid on 20mm thick cement mortar 1:4 (1 cement : 4 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joints with white cement and matching pigments etc., complete. Size of Tile 600x600 mm | item93 | 16.32 | Sqm | [5 empty] | Full Conversion | INR | [6 empty] | 11.41.2 | [33 empty] | 0 | 0 | #VALUE!
7.39 | Tile work in skirting, risers of steps and dado up to 2 m height over 12 mm thick bed of cement mortar 1:3 (1 cement :3 coarse sand) and jointed with grey cement slurry @ 3.3 kg/sqm, including pointing in white cement mixed with pigment of matching shade complete.Marble tiles (polished) Raj Nagar.8 mm thick. | item94 | 2.45 | Sqm | [5 empty] | Full Conversion | INR | [6 empty] | 11.22 | [33 empty] | 0 | 0 | #VALUE!
7.4 | DOOR AND WINDOW | [8 empty] | Full Conversion
7.41 | Providing and fixing 1mm thick M.S. sheet door with frame of 40x40x6 mm angle iron and 3 mm M.S. gusset plates at the junctions and corners, all necessary fittings complete, including applying a priming coat of approved steel primer. Using M.S. angels 40x40x6 mm for diagonal braces | item95 | 2.77 | Sqm | [5 empty] | Full Conversion | INR | [6 empty] | 10.5.1 | [33 empty] | 0 | 0 | #VALUE!
7.42 | Providing and fixing factory made uPVC glazed/wire mesh windows/ doors comprising of lead free uPVC multi-chambered frame, sash and mullion/coupler (where ever required) extruded profiles having minimum wall thickness of 1.70 mm for Series R1 and R2 profiles and 2.10 mm for Series R3 and R4 profiles conforming to EN: 12608 in any shape, colour and design duly reinforced with galvanized mild steel section made of required shape & size as per CPWD Specification, uPVC extruded glazing beads, interlocks and Inline sash adaptor (where ever required) of appropriate dimension, EPDM gasket, hardware, SS 304 grade fasteners of minimum 8 mm dia with countersunk head, comprising of matching polyamide PA6 grade sleeve for fixing frame to finished wall as per IS 1367: Part 1 to 14, plastic packers, plastic caps and necessary stainless steel screws etc. Profile of frame, sash & mullion (if required) shall be mitred cut and fusion welded/mechanically jointed duly sealed at all corners, including drilling of holes for fixing hardware and drainage of water etc. After fixing frame the gap between frame and adjacent finished wall shall be filled with weather proof silicon sealant over backer rod pf approved size and quality, all complete as per approved drawing conforming to CPWD specification & direction of Engineer-in-Charge.Section of steel reinforcement and cross sections of uPVC profiles to be as per design approved by Engineerin-Charge. Wire mesh / Glazing of plain/ toughened/ laminated/ double glass unit with / without high performance coatings as per design requirements and conforming to IS: 3548 & IS:16231 shall be paid separately. Note:- Structural design proof checked from a Government Engineering Institute, to be provided by the manufacturer for:(i) Sites with basic wind speed > 45 m/sec as per IS 875 - Part 3(ii) Sites with structure height more than 20m for al lwind speeds.Two track two panels sliding window with Aluminium channel for roller track, wool pile, nylon rollers with SS 304 body.Using R3 series with frame (55mm & above) x (40mm & above) & sash (30mm & above) x (55mm & above) with zinc alloy (zamak) powder coated handle on every panel along with multi-point locking system (Height upto 1.8m) | item96 | 1.98 | Sqm | [5 empty] | Full Conversion | INR | [6 empty] | 9.147.A1.2 | [33 empty] | 0 | 0 | #VALUE!
7.43 | Using R2 series with frame (40mm & above) x (40mm & above) & sash (25mm & above) x (50mm & above) with zinc alloy (zamak) powder coated touch locks with hook (Height upto 1.2 meter) | item97 | 0.79 | Sqm | [5 empty] | Full Conversion | INR | [6 empty] | 9.147.A1.1 | [33 empty] | 0 | 0 | #VALUE!
7.44 | STEEL | [8 empty] | Full Conversion
7.45 | Providing and fixing M.S. grills of required pattern in frames of windows etc. with M.S. flats, square or round bars etc. including priming coat with approved steel primer all complete. Fixed to openings /wooden frames with rawl plugs screws etc. | item98 | 29.7 | Kg | [5 empty] | Full Conversion | INR | [6 empty] | 9.48 | [33 empty] | 0 | 0 | #VALUE!
7.46 | Providing and fixing fly proof galvanized M.S. wire gauge to windows and clerestory windows using wire gauge with average width of aperture 1.4 mm in both directions with wire of dia 0.63 mm all complete. With 12 mm mild steel U beading | item99 | 1.98 | Sqm | [5 empty] | Full Conversion | INR | [6 empty] | 9.51 | [33 empty] | 0 | 0 | #VALUE!
7.47 | Providing and fixing M.S. fan clamp type I or II of 16 mm dia M.S. bar, bent to shape with hooked ends in R.C.C. slabs or beams during laying, including painting the exposed portion of loop, all as per standard design complete. | item100 | 1 | Each | [5 empty] | Full Conversion | INR | [6 empty] | 10.17 | [33 empty] | 0 | 0 | #VALUE!
7.48 | WATER PROOFING | [8 empty] | Full Conversion
7.49 | Providing and laying water proofing treatment on roofs of slabs by applying cement slurry mixed with water proofing cement compound consisting of applying:(a) after surface preparation, first layer of slurry of cement @ 0.488 kg/sqm mixed with water proofing cement compound @ 0.253 kg/sqm. (b) laying second layer of Fibre glass cloth when the first layer is still green. Overlaps of joints of fibre cloth should not be less than 10 cm. (c) third layer of 1.5 mm thickness consisting of slurry of cement @ 1.289 kg/sqm mixed with water proofing cement compound @ 0.670 kg/sqm and coarse sand @ 1.289 kg/sqm. This will be allowed to air cure for 4 hours followed by water curing for 48 hours. The entire treatment will be taken upto 30 cm on parapet wall and tucked into groove in parapet all around. (d) fourth and final layer of brick tiling with cement mortar (which will be paid for separately. For the purpose of measurement the entire treated surface will be measured. | item101 | 16.97 | Sqm | [5 empty] | Full Conversion | INR | [6 empty] | 22.6 | [33 empty] | 0 | 0 | #VALUE!
7.5 | MISCELLANEOUS ITEMS | [8 empty] | Full Conversion
7.51 | Providing and fixing chromium plated brass curtain rod having wall thickness of 1.25mm with two chromium plated brass brackets fixed with C.P. brass screws and PVC sleeves etc., wherever necessary complete : 20 mm dia | item102 | 1.98 | Meter | [5 empty] | Full Conversion | INR | [6 empty] | 9.46 | [33 empty] | 0 | 0 | #VALUE!
7.52 | Providing and fixing aluminium die cast body tubular type universal hydraulic door closer (having brand logo with ISI, IS : 3564, embossed on the body, door weight upto 35 kg and door width upto 700 mm), with necessary accessories and screws etc. complete. | item103 | 1 | Each | [5 empty] | Full Conversion | INR | [6 empty] | 9.83 | [33 empty] | 0 | 0 | #VALUE!
8 | ELECTRICAL WORK (CPWD E&M SOR 2022) | [8 empty] | Full Conversion
8.01 | Internal Wiring | [8 empty] | Full Conversion
8.02 | Wiring to light, ceiling fan, exhaust fan, call bell, & 6A On board with 1.5sqmm FRLS PVC insulated 1100 volt grade multistranded copper conductor wire for phase, neutral and earth continuity conductor run inside 2mm wall thick ISI mark FRLS rigid PVC conduit pipe surface or recessed in wall/ column/ ceiling / above false ceiling / under the floor of the building including supply of materials such as clip-in type modular switches, metallic concealed box, wire, , junction box etc as per the electrical layout drawing & technical specifications complete with making good to the damages caused as required and as per direction of Engineer-in-charge.
8.03 | Single light point controlled by one 6A switch | item104 | 2 | Nos | [5 empty] | Full Conversion | INR | [6 empty] | 1.10.2 | [33 empty] | 0 | 0 | #VALUE!
8.04 | Ceiling Fan Point | item105 | 2 | Nos | [5 empty] | Full Conversion | INR | [6 empty] | 1.10.3 | [33 empty] | 0 | 0 | #VALUE!
8.05 | 6A Socket & switch on existing Switch board | item106 | 1 | Nos | [5 empty] | Full Conversion | INR | [6 empty] | DSR Analysis | [33 empty] | 0 | 0 | #VALUE!
8.06 | Supply, delivery, installation & testing of suitable size Separate metallic concealed box with modular plate and cover in front on surface including following type plug boards with interconnections and making good the damages caused complete as required and as per direction of Engineer-in-charge. | [8 empty] | Full Conversion
8.07 | Supplying and fixing 3 pin, 6 amp ceiling rose including connections etc. as required, as per drawing and as per the direction of Engineer in charge | item107 | 2 | Nos | [5 empty] | Full Conversion | INR | [6 empty] | DSR Analysis | [33 empty] | 0 | 0 | #VALUE!
8.08 | Supplying and fixing 6/16A modular socket with 16A Switch on modular plate & switch box including connections etc. as required. as per the direction of E.I.C. | item108 | 1 | Nos | [5 empty] | Full Conversion | INR | [6 empty] | DSR Analysis | [33 empty] | 0 | 0 | #VALUE!
8.09 | Wiring for circuits & submain with following number & sizes of FRLS PVC insulated 1100 volt grade multistranded copper conductor wire run inside 2mm thick PVC conduit pipe recessed in ceiling/ column/ walls of building including supply of all materials such as wires, PVC conduit, junction box & pull box etc complete with making good the damages caused as required and as per direction of Engineer-in-charge. | [8 empty] | Full Conversion
8.1 | 2 numbers single core 1.5 sqmm copper wire for phase & neutral and 1 number single core 1.5 sqmm copper wire for earth continuity conductor.( for point wiring beyond 5mtrs long & 6A Switch Socket (Sep. board ) & 2nos 6A Switch Socket (Sep. board ) | item109 | 60 | Mtr | [5 empty] | Full Conversion | INR | [6 empty] | 1.14.1 | [33 empty] | 0 | 0 | #VALUE!
8.11 | 2 numbers single core 2.5 sqmm copper wire for phase & neutral and 1 number single core 2.5 sqmm copper wire for earth continuity conductor. | item110 | 45 | Mtr | [5 empty] | Full Conversion | INR | [6 empty] | 1.14.2 | [33 empty] | 0 | 0 | #VALUE!
8.12 | 2 numbers single core 4.0 sqmm copper wire for phase & neutral and 1 number single core 4.0 sqmm copper wire for earth continuity conductor. | item111 | 35 | Mtr | [5 empty] | Full Conversion | INR | [6 empty] | 1.14.3 | [33 empty] | 0 | 0 | #VALUE!
8.13 | Supplying and fixing suitable size metallic concealed box with modular plate and cover in front on surface or in recess, including providng and fixing 1 no. Stepped type Modular Fan regulator (2 module), connections etc. as required. as per drawing and as per the direction of Engineer in charge | item112 | 1 | Nos | [5 empty] | Full Conversion | INR | [6 empty] | DSR Analysis | [33 empty] | 0 | 0 | #VALUE!
8.14 | Installation of Fittings & Fixtures | [8 empty] | Full Conversion
8.15 | Installation ,Testing, Commissioning of ceiling Light/ LED Tube Light fittings of all sizes and shapes containing upto two LED lamps per fitting, complete with all accessories including connections etc. as required as per drawing and as per the direction of Engineer in charge | [8 empty] | Full Conversion
8.16 | 40 Watt LED Tube Light | item113 | 2 | Nos | [5 empty] | Full Conversion | INR | [6 empty] | DSR Analysis | [33 empty] | 0 | 0 | #VALUE!
8.17 | Supply, installation, testing and commissioning of ceiling fan & exhaust Fanincluding wiring the down rods of standard length (upto 30 cm) with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable, . as required, as per drawing and as per the direction of Engineer in charge | [8 empty] | Full Conversion
8.18 | 1200 mm sweep | item114 | 2 | Nos | [5 empty] | Full Conversion | INR | [6 empty] | 19.1 | [33 empty] | 0 | 0 | #VALUE!
8.19 | 300 mm Heavy Duty Exhaust fan | item115 | 2 | Nos | [5 empty] | Full Conversion | INR | [6 empty] | DSR Analysis | [33 empty] | 0 | 0 | #VALUE!
8.2 | Supply, delivery, installation, testing & commissioning of L.T. indoor wall mounted double door type distribution boards of original factory made enclosures of the same brand as the MCB conforming to the relevant ISS and as per special conditions of contract making good the damages caused complete as per the direction of Engineer-in-charge.
8.21 | BDB (4way(8+12) TPN DB) (IP-43 IK 09 with Metalic Door) | item116 | 1 | Nos | [5 empty] | Full Conversion | INR | [6 empty] | 1.4.1 | [33 empty] | 0 | 0 | #VALUE!
8.22 | Supply, delivery, installation, testing & commissioning following rating, four pole, (three phase and neutral), 415 volts, Residual current operated Circuit Breaker with Overcurrent protection" (RCBB), in the existing MCB DB complete with connections, testing and commissioning etc. as required and as per direction of Engineer-in-charge
8.23 | 25A | item117 | 2 | Nos | [5 empty] | Full Conversion | INR | [6 empty] | 2.15.1 | [33 empty] | 0 | 0 | #VALUE!
8.24 | Supplying and fixing 5 amps to 32 amps rating, 240/415 volts, 10 kA, “C” curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. | [8 empty] | Full Conversion
8.25 | 5 amps to 32 SP MCB 10KA 'C' | item118 | 4 | Nos | [5 empty] | Full Conversion | INR | [6 empty] | 2.10.1 | [33 empty] | 0 | 0 | #VALUE!
8.26 | Supply & Fixing of following sizes of Heavy Mechanical Strees class PVC conduit along with accessories in recess including cutting the wall and making good the same in case of recessed conduit as required , as required and as per direction of Engineer-in-charge.
8.27 | 25mm | item119 | 30 | Mtr | [5 empty] | Full Conversion | INR | [6 empty] | 1.21.2 | [33 empty] | 0 | 0 | #VALUE!
8.28 | 20mm | item120 | 35 | Mtr | [5 empty] | Full Conversion | INR | [6 empty] | 1.21.1 | [33 empty] | 0 | 0 | #VALUE!
8.29 | LT CABLE | [8 empty] | Full Conversion
8.3 | 3.5C x 25SQMM | [8 empty] | Full Conversion
8.31 | Supply of 3.5C x 25 SQMM PVC insulated & PVC sheathed/XLPE cable , armoured aluminium conductor power cable of 1100 volt grade as per direction of Engineer-in-charge. Make :- KEI/HAVELLS/RR KABLE/FINOLEX/POLYCAB | item121 | 25 | Mtr | [5 empty] | Full Conversion | INR | [6 empty] | DSR Analysis | [33 empty] | 0 | 0 | #VALUE!
8.32 | Laying of one number 3.5C x 25SQMM PVC insulated and PVC sheathed/XLPE power cable of 1100 volt grade of following size on the cable Tray as required etc. | item122 | 35 | Mtr | [5 empty] | Full Conversion | INR | [6 empty] | DSR Analysis | [33 empty] | 0 | 0 | #VALUE!
8.33 | Laying of one number 3.5C x 25SQMM PVC insulated and PVC sheathed/XLPE power cable of 1100 volt grade of following size in existing cable trench as required etc. | item123 | 35 | Mtr | [5 empty] | Full Conversion | INR | [6 empty] | DSR Analysis | [33 empty] | 0 | 0 | #VALUE!
8.34 | 3.5C x 35SQMM
8.35 | Supply of 3.5C x 35 SQMM PVC insulated & PVC sheathed/XLPE cable , armoured aluminium conductor power cable of 1100 volt grade as per direction of Engineer-in-charge. Make :- KEI/HAVELLS/RR KABLE/FINOLEX/POLYCAB | item124 | 20 | Mtr | [5 empty] | Full Conversion | INR | [6 empty] | DSR Analysis | [33 empty] | 0 | 0 | #VALUE!
8.36 | Laying of one number 3.5C x 35SQMM PVC insulated and PVC sheathed/XLPE power cable of 1100 volt grade of following size on the cable Tray as required etc. | item125 | 15 | Mtr | [5 empty] | Full Conversion | INR | [6 empty] | DSR Analysis | [33 empty] | 0 | 0 | #VALUE!
8.37 | Laying of one number 3.5C x 35SQMM PVC insulated and PVC sheathed/XLPE power cable of 1100 volt grade of following size in existing cable trench as required etc. | item126 | 20 | Mtr | [5 empty] | Full Conversion | INR | [6 empty] | DSR Analysis | [33 empty] | 0 | 0 | #VALUE!
8.38 | Supplying & making end termination with Double Compression Flame Proof Type Brass Cable Gland and aluminium lugs for following size of PVC insulated and PVC sheathed /XLPE aluminium conductor cable of 1.1KV grade as required. Make:-Jaison,Comet, Dowells, Raychem | [8 empty] | Full Conversion
8.39 | 3.5 core X 25 sqmm | item127 | 8 | Set | [5 empty] | Full Conversion | INR | [6 empty] | 9.1.20 | [33 empty] | 0 | 0 | #VALUE!
8.4 | 3.5 core X 35 sqmm | item128 | 4 | Set | [5 empty] | Full Conversion | INR | [6 empty] | 9.1.21 | [33 empty] | 0 | 0 | #VALUE!
9 | Landscaping & Plantation (CPWD SOR 2020)
9.01 | Uprooting rank vegetation and weeds by digging the area to a depth of 60 cm, removing all weeds and other growth with roots by forking repeatedly, breaking clods, rough dressing, flooding with water, uprooting fresh growths after 10 to 15 days and then fine dressing for planting new grass, including disposal of all rubbish with all leads and lifts. | item129 | 4742.4 | Sqm | [5 empty] | Full Conversion | INR | [6 empty] | (CPWD SOR 2020) 2.12 | [33 empty] | 0 | 0 | #VALUE!
9.02 | Supplying and stacking of good earth at site including royalty and carriage upto 5 km lead complete (earth measured in stacks will be reduced by 20% for payment). | item130 | 1422.72 | Cum | [5 empty] | Full Conversion | INR | [6 empty] | (CPWD SOR 2020) 2.2 | [33 empty] | 0 | 0 | #VALUE!
9.03 | Supplying and stacking sludge at site including royalty and carriage upto 5 km lead complete (sludge measured in stacks will be reduced by 8% for payment). | item131 | 711.36 | Cum | [5 empty] | Full Conversion | INR | [6 empty] | (CPWD SOR 2020) 2.3 | [33 empty] | 0 | 0 | #VALUE!
9.04 | Supplying and stacking at site dump manure from approved source, including carriage upto 5 km lead complete (manure measured in stacks will be reduced by 8% for payment) :
9.05 | Screened through sieve of I.S. designation 20 mm | item132 | 426.82 | Cum | [5 empty] | Full Conversion | INR | [6 empty] | (CPWD SOR 2020) 2.4.1 | [33 empty] | 0 | 0 | #VALUE!
9.06 | Screened through sieve of I.S. designation 16 mm | item133 | 189.7 | Cum | [5 empty] | Full Conversion | INR | [6 empty] | (CPWD SOR 2020) 2.4.2 | [33 empty] | 0 | 0 | #VALUE!
9.07 | Screened through sieve of I.S. designation 4.75 mm | item134 | 94.85 | Cum | [5 empty] | Full Conversion | INR | [6 empty] | (CPWD SOR 2020) 2.4.3 | [33 empty] | 0 | 0 | #VALUE!
9.08 | Mixing earth and sludge or manure in the required proportion specified or directed by the Officer-in-charge | item135 | 2845.44 | Cum | [5 empty] | Full Conversion | INR | [6 empty] | (CPWD SOR 2020) 2.9 | [33 empty] | 0 | 0 | #VALUE!
9.09 | Spreading of sludge, dump manure and/or good earth in required thickness as per direction of officer-in-charge (cost of sludge, dump manure and/ or good earth to be paid separately). | item136 | 2845.44 | Cum | [5 empty] | Full Conversion | INR | [6 empty] | (CPWD SOR 2020) 2.8 | [33 empty] | 0 | 0 | #VALUE!
9.1 | Providing & laying Selection no. 1 doob grass turf with earth 50mm to 60mm thickness of existing ground prepared with proper level and ramming with required tools wooden and than rolling the surface with light roller make the surface smoothen and light watering the same maintenance for 30 days or more till the grass establish properly,as per direction of officer in charge | item137 | 4031.04 | Sqm | [5 empty] | Full Conversion | INR | [6 empty] | (CPWD SOR 2020) 2.34 | [33 empty] | 0 | 0 | #VALUE!
9.11 | Preparation of beds for hedging and shrubbery by excavating 60 cm deep and trenching the excavated base to a further depth of 30 cm, refilling the excavated earth after breaking clods and mixing with sludge or manure in the ratio of 8:1 (8 parts of stacked volume of earth after reduction by 20%: one part of stacked volume of sludge or manure after reduction by 8%), flooding with water, filling with earth if necessary, watering and finally fine dressing, leveling etc. including stacking and disposal of materials declared unserviceable and surplus earth by spreading and leveling as directed, within a lead of 50 m, lift up to 1.5 m complete (cost of sludge, manure or extra earth to be paid for separately) | item138 | 474.24 | Sqm | [5 empty] | Full Conversion | INR | [6 empty] | (CPWD SOR 2020) 2.13 | [33 empty] | 0 | 0 | #VALUE!
9.12 | Digging holes in ordinary soil and refilling the same with the excavated earth mixed with manure or sludge in the ratio of 2:1 by volume (2 parts of stacked volume of earth after reduction by 20% : 1 part of stacked volume of manure after reduction by 8%) flooding with water, dressing including removal of rubbish and surplus earth, if any, with all leads and lifts (cost of manure, sludge or extra good earth if needed to be paid for separately)
9.13 | Holes 1.2 m dia and 1.2 m deep | item139 | 30 | Each | [5 empty] | Full Conversion | INR | [6 empty] | (CPWD SOR 2020) 2.14.1 | [33 empty] | 0 | 0 | #VALUE!
9.14 | Hole 0.90 m dia and 0.90 m deep | item140 | 30 | Each | [5 empty] | Full Conversion | INR | [6 empty] | (CPWD SOR 2020) 2.14.2 | [33 empty] | 0 | 0 | #VALUE!
9.15 | Hole 0.60 m dia and 0.60 m deep | item141 | 60 | Each | [5 empty] | Full Conversion | INR | [6 empty] | (CPWD SOR 2020) 2.14.3 | [33 empty] | 0 | 0 | #VALUE!
9.16 | Hole 0.45 m dia and 0.45 m deep | item142 | 120 | Each | [5 empty] | Full Conversion | INR | [6 empty] | (CPWD SOR 2020) 2.14.4 | [33 empty] | 0 | 0 | #VALUE!
9.17 | Providing and stacking of Mangifera indica (Mango-grafted ) of height 60-75 cm. in big poly bag of size 25 cm as per direction of the officer-in-charge. | item143 | 6 | Each | [5 empty] | Full Conversion | INR | [6 empty] | (CPWD SOR 2020) 7.53 | [33 empty] | 0 | 0 | #VALUE!
9.18 | Providing and displaying of Areca palm having ht. 1.50 m to 1.80 m with 6 to 8 suckers, well developed, fresh and healthy with lush green foliage in 25 cm size of Earthen pot/Plastic pot & as per direction of the officer-in-charge. | item144 | 5 | Each | [5 empty] | Full Conversion | INR | [6 empty] | (CPWD SOR 2020) 3.2 | [33 empty] | 0 | 0 | #VALUE!
9.19 | Providing and stacking of Polyalthia pendula (Ashok Pendula) of height 180-195 cm. in gunny bag of size 30 cm as per direction of the officer-in-charge. | item145 | 5 | Each | [5 empty] | Full Conversion | INR | [6 empty] | (CPWD SOR 2020) 7.77 | [33 empty] | 0 | 0 | #VALUE!
9.2 | Providing and stacking of Peltophorum species of height 150-165 cm. in big poly bags of size 25 cm as per direction of the officer-in-charge | item146 | 5 | Each | [5 empty] | Full Conversion | INR | [6 empty] | (CPWD SOR 2020) 7.62 | [33 empty] | 0 | 0 | #VALUE!
9.21 | Providing and stacking of Plumeria acutifolia of height 120-135 cm. with 2-3 branches in HDPE bag of size 30 cm as per direction of the officer-in-charge. | item147 | 5 | Each | [5 empty] | Full Conversion | INR | [6 empty] | (CPWD SOR 2020) 7.67 | [33 empty] | 0 | 0 | #VALUE!
9.22 | Providing and stacking of Phyllanthus emblica (Amla) of height 150-165 cm. in Big HDPE Bag as per direction of the officer-in-charge. | item148 | 5 | Each | [5 empty] | Full Conversion | INR | [6 empty] | (CPWD SOR 2020) 7.64 | [33 empty] | 0 | 0 | #VALUE!
9.23 | Providing and stacking of Cassia fistula (Amaltash) of height 120-135 cm. in big poly bags of size 25 cm as per direction of the officer-in-charge. | item149 | 5 | Each | [5 empty] | Full Conversion | INR | [6 empty] | (CPWD SOR 2020) 7.16 | [33 empty] | 0 | 0 | #VALUE!
9.24 | Providing and stacking of Bassia latifolia (Mahua) of height 90-105 cm. in big polybag of size 25 cm as per direction of the officer-in-charge. | item150 | 6 | Each | [5 empty] | Full Conversion | INR | [6 empty] | (CPWD SOR 2020) 7.6 | [33 empty] | 0 | 0 | #VALUE!
9.25 | Providing and stacking of Jatropha multifida (red colour) of height 60-75 cm. multibranched in p.bag of size 25 cm as per direction of the officer-in-charge. | item151 | 6 | Each | [5 empty] | Full Conversion | INR | [6 empty] | (CPWD SOR 2020) 8.42 | [33 empty] | 0 | 0 | #VALUE!
9.26 | Providing and stacking of Michelia champa (Golden Champa) of height 90- 105 cm. in earthen pots of size 25 cm as per direction of the officer-in-charge. | item152 | 6 | Each | [5 empty] | Full Conversion | INR | [6 empty] | (CPWD SOR 2020) 7.55 | [33 empty] | 0 | 0 | #VALUE!
9.27 | Providing and Stacking of Curry leaf of height 75-90 cm in poly bag of size 25 cm as perdirection of the officer-in-charge. | item153 | 6 | Each | [5 empty] | Full Conversion | INR | [6 empty] | (CPWD SOR 2020) 11.2 | [33 empty] | 0 | 0 | #VALUE!
9.28 | Providing and stacking of Nerium oleander (kaner) of height 60-75 cm. with 5-6 branches in poly bags of size 25 cm as per direction of the officer-in-charge. | item154 | 20 | Each | [5 empty] | Full Conversion | INR | [6 empty] | (CPWD SOR 2020) 8.5 | [33 empty] | 0 | 0 | #VALUE!
9.29 | Providing and stacking of Jasmine grandiflorum (chameli) of height 30 cm to 45 cm. in 20 cm size of Earthen pots / Plastic pots & as per direction of the officer-in-charge. | item155 | 20 | Each | [5 empty] | Full Conversion | INR | [6 empty] | (CPWD SOR 2020) 9.8 | [33 empty] | 0 | 0 | #VALUE!
9.3 | Providing and stacking of Hibiscus rosasinensis of height 60-75 cm. with 5-6 branches in p.bag of size 25 cm as per direction of the officer-in-charge. | item156 | 20 | Each | [5 empty] | Full Conversion | INR | [6 empty] | (CPWD SOR 2020) 8.36 | [33 empty] | 0 | 0 | #VALUE!
9.31 | Providing and stacking of Bougainvillea (Variety Butiana, Lady Mary Baring, Mahara,Mohan,Scarlet Queen, Variegated, Glabra Formosa, Peruviana Odissi, Paratha, Subhra,Thimma, Spectabilis L.N Birla, Refulgens) of height 30 cm. to 45 cm. with 2-3 branches in 20 cm size of Earthen pots / Plastic pots & as per direction of the officer-in-charge. | item157 | 20 | Each | [5 empty] | Full Conversion | INR | [6 empty] | (CPWD SOR 2020) 9.4 | [33 empty] | 0 | 0 | #VALUE!
9.32 | Providing and Displaying Marigold(Tagetes) inca hybrid different colour having 30 cm and above ht., with 6 to 8 flowers in bloom & blooming condition, well developed pot should be fully covered with fresh and healthy, foliage and flowers in 20 cm Earthen Pot/Plastic Pot and as per direction of the officer-in-charge | item158 | 20 | Each | [5 empty] | Full Conversion | INR | [6 empty] | (CPWD SOR 2020) 4.4 | [33 empty] | 0 | 0 | #VALUE!
9.33 | Providing and Displaying Coleus broad leaves having 3 to 4 branches equal well developed with fresh & healthy foliage in different colour in 25 cm Earthen Pot/Plastic Pot and as per direction of the officer-in-charge. | item159 | 20 | Each | [5 empty] | Full Conversion | INR | [6 empty] | (CPWD SOR 2020) 4.2 | [33 empty] | 0 | 0 | #VALUE!
9.34 | Providing and Displaying Petunia hybrid different colour single well developed in full bloom in 20 cm Earthen/Plastic Pot and as per direction of the officer-in-charge. | item160 | 20 | Each | [5 empty] | Full Conversion | INR | [6 empty] | (CPWD SOR 2020) 4.49 | [33 empty] | 0 | 0 | #VALUE!
9.35 | Providing and stacking of Duranta Golden, having ht.15 to 20 cm bushtyshape with fresh and healthy leaves in 15 cm size of Earthen Pot/Plastic Pot & as per direction of the officer-in-charge | item161 | 20 | Each | [5 empty] | Full Conversion | INR | [6 empty] | (CPWD SOR 2020) 6.12 | [33 empty] | 0 | 0 | #VALUE!
9.36 | Providing and stacking of Murraya exotica of height 45-60 cm. in poly bags of size 15 cm as per direction of the officer-in-charge. | item162 | 20 | Each | [5 empty] | Full Conversion | INR | [6 empty] | (CPWD SOR 2020) 8.46 | [33 empty] | 0 | 0 | #VALUE!
9.37 | Sandstone fountain Size upto 8 feet height 8 feet diameter Including transport installations Moterpump / pipeline floorimg/ waterproof light | item163 | 1 | Nos | [5 empty] | Full Conversion | INR | [6 empty] | DSR Analysis | [33 empty] | 0 | 0 | #VALUE!
Total in Figures | [51 empty] | 0 | 0 | #VALUE!
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE! |  | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information