## BoQ1 (hidden)
Item Wise BoQ
BoQ_Ver4.0 | Item Wise | Normal | INR Only | INR
Select, Excess (+), Less (-)
Tender Inviting Authority: WAPCOS LIMITED¦ INFS-1 Division
Name of Work: Special Repair works in Savitribai Phule Girls Hostel, Swami vivekananda Hall Boys hostel, Children’s Park and Modular Fencing Work in Anand Vihar in IIM Mumbai.
Contract No: WAP/INFS-1/IIMM/R&M/2025/04
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Cost in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | Total Amount In Figures excluding Taxes To be entered by the Bidder in Rs. P | GST (If applicable in Percentage) | GST Amount in Rs. P | [35 empty] | HSN / SAC Code |  | TOTAL AMOUNT excluding taxes in Rs. P | TOTAL AMOUNT including taxes Rs. P | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 7 | 8 | 9 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 10 | 52 | 11 | 12 | 13
1 | ABSTRACT OF COST | [53 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.01 | Part-A: Repair & renovation of Savitribai phule Girls Hostel | item1 | 1 | Nos | 4334811 |  |  | Excess(+) | 1 | Full Conversion | INR | 0 |  | 0 | [37 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.02 | Part B: Preliminary estimate for Repair & renovation of Swami vivekananda Hall Boys hostel. | item2 | 1 | Nos | 6704134 |  |  | Excess(+) | 1 | Full Conversion | INR | 0 |  | 0 | [37 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.03 | Part C: Repair of existing solar in Savitribai phule Girls Hostel | item3 | 1 | Nos | 1536607 |  |  | Excess(+) | 1 | Full Conversion | INR | 0 |  | 0 | [37 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
1.04 | Part D: Repair / Renovation & providing modular fencing of Children Park / Kids Play Area | item4 | 1 | Nos | 1197934 |  |  | Excess(+) | 1 | Full Conversion | INR | 0 |  | 0 | [37 empty] | 0 | 0 | #VALUE!
1.05 | Part E: Installation of Modular fencing work & gates at Anand Vihar | item5 | 1 | Nos | 1772476 |  |  | Excess(+) | 1 | Full Conversion | INR | 0 |  | 0 | [37 empty] | 0 | 0 | #VALUE!
Total in Figures | [51 empty] | 0 | 0 | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [7 empty] | % | [39 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Note on K13: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K14: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K15: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K16: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Validate
Print
Help

## SUMMARY (hidden)
ABSTRACT OF COST
Special Repair works in Savitribai Phule Girls Hostel, Swami vivekananda Hall Boys hostel, Children’s Park and Modular Fencing Work in Anand Vihar in IIM Mumbai.
S. No. | Description of Items | Total Amount (Rs.)
1 | Part-A: Repair & renovation of Savitribai phule Girls Hostel | 0
2 | Part B: Preliminary estimate for Repair & renovation of Swami vivekananda Hall Boys hostel. | 0
3 | Part C: Repair of existing solar in Savitribai phule Girls Hostel | 0
4 | Part D: Repair / Renovation & providing modular fencing of Children Park / Kids Play Area | 0
5 | Part E: Installation of Modular fencing work & gates at Anand Vihar | 0
| Total Cost of Works | 0

## Part A (hidden)
Part-A: Repair & renovation of Savitribai phule Girls Hostel
Schedule of Quantities
SL NO | DSR Item No. | DESCRIPTION | UNIT | QTY | Unit Rate (in RS) Without GST | TOTAL AMOUNT (in RS)
1 | 15.23.1 | Dismantling tile work in floors and roofs laid in cement mortar including stacking material within 50 metres lead. For thickness of tiles 10 mm to 25 mm | Sqm | 211.68 |  | 0
2 | 14.82 | Dismantling W.C. Pan and wash besin of all sizes including disposal of dismantled materials i/c malba all complete as per directions of Engineer-in- Charge. | Nos. | 336 |  | 0
3 | NDSR | Removing SS/Brass stop cock and Jet spray including all the fixtures as | Nos. | 336 |  | 0
4 | 15.7.4 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. In cement mortar | m3 | 20 |  | 0
5 | 14.1.1 | Repairs to plaster of thickness 12 mm to 20 mm in patches of area 2.5 sq.meters and under, including cutting the patch in proper shape, raking out joints and preparing and plastering the surface of the walls complete, including disposal of rubbish to the dumping ground, all complete as per direction of Engineer-in-harge. With cement mortar 1:4 (1 cement : 4 fine sand). | Sq. m. | 500 |  | 0
6 | 11.22.1.1 | Tile work in skirting, risers of steps and dado up to 2 m height over 12 mm thick bed of cement mortar 1:3 (1 cement :3 coarse sand) and jointed with grey cement slurry @ 3.3 kg/sqm including pointing in white cement mixed with pigment of matching shade complete. Marble tiles (polished) Raj Nagar. 8mm thick | Sq. m. | 332.64 |  | 0
7 | 11.41A.3.1 | Providing and laying Vitrified tiles in floor in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS:15622, of approved brand & manufacturer, in all colours and shade, laid on 20 mm thick cement mortar 1:4 (1 cement: 4 coarse sand) jointing with grey cement slurry @3.3 kg/sqm including grouting the joints with white cement and matching pigments etc. The tiles must be cut with the zero chipping diamond cutter only . Laying of tiles will be done with the notch trowel, plier, wedge, clips of required thickness, leveling system and rubber mallet for placing the tiles gently and easily. Glazed Vitrified tiles Matt/Antiskid finish of size of Tile 600 x 600 mm | Sq. m. | 211.68 |  | 0
8 | 18.7.4 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge. : Internal work - Exposed on wall 32 mm nominal outer dia. Pipes. | R. M. | 50 |  | 0
9 | 13.8 | Providing and applying white cement baseed putty of average thickness 1mm of approved brand and manufacturer,over the plastered wall surface to prepare the surface even and smooth complete | Sq. m. | 510 |  | 0
10 | 13.83.2 | Wall painting with premium acrylic emulsion paint of interior grade,having VOC content less than 50gm/lit of approved brand, manufacture,incl. applying additional coats wherever required to achieve even shade & colour Two coats | Sq. m. | 15100 |  | 0
11 | 22.23.2 | Providing and applying integral crystalline slurry of hydrophilic in nature for waterproofing treatment to the RCC structures like retaining walls of the basement, water tanks, roof slabs, podiums, reservior, sewage & water treatment plant, tunnels / subway and bridge deck etc., prepared by mixing in the ratio of 5 : 2 (5 parts integral crystalline slurry : 2 parts water) for vertical surfaces and 3 : 1 (3 parts integral crystalline slurry : 1 part water) for horizontal surfaces and applying the same from negative (internal) side with the help of synthetic fiber brush. The material shall meet the requirements as specified in ACI- 212-3R-2010 i.e by reducing permeability of concrete by more than 90% compared with control concrete as per DIN 1048 and resistant to 16 bar hydrostatic pressure on negative side. The crystalline slurry shall be capable of self-healing of cracks up to a width of 0.50mm. The work shall be carried out all complete as per specification and the direction of the engineer-in-charge. The product performance shall carry guarantee for 10 years against any leakage. For horizontal surface one coat @1.10 kg per sqm. | Sq. m. | 547.64 |  | 0
12 | 22.7.1 | Providing and laying integral cement based water proofing treatment including preparation of surface as required for treatment of roofs,balconies, terraces etc consisting of following operations: (a) Applying a slurry coat of neat cement using 2.75 kg/sqm of cement admixed with water proofing compound conforming to IS. 2645 and approved by Engineer-in-charge over the RCC slab including adjoining walls upto 300 mm height including cleaning the surface before treatment. (b) Laying brick bats with mortar using broken bricks/brick bats 25 mm to 115 mm size with 50% of cement mortar 1:5 (1 cement : 5 coarse sand) admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge over 20 mm thick layer of cement mortar of mix 1:5 (1 cement :5 coarse sand) admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge to required slope and treating similarly the adjoining walls upto 300 mm height including rounding of junctions of walls and slabs. (c) After two days of proper curing applying a second coat of cement slurry using 2.75 kg/ sqm of cement admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge. (d) Finishing the surface with 20 mm thick jointless cement mortar of mix 1:4 (1 cement :4 coarse sand) admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge including laying glass fibre cloth of approved quality in top layer of plaster and finally finishing the surface with trowel with neat cement slurry and making pattern of 300x300 mm square 3 mm deep. (e) The whole terrace so finished shall be flooded with water for a minimum period of two weeks for curing and for final test. “All above operations to be done in order and as directed and specified by the Engineer-in-Charge”: With average thickness of 120 mm and minimum thickness at khurra as 65 mm. | Sq.m | 211.68 |  | 0
13 | NDSR | CRACK FILLING WITH PMCM Carefully removing the existing plaster / mortar / loose concrete, chasing the cracks, including supplying, providing & errecting in position the necessary scaffolding, disposal & cating away of the debris, cleaning etc & sealing the separation cracks between R.C.C. and brickwork by raking, open the crack by electrically operating groove cutter as directed, insertion of 20 mm downgraded aggregates by hammering as per the instructions of the consultant, sealing with polymer modified cementatious mortar (25mm width x 25mm depth) using Polyalk EP or equivalent as per the specification of item polymer modified cementatious mortar/concrete, application of chicken mesh ( 200mm wide, 200mm overlapping length) along the crack by 'U' nails spaced at 300 mm c/c, including necessary breaking plaster, concrete, brickwork, washing with water, curing, cleaning etc. complete. | RM | 175 |  | 0
14 | NDSR | Carrying out following activities in Girls Hostel for all 168 no. of washrooms 1. Leakage of sanitary fixtures 2. Pressure Testing of Plumbing line. 3. Cutting of chases in wall tiles. 4. Opening of joints, repairing & replacement of damaged pipe/fixtures, filling joints, retesting all complete. 5. Closing of chases , tile, replacement. 6. Nahani trap cleaning & grouting with white cement or epoxy 7. Refixing of sanitary fixtures 8. Repair of taps & mixers showers valves, Hand Sachet seat covers etc. | Job | 1 |  | 0
15 | NDSR | Providing pest management services in Girls Hostel. The scope of work includes 1) Management of Rodents like rats, mice and bandicoots with commensal rodents (RMS), 2) Management of Cockroaches / Red Ants / Black Ants / Silverfish (CMS), 3) Management of Lizards / Geckoes (LMS), 4) Management of Flies / spider (FMS), 5)Management of Mosquitoes (MMS), 6) Management of Termites (TMS), 7) Management of Snakes (SMS) including cost of all materials, medicines, chemicals, labour, T&P, PPEs, etc. complete in all respect as per the direction of Engineer-in-charge. Payment will be made for completion of once of all above applications/ treatments | Job | 1 |  | 0
|  | Total Amount of Work for Part A |  |  |  | 0

## Part B (hidden)
Part B: Preliminary estimate for Repair & renovation of Swami vivekananda Hall Boys hostel.
Schedule of Quantities
SL NO | DSR Item No. | DESCRIPTION | UNIT | QTY | Unit Rate (in RS) Without GST | TOTAL AMOUNT (in RS)
1 | 15.23.1 | Dismantling tile work in floors and roofs laid in cement mortar including stacking material within 50 metres lead. For thickness of tiles 10 mm to 25 mm | Sqm | 168 |  | 0
2 | 14.82 | Dismantling W.C. Pan and wash besin of all sizes including disposal of dismantled materials i/c malba all complete as per directions of Engineer-in- Charge. | Nos. | 256 |  | 0
3 | NDSR | Removing SS/Brass stop cock and Jet spray including all fixtures | Nos. | 288 |  | 0
4 | 15.52 | Dismantling of flushing cistern of all types (C.I./PVC/Vitreous China) including stacking of useful materials near the site and disposal of unserviceable materials within 50 metres lead. | Nos. | 32 |  | 0
5 | 15.7.4 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. In cement mortar | m3 | 33.6 |  | 0
6 | 14.1.1 | Repairs to plaster of thickness 12 mm to 20 mm in patches of area 2.5 sq.meters and under, including cutting the patch in proper shape, raking out joints and preparing and plastering the surface of the walls complete, including disposal of rubbish to the dumping ground, all complete as per direction of Engineer-in-harge. With cement mortar 1:4 (1 cement : 4 fine sand). | Sq. m. | 750 |  | 0
7 | 11.22.1.1 | Tile work in skirting, risers of steps and dado up to 2 m height over 12 mm thick bed of cement mortar 1:3 (1 cement :3 coarse sand) and jointed with grey cement slurry @ 3.3 kg/sqm including pointing in white cement mixed with pigment of matching shade complete. Marble tiles (polished) Raj Nagar. 8mm thick | Sq. m. | 95.04 |  | 0
8 | 11.41A.3.1 | Providing and laying Vitrified tiles in floor in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS:15622, of approved brand & manufacturer, in all colours and shade, laid on 20 mm thick cement mortar 1:4 (1 cement: 4 coarse sand) jointing with grey cement slurry @3.3 kg/sqm including grouting the joints with white cement and matching pigments etc. The tiles must be cut with the zero chipping diamond cutter only . Laying of tiles will be done with the notch trowel, plier, wedge, clips of required thickness, leveling system and rubber mallet for placing the tiles gently and easily. Glazed Vitrified tiles Matt/Antiskid finish of size of Tile 600 x 600 mm | Sq. m. | 168 |  | 0
8 | 18.7.4 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge. : Internal work - Exposed on wall 32 mm nominal outer dia. Pipes. | R. M. | 85 |  | 0
9 | 13.8 | Providing and applying white cement baseed putty of average thickness 1mm of approved brand and manufacturer,over the plastered wall surface to prepare the surface even and smooth complete | Sq. m. | 820 |  | 0
10 | 13.83.2 | Wall painting with premium acrylic emulsion paint of interior grade,having VOC content less than 50gm/lit of approved brand, manufacture,incl. applying additional coats wherever required to achieve even shade & colour Two coats | Sq. m. | 21200 |  | 0
11 | 22.23.2 | Providing and applying integral crystalline slurry of hydrophilic in nature for waterproofing treatment to the RCC structures like retaining walls of the basement, water tanks, roof slabs, podiums, reservior, sewage & water treatment plant, tunnels / subway and bridge deck etc., prepared by mixing in the ratio of 5 : 2 (5 parts integral crystalline slurry : 2 parts water) for vertical surfaces and 3 : 1 (3 parts integral crystalline slurry : 1 part water) for horizontal surfaces and applying the same from negative (internal) side with the help of synthetic fiber brush. The material shall meet the requirements as specified in ACI- 212-3R-2010 i.e by reducing permeability of concrete by more than 90% compared with control concrete as per DIN 1048 and resistant to 16 bar hydrostatic pressure on negative side. The crystalline slurry shall be capable of self-healing of cracks up to a width of 0.50mm. The work shall be carried out all complete as per specification and the direction of the engineer-in-charge. The product performance shall carry guarantee for 10 years against any leakage. For horizontal surface one coat @1.10 kg per sqm. | Sq. m. | 737.78 |  | 0
12 | 22.7.1 | Providing and laying integral cement based water proofing treatment including preparation of surface as required for treatment of roofs,balconies, terraces etc consisting of following operations: (a) Applying a slurry coat of neat cement using 2.75 kg/sqm of cement admixed with water proofing compound conforming to IS. 2645 and approved by Engineer-in-charge over the RCC slab including adjoining walls upto 300 mm height including cleaning the surface before treatment. (b) Laying brick bats with mortar using broken bricks/brick bats 25 mm to 115 mm size with 50% of cement mortar 1:5 (1 cement : 5 coarse sand) admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge over 20 mm thick layer of cement mortar of mix 1:5 (1 cement :5 coarse sand) admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge to required slope and treating similarly the adjoining walls upto 300 mm height including rounding of junctions of walls and slabs. (c) After two days of proper curing applying a second coat of cement slurry using 2.75 kg/ sqm of cement admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge. (d) Finishing the surface with 20 mm thick jointless cement mortar of mix 1:4 (1 cement :4 coarse sand) admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge including laying glass fibre cloth of approved quality in top layer of plaster and finally finishing the surface with trowel with neat cement slurry and making pattern of 300x300 mm square 3 mm deep. (e) The whole terrace so finished shall be flooded with water for a minimum period of two weeks for curing and for final test. “All above operations to be done in order and as directed and specified by the Engineer-in-Charge”: With average thickness of 120 mm and minimum thickness at khurra as 65 mm. | Sq.m | 168 |  | 0
13 | NDSR | Supply & installation of new health faucet with PVC flexible tube and wall hook (F160013CP) of Hindware or equivalent or as directed by engineer incharge. | Nos. | 10 |  | 0
14 | 17.7.7 | Providing and fixing Wash Besin with CI brackets, 15 mm CP brass piller taps , 32mm CP brass waste of std patern incl. paintinf of fittings and brackets cutting and making good for walls whenever required. White Vitreous China Flat back wash besin of size 450*300mm with single 15 mm CP brasspillar tap | Nos. | 7 |  | 0
15 | 17.20.1 | Providinf and fixing solid plastic seat with lead for pedastal type WC pan complete………White solid plastic seat with lid | Nos. | 20 |  | 0
16 | 17.78 | Providing and fixing white vitreous china extended wall mounting water closet of size 780*370*690 mm of approved shape and incl. providing and fixing white vitreous china cistern with dual flush fitting of flushing capacity 6 lit adjustable to 8 lit. incl. seat cover and cistern fittings, nut boults & gasket etc complete | Nos. | 2 |  | 0
17 | 129 | Toilet Floor & Wall Cleaning by hand or by mechanical means including necessary chemicals & material required for the work. | Man days | 85 |  | 0
18 | 129 | WC's & Wash Basins Cleaning by hand or by mechanical means including necessary chemicals & material required for the work. | Man Days | 125 |  | 0
19 | NDSR | Repair works of existing Flush valves including necessary tools & material required for the work. (Minor Plumbing Issues) | Nos | 2 |  | 0
20 | 17.19 | Providing and fixing controlled flush low level cistern made of vitreous china with all fittings complete 10 lit full flush capacity, white | Nos. | 35 |  | 0
21 | 17.22B | Providinf and fixing CP brass single lever telephonic wall mixer of quality & make as approved by Engineer Incharge | Nos. | 16 |  | 0
22 | 18.15.2 | Providing and fixing brass bib cock of approved quality 20 mm nominal bore | Nos. | 89 |  | 0
23 | NDSR | supplying & installing water taps of Hindware, Jaguar or equivalent or as directed by engineer incharge. | Nos | 2 |  | 0
24 | NDSR | supplying & installing Flush valves of Hindware, Jaguar or equivalent or as directed by engineer incharge.F160232CP | Nos | 3 |  | 0
25 | 18.16 | Providing and fixing brass stop cocks of approved quality 20 mm niminal bore | Nos. | 120 |  | 0
26 | NDSR | CRACK FILLING WITH PMCM Carefully removing the existing plaster / mortar / loose concrete, chasing the cracks, including supplying, providing & errecting in position the necessary scaffolding, disposal & cating away of the debris, cleaning etc & sealing the separation cracks between R.C.C. and brickwork by raking, open the crack by electrically operating groove cutter as directed, insertion of 20 mm downgraded aggregates by hammering as per the instructions of the consultant, sealing with polymer modified cementatious mortar (25mm width x 25mm depth) using Polyalk EP or equivalent as per the specification of item polymer modified cementatious mortar/concrete, application of chicken mesh ( 200mm wide, 200mm overlapping length) along the crack by 'U' nails spaced at 300 mm c/c, including necessary breaking plaster, concrete, brickwork, washing with water, curing, cleaning etc. complete. | RM | 350 |  | 0
27 | NDSR | Carrying out following activities in Girls Hostel for all 32 no. of washrooms 1. Leakage of sanitary fixtures 2. Pressure Testing of Plumbing line. 3. Cutting of chases in wall tiles. 4. Opening of joints, repairing & replacement of damaged pipe/fixtures, filling joints, retesting all complete. 5. Closing of chases , tile, replacement. 6. Nahani trap cleaning & grouting with white cement or epoxy 7. Refixing of sanitary fixtures 8. Repair of taps & mixers showers valves, Hand Sachet seat covers etc. | Job | 1 |  | 0
28 | NDSR | Supply, Installation and fixing of Window Mesh for Rat Prevention with Stainless Steel 304 Woven Wire Mesh Sheet | Sqm | 1675.52 |  | 0
29 | NDSR | Providing pest management services in Boys Hostel. The scope of work includes 1) Management of Rodents like rats, mice and bandicoots with commensal rodents (RMS), 2) Management of Cockroaches / Red Ants / Black Ants / Silverfish (CMS), 3) Management of Lizards / Geckoes (LMS), 4) Management of Flies / spider (FMS), 5)Management of Mosquitoes (MMS), 6) Management of Termites (TMS), 7) Management of Snakes (SMS) including cost of all materials, medicines, chemicals, labour, T&P, PPEs, etc. complete in all respect as per the direction of Engineer-in-charge. Payment will be made for completion of once of all above applications/ treatments | Job | 1 |  | 0
|  | Total Amount of Work for Part B |  |  |  | 0

## Part C (hidden)
Part C: Repair of existing solar in Savitribai phule Girls Hostel
Schedule of Quantities
Sr. No. | CPWD DSR Item No. | Particular | Unit | Quantity | Rate excl GST | Amount
1 | NDSR | Supply and Installation of Solar Flat Plate Collector along with Painted MS Supports, Plumbing, Valves, Gaskets, SS 304 Fasteners, etc. as required. BIS Certified | Nos. | 11 |  | 0
2 | NDSR | Supply and Installation of 1000 Liter, SS 304, Thickness - 3 mm, Insulated Hot Water Tank with 3KW X 5 Nos of Electrical Heater, Plumbing’s, NRV / Valves and accessories as required. Make : Powertroniks Solar / Emmvee / Neutec | Set | 1 |  | 0
3 | 18.2.2 | SITC of Galvanized Pipe, C- Class, 25 mm, along with installation charges Plumbing along all Accessories. Make -Jindal / TATA / Surya | Mtrs | 310 |  | 0
4 | NDSR | Supply and Installation of Insulation of existing 40 mm, GI Pipes with 9 mm, Rubber Nitrile Insulation Make : ARMAFLEX | Mtrs | 74.4 |  | 0
5 | NDSR | Supply and Installation Insulation of 25 mm, GI Pipes with 9 mm, Rubber Nitrile Insulation and Aluminum cladding. Make : ARMAFLEX | Mtrs | 215 |  | 0
6 | 18.19 | Supply and Installation of Swing type, Brass, Non Return Valve along with minor spares as required for each bathrooms Make of NRV : Zoloto/ DRB | Nos. | 236 |  | 0
7 | NDSR | Supply and Installation of Forced Circulation Motor Pump set (1 M+1S), 4500 LPH, 25 M Head, Compatible to 70 deg C along with accessories as required. Make - Kirloskar / Grundfos /Wilo. | Set | 1 |  | 0
8 | NDSR | Supply and Installation of Automatic Differential Temperature Control Panel, Recirculation Pumps, Electrical Heaters along with Thermo couplers and Data cables in PVC Conduit Pipes. | Set | 1 |  | 0
9 | NDSR | Dismantling and Re- Installation of FPC collectors along with chemical Descaling with replacement of Gaskets, Civil Works complete as required | LOT | 1 |  | 0
10 | NDSR | Painting of FPC collector supports and Tank Supports with Hardener based Epoxy Paint (2 Coats) and One coat of Black Color enamel Paint. | LOT | 1 |  | 0
11 | NDSR | Comprehensive Annual maintenance contract for 3 years from the date of commissioning. Visit of technician & Cleaning of system on every quarter along with breakdown maintenance as and when required. | Years | 3 |  | 0
|  | Total Amount of Work for Part C |  |  |  | 0

## Part D (hidden)
Part D: Repair / Renovation & providing modular fencing of Children Park / Kids Play Area
Schedule of Quantities
SL NO | DSR Item No. | DESCRIPTION | UNIT | QTY | Unit Rate (in RS) Without GST | TOTAL AMOUNT (in RS)
1 | 15.19 | Dismantling steel work manually/ by mechanical means in built up sections without dismembering and stacking within 50 metres lead as per direction of Engineer-in-charge | Kg | 1500 |  | 0
2 | 15.9.2 | Demolishing stone rubble masonry manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge : In cement mortar | m3 | 15 |  | 0
3 | 5.22.6 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level & Above Plinth Level Thermo-Mechanically Treated bars of grade Fe-500D or more. | Kg | 400 |  | 0
4 | 4.3.3 | Centering and shuttering including strutting, propping etc. and removal of form work for : Columns, piers, abutments, pillars, posts and struts. | Sq. m. | 25 |  | 0
5 | 5.2.2 | Reinforced cement concrete work in walls (any thickness), including attached pilasters, buttresses, plinth and string courses, fillets, columns, pillars, piers, abutments, posts and struts etc. above plinth level up to floor five level, excluding cost of centering, shuttering, finishing and reinforcement: 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III)derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources) | m3 | 20 |  | 0
6 | 13.7.1 | 12 mm cement plaster of mix : 1:3 (1 cement: 3 coarse sand) single coat | Sq.m. | 120 |  | 0
7 | 13.46.1 | Finishing walls with Acrylic Smooth exterior paint of required shade : New work (Two or more coat applied @ 1.67 ltr/10 sqm over and including priming coat of exterior primer applied @ 0.90 litre/10 sqm) | Sq. m. | 120 |  | 0
8 | 2.27 | Supplying and filling in plinth with fine sand under floors including, watering, ramming, consolidating and dressing complete | m3 | 45.8 |  | 0
9 | NDSR | Supplying &Fixing of prefabricated Unico Prima brand MS modular weld mesh Fencing ,( having mesh aperture 50 x200 mm , panel ht 1260 mm, panel width 2500 mm , post length 1300 mm, post centre not more then 2560 mm , fitted with anchors M12 X150 mm size , RAL -6005 Moss green colour ,Manufactured by A-1 Fence , as per attched sketch and specification ) of 4 ft. height or equivalent fencing all Complete. (budghetry offer including installation = Rs. 3315 per RM) | RM | 105 |  | 0
10 | NDSR | Supplying &Fixing of prefabricated Unico Prima brand MS modular weld mesh double leaf Gate ,( having mesh aperture 50 x200 mm , width 2400 mm ( for double leaf) , height 1200 mm , supplied with Locinox Prime insert lock of approved colour ,Manufactured by A-1 Fence , as per attched sketch and specification ) or equivalentGate all Complete. (budghetry offer including installation = 69,0000.00 per No.) | No. | 1 |  | 0
11 | NDSR | Repair of existing swings made of steel pipes and steel sections by welding , scrubbing , painting with one coat of primer and two coat of eepoxy paints of approved shades and pattern complete. If anysection of the swing is damaged , the rate shall include the replacement of the section. | Job | 1 |  | 0
|  | Total Amount of Work for Part D |  |  |  | 0

## Part E (hidden)
Part E: Installation of Modular fencing work & gates at Anand Vihar
Schedule of Quantities
SL NO | DSR Item No. | DESCRIPTION | UNIT | QTY | Unit Rate (in RS) Without GST | TOTAL AMOUNT (in RS)
1 | 2.8.1 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan) including dressing of sides and ramming of bottoms, lift up to 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m. All kinds of soil. | m3 | 10.48 |  | 0
2 | 9.5.2 | Demolishing stone rubble masonry manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge : In cement mortar | m3 | 4.8296 |  | 0
3 | 5.1.3 | Providing and laying in position specified grade of reinforced cement concrete, excluding the cost of centering, shuttering, finishing and reinforcement - All work up to plinth level : 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources) | m3 | 7.746 |  | 0
4 | 4.1.5 | Providing and laying in position ready mixed or site batched design mix cement concrete for plain cement concrete work; using coarse aggregate and fine aggregate derived from natural sources, Portland Pozzolana/Ordinary Portland/Portland Slag cement, admixtures in recommended proportions as per IS : 9103 to accelerate/ retard setting of concrete, to improve durability and workability without impairing strength; including pumping of concrete to site of laying, curing, carriage for all leads; but excluding the cost of centering, shuttering and finishing as per direction of the Engineer-in-charge; for the following grades of concrete. Note : Extra cement upto 10% of the minimum specified cement content in design mix shall be payable separately. In case the cement content in design mix is more than 110% of the minimum specified cement content, the contractor shall have discretion to either re-design the mix or bear the cost of extra cement. All works up to plinth level: Concrete of M-10 grade with minimum cement content of 220 kg/cum. | m3 | 1.875 |  | 0
5 | 4.3.3 | Centering and shuttering including strutting, propping etc. and removal of form work for : Columns, piers, abutments, pillars, posts and struts. | Sq. m. | 94.5 |  | 0
6 | 13.52.1 | Finishing with Epoxy paint (two or more coats) at all locations prepared and applied as per manufacturer's specifications including appropriate priming coat, preparation of surface, etc. complete. On steel work | Sq. m. | 10 |  | 0
7 | 13.7.1 | 12 mm cement plaster of mix : 1:3 (1 cement: 3 coarse sand) single coat | Sq.m. | 213.6 |  | 0
8 | 13.46.1 | Finishing walls with Acrylic Smooth exterior paint of required shade : New work (Two or more coat applied @ 1.67 ltr/10 sqm over and including priming coat of exterior primer applied @ 0.90 litre/10 sqm) | Sq. m. | 213.6 |  | 0
9 | MR | Supplying &Fixing of prefabricated Unico Shield brand MS modular weld mesh Fencing ,( having mesh aperture 76.2 x 12.7 mm , panel ht 1842 mm, panel width 2500 mm , post length 1900 mm, post centre not more then 2515 mm , fitted with anchors M12 X150 mm size , RAL -6005 Moss green colour ,Manufactured by A-1 Fence , as per attched sketch and specification ) of 6 ft. height or equivalent fencing all Complete. | RM | 178 |  | 0
11 | MR | Supplying & Fixing of prefabricated Unico shield brand MS modular weld mesh double leaf Gate ,( having mesh aperture 50 x200 mm , width 1800 mm ( for double leaf) , height 1200 mm , supplied with Locinox Prime insert lock of approved colour ,Manufactured by A-1 Fence , as per attched sketch and specification ) or equivalent Gate all Complete. | No. | 1 |  | 0
12 | MR | Supplying &Fixing of prefabricated Unico shield brand MS modular weld mesh double leaf Gate ,( having mesh aperture 50 x200 mm , width 1800 mm ( for double leaf) , height 1800 mm , supplied with Locinox Prime insert lock of approved colour ,Manufactured by A-1 Fence , as per attched sketch and specification ) or equivalent Gate all Complete. | No. | 1 |  | 0
14 | MR | Supplying &Fixing of prefabricated Unico shield brand MS modular weld mesh double leaf Gate ,( having mesh aperture 50 x200 mm , width 6000 mm ( for double leaf) , height 1800 mm , supplied with Locinox Prime insert lock of approved colour ,Manufactured by A-1 Fence , as per attched sketch and specification ) or equivalent Gate all Complete. | No. | 1 |  | 0
|  | Total Amount of Work for Part E |  |  |  | 0

## Macros
Please Enable Macros to View BoQ information